## 01 Top 20 Measures
User Inputs |  | NB:
1) "Before Competition Groups" will deliver an aggregate potential vastly greater than reported summary potential. For comparisons of "actual" Tech, Econ, or Achievable potential, please use "After Competition Groups"
Unit | GWh | 2) Measure-level potential does not reflect the effects of measure stacking, an adjustment applied as measure level savings are aggregated. Therefore, the sum of potential across individual measures will exceed the aggregated output potential (e.g., at the sector level).
Potential Type/Scenario | SC B
Year | 2038
Sector | Commercial
Before or After Competition Groups | After Competition Groups
Number of Rows | 48732
Number of Measures in Pick | 80 |  | Measure Name | Potential | % of Pot | Incentives ($Million)
|  | Measure Rank | Measure Name | Potential (GWh) | % of Pot. | Incentives ($Million)
|  | 1 | Building Recommissioning, Operations and Maintenance (O&M) Improvements | 1630.6818 | 12.46% | 3.8188
|  | 2 | LED Low/High Bay | 1219.789 | 9.323% | 17.8432
|  | 3 | LED Troffer/Surface/Suspended | 1035.3579 | 7.913% | 7.0406
|  | 4 | ENERGY STAR LED LAMPS (REFLECTOR LAMPs/MR16/PAR 16) | 1004.5563 | 7.678% | 0.79419
|  | 5 | LED Replacement Lamp (Tube) | 697.7879 | 5.333% | 0
|  | 6 | LED EXTERIOR AREA LIGHTS - LED fixture (200W) | 664.7193 | 5.081% | 0.08538
|  | 7 | LED parking lot fixture | 633.2567 | 4.84% | 0.62828
|  | 8 | Education and Capacity Building/Energy Behavior | 621.4997 | 4.75% | 7.3818
|  | 9 | Furnace Tune-Up | 594.7247 | 4.546% | 0.010027
|  | 10 | LED street light fixture | 403.0093 | 3.08% | 3.1904
|  | 11 | Refrigerated Display Case Doors | 358.1901 | 2.738% | 12.3126
|  | 12 | High Efficiency Air Source Heat Pump | 339.4269 | 2.594% | 1.5307
|  | 13 | Reach-in Shaded Pole to ECM/PSC Evaporator Fan Motor | 309.2994 | 2.364% | 2.1444
|  | 14 | Demand Control Ventilation | 303.0264 | 2.316% | 2.2473
|  | 15 | Advanced BAS/Controllers | 298.4182 | 2.281% | 0.84454
|  | 16 | Strip Curtains | 269.068 | 2.057% | 0.089435
|  | 17 | Data Center Storage/Server Virtualization | 250.697 | 1.916% | 0
|  | 18 | Centrally controlled desktop PC/NETWORK PC POWER MANAGEMENT SOFTWARE | 201.7678 | 1.542% | 0.37596
|  | 19 | Variable Frequency Drive (VFD) | 197.2759 | 1.508% | 0.16556
|  | 20 | VFD on Pumps | 184.5682 | 1.411% | 0.16858
|  | 21 | LED or Equivalent Sign Lighting | 180.3972 | 1.379% | 1.3141
|  | 22 | Unitary Air-Conditioning Unit | 159.6112 | 1.22% | 11.5213
|  | 23 | Adaptive Thermostats | 156.188 | 1.194% | 1.6228
|  | 24 | Air Handler with Dedicated Outdoor Air Systems | 150.2484 | 1.148% | 0
|  | 25 | ENERGY STAR LED LAMPS (General Service Lamps) | 119.4186 | 0.9127% | 0.15455
|  | 26 | Door Gasket Freezer/Refrigerator | 107.0372 | 0.8181% | 0.45295
|  | 27 | Demand Control Kitchen Ventilation | 98.4118 | 0.7522% | 0.25208
|  | 28 | ECM MOTORS FOR EVAPORATOR FANS for refrigeration (WALK-IN) | 93.2447 | 0.7127% | 0.10515
|  | 29 | Condensing Unit Heaters or other Efficient Unit Heating System | 89.4889 | 0.684% | 0.0030156
|  | 30 | Refrigerated Display Case LED | 77.4485 | 0.592% | 0.65756
|  | 31 | Freezer Case Light Sensor | 76.761 | 0.5867% | 0.23483
|  | 32 | Evaporator Fan Controls | 74.8775 | 0.5723% | 0.016728
|  | 33 | Occupancy Sensors | 43.8436 | 0.3351% | 0.0086897
|  | 34 | BEVERAGE VENDING MACHINE CONTROLS | 39.7671 | 0.3039% | 0.1792
|  | 35 | Chilled Water Optimization | 37.8567 | 0.2893% | 1.9115
|  | 36 | ENERGY STAR Griddle (74% eff) | 36.9872 | 0.2827% | 0.21825
|  | 37 | Elec Storage WH 2.30 Et | 36.7207 | 0.2807% | 0.095733
|  | 38 | CO Sensors for parking garage exhaust fans | 29.9023 | 0.2285% | 0.44187
|  | 39 | Water Source Heat Pump (4 ton) | 29.0479 | 0.222% | 1.4125
|  | 40 | Temperature Adjustment in Commercial Freezers | 28.6367 | 0.2189% | 0
|  | 41 | Energy Efficient Laboratory Fume Hood | 24.9638 | 0.1908% | 0.053393
|  | 42 | Vertical Night Covers | 22.2109 | 0.1698% | 0.016227
|  | 43 | Condensing Make Up Air Unit | 20.369 | 0.1557% | 5.454
|  | 44 | Duct Insulation, R8 | 19.8262 | 0.1515% | 0.030154
|  | 45 | Outside Air Economizer | 19.2304 | 0.147% | 0.057901
|  | 46 | Water Heating (DHW) Pipe Insulation (Add 3/4\ Foam)" | 19.1328 | 0.1462% | 0.022216
|  | 47 | ENERGY STAR Fryer (84% eff) | 13.5931 | 0.1039% | 0.1512
|  | 48 | Suction Pipe Insulation Freezer/Refrigerator | 12.1422 | 0.09281% | 0.015912
|  | 49 | ENERGY STAR Dishwasher | 8.4995 | 0.06496% | 0.040127
|  | 50 | Ozone Laundry Treatment | 6.647 | 0.0508% | 0.10837
|  | 51 | ENERGY STAR Steam Cookers | 6.4789 | 0.04952% | 0.078348
|  | 52 | Demand controlled Circulating Systems | 4.1109 | 0.03142% | 0
|  | 53 | ECM MOTORS FOR HVAC APPLICATION (FAN-POWERED VAV BOX) | 2.924 | 0.02235% | 0.022665
|  | 54 | Solar Water Preheat (Pools/DHW) | 2.888 | 0.02207% | 0.0048998
|  | 55 | Thermostat Setback | 2.634 | 0.02013% | 0
|  | 56 | Notched V belts for HVAC Systems | 1.8337 | 0.01401% | 0.024201
|  | 57 | Efficient compressor motor | 1.5713 | 0.01201% | 0.24326
|  | 58 | PTAC (12 EER/10,000 BTU) | 1.5134 | 0.01157% | 0.022808
|  | 59 | CEE Tier 2/Energy Star Clothes Washers | 1.4453 | 0.01105% | 0.013984
|  | 60 | Auto Off Time Switch or Time Clock control | 1.351 | 0.01033% | 4.8755e-05
|  | 61 | Variable Refrigerant Flow Heat Pump | 1.2894 | 0.009855% | 2.6726
|  | 62 | Ductless Mini-Split Heat Pumps | 1.2309 | 0.009408% | 0.00022964
|  | 63 | High Efficiency Small Instantaneous Water Heater | 1.032 | 0.007888% | 0.043372
|  | 64 | LED RECESSED DOWNLIGHTS | 0.86454 | 0.006608% | 0.061841
|  | 65 | Low Flow Pre-Rinse Spray Nozzle | 0.67955 | 0.005194% | 0.00067481
|  | 66 | Commercial Hot Food Holding Cabinets | 0.55183 | 0.004218% | 0.0033537
|  | 67 | Energy Recovery Ventilation and Ventilation (Enhanced) | 0.53198 | 0.004066% | 0
|  | 68 | HVAC Optimization | 0.4163 | 0.003182% | 0.00019881
|  | 69 | Wall Insulation | 0.2094 | 0.001601% | 0.0087668
|  | 70 | Room AC (w/ louvered sides) 14 SEER from 12 SEER code | 0.12168 | 0.00093% | 0.0053084
|  | 71 | High Efficiency Chiller (avg of water and air cooled) | 0.068037 | 0.00052% | 0.0099277
|  | 72 | EC Plug Fan for Data Center (under cabinet) | 0.067968 | 0.0005195% | 0.0025434
|  | 73 | Air Curtains | 0.061605 | 0.0004709% | 0.0038392
|  | 74 | VSD Air Compressor | 0.048269 | 0.0003689% | 0.00051482
|  | 75 | Indoor Daylight Sensors/Photocell Dimming Control | 0.026779 | 0.0002047% | 0.028525
|  | 76 | Electric Convection Combination Ovens | 0.0041029 | 3.136e-05% | 2.9746e-06
|  | 77 | LLLC - Low Impact Application | 2.9914e-18 | 2.286e-20% | 2.0198e-21
|  | 78 | LLLC - High Impact Application | 1.0975e-18 | 8.389e-21% | 1.6184e-21
|  | 79 | Networked/Connected - High Impact Application | 1.4389e-20 | 1.1e-22% | 4.7541e-23
|  | 80 | Networked/Connected - Low Impact Application | 8.2778e-21 | 6.327e-23% | 2.1848e-23
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A
|  | NA | #N/A | #N/A | #N/A | #N/A

## LookUps
Type Number | Type
1 | Technical
2 | Economic
3 | SC A
4 | SC B
5 | SC C
6 | SC D
Unit Number | Unit | Polished Unit
1 | million_m3 | Mm3
2 | GWh | GWh
3 | MW | MW
Sector Number | Sector
1 | Residential
2 | Commercial
3 | Industrial
Year Number | Year
1 | 2019
2 | 2020
3 | 2021
4 | 2022
5 | 2023
6 | 2024
7 | 2025
8 | 2026
9 | 2027
10 | 2028
11 | 2029
12 | 2030
13 | 2031
14 | 2032
15 | 2033
16 | 2034
17 | 2035
18 | 2036
19 | 2037
20 | 2038
Measure Number | Measure Name
1 | Adaptive Thermostat
2 | Adaptive Thermostats |  | Adaptive Thermostat
3 | Adding reflective (White) roof treatment or a green roof |  | Adaptive Thermostats
4 | Advanced BAS/Controllers |  | Adding reflective (White) roof treatment or a green roof
5 | Air Compressor Heat Recovery |  | Advanced BAS/Controllers
6 | Air Compressor Optimization |  | Air Compressor Heat Recovery
7 | Air Curtains |  | Air Compressor Optimization
8 | Air Handler with Dedicated Outdoor Air Systems |  | Air Curtains
9 | Air Leak Survey and Repair |  | Air Handler with Dedicated Outdoor Air Systems
10 | Air Sealing |  | Air Leak Survey and Repair
11 | Air Source Heat Pump |  | Air Sealing
12 | Air Source Heat Pump Maintenance |  | Air Source Heat Pump
13 | Anti-sweat heat (ASH) controls - Cooler/Freezer |  | Air Source Heat Pump Maintenance
14 | Attic Insulation |  | Anti-sweat heat (ASH) controls - Cooler/Freezer
15 | Auto Off Time Switch or Time Clock control |  | Attic Insulation
16 | Basement or Crawlspace Insulation |  | Auto Off Time Switch or Time Clock control
17 | Basement Wall Insulation |  | Basement or Crawlspace Insulation
18 | BEVERAGE VENDING MACHINE CONTROLS |  | Basement Wall Insulation
19 | Boiler Measures |  | BEVERAGE VENDING MACHINE CONTROLS
20 | Boiler Tune Up |  | Boiler Measures
21 | Boiler Tune Up - Direct |  | Boiler Tune Up
22 | Boiler Tune Up - HVAC |  | Boiler Tune Up - Direct
23 | Boiler Upgrade |  | Boiler Tune Up - HVAC
24 | Boilers - Advanced Controls (Steam Systems) |  | Boiler Upgrade
25 | Building Recommissioning, Operations and Maintenance (O&M) Improvements |  | Boilers - Advanced Controls (Steam Systems)
26 | Car Block Heater Timer |  | Building Recommissioning, Operations and Maintenance (O&M) Improvements
27 | CEE Tier 2/Energy Star Clothes Washers |  | Car Block Heater Timer
28 | Ceiling Insulation |  | CEE Tier 2/Energy Star Clothes Washers
29 | Central Air Conditioner Maintenance |  | Ceiling Insulation
30 | Central Lighting Control System |  | Central Air Conditioner Maintenance
31 | Centrally controlled desktop PC/NETWORK PC POWER MANAGEMENT SOFTWARE |  | Central Lighting Control System
32 | Chilled Water Optimization |  | Centrally controlled desktop PC/NETWORK PC POWER MANAGEMENT SOFTWARE
33 | Chiller Optimization |  | Chilled Water Optimization
34 | Clothes Drying Racks |  | Chiller Optimization
35 | CO Sensors for parking garage exhaust fans |  | Clothes Drying Racks
36 | Cold Storage Retrofit |  | CO Sensors for parking garage exhaust fans
37 | Commercial Hot Food Holding Cabinets |  | Cold Storage Retrofit
38 | Comprehensive Draft Proofing |  | Commercial Hot Food Holding Cabinets
39 | Condensing Boiler |  | Comprehensive Draft Proofing
40 | Condensing Boiler ¦ Std |  | Condensing Boiler
41 | Condensing Make Up Air Unit |  | Condensing Boiler ¦ Std
42 | Condensing Storage Water Heater |  | Condensing Make Up Air Unit
43 | Condensing Unit Heaters or other Efficient Unit Heating System |  | Condensing Storage Water Heater
44 | Cooling Tower Optimization |  | Condensing Unit Heaters or other Efficient Unit Heating System
45 | Creep Heat Controller |  | Cooling Tower Optimization
46 | Dairy Pre-Cooler |  | Creep Heat Controller
47 | Dairy Water Heater |  | Dairy Pre-Cooler
48 | Data Center Storage/Server Virtualization |  | Dairy Water Heater
49 | Dehumidifier Recycling |  | Data Center Storage/Server Virtualization
50 | Demand Control Kitchen Ventilation |  | Dehumidifier Recycling
51 | Demand Control Ventilation |  | Demand Control Kitchen Ventilation
52 | Demand controlled Circulating Systems |  | Demand Control Ventilation
53 | Destratification |  | Demand controlled Circulating Systems
54 | DHW Recirculation Systems |  | Destratification
55 | Direct Contact Water Heaters |  | DHW Recirculation Systems
56 | Dock Door Seals |  | Direct Contact Water Heaters
57 | Door Gasket Freezer/Refrigerator |  | Dock Door Seals
58 | Drain Water Heat Recovery |  | Door Gasket Freezer/Refrigerator
59 | Drain Water Heat Recovery (DWHR) ¦ Retro |  | Drain Water Heat Recovery
60 | Drain Water Heat Recovery (DWHR) ¦New |  | Drain Water Heat Recovery (DWHR) ¦ Retro
61 | Dual and Natural Exhaust Ventilation Systems |  | Drain Water Heat Recovery (DWHR) ¦New
62 | Duct Insulation |  | Dual and Natural Exhaust Ventilation Systems
63 | Duct Insulation MF |  | Duct Insulation
64 | Duct Insulation, R8 |  | Duct Insulation MF
65 | Ductless Mini-Split Air Conditioner |  | Duct Insulation, R8
66 | Ductless Mini-Split Heat Pump |  | Ductless Mini-Split Air Conditioner
67 | Ductless Mini-Split Heat Pumps |  | Ductless Mini-Split Heat Pump
68 | Early Hot Water Heater Replacement |  | Ductless Mini-Split Heat Pumps
69 | EC Plug Fan for Data Center (under cabinet) |  | Early Hot Water Heater Replacement
70 | ECM MOTORS FOR EVAPORATOR FANS for refrigeration (WALK-IN) |  | EC Plug Fan for Data Center (under cabinet)
71 | ECM MOTORS FOR HVAC APPLICATION (FAN-POWERED VAV BOX) |  | ECM MOTORS FOR EVAPORATOR FANS for refrigeration (WALK-IN)
72 | eCube |  | ECM MOTORS FOR HVAC APPLICATION (FAN-POWERED VAV BOX)
73 | Education and Capacity Building/Energy Behavior |  | eCube
74 | Efficient Compressed Air Nozzles |  | Education and Capacity Building/Energy Behavior
75 | Efficient compressor motor |  | Efficient Compressed Air Nozzles
76 | Efficient Irrigation |  | Efficient compressor motor
77 | Efficient Refrigeration Compressor |  | Efficient Irrigation
78 | Efficient Transformer |  | Efficient Refrigeration Compressor
79 | Elec Storage WH 2.30 Et |  | Efficient Transformer
80 | Electric Convection Combination Ovens |  | Elec Storage WH 2.30 Et
81 | Energy Efficient Laboratory Fume Hood |  | Electric Convection Combination Ovens
82 | Energy Recovery Ventilation and Ventilation (Enhanced) |  | Energy Efficient Laboratory Fume Hood
83 | Energy Star A Line, PAR, MR Lamps |  | Energy Recovery Ventilation and Ventilation (Enhanced)
84 | Energy Star Air Source Heat Pump |  | Energy Star A Line, PAR, MR Lamps
85 | Energy Star Ceiling Fan/Lighting |  | Energy Star Air Source Heat Pump
86 | Energy Star Central Air Conditioner |  | Energy Star Ceiling Fan/Lighting
87 | Energy Star Clothes Dryer |  | Energy Star Central Air Conditioner
88 | Energy Star Clothes Washer |  | Energy Star Clothes Dryer
89 | Energy Star Dehumidifier |  | Energy Star Clothes Washer
90 | ENERGY STAR Dishwasher |  | Energy Star Dehumidifier
91 | ENERGY STAR FREEZER |  | ENERGY STAR Dishwasher
92 | ENERGY STAR Fryer (84% eff) |  | ENERGY STAR FREEZER
93 | ENERGY STAR Griddle (74% eff) |  | ENERGY STAR Fryer (84% eff)
94 | Energy Star Ground Source Heat Pump |  | ENERGY STAR Griddle (74% eff)
95 | ENERGY STAR ICE MACHINES - Ice Making Head |  | Energy Star Ground Source Heat Pump
96 | Energy Star LED Bulbs General Purpose LEDs |  | ENERGY STAR ICE MACHINES - Ice Making Head
97 | ENERGY STAR LED LAMPS (General Service Lamps) |  | Energy Star LED Bulbs General Purpose LEDs
98 | ENERGY STAR LED LAMPS (REFLECTOR LAMPs/MR16/PAR 16) |  | ENERGY STAR LED LAMPS (General Service Lamps)
99 | Energy Star LED Specialty Bulbs |  | ENERGY STAR LED LAMPS (REFLECTOR LAMPs/MR16/PAR 16)
100 | Energy Star Light Fixture |  | Energy Star LED Specialty Bulbs
101 | ENERGY STAR Refrigerator |  | Energy Star Light Fixture
102 | Energy Star Room Air Conditioner |  | ENERGY STAR Refrigerator
103 | ENERGY STAR Steam Cooker |  | Energy Star Room Air Conditioner
104 | ENERGY STAR Steam Cookers |  | ENERGY STAR Steam Cooker
105 | Energy Star Torchiere |  | ENERGY STAR Steam Cookers
106 | Energy Star Windows |  | Energy Star Torchiere
107 | Engine Block Heater Timer |  | Energy Star Windows
108 | Evaporator Coil Defrost (Cooler) |  | Engine Block Heater Timer
109 | Evaporator Fan Controls |  | Evaporator Coil Defrost (Cooler)
110 | Exterior Photocell |  | Evaporator Fan Controls
111 | Fan System Optimization |  | Exterior Photocell
112 | Floor Insulation |  | Fan System Optimization
113 | Free Cooling |  | Floor Insulation
114 | Freezer Case Light Sensor |  | Free Cooling
115 | Freezer Recycling |  | Freezer Case Light Sensor
116 | Furnace Tune Up |  | Freezer Recycling
117 | Furnace Tune-Up |  | Furnace Tune Up
118 | Furnace Whistle |  | Furnace Tune-Up
119 | Furnace with ECM |  | Furnace Whistle
120 | Gas Convection Oven |  | Furnace with ECM
121 | Gas Fired Heat Pump |  | Gas Convection Oven
122 | Gas Fired Rooftop Units |  | Gas Fired Heat Pump
123 | Gas Heat Pump Water Heater |  | Gas Fired Rooftop Units
124 | Gas Turbine Optimization |  | Gas Heat Pump Water Heater
125 | Greenhouse Envelope Improvements |  | Gas Turbine Optimization
126 | Greenhouse Grow Lights |  | Greenhouse Envelope Improvements
127 | Ground Source Heat Pump |  | Greenhouse Grow Lights
128 | HE HVAC Controls |  | Ground Source Heat Pump
129 | HE HVAC Units |  | HE HVAC Controls
130 | HE Lighting |  | HE HVAC Units
131 | HE Stock Tank |  | HE Lighting
132 | Heat Lamps/Heat Pad |  | HE Stock Tank
133 | Heat Pump Clothes Dryer |  | Heat Lamps/Heat Pad
134 | Heat Pump Water Heater |  | Heat Pump Clothes Dryer
135 | Heat Pump Water Heater (50 Gallons) |  | Heat Pump Water Heater
136 | Heat Recovery Ventilator |  | Heat Pump Water Heater (50 Gallons)
137 | Heavy Duty Outdoor/Holiday Plug-in Timers |  | Heat Recovery Ventilator
138 | High Efficiency Air Source Heat Pump |  | Heavy Duty Outdoor/Holiday Plug-in Timers
139 | High Efficiency Battery Charger |  | High Efficiency Air Source Heat Pump
140 | High Efficiency Burners |  | High Efficiency Battery Charger
141 | High Efficiency Chiller (avg of water and air cooled) |  | High Efficiency Burners
142 | High Efficiency Condensing Furnace |  | High Efficiency Chiller (avg of water and air cooled)
143 | High Efficiency Condensing Furnace AFUE 95% from 80% code |  | High Efficiency Condensing Furnace
144 | High Efficiency Fireplace with Pilotless Ignition |  | High Efficiency Condensing Furnace AFUE 95% from 80% code
145 | High Efficiency Furnaces |  | High Efficiency Fireplace with Pilotless Ignition
146 | High Efficiency Gas Pool Heater |  | High Efficiency Furnaces
147 | High Efficiency HVAC Fans |  | High Efficiency Gas Pool Heater
148 | High Efficiency HVAC Fans (Gas) |  | High Efficiency HVAC Fans
149 | High Efficiency Induction Cooking |  | High Efficiency HVAC Fans (Gas)
150 | High Efficiency Small Instantaneous Water Heater |  | High Efficiency Induction Cooking
151 | High Efficiency Underfired Broilers |  | High Efficiency Small Instantaneous Water Heater
152 | High Efficiency Welders |  | High Efficiency Underfired Broilers
153 | High R-Value Glass Doors/no-heat glass door |  | High Efficiency Welders
154 | Home Energy Reports |  | High R-Value Glass Doors/no-heat glass door
155 | HOTEL OCCUPANCY CONTROLS (HVAC + LIGHTING) |  | Home Energy Reports
156 | HVAC Optimization |  | HOTEL OCCUPANCY CONTROLS (HVAC + LIGHTING)
157 | HVLS Fans |  | HVAC Optimization
158 | Ice Rink Heat Recovery |  | HVLS Fans
159 | Improved Controls - Process Cooling |  | Ice Rink Heat Recovery
160 | Improved Controls - Process Heating |  | Improved Controls - Process Cooling
161 | Improved Controls -Process Heating Gas |  | Improved Controls - Process Heating
162 | Indoor Daylight Sensors/Photocell Dimming Control |  | Improved Controls -Process Heating Gas
163 | Infrared Heaters |  | Indoor Daylight Sensors/Photocell Dimming Control
164 | Insulation - Steam |  | Infrared Heaters
165 | Insulation - Steam - Direct |  | Insulation - Steam
166 | Insulation - Steam - HVAC |  | Insulation - Steam - Direct
167 | INTEGRAL LED TROFFERS |  | Insulation - Steam - HVAC
168 | LED Downlight |  | Insulation - Steam (AG)
169 | LED EXTERIOR AREA LIGHTS - LED fixture (200W) |  | INTEGRAL LED TROFFERS
170 | LED High Bay Fixture |  | LED Downlight
171 | LED Low/High Bay |  | LED EXTERIOR AREA LIGHTS - LED fixture (200W)
172 | LED or Equivalent Sign Lighting |  | LED High Bay Fixture
173 | LED parking lot fixture |  | LED Low/High Bay
174 | LED RECESSED DOWNLIGHTS |  | LED or Equivalent Sign Lighting
175 | LED Replacement Lamp (Tube) |  | LED parking lot fixture
176 | LED street light fixture |  | LED RECESSED DOWNLIGHTS
177 | LED Troffer/Surface/Suspended |  | LED Replacement Lamp (Tube)
178 | LED Tube Re-Lamp |  | LED street light fixture
179 | Lighting Motion Sensors, Timers, Dimmers |  | LED Troffer/Surface/Suspended
180 | LLLC - High Impact Application |  | LED Tube Re-Lamp
181 | LLLC - Low Impact Application |  | Lighting Motion Sensors, Timers, Dimmers
182 | Loading Dock Seals |  | LLLC - High Impact Application
183 | Low Energy Livestock Waterers |  | LLLC - Low Impact Application
184 | Low Flow Pre-Rinse Spray Nozzle |  | Loading Dock Seals
185 | Material Handling Improvements |  | Low Energy Livestock Waterers
186 | Minimize Hot and Warm Clothes Wash |  | Low Flow Pre-Rinse Spray Nozzle
187 | Networked/ Connected - Indoor LED Luminaire |  | Material Handling Improvements
188 | Networked/Connected - High Impact Application |  | Minimize Hot and Warm Clothes Wash
189 | Networked/Connected - Low Impact Application |  | Networked/ Connected - Indoor LED Luminaire
190 | Notched V belts for HVAC Systems |  | Networked/Connected - High Impact Application
191 | Occupancy Sensors |  | Networked/Connected - Low Impact Application
192 | Occupancy Sensors MF |  | Notched V belts for HVAC Systems
193 | Optimize Compressed Air Dryer |  | Occupancy Sensors
194 | Outside Air Economizer |  | Occupancy Sensors MF
195 | Ozone Laundry Treatment |  | Optimize Compressed Air Dryer
196 | Passive Attic Ventilation |  | Outside Air Economizer
197 | Photocell Controls (Outdoor) |  | Ozone Laundry Treatment
198 | Pool Cover |  | Passive Attic Ventilation
199 | Premium Efficient Motors |  | Photocell Controls (Outdoor)
200 | Process Heat Improvements |  | Pool Cover
201 | Process Heat Recovery |  | Premium Efficient Motors
202 | Process Heat Recovery (Gas) |  | Process Heat Improvements
203 | Process Heat Recovery (Gas) - HVAC |  | Process Heat Recovery
204 | Process Improvements |  | Process Heat Recovery (Gas)
205 | Process Optimization (Elec) |  | Process Heat Recovery (Gas) - HVAC
206 | Process Optimization (Gas) |  | Process Improvements
207 | PTAC (12 EER/10,000 BTU) |  | Process Optimization (Elec)
208 | Pulp and Paper Process Improvements |  | Process Optimization (Gas)
209 | Pump Equipment Upgrade |  | PTAC (12 EER/10,000 BTU)
210 | Pump System Optimization |  | Pulp and Paper Process Improvements
211 | Radiant Barrier |  | Pump Equipment Upgrade
212 | Reach-in Shaded Pole to ECM/PSC Evaporator Fan Motor |  | Pump System Optimization
213 | Recommissioning |  | Radiant Barrier
214 | Refiner Plate Improvements |  | Reach-in Shaded Pole to ECM/PSC Evaporator Fan Motor
215 | Refrigerated Display Case Doors |  | Recommissioning
216 | Refrigerated Display Case LED |  | Refiner Plate Improvements
217 | Refrigeration Commissioning |  | Refrigerated Display Case Doors
218 | Refrigeration Compressor VFD |  | Refrigerated Display Case LED
219 | Refrigeration Optimization |  | Refrigeration Commissioning
220 | Refrigeration Waste Heat Recover |  | Refrigeration Compressor VFD
221 | Refrigerator Recycling |  | Refrigeration Optimization
222 | Roof Insulation/Ceiling Insulation (R25 Code to R35) |  | Refrigeration Waste Heat Recover
223 | Room AC (w/ louvered sides) 14 SEER from 12 SEER code |  | Refrigerator Recycling
224 | SEM |  | Roof Insulation/Ceiling Insulation (R25 Code to R35)
225 | Smart Burners |  | Room AC (w/ louvered sides) 14 SEER from 12 SEER code
226 | Smart Power Bar |  | SEM
227 | Smart Strip Plug Outlets |  | Smart Burners
228 | Solar Powered Attic Fan |  | Smart Power Bar
229 | Solar Preheat Make up Air |  | Smart Strip Plug Outlets
230 | Solar Walls |  | Solar Powered Attic Fan
231 | Solar Water Preheat (Pools/DHW) |  | Solar Preheat Make up Air
232 | Steam Leak Repairs |  | Solar Walls
233 | Steam System Optimization |  | Solar Water Preheat (Pools/DHW)
234 | Steam Trap Repair |  | Steam Leak Repairs
235 | Steam Turbine Optimization |  | Steam System Optimization
236 | Strip Curtains |  | Steam Trap Repair
237 | Suction Pipe Insulation Freezer/Refrigerator |  | Steam Turbine Optimization
238 | Super High Perf Glazing ¦New |  | Strip Curtains
239 | Super High Perf Glazing ¦RET |  | Suction Pipe Insulation Freezer/Refrigerator
240 | Super-High Efficiency Furnaces (Emerging Tech) |  | Super High Perf Glazing ¦New
241 | SYNCHRONOUS BELT |  | Super High Perf Glazing ¦RET
242 | Synchronous Belts |  | Super-High Efficiency Furnaces (Emerging Tech)
243 | Tankless Water Heater |  | SYNCHRONOUS BELT
244 | Temperature Adjustment in Commercial Freezers |  | Synchronous Belts
245 | Thermostat Setback |  | Tankless Water Heater
246 | Unitary Air-Conditioning Unit |  | Temperature Adjustment in Commercial Freezers
247 | Variable Frequency Drive (VFD) |  | Thermostat Setback
248 | Variable Refrigerant Flow Heat Pump |  | Unitary Air-Conditioning Unit
249 | Variable Speed Pool Pump Motor |  | Variable Frequency Drive (VFD)
250 | VAV Conversion Project |  | Variable Refrigerant Flow Heat Pump
251 | VAV Conversion Project (Gas) |  | Variable Speed Pool Pump Motor
252 | Ventilation Optimization |  | VAV Conversion Project
253 | Ventilation Optimization (Gas) |  | VAV Conversion Project (Gas)
254 | Vertical Night Covers |  | Ventilation Optimization
255 | VFD on Pumps |  | Ventilation Optimization (Gas)
256 | VSD Air Compressor |  | Vertical Night Covers
257 | Wall Insulation |  | VFD on Pumps
258 | Wall Insulation MF |  | VSD Air Compressor
259 | Water Heater Temperature Setback |  | Wall Insulation
260 | Water Heating (DHW) Pipe Insulation (Add 3/4\ Foam)" |  | Wall Insulation MF
261 | Water Source Heat Pump (4 ton) |  | Water Heater Temperature Setback
262 | Window Film |  | Water Heating (DHW) Pipe Insulation (Add 3/4\ Foam)"
Water Source Heat Pump (4 ton)
Window Film
After Competition Groups
Before Competition Groups