## Menu
Pathways to Decarbonization
Data Tables
January 2024
A Moratorium on New Gas Generation
Figure 3: Moratorium Scenario versus APO Peak Demand
Figure 4: Moratorium Scenario versus APO Annual Energy Demand
Figure 5: Moratorium scenario - Installed capacity in 2035
Figure 6: Moratorium scenario - Energy in 2035
Assessing a Pathway to a Decarbonized Future
Figure 7: Energy Demand
Figure 8: Annual Summer Peak Demand
Figure 9: Annual Winter Peak Demand
Figure 10: Summer Daily Load Shape Hourly Profile
Figure 11: Winter Daily Load Shape Hourly Profile
Figure 12: Pathway scenario - Installed capacity in 2050
Figure 13: Pathway scenario - Energy in 2050
Additional Data

## Figure 3
Back to main menu
Figure 3: Moratorium Scenario versus APO Peak Demand
# | Demand Forecast | Unit of Measure | Year
|  |  | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
1 | IESO 2021 APO Reference Scenario - Summer | Net Seasonal Peak Demand (GW) | 24.36 | 24.73 | 25.07 | 25.4 | 25.57 | 25.78 | 26.4 | 26.69 | 26.87 | 26.99 | 27.22 | 27.48 | 27.83 | 28.16 | 28.62 | 29.17 | 29.7 | 30.23 | 30.8 | 31.34
2 | IESO 2021 APO Reference Scenario - Winter | Net Seasonal Peak Demand (GW) | 22.05 | 22.73 | 23.07 | 23.51 | 23.8 | 24.1 | 24.62 | 24.89 | 25.12 | 25.28 | 25.62 | 25.91 | 26.52 | 26.94 | 27.52 | 28.21 | 28.87 | 29.53 | 30.18 | 30.54
3 | IESO 2022 P2D Study Moratorium Scenario - Summer | Net Seasonal Peak Demand (GW) | 24.28 | 24.54 | 24.73 | 24.9 | 24.92 | 24.95 | 25.34 | 25.42 | 25.43 | 25.43 | 25.53 | 25.67 | 25.91 | 26.22 | 26.53 | 26.81 | 27.29 | 27.83 | 28.34 | 28.71
4 | IESO 2022 P2D Study Moratorium Scenario - Winter | Net Seasonal Peak Demand (GW) | 21.98 | 22.56 | 22.76 | 23.07 | 23.24 | 23.39 | 23.75 | 23.86 | 23.96 | 24.04 | 24.29 | 24.47 | 24.96 | 25.29 | 25.93 | 26.53 | 27.19 | 27.85 | 28.5 | 28.86
Back to main menu

## Figure 4
Back to main menu
Figure 4: Moratorium Scenario versus APO Annual Energy Demand
# | Demand Forecast | Unit of Measure | Year
|  |  | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
1 | IESO 2021 APO Reference Scenario | Net Annual Energy Demand (TWh) | 146.68 | 150.09 | 152 | 154.53 | 156 | 158.03 | 162.87 | 165.07 | 166.48 | 168.04 | 170.09 | 172.71 | 176.72 | 180.96 | 184.28 | 188.13 | 191.85 | 196.2 | 199.64 | 202.24
2 | IESO 2022 P2D Study Moratorium Scenario | Net Annual Energy Demand (TWh) | 146.17 | 148.97 | 150.01 | 151.69 | 152.35 | 153.42 | 156.98 | 158.07 | 158.6 | 159.58 | 161.1 | 163.16 | 166.62 | 170.29 | 173.09 | 176.27 | 179.99 | 184.32 | 187.76 | 190.37
Back to main menu

## Figure 5
Back to main menu
Figure 5: Moratorium scenario - Installed capacity in 2035
Fuel Type | Capacity Remaining in 2035 (Existing and Committed) | New Capacity Online by 2035 | Total Capacity in 2035
Nuclear | 10248 | 1000 | 11248
Hydroelectric | 9348.029 | 0 | 9348.029
Wind | 5533.2758 | 900 | 6433.2758
Solar | 2667.6607 | 3400 | 6067.6607
Bioenergy | 414.532 | 0 | 414.532
Natural Gas | 7840 | 0 | 7840
DR/DL | 807.6 | 2885.4 | 3693
Import | 331 | 0 | 331
Storage | 2507 | 0 | 2507
Total | 39697.0975 | 8185.4 | 47882.4975
Back to main menu

## Figure 6
Back to main menu
Figure 6: Moratorium scenario - Energy in 2035
Fuel Type | Energy from Today's Capacity Remaining in 2035 | Energy from New Capacity Online by 2035 | Energy from Total Capacity in 2035
Nuclear | 80.154 | 2.859 | 83.013
Hydroelectric | 39.882 | 0 | 39.882
Wind | 15.734 | 3.786 | 19.52
Solar | 3.477 | 6.391 | 9.868
Bioenergy | 0.915 | 0 | 0.915
Natural Gas | 12.92 | 0 | 12.92
DR/DL | 0.04022 | 0.23178 | 0.272
Import | 0 | 0 | 0
Storage | 0.023763 | 0 | 0.023763
Total | 153.146 | 13.2678 | 166.4138
Back to main menu

## Figure 7
Back to main menu
Figure 7: Energy Demand
# | Demand Forecast | Unit of Measure | Year
|  |  | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
1 | IESO 2022 APO | Net Annual Energy Demand (TWh) |  | 147.84 | 153.13 | 158.38 | 160.72 | 163.43 | 167.42 | 171.08 | 173.98 | 177.24 | 180.74 | 184.15 | 188.45 | 192.43 | 194.91 | 198.06 | 200.77 | 203.91 | 205.5 | 206.91 | 208.25
2 | IESO 2022 P2D Study Pathways Scenario | Net Annual Energy Demand (TWh) |  | 148.44 | 152.66 | 158.07 | 159.99 | 162.76 | 167.98 | 174.42 | 180.86 | 188.03 | 195.85 | 204.06 | 213.9 | 223.18 | 229.85 | 237.27 | 244.1 | 251 | 256.83 | 261.91 | 266.72 | 272.3 | 275.68 | 282.29 | 286.09 | 290.02 | 291.5 | 293.8
Back to main menu

## Figure 8
Back to main menu
Figure 8: Annual Summer Peak Demand
# | Demand Forecast | Unit of Measure | Year
|  |  | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
1 | IESO 2022 APO | Net Summer Peak Demand (GW) |  | 24.63 | 25.21 | 25.64 | 25.74 | 25.86 | 26.26 | 26.56 | 26.82 | 27.04 | 27.43 | 27.77 | 28.11 | 28.42 | 28.95 | 29.55 | 29.79 | 30.05 | 30.24 | 30.45 | 30.67
2 | IESO 2022 P2D Study Pathways Scenario | Net Summer Peak Demand (GW) |  | 24.68 | 25.07 | 25.38 | 25.29 | 25.25 | 25.59 | 26.42 | 27.75 | 28.31 | 28.82 | 29.25 | 29.85 | 30.35 | 30.78 | 31.23 | 31.66 | 32.09 | 32.5 | 32.89 | 33.26 | 33.76 | 34.26 | 35.17 | 35.56 | 35.9 | 36.19 | 36.44
Back to main menu

## Figure 9
Back to main menu
Figure 9: Annual Winter Peak Demand
# | Demand Forecast | Unit of Measure | Year
|  |  | 2022 - 2023 | 2023 - 2024 | 2024 - 2025 | 2025 - 2026 | 2026 - 2027 | 2027 - 2028 | 2028 - 2029 | 2029 - 2030 | 2030 - 2031 | 2031 - 2032 | 2032 - 2033 | 2033 - 2034 | 2034 - 2035 | 2035 - 2036 | 2036 - 2037 | 2037 - 2038 | 2038 - 2039 | 2039 - 2040 | 2040 - 2041 | 2041 - 2042 | 2042 - 2043 | 2043 - 2044 | 2044 - 2045 | 2045 - 2046 | 2046 - 2047 | 2047 - 2048 | 2048 - 2049 | 2049 - 2050
1 | IESO 2022 APO | Net Winter Peak Demand (GW) |  | 22.6 | 23.37 | 23.95 | 24.34 | 24.17 | 25 | 25.35 | 25.83 | 26.05 | 26.5 | 27.12 | 27.96 | 28.63 | 29.23 | 29.81 | 30.29 | 30.73 | 31.02 | 31.25 | 31.46
2 | IESO 2022 P2D Study Pathways Scenario | Net Winter Peak Demand (GW) |  | 22.67 | 23.29 | 23.82 | 23.58 | 24.2 | 25.58 | 26.89 | 28.67 | 30.61 | 32.8 | 34.9 | 37.37 | 39.54 | 41.58 | 43.58 | 45.5 | 47.12 | 48.73 | 50.28 | 51.79 | 53.21 | 54.53 | 56 | 57.13 | 58.14 | 59.03 | 59.82
Back to main menu

## Figure 10
Back to main menu
Figure 10: Summer Daily Load Shape Hourly Profile
# | Demand Forecast | Unit of Measure | Hour Ending
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | 2024 Low | Net Hourly Demand (GW) | 12.87 | 12.55 | 12.31 | 12.17 | 12.03 | 12.04 | 12.45 | 13.43 | 14.33 | 15.01 | 15.51 | 15.8 | 15.9 | 16.01 | 16.07 | 16.33 | 16.53 | 16.54 | 16.32 | 16.11 | 15.61 | 15.08 | 14.19 | 13.44
2 | 2024 Median | Net Hourly Demand (GW) | 14.6 | 14.08 | 13.74 | 13.67 | 13.93 | 14.75 | 16.07 | 17.48 | 18.65 | 19.39 | 19.83 | 20.1 | 20.34 | 20.45 | 20.55 | 20.71 | 20.71 | 20.44 | 20.18 | 19.68 | 18.92 | 18.05 | 16.76 | 15.44
3 | 2024 High | Net Hourly Demand (GW) | 16.68 | 16.02 | 15.59 | 15.4 | 15.65 | 16.44 | 17.87 | 19.54 | 20.9 | 22.05 | 22.91 | 23.53 | 23.94 | 24.21 | 24.38 | 24.55 | 24.68 | 24.26 | 23.7 | 23.04 | 22.22 | 21.05 | 19.41 | 17.85
4 | 2050 Low | Net Hourly Demand (GW) | 23.75 | 23.06 | 22.61 | 21.95 | 21.59 | 22.18 | 23.73 | 25.07 | 26.03 | 26.52 | 27.15 | 27.54 | 27.78 | 27.77 | 27.74 | 27.7 | 27.96 | 27.42 | 27.85 | 27.99 | 28.08 | 27.49 | 26.33 | 25.35
5 | 2050 Median | Net Hourly Demand (GW) | 27.3 | 26.42 | 25.7 | 24.75 | 24.06 | 24.41 | 26 | 27.63 | 28.85 | 29.69 | 30.53 | 31.1 | 31.48 | 31.54 | 31.59 | 31.33 | 31.59 | 31.37 | 31.64 | 31.56 | 31.82 | 31.2 | 29.73 | 28.43
6 | 2050 High | Net Hourly Demand (GW) | 27.56 | 26.53 | 25.89 | 25.18 | 25.21 | 26.58 | 29.14 | 31.19 | 32.6 | 33.57 | 34.56 | 35.26 | 35.82 | 35.96 | 36.06 | 35.92 | 36.12 | 35.14 | 35.22 | 34.92 | 34.7 | 33.47 | 31.55 | 29.76
Back to main menu

## Figure 11
Back to main menu
Figure 11: Winter Daily Load Shape Hourly Profile
# | Demand Forecast | Unit of Measure | Hour Ending
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | 2024 Low | Net Hourly Demand (GW) | 15.46 | 15.16 | 14.88 | 14.72 | 14.68 | 14.76 | 15.12 | 15.7 | 16.01 | 16.54 | 17.18 | 17.63 | 17.92 | 18.02 | 17.91 | 17.94 | 18.41 | 18.81 | 19.04 | 18.76 | 18.45 | 17.85 | 16.96 | 15.82
2 | 2024 Median | Net Hourly Demand (GW) | 16.52 | 16.15 | 15.99 | 15.95 | 16.09 | 16.59 | 17.79 | 19.27 | 19.64 | 19.77 | 19.9 | 19.95 | 19.9 | 19.89 | 19.76 | 19.82 | 20.08 | 20.63 | 20.69 | 20.44 | 20.04 | 19.33 | 18.38 | 17.27
3 | 2024 High | Net Hourly Demand (GW) | 18.34 | 17.92 | 17.6 | 17.53 | 17.59 | 18.03 | 19.33 | 21.07 | 21.26 | 21.23 | 21.4 | 21.51 | 21.38 | 21.31 | 21.14 | 21.01 | 21.09 | 22.1 | 22.63 | 22.67 | 22.5 | 21.73 | 20.53 | 19.21
4 | 2050 Low | Net Hourly Demand (GW) | 41.29 | 41.67 | 42.45 | 43.4 | 43.46 | 43.18 | 45.33 | 47.8 | 47.08 | 45.82 | 44.1 | 42.87 | 41.7 | 40.84 | 39.67 | 39.75 | 39.61 | 40.73 | 41.98 | 42.8 | 42.62 | 42.03 | 40.38 | 42.24
5 | 2050 Median | Net Hourly Demand (GW) | 48.6 | 48.79 | 49.29 | 49.92 | 49.75 | 48.94 | 50.85 | 53 | 52.26 | 51.09 | 49.82 | 48.59 | 47.3 | 46.53 | 45.67 | 45.96 | 46.75 | 48.68 | 49.46 | 49.65 | 48.91 | 48.08 | 47.5 | 49.26
6 | 2050 High | Net Hourly Demand (GW) | 55.15 | 55.64 | 55.83 | 56.57 | 56.17 | 55.45 | 56.89 | 59.55 | 59.82 | 58.57 | 57.11 | 55.67 | 53.82 | 52.28 | 50.81 | 50.59 | 50.6 | 51.16 | 52.02 | 52.51 | 52.4 | 52.7 | 52.48 | 54.39
Back to main menu

## Figure 12
Back to main menu
Figure 12: Pathway scenario - Installed capacity in 2050
Fuel Type | Today's Capacity Remaining in 2050 (Existing and Committed) | New Capacity Online by 2050 | Total Capacity in 2050
Nuclear | 8653 | 17800 | 26453
Hydroelectric | 9348.029 | 657 | 10005.029
Wind | 160 | 17600 | 17760
Solar | 259 | 6000 | 6259
Bioenergy | 41 | 0 | 41
Hydrogen | 0 | 15000 | 15000
DR/DL | 807.6 | 5936.4 | 6744
Import | 331 | 3800 | 4131
Storage | 0 | 2000 | 2000
Total | 19599.629 | 68793.4 | 88393.029
Back to main menu

## Figure 13
Back to main menu
Figure 13: Pathway scenario - Energy in 2050
Fuel Type | Energy from Today's Capacity Remaining in 2050 | Energy from New Capacity Online by 2050 | Energy from Total Capacity in 2050
Nuclear | 69.824 | 63.303 | 133.127
Hydroelectric | 40.788 | 2.714 | 43.502
Wind | 1.774 | 61.585 | 63.359
Solar | 0.609 | 10.953 | 11.562
Bioenergy | 0.138 | 0 | 0.138
Hydrogen | 0 | 11.615 | 11.615
DR/DL | 0 | 0.10022 | 0.10022
Import | 0 | 30.371 | 30.371
Storage | 0 | 0.050632 | 0.050632
Total | 113.133 | 180.6918 | 293.8248
Back to main menu

## Additional Data
Back to main menu
Additional Data
Sector Deamnd Forecast | Moratorium scenario 2035 | Pathways scenario 2050
Residential Sector | 51.4624 | 98.5676
Commercial Sector | 49.9599 | 67.281
Industrial Sector | 39.3012 | 74.4027
Agricultural Sector | 10.1121 | 12.7936
Transportation Sector | 10.0014 | 34.0784
Other Electricity Demand | 5.7823 | 6.6741
Total | 166.6192 | 293.7974 | 460.4166
Back to main menu