## Menu
Annual Planning Outlook
Data Tables
December 2020
Chapter 1: Demand Forecast
Figure 2: Scenario 1 - Sectoral - Annual Energy Demand
Figure 3: Scenario 1 - Seasonal - Annual Peak Demand
Chapter 2: Supply and Transmission Outlook
Figure 8: Installed Capacity 2022-2040
Figure 9: Summer Effective Capacity 2022-2040
Figure 10: Winter Effective Capacity 2022-2040
Chapter 3: Resource Adequacy
Figure 20: Scenario 1 – Energy Adequacy Outlook, with Continued Availability of Existing Resources
Figure 24: Scenario 1 – Energy Production Outlook
Chapter 7: Outcomes and Other Considerations
Figure 37: Electricity Sector GHG Emissions, Historical and Forecast

## Figure 2
Back to main menu
Figure 2: Scenario 1 - Sectoral - Annual Energy Demand (TWh)
Source | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Residential Sector | 48.48 | 48.8 | 49.33 | 49.57 | 49.88 | 50.25 | 50.45 | 50.45 | 50.82 | 51.25 | 51.84 | 52.56 | 53.34 | 54.4 | 55.1 | 55.54 | 55.88 | 56.27 | 57.07
Commercial Sector | 47.85 | 48.71 | 49.18 | 49.28 | 49.54 | 49.83 | 50.67 | 51.65 | 52.61 | 53.07 | 53.41 | 53.57 | 53.74 | 53.9 | 54.19 | 54.4 | 54.67 | 55.05 | 55.34
Industrial Sector | 35 | 35.89 | 36.83 | 37.19 | 37.14 | 37.34 | 37.02 | 36.87 | 37.09 | 37.28 | 37.29 | 37.28 | 37.61 | 38.3 | 38.89 | 38.94 | 39.06 | 39.27 | 39.69
Agricultural Sector | 4.24 | 5.09 | 5.55 | 5.66 | 6.36 | 7.14 | 7.9 | 8.44 | 8.94 | 9.4 | 9.86 | 10.09 | 10.1 | 10.13 | 10.11 | 10.11 | 10.11 | 10.11 | 10.12
Electric Vehicles | 0.4 | 0.54 | 0.7 | 0.89 | 1.1 | 1.36 | 1.64 | 1.93 | 2.24 | 2.48 | 2.72 | 2.95 | 3.17 | 3.37 | 3.54 | 3.69 | 3.83 | 3.95 | 4.06
Rail Transit Electrification | 0.28 | 0.34 | 0.4 | 0.74 | 1.09 | 1.63 | 1.63 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84
Other Electricity Demand | 5.21 | 5.24 | 5.31 | 5.35 | 5.38 | 5.42 | 5.46 | 5.49 | 5.52 | 5.56 | 5.59 | 5.62 | 5.65 | 5.67 | 5.71 | 5.75 | 5.78 | 5.82 | 5.85
Total | 141.46 | 144.62 | 147.3 | 148.67 | 150.5 | 152.97 | 154.76 | 156.68 | 159.06 | 160.87 | 162.55 | 163.91 | 165.45 | 167.61 | 169.38 | 170.26 | 171.17 | 172.3 | 173.98
Back to main menu

## Figure 3
Back to main menu
Figure 3: Scenario 1 - Seasonal - Annual Peak Demand (GW)
Season | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Summer | 23.13 | 23.58 | 23.83 | 24.09 | 24.34 | 24.64 | 24.81 | 25.12 | 25.45 | 25.67 | 25.81 | 26 | 26.2 | 26.45 | 26.63 | 26.83 | 26.94 | 27.1 | 27.27
Winter | 22.08 | 22.45 | 22.95 | 23.16 | 23.42 | 23.77 | 23.97 | 24.17 | 24.55 | 24.8 | 25 | 25.26 | 25.47 | 25.73 | 25.88 | 26.09 | 26.2 | 26.35 | 26.54
Back to main menu

## Figure 6
Back to main menu
Figure 6: Industrial Conservation Initiative Impact - Peak System Day Hourly Demand Impact (GW)
Hour
Metric | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2022 - 2040 System Peak Day ICI Impact | -0.13 | -0.08 | -0.08 | -0.04 | -0.01 | 0 | 0.04 | 0.05 | 0.03 | -0.05 | -0.21 | -0.39 | -0.55 | -0.68 | -0.83 | -1 | -1.08 | -1.09 | -1.06 | -0.8 | -0.54 | -0.26 | -0.15 | -0.14
Back to main menu

## Figure 8
Back to main menu
Figure 8: Installed Capacity 2022-2040 (GW)
Fuel | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nuclear | 10.4601 | 9.6161 | 9.9811 | 9.5621 | 8.322 | 9.106 | 8.286 | 9.106 | 8.286 | 9.106 | 9.106 | 9.926 | 9.926 | 9.926 | 9.926 | 9.926 | 9.926 | 9.926 | 9.926
Gas/Oil | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723
Hydroelectric | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728
Wind | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333
Solar | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732
Demand Response | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526
Bioenergy | 0.41053 | 0.41053 | 0.41053 | 0.41053 | 0.41053 | 0.41053 | 0.41053 | 0.41053 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453
Total | 40.0749 | 39.2309 | 39.5959 | 39.1769 | 37.9368 | 38.7208 | 37.9008 | 38.7208 | 37.9048 | 38.7248 | 38.7248 | 39.5448 | 39.5448 | 39.5448 | 39.5448 | 39.5448 | 39.5448 | 39.5448 | 39.5448
Back to main menu

## Figure 9
Back to main menu
Figure 9: Summer Effective Capacity 2022-2040 (GW)
Fuel | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nuclear | 9.8809 | 9.1517 | 9.9385 | 9.0813 | 7.0785 | 7.9153 | 7.8391 | 8.638 | 7.8421 | 8.6399 | 8.6399 | 9.4358 | 9.4358 | 9.4358 | 9.4358 | 9.4358 | 9.4358 | 9.4358 | 9.4358
Gas/Oil | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175
Hydroelectric | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116
Wind | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676
Solar | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584
Demand Response | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933
Bioenergy | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983
Total | 27.388 | 26.6588 | 27.4457 | 26.5884 | 24.5856 | 25.4224 | 25.3463 | 26.1451 | 25.3529 | 26.1508 | 26.1508 | 26.9467 | 26.9467 | 26.9467 | 26.9467 | 26.9467 | 26.9467 | 26.9467 | 26.9467
Back to main menu

## Figure 10
Back to main menu
Figure 10: Winter Effective Capacity 2022-2040 (GW)
Fuel | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40
Nuclear | 9.1657 | 9.9538 | 8.2448 | 7.1484 | 7.9165 | 8.6532 | 7.8593 | 8.6571 | 7.8573 | 8.6513 | 8.6513 | 9.4511 | 9.4511 | 9.4511 | 9.4511 | 9.4511 | 9.4511 | 9.4511
Gas/Oil | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082
Hydroelectric | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129
Wind | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386
Solar | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564
Demand Response | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432
Bioenergy | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983
Total | 28.8614 | 29.6495 | 27.9405 | 26.8441 | 27.6122 | 28.3489 | 27.555 | 28.3528 | 27.5568 | 28.3507 | 28.3507 | 29.1505 | 29.1505 | 29.1505 | 29.1505 | 29.1505 | 29.1505 | 29.1505
Back to main menu

## Figure 20
Back to main menu
Figure 20: Scenario 1 – Energy Adequacy Outlook, with Continued Availability of Existing Resources (TWh)
Fuel | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nuclear | 73.2412 | 67.6274 | 72.9962 | 68.7408 | 58.8061 | 64.3007 | 63.5201 | 70.9869 | 68.0912 | 67.666 | 72.406 | 74.658 | 75.2867 | 78.1346 | 77.3156 | 77.9168 | 75.9419 | 76.7277 | 74.3092
Natural Gas | 10.005 | 16.5995 | 15.9082 | 21.6237 | 31.0834 | 28.7373 | 30.7833 | 26.0198 | 30.4633 | 32.6377 | 29.7493 | 28.991 | 29.9141 | 29.4938 | 31.321 | 31.9271 | 34.4778 | 34.5434 | 38.2012
Hydroelectric | 37.5926 | 37.8546 | 38.6166 | 38.0377 | 38.5095 | 38.2579 | 38.4497 | 38.1859 | 38.3613 | 38.4504 | 38.5442 | 38.4154 | 38.2743 | 38.2331 | 38.474 | 38.4514 | 38.4997 | 38.5402 | 38.6674
Non-Hydro Renewables | 18.349 | 20.2356 | 19.7734 | 20.2344 | 21.729 | 21.4158 | 21.829 | 21.2635 | 21.7669 | 21.8816 | 21.6932 | 21.6821 | 21.5463 | 21.4042 | 21.8435 | 21.6252 | 21.8111 | 21.9024 | 22.1337
HQ Imports | 2.2715 | 2.3013 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Ontario Demand | 141.4718 | 144.6379 | 147.3158 | 148.6889 | 150.5119 | 152.9822 | 154.7743 | 156.6919 | 159.0846 | 160.8928 | 162.5718 | 163.9348 | 165.4673 | 167.6258 | 169.4015 | 170.277 | 171.187 | 172.32 | 173.9946
Back to main menu

## Figure 24
Back to main menu
Figure 24: Scenario 1 – Energy Production Outlook (TWh)
Fuel | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nuclear | 73.4154 | 67.6282 | 73.1396 | 68.7409 | 58.8061 | 64.3007 | 63.5201 | 70.9869 | 68.0912 | 67.666 | 72.406 | 74.658 | 75.2867 | 78.1346 | 77.3156 | 77.9168 | 75.9419 | 76.7277 | 74.3092
Natural Gas | 11.137 | 15.5531 | 17.9396 | 20.5947 | 26.1375 | 28.0154 | 29.2263 | 27.6346 | 31.3484 | 34.7163 | 33.4972 | 33.8703 | 34.0516 | 34.194 | 36.1126 | 36.8148 | 38.7091 | 39.6194 | 42.2654
Hydroelectric | 38.5983 | 38.594 | 38.9101 | 38.7099 | 38.7097 | 38.6942 | 38.7795 | 38.6714 | 38.6477 | 38.6343 | 38.8203 | 38.6871 | 38.6643 | 38.6732 | 38.7518 | 38.7144 | 38.7007 | 38.6857 | 38.7745
Non-Hydro Renewables | 19.4398 | 19.4486 | 19.5249 | 19.4721 | 19.4701 | 19.4877 | 19.547 | 19.4626 | 19.4932 | 19.5041 | 19.5696 | 19.5132 | 19.5058 | 19.4686 | 19.6203 | 19.4843 | 19.5074 | 19.5095 | 19.5888
Imports | 13.6688 | 15.5717 | 11.0922 | 12.9999 | 16.1874 | 13.2686 | 14.2719 | 11.5274 | 12.3438 | 10.7984 | 9.7432 | 9.1037 | 9.7822 | 9.2204 | 9.5776 | 8.7893 | 9.4588 | 9.2465 | 9.6688
Ontario Demand + Exports | 156.2759 | 156.8141 | 160.6232 | 160.5333 | 159.326 | 163.7792 | 165.3574 | 168.2981 | 169.9463 | 171.339 | 174.0584 | 175.8523 | 177.3115 | 179.7097 | 181.4003 | 181.7355 | 182.3363 | 183.8051 | 184.6242
Ontario Demand | 141.479 | 144.642 | 147.3202 | 148.6927 | 150.5129 | 152.9833 | 154.7752 | 156.6936 | 159.0871 | 160.8944 | 162.5755 | 163.9366 | 165.4707 | 167.6289 | 169.404 | 170.2779 | 171.1886 | 172.3206 | 173.9955
Back to main menu

## Figure 37
Back to main menu
Figure 37: Electricity Sector GHG Emissions, Historical and Forecast (Megatonnes CO2e)
Scenario | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020* | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Historic Actual | 2005: 35.4; 2006: 30.8; 2007: 33.9; 2008: 28.3; 2009: 15.3; 2010: 20.3; 2011: 14.4; 2012: 14.3; 2013: 10.3; 2014: 6; 2015: 6.3; 2016: 5.5; 2017: 2.5; 2018: 4; 2019: 4.4
Scenario 1 | 2020*: 5.4; 2021: 3.6; 2022: 4.4; 2023: 6.1; 2024: 7; 2025: 8; 2026: 10.2; 2027: 10.9; 2028: 11.3; 2029: 10.8; 2030: 12.2; 2031: 13.4; 2032: 13; 2033: 13.1; 2034: 13.2; 2035: 13.2; 2036: 14; 2037: 14.2; 2038: 15; 2039: 15.3; 2040: 16.3
Scenario 2 | 2020*: 5.4; 2021: 3.4; 2022: 4; 2023: 5.5; 2024: 6.3; 2025: 7.3; 2026: 9.2; 2027: 9.7; 2028: 10.1; 2029: 9.5; 2030: 10.9; 2031: 12; 2032: 11.4; 2033: 11.6; 2034: 11.7; 2035: 11.9; 2036: 12.6; 2037: 12.9; 2038: 13.6; 2039: 14; 2040: 15
*Note: 2020 emissions data not available; values for 2020 are from the 2019 APO, Energy Efficiency case forecast
Back to main menu