## Scenario Mix
Public
Resource | Capacity (MW)
Small Modular Reactor | 300
Solar | 843
Wind | 4545
Storage | 6373
Firm Imports | 3300
Demand Response | 2000
Total | 17361
Resource | Peak Savings (MW)
Energy Efficiency | 1600

## Capital Cost
Resource | Capital Cost (2020 CAD)
Small Modular Reactor | 3000000000
Solar | 800850000
Wind | 7258365000
Storage | 5703835000
Transmission | 10000000000
Total | 26763050000
.

## Residential Bill Impact
2020 APO - Generic Residential Bill (750 KWh/month, prior to Ontario Electricity Rebate)
An incorrect tab was initially uploaded on October 7th. It was corrected at 5:00 PM on October 8th.
Charge | $/month in 2030
Distribution | 48.84
Line Losses | 2.79
Transmission | 12.81
Delivery (sub-total) | 64.44
Regulated Charges (Wholesale Market Service Costs) | 10.63
Commodity (excludes line losses) | 69.71
Before Taxes | 144.78
HST | 18.82
Total | 163.6
Zero Emissions - Generic Residential Bill (750 KWh/month, prior to Ontario Electricity Rebate)
Charge | $/month in 2030
Distribution | 48.84
Line Losses | 3.26
Transmission | 17.33
Delivery (sub-total) | 69.43
Regulated Charges (Wholesale Market Service Costs) | 10.63
Commodity (excludes line losses) | 151.63
Before Taxes | 231.69
HST | 30.12
Total | 261.81
Residential Bill Impact ($/month increase) | 98.21
Residential Bill Impact (% increase) | 60.03%

## Ontario Emissions
Ontario Emissions by Sector (kt CO2e)
Year | Electricity | Transport | Manufacturing | Industrial Processes | Residential Heating | Agriculture | Waste | Other | Total
2015 | 6251.0644 | 59778.3576 | 15948.2015 | 23396.3953 | 19633.2201 | 9518.0382 | 7014.2386 | 21334.8215 | 162874.3372
2016 | 5542.9786 | 59490.9365 | 15726.1635 | 24544.5361 | 18442.766 | 9965.6686 | 6570.2844 | 20931.4988 | 161214.8325
2017 | 2560.218 | 60186.9335 | 16348.0594 | 22972.8371 | 19173.5421 | 9979.2954 | 6582.5909 | 19790.095 | 157593.5713
2018 | 4091.1167 | 62415.2778 | 15975.9755 | 23594.8138 | 20232.2366 | 9918.4029 | 6616.4898 | 20592.2138 | 163436.5269
2019 | 3876.7913 | 62817.1948 | 15962.8978 | 23014.2974 | 19976.6397 | 9632.3237 | 6738.7112 | 21214.4584 | 163233.3143
Average | 4464.4338 | 60937.74 | 15992.2595 | 23504.5759 | 19491.6809 | 9802.7458 | 6704.463 | 20772.6175 | 161670.5164
https://data.ec.gc.ca/data/substances/monitor/canada-s-official-greenhouse-gas-inventory/ |  |  |  | Table C
Ontario Emissions by Sector (%)
Year | Electricity | Transport | Manufacturing | Industrial Processes | Residential Heating | Agriculture | Waste | Other | Total
2015 | 3.838% | 36.7% | 9.792% | 14.36% | 12.05% | 5.844% | 4.307% | 13.1% | 100%
2016 | 3.438% | 36.9% | 9.755% | 15.22% | 11.44% | 6.182% | 4.075% | 12.98% | 100%
2017 | 1.625% | 38.19% | 10.37% | 14.58% | 12.17% | 6.332% | 4.177% | 12.56% | 100%
2018 | 2.503% | 38.19% | 9.775% | 14.44% | 12.38% | 6.069% | 4.048% | 12.6% | 100%
2019 | 2.375% | 38.48% | 9.779% | 14.1% | 12.24% | 5.901% | 4.128% | 13% | 100%
Average | 2.756% | 37.69% | 9.895% | 14.54% | 12.06% | 6.065% | 4.147% | 12.85% | 100%

## Jurisdiction Emissions
Jurisdiction | 2019 (gCO2/kWh) | Link | Assumptions
Ontario | 26.1253 | https://data.ec.gc.ca/data/substances/monitor/canada-s-official-greenhouse-gas-inventory/ https://www.ieso.ca/en/Corporate-IESO/Media/Year-End-Data/2019 | CO2e emissions for Public Electricity and Heat Production divided by total energy production
Canada | 137 | https://www.climate-transparency.org/wp-content/uploads/2020/11/Canada-CT-2020.pdf | Based on power sector
USA | 383 | https://www.climate-transparency.org/wp-content/uploads/2020/11/USA-CT-2020.pdf | Based on power sector
UK | 196 | https://www.climate-transparency.org/wp-content/uploads/2020/11/UK-CT-2020.pdf | Based on power sector
France | 49 | https://www.climate-transparency.org/wp-content/uploads/2020/11/France-CT-2020.pdf | Based on power sector
Germany | 331 | https://www.climate-transparency.org/wp-content/uploads/2020/12/Germany-CT-2020.pdf | Based on power sector
New York | 188.2398 | https://www.eia.gov/electricity/state/newyork/ | Based on electricity profile
New England | 287.1225 | https://www.iso-ne.com/static-assets/documents/2021/03/2019_air_emissions_report.pdf | ISO New England System Average
PJM | 386.0051 | https://www.pjm.com/~/media/library/reports-notices/special-reports/2019/2019-emissions-report.ashx | PJM System Average

## Vehicle Emissions
Fuel | Emissions Content
Natural Gas (kg CO2e/MMBtu) | 53.16
Gasoline (kg CO2e/litre) | 2.3194
https://www.epa.gov/sites/default/files/2016-03/documents/stationaryemissions_3_2016.pdf
Emission Rates | Btu/kWh | kg CO2e/kWh
Combined Cycle Gas Turbine (CCGT) | 7500 | 0.3987
2019 Ontario Average (OA) | n/a | 0.026125
2022 Hyundai Kona Gasoline Fuel Economy* | litres/100 km | Gasoline - kg CO2e/100 km
Combined (Highway/City) | 7.4 | 17.1638
2022 Hyundai Kona Electric Fuel Economy | kWh/100 km | CCGT - kg CO2e/100 km | 2019 OA - kg CO2e/100 km
Combined (Highway/City) | 17.4 | 6.9374 | 0.45458
*The 2022 Hyundai Kona offers both gasoline and 100% electric models.