PUBLIC

Market Manual

Market Manual 1: Connecting to Ontario’s Power System

# Part 0.1.5: Market Registration Procedures

Issue 2.1

September 10, 2025

This market manual provides details regarding the registration requirements for participation in the day-ahead market and the real-time market.

Document Change History

| Issue | Reason for Issue | Date |
| --- | --- | --- |
| Refer to Issue 9.0 (PRO-408) for changes prior to Market Transition. |  |  |
| 1.0 | Market Transition | November 11, 2024 |
| 2.0 | Updated in advance of MRP Go Live – May 1, 2025 | April 25, 2025 |
| 2.1 | Issue released for Baseline 54.0 | September 10, 2025 |

Related Documents

| Document ID | Document Title |
| --- | --- |
| MAN-129 | Market Manual 1.4: Connection Assessment and Approval |
| MAN-130 | Market Manual 1.6: Performance Validation |

Table of Contents

Table of Contents	i

List of Figures	iv

List of Tables	iv

Table of Changes	vi

Market Transition	vii

Market Manual Conventions	viii

1.	Introduction	1

1.1	Purpose	1

1.2	Scope	3

1.3	Training and Reference Documents	4

1.4	Contact Information	4

2.	Authorize Market and Program Participation	5

2.1	Register an Organization	5

2.1.1	Participation Agreement	6

2.1.2	Initial Access to Online IESO	6

2.2	Register as a Market Participant	7

2.2.1	Submission Requirements	7

2.2.2	Types of Market Participants	9

2.2.3	Organization Roles and Responsibilities	10

2.2.4	Registration Approval Notification for a Market Participant	11

2.3	Register as a Program Participant	12

2.3.1	Submission Requirements	12

2.3.2	Program Participant Types	12

2.3.3	Registration Approval Notification for a Program Participant	13

2.4	Register as a Service Provider	14

2.4.1	Submission Requirements	14

2.4.2	Service Provider Types	14

2.4.3	Authorization Notification for a Service Provider	15

3.	Register Equipment	16

3.1	Roles, Responsibilities and Relationships	16

3.1.1	Equipment Registration Specialist	16

3.1.2	Facility Contacts	16

3.1.3	Relationships	17

3.2	Registration of Facilities and Equipment	19

3.2.1	Assessment Requirements	20

3.2.2	Submission Requirements	20

3.2.3	Metering Requirements	23

3.2.4	Data Monitoring Requirements	23

3.2.5	Market Rule Exemptions	23

3.2.6	Facility Registration Status	23

3.2.7	Participant and Facility Testing	25

3.2.8	Eligibility to Provide Operating Reserve	26

3.3	Registration of Resources for Generators	28

3.3.1	General Generation Resource Registration Requirements	34

3.3.2	Dispatchable Hydroelectric Generation Resource Registration Requirements	38

3.3.3	Dispatchable Non-Quick Start Generation Resources	43

3.3.4	Combined Cycle Plant	45

3.4	Registration of Resources for Wholesale Consumers	51

3.5	Registration of Facilities, Equipment, and Resources for Electricity Storage Participants	57

3.6	Aggregation of Equipment and Resources	63

3.6.1	Resource Compliance Aggregation	63

3.7	Participation in Centralized Forecasting Service for Generation Facilities that have Variable Generation Resources	64

3.7.1	Operational and Meteorological Monitoring	65

3.7.2	Meteorological Monitoring - Wind Generation Facilities	65

3.7.3	Meteorological Towers and Sodar/Lidar Technology	65

3.7.4	Operational Monitoring - Solar Generation Facilities	66

3.8	Next Steps	66

3.8.1	Commission Equipment	66

3.8.2	Performance Validation	67

4.	Maintain IESO Registered Data	68

4.1	Maintain Organization/Participant Registered Data	68

4.1.1	Change Organization Name	69

4.1.2	Change Participation Type	69

4.1.3	Access Additions/Changes to IESO Systems	69

4.1.4	Changes to Mandatory Organization Contacts	69

4.2	Facility, Equipment and Resource Data Maintenance	71

4.2.1	Data Monitoring and Voice Communications Changes	73

4.2.2	Changes to Bid/Offer Type Registration Parameter for Load Resources	73

4.2.3	Assessments for Operating Reserve Market Participation	75

4.2.4	Changes to Self-Scheduling Generators	75

4.2.5	Changes to Intermittent Generators	75

4.2.6	Changes to Electricity Storage Facilities	76

4.2.7	Transfer of Facility Registration	76

4.3	Document Changes	77

5.	Facility Deregistration/Market Participant Withdrawal	78

5.1	Facility Deregistration	78

5.1.1	Determining Whether Technical Assessment Is Required	78

5.1.2	When Technical Assessment Is Not Required	79

5.1.3	When Technical Assessment Is Required	79

5.2	Market Participant, Program Participant or Service Provider Withdrawal	82

5.3	Market Participant Deregistration or Termination for Non-compliance	83

5.3.1	Termination Order	83

5.3.2	Deregistration for Non-Compliance	83

6.	Cost Recovery for Reliable Integration Activities	84

6.1	Reliable Integration Activities	84

6.2	Cost Allocation	85

6.2.1	New or Modified Facilities	85

6.2.2	Cost Apportioning for Cluster Studies	86

6.2.3	Criteria for Apportioning Cost for Cluster Studies	87

6.2.4	Cost Allocation for RAS Classification	88

6.3	Invoicing	88

Appendix A:	Technical Communication Requirements	91

Appendix B:	Wind Resource Data Requirements	94

Appendix C:	Solar Resource Data Requirements	97

References	101

List of Figures

Figure 3-1: Single-Line Diagram Example	17

Figure 3-2:- Cascade Group, Forebay, Resource Relationships	41

Figure 3-3: Time Lag Example	42

Figure 3-4: Combined Cycle Plant Relationships and Resource Data Parameter Requirements	48

Figure 5-1: Facility Deregistration Process (requested by Market Participant)	81

List of Tables

Table 1-1: Market Manuals Related to the Connecting to Ontario’s Power System Process	1

Table 2-1: Online Application Form Descriptions	5

Table 2-2: Submission Requirements for Market Participant Authorization	7

Table 2-3: Types of Market Participants and Scope of Participation	9

Table 2-4: Organization Roles and Responsibilities	11

Table 2-5: Requirements to Register as a Program Participant	12

Table 2-6: Program Participant Types	12

Table 2-7: Requirements to Register as a Service Provider	14

Table 2-8: Service Provider Types	14

Table 3-1: Market Participant/Resource Role Relationships	18

Table 3-2: Submission Requirements for Recording Equipment	20

Table 3-3: Generation Participation Type by Bid/Offer Type Resource Data Parameter	28

Table 3-4: Resource Data Parameter Requirements by Generation Participation Type	30

Table 3-5: Applicability of Financial Reference Levels by Resource Technology Type	36

Table 3-6: Reference Levels for Non-Financial Dispatch Data Parameters	37

Table 3-7: Reference Quantities by Technology Type and Market	38

Table 3-8: Types of Load Resources	51

Table 3-9: Load Resource Registration Parameters	52

Table 3-10: Dispatchable Load Eligibility Criteria	54

Table 3-11: Applicability of Financial Reference Levels by Types of Loads	56

Table 3-12: Reference Levels for Non-Financial Dispatch Data Parameters	57

Table 3-13: Reference Quantities by Load Participation Type and Market	57

Table 3-14: Electricity Storage Resource Type versus Registration Requirements	59

Table 3-15: Additional Data Required for Electricity Storage Facilities	60

Table 3-16: Electricity Storage Data Monitoring – Evolving Framework for Electricity Storage	61

Table 3-17: Requirements for Operating Reserve Market Participation	62

Table 3-18: Meteorological Tower or Sodar/Lidar Unit Requirements for Wind Facilities	66

Table 5-1: Actions during Deregistration	79

Table A-1: Market Rule Technical Requirements	92

Table B-1: Wind Resource Data Requirements	94

Table B-2: Wind Resource Operational Monitoring Requirements	95

Table B-3: Met Tower and Sodar/Lidar Unit Requirements	95

Table B-4: Nacelle-mounted Data Collection Requirements	96

Table C-1: Solar Resource Data Requirements	97

Table C-2: Solar Resource Operational Monitoring Requirements	98

Table C-3: Solar Resource Meteorological Monitoring Requirements	98

Table of Changes

| Reference | Description of Change |
| --- | --- |
| Section 2.2.1, Table 2-2 | Removed the requirement for prospective TR participants, virtual traders and capacity auction participants to indicate their intention in the HST Registration Number field in Online IESO, as this requirement is no longer needed. Corrected the description for Emergency Preparedness Plan to indicate that TR participants and virtual traders are required to submit a single-page emergency preparedness plan. Only capacity auction participants are not required to submit an emergency preparedness plan. |

Market Transition

A.1.1	This market manual is part of the renewed market rules, which pertain to:

A.1.1.1	the period prior to a market transition insofar as the provisions are relevant and applicable to the rights and obligations of the IESO and market participants relating to preparation for participation in the IESO administered markets following commencement of market transition; and

A.1.1.2	the period following commencement of market transition in respect of all the rights and obligations of the IESO and market participants.

A.1.2	All references herein to chapters or provisions of the market rules or market manuals will be interpreted as, and deemed to be references to chapters and provisions of the renewed market rules.

A.1.3	Upon commencement of the market transition, the legacy market rules will be immediately revoked and only the renewed market rules will remain in force.

A.1.4	For certainty, the revocation of the legacy market rules upon commencement of market transition does not:

A.1.4.1	affect the previous operation of any market rule or market manual in effect prior to the market transition;

A.1.4.2	affect any right, privilege, obligation or liability that came into existence under the market rules or market manuals in effect prior to the market transition;

A.1.4.3	affect any breach, non-compliance, offense or violation committed under or relating to the market rules or market manuals in effect prior to the market transition, or any sanction or penalty incurred in connection with such breach, non-compliance, offense or violation; or

A.1.4.4	affect an investigation, proceeding or remedy in respect of:

(a)	a right, privilege, obligation or liability described in subsection A.1.4.2; or

(b)	a sanction or penalty described in subsection A.1.4.3.

A.1.5	An investigation, proceeding or remedy pertaining to any matter described in subsection A.1.4.3 may be commenced, continued or enforced, and any sanction or penalty may be imposed, as if the legacy market rules had not been revoked.

Market Manual Conventions

The standard conventions followed for market manuals are as follows:

The word 'shall' denotes a mandatory requirement;

References to market rule sections and sub-sections may be abbreviated in accordance with the following representative format: ‘MR Ch.1 ss.1.1-1.2’ (i.e. market rules, Chapter 1, sections 1.1 to 1.2).

References to market manual sections and sub-sections may be abbreviated in accordance with the following representative format: ‘MM 1.5 ss.1.1-1.2’ (i.e. market manual 1.5, sections 1.1 to 1.2).

Internal references to sections and sub-sections within this manual take the representative format: ‘sections 1.1 – 1.2’

Terms and acronyms used in this market manual and its appended documents that are italicized have the meanings ascribed thereto in MR Ch.11;

All user interface labels and options that appear on the IESO gateway and tools are formatted with the bold font style; and

Data fields are identified in all capitals.

– End of Section –

## Introduction

### Purpose

This market manual provides administrative and procedural details to the market rules governing the procedures related to Market Registration, including supplementary information relevant to understanding the rights and obligations of the IESO and market participants.

Market manuals must be read in conjunction with the applicable market rules. Where there is a conflict between a market manual and the market rules, the market rules shall prevail.

MM 1.5 is the second of three market manuals that cover the Connecting to Ontario’s Power System process. The Connecting to Ontario’s Power System process consists of six stages, which are described in the market manuals listed in Table 1-1-.

Table 1-1: Market Manuals Related to the Connecting to Ontario’s Power System Process

| Stage | Market Manual |
| --- | --- |
| 1-Prepare application | MM 1.4 |
| 2-Obtain conditional approval to connect |  |
| 3-Design and build | N/A |
| 4-Authorize market and program participation (also called Participant Authorization) | MM 1.5 |
| 5-Register equipment |  |
| 6-Commission equipment and validate performance | MM 1.5, and MM 1.6 |

This market manual contains the Market Registration procedures, which encompass all of Stages 4 and 5 of the process, in addition to Commission Equipment procedures for Stage 6.

These procedures are comprised of:

authorize market and program participation (described in section 2);

register and commission equipment (described in section 3);

maintain market participant, program participant, facility, resource, and equipment data registered with the IESO (described in section 4);

deregister and disconnect an existing facility and its associated resources (described in section 5); and

withdraw a market participant from the IESO-administered markets (described in section 5).

In some cases, an IESO contract will require an organization to register as a program participant regardless as to whether it has a facility that is connected to the IESO-controlled grid.

Meter registration must be completed for any facility connecting to the IESO-controlled grid or where any financial transaction associated with such a facility is to be settled by the IESO. For information on procedures relating to the registration of meter points and submission of meter totalization tables, refer to MM 3.0.

The content of this market manual serves as a roadmap for market participants, program participants and service providers and reflects the requirements set out in the market rules and in certain standards and policies established by the IESO.

The procedures in this market manual are applicable to:

any person wishing to apply for participation in the IESO-administered markets or programs, or wishing to apply as a service provider (Stage 4);

any market participant or program participant wishing to register equipment (Stage 5);

any market participant or program participant wishing to commission equipment (Stage 6);

any market participant or program participant wishing to update their equipment data;

any market participant, program participant, or service provider wishing to update their registration data;

any market participant or program participant wishing to deregister equipment; and

any market participant, program participant, or service provider wishing to withdraw their participation from one or more of the IESO-administered markets or programs.

Owners of new facilities connecting to the IESO-controlled grid, providing an ancillary service for the IESO, or modifying an existing facility registered with the IESO are required to complete Stages 1 through 3 of the Connecting to Ontario’s Power System process before starting the Market Registration procedures described in this market manual. Stages 1 and 2 are described in MM 1.4.

### Scope

This market manual supplements the following market rules:

- MR Ch.1 s.11: Information Disclosure

- MR Ch.2 and Appendix: Participation

- MR Ch.3 s.2: Dispute Resolution

- MR Ch.3 s.6: Enforcement

- MR Ch.4 s.7: Provision of Connection-Related Information

- MR App.4.15: IESO Monitoring Requirements: Generators

- MR App.4.19: IESO Monitoring Requirements: Generator Performance Standards

- MR App.4.24: IESO Monitoring Requirements: Electricity Storage Participants

- MR Ch.5 s.4.8: Reliability Must-Run Resources

- MR Ch.5 s.4.9: Auditing and Testing of Ancillary Services

- MR Ch.5 s.11: Emergency Preparedness and System Restoration

- MR Ch.5 App.5.1 s.1.2: Operating Reserve

- MR Ch.6 s.5.1.3

- MR Ch.7 s.2: Registration for Physical Operations in the Day-Ahead Market and Real-Time Market

- MR Ch.7 s.3.5.10

- MR Ch.7 s.3.5.11

- MR Ch.7 s.9.4: The Effect of Grid Connection Requirements

- MR Ch.7 s.9.5: Payment for Ancillary Services and Recovery of Costs

- MR Ch.7 s.18: Capacity Auctions

- MR Ch.7 s.21: Electricity Storage in the IESO-Administered Markets

- MR Ch.7 s.22: Market Power Mitigation

- MR Ch.8 s.3.8: Participation in TR Markets and Rules Applicable to TR Participants

- MR Ch.9 s.2.1.2

- MR Ch.9 s.4.4: Day-Ahead Market Generator Offer Guarantee

- MR Ch.9 s.4.5: Real-Time Generator Offer Guarantee

- MR Ch.9 s.6.20: Settlement Accounts

- MR Ch.11: Definitions

### Training and Reference Documents

The Marketplace Training page of the IESO website contains workbooks, training guides, and quick takes that applicants can use, specific to each participation type. Instructor-led courses are also available for applicants.

The Connection Process page of the IESO website contains guidance on the overall connection process and the standard timelines for stages and activities.

### Contact Information

Changes to this market manual are managed via the IESO Change Management process. Stakeholders are encouraged to participate in the evolution of this market manual via this process.

To contact the IESO, market participants can email IESO Customer Relations at customer.relations@ieso.ca or use telephone or mail. Telephone numbers and the mailing address can be found on the IESO website . IESO Customer Relations staff will respond as soon as possible.

– End of Section –

## Authorize Market and Program Participation

### Register an Organization

(MR Ch.2 s.3.1.1 and 3.1.3)

Prospective market participants, program participants, and service providers must register their organization through the Online Application Form on the IESO website. An entity may be registered as any or all of a market participant, program participant, and/or service provider.

The Online Application Form is divided into four sections, whose requirements are described further in Table 2-1-.

Table 2-1: Online Application Form Descriptions

| Section |  |  | Contents and Description |
| --- | --- | --- | --- |
| 1 | Organization Information | This section contains the following fields: Organization Name, Organization Short Name (maximum of eight characters), Address, Main Phone Number, Web Address and HST Registration Number (if applicable). |  |
| 2 | Active Organization Evidence | This section contains the following fields: Business Entity Type: The applicant identifies the type of business (e.g., corporation, LLP, proprietorship, etc.), business identification number (if applicable) and jurisdiction of registration. Intent of Registration: The applicant identifies whether they intend to register as a market participant, program participant, or a service provider. |  |
| 3 | Mandatory Organization Contacts | This section requires applicants to identify at least one person (preferably more) in their organization for each of the following contact types: Authorized Representative Primary Contact Rights Administrator Applicant Representative These contact types and all organization contact roles are described in the Online IESO Guide for all Contact Roles. For information on changing a mandatory contact, refer to section 4.1.4. |  |
| 4 | Submitter’s Contact Information | The section collects the name and contact information of the person who will be the IESO’s point of contact during the registration process. |  |

The data submitted using the online application form will be validated by the IESO. In some cases, the IESO may request clarification pursuant to MR Ch.2 s.3.1.3 and the data may need to be revised by the prospective market participant, program participant, or service provider before it is approved. Once approved, the IESO will create organization and contact records in Online IESO using the submitted data.

#### Participation Agreement

(MR Ch.2 s.1.2.2 and MR Ch.6 s.5.1.3)

Once the organization and contact records in Online IESO are established, a participation agreement is generated and couriered to the Applicant’s Authorized Representative for signature and return to the IESO. An executed participation agreement is required for a participant to be authorized pursuant to MR Ch.2 s.1.2.2.3 or MR Ch.6 s.5.1.3.2.

Once the IESO receives the signed participation agreement, the IESO reviews and signs the participation agreement and sends a hard copy of the executed participation agreement to the prospective market participant, program participant, or service provider. A copy of the fully executed participation agreement will be accessible from Online IESO.

#### Initial Access to Online IESO

(MR Ch.2 s.3.1.1)

The IESO will provide initial access to Online IESO, through an email notification, to all of the prospective market participant’s, program participant’s, or service provider’s mandatory organization contacts following the execution of the participation agreement. Mandatory contacts can complete their assigned Manage Participation procedures (i.e., Actions) in Online IESO.

### Register as a Market Participant

#### Submission Requirements

(MR Ch.2 ss.1.2.2.4, 1.2.2.6 and 3.1.2, MR Ch.7 s.22.9, and MR Ch.9 ss.6.20.12 and 6.20.13)

When registering as a market participant pursuant to MR Ch.2 ss.1.2 and 3.1, a prospective market participant must submit the applicable information described in Table 2-2- through Online IESO. The prospective market participant may contact the IESO at market.registration@ieso.ca for additional information about requirements that may be applicable for their intended participation type.

Table 2-2: Submission Requirements for Market Participant Authorization

| Submission Requirement | Description |
| --- | --- |
| IESO Market Entry Application Fee | The IESO charges an application fee for authorization of market participation (MR Ch.2 s.3.1.2.1). |
| Ontario Energy Board Licence | Prospective market participants must have an OEB licence for each class of market participant (refer to section 2.2.2) for which they intend to conduct market activities (MR Ch.2 s.1.2.2.4). Transmission rights participants, virtual traders, capacity auction participants or capacity market participants using solely demand response resources do not require an OEB license for that class of participation. |
| Canadian Bank Account | Each prospective market participant to be paid or invoiced by the IESO must submit relevant Canadian bank account information (MR Ch.9 ss.6.20.12-6.20.13). |
| Import/Export/ e-Tag Data | Prospective market participants seeking authorization as an energy trader are required to identify all interties between the IESO control area and adjacent control areas across which they wish to import, export or wheel energy and import or export operating reserve as stated in MR Ch.7 s.2.2.7. These prospective market participants must obtain the relevant e-Tag capability and submit relevant data associated with the e-Tag. The e-Tag specifications and schema are maintained by the North American Energy Standards Board (“NAESB”) and facilitate the processes required by the NERC and NAESB standards related to interties. |
| Canada Energy Regulator Permit | Prospective market participants seeking authorization as energy traders to export or wheel electricity over interties between the IESO control area and adjacent control areas must obtain export permits issued by the Canada Energy Regulator (“CER”) and must submit the permits to the IESO (MR Ch.7 s.2.2.7.2). |
| Harmonized Sales Tax Registration Number | Prospective market participants must obtain and submit to the IESO a Harmonized Sales Tax (HST) registration number (MR Ch.2 s.3.1.1.2(a)). Prospective market participants that intend on solely participating as either a TR participant, a virtual trader or a capacity auction participant are not required to submit an HST registration number. |
| Prudential Support | Each prospective market participant must obtain and submit their prudential support obligation for approval by the IESO pursuant to MR Ch.2 s.5, 5B, 5C, or 5D. For more information, refer to MM 5.4. |
| Emergency Preparedness Plan | Most prospective market participants are required to prepare and submit an emergency preparedness plan for approval by the IESO. Prospective market participants intending to: authorize as a capacity market participant, distributor, generator, wholesale consumer, electricity storage participant or transmitter are required to complete and submit an emergency preparedness plan that meets all applicable requirements in sections 2 and 3 of the Market Participant Emergency Plan Guidelines & Requirements document; or authorize as an energy trader, TR participant, or virtual trader are required only to submit a single-page emergency preparedness plan, as provided in the template in section 2 of the Market Participant Emergency Plan Guidelines & Requirements document. - Capacity auction participants are not required to submit an emergency preparedness plan. MR Ch.5 s.11 describes the content requirements for an emergency preparedness plan. For more information on EPP preparation, refer to: MM 7.10, Appendix C Market Participant Emergency Plan Guidelines & Requirements |
| Market Control Entity | The entities required to be disclosed pursuant to MR Ch.7 s.22.9.2. |
| Market Control Entity for Physical Withholding | Most prospective market participants are required to designate a market control entity for physical withholding for their dispatchable resources, pursuant to MR Ch.7 ss.22.9.3-22.9.7. |

#### Types of Market Participants

(MR Ch.2 s.1.2.1)

Prospective market participants select their applicable market participant types in Online IESO. Table 2-3- lists the market participant types and the markets in which they may participate.

Table 2-3: Types of Market Participants and Scope of Participation

| Type | Scope of Market Participation |
| --- | --- |
| Capacity Auction Participant | A person who participates in the capacity auction and submits capacity auction offers. For more information on capacity auctions, refer to MM 12.0. |
| Capacity Market Participant | A capacity auction participant, who secures a capacity obligation through a capacity auction and satisfies the requirements contemplated in MR Ch.7 s.18. For more information on capacity auctions, refer to MM 12.0. |
| Distributor | Distributors may participate in the energy market only. |
| Electricity Storage Participant | Electricity storage participants may participate in the energy and operating reserve markets and may also provide certain ancillary services, all subject to the requirements of MR Ch.7 s.21. |
| Energy Trader | A person who may participate in the energy market, procurement market or operating reserve market by importing, exporting, or wheeling electricity. Participation in the operating reserve market is restricted to energy traders that intend to import energy. |
| Generator | Generators may participate in the energy market, operating reserve market and procurement market.. |
| Load | A load may participate in both the energy market, operating reserve market, and procurement market. |
| Retailer | Retailers may participate in the financial markets for settlement purposes only. |
| Transmitter | Transmitters may participate in the energy market only. |
| TR Participant | TR participants may participate in the TR market. For information on the participation in the TR market, refer to MM 4.4 and MR Ch.8 s.3.8. |
| Virtual Trader | Virtual traders may participate in the energy market and submit dispatch data in the day-ahead market only. |

#### Organization Roles and Responsibilities

(MR Ch.2 s.3.1.1)

Table 2-4- describes the organization roles applicable to generators, electricity storage participants, wholesale consumers, and capacity market participants. Other than for facilities referred to in MR Ch.7 ss.3.5.10 and 3.5.11, one organization may fill one, more, or all of the roles, depending on its qualifications and responsibilities. In all cases, any organization fulfilling a role must be authorized as a market participant.

Table 2-4: Organization Roles and Responsibilities

| Role | Responsibility |
| --- | --- |
| Owner | The market participant who owns and maintains a facility or specific equipment within a facility. The owner is responsible for completing the Register Equipment procedure and assigning the registered market participant, metered market participant and operator role relationships to equipment or resources if applicable. |
| Operator | The market participant responsible for operating the equipment within a facility in real-time operations. |
| Registered Market Participant | Refer to the MR Ch.11 definition of a registered market participant. |
| Metered Market Participant | Refer to the MR Ch.11 definition of a metered market participant. |
| Metered Market Participant Transmission | The market participant responsible for paying for one or more transmission services to a transmitter relating to an owned facility. |

For electricity storage facilities and generation facilities under the same connection point (the facilities referred to in MR Ch.7 ss.3.5.10 and 3.5.11):

- the registered market participant, metered market participant, and Operator of each associated resource must be the same market participant;

- the Owner of the storage generation resource and the storage load resource must be the same market participant; and

- the Owner of the generation resource may be a different market participant than the Owner for the storage resources.

#### Registration Approval Notification for a Market Participant

(MR Ch.2 s.4.1.1)

The Applicant Representative(s) of prospective market participants who have sufficiently completed their assigned submission tasks in Online IESO, will receive an order authorizing, or conditionally authorizing, the Applicant as described in MR Ch.2 s.4.1.1. This order will be emailed to the Applicant Representative in the form of a RAN or conditional RAN.

After the IESO issues the RAN, the applicant is registered as a market participant and can begin the Register Equipment procedure described in section 3, if applicable.

### Register as a Program Participant

#### Submission Requirements

(MR Ch.2 s.3.1.1)

Prospective program participants registering in one or more IESO programs where billing and effecting payment in respect of financial obligations or transactions will be processed by the IESO, but who are not applying to become authorized as a market participant, must submit the information described in Table 2-5- through Online IESO. Prospective program participants can contact the IESO at market.registration@ieso.ca for additional information about requirements that might be applicable for their intended participation type.

Table 2-5: Requirements to Register as a Program Participant

| Type | Requirements |
| --- | --- |
| Canadian Bank Account | Prospective program participants that need to be paid or invoiced by the IESO must have a Canadian bank account and must submit relevant bank account details to the IESO (MR Ch.9 ss.6.20.12-6.20.13). |
| HST Registration Number | Prospective program participants that need to be paid or invoiced by the IESO must obtain an HST registration number and submit it to the IESO (MR Ch.2 s.3.1.1.2(a)). |

#### Program Participant Types

Prospective program participants select their applicable program participant type in Online IESO. Table 2-6- lists the program participant types and scope of their participation.

Table 2-6: Program Participant Types

| Participation Type | Scope of Program Participation |
| --- | --- |
| Centralized Forecasting Provider | A person with variable generation resources associated with generation facilities that have an installed facility capacity of 5MW or greater, connected to the IESO-controlled grid or a distribution system. These persons must participate in the centralized forecasting program and be authorized as a Centralized Forecasting Provider. Refer to section 3.7 for more information. |
| Embedded Generator | A person with embedded generation facilities (i.e., connected to a distribution system) that are not variable generation resources. An embedded generator is not required to be an embedded market participant. |
| Embedded Load Consumer | A person that participates with an embedded load facility that is not directly connected to the IESO-controlled grid, but is instead embedded within a distribution system. This person is not required to be an embedded market participant. |
| Embedded Electricity Storage Participant | A person with one or more embedded electricity storage facilities (i.e., connected to a distribution system). This person is not required to be an embedded market participant. |
| Energy Performance Program | A person that participates in the Province-wide Energy Performance Conservation and Demand Management Program for Multi-Site Customers. |
| Industrial Accelerator | A person that is eligible to participate in the Industrial Accelerator Program. |
| Program Non-Specific | A person participating in an IESO program that is not listed in Online IESO. |
| Smart Metering Cost Recovery | A person that has a financial settlement with respect to the smart metering charge. |
| Smart Submetering Provider | A person who has a financial settlement with respect to Ontario Clean Energy Benefit Program Government electricity support program as a Smart Unit Submetering Provider. |

#### Registration Approval Notification for a Program Participant

The Applicant Representative of a prospective program participant that has applied to participate as:

a centralized forecasting provider;

an embedded generator;

an embedded electricity storage facility; or

an embedded load consumer.

who has sufficiently completed their assigned submission tasks in Online IESO, will receive a RAN emailed from the IESO notifying them of their authorization for participation.

Prospective program participants registering to participate in IESO programs other than the ones set out above (refer to section 2.3.2) are notified of their authorization by an email from IESO Energy Efficiency.

### Register as a Service Provider

#### Submission Requirements

Persons registering as a service provider where billing and effecting payment in respect of financial obligations or transactions will be processed by the IESO, but who are not applying to become authorized as a market participant, must submit the information described in Table 2-7- through Online IESO. Prospective service providers can contact the IESO at market.registration@ieso.ca for additional information about requirements that might be applicable for their intended participation type.

Table 2-7: Requirements to Register as a Service Provider

| Type | Description |
| --- | --- |
| Canadian Bank Account | Prospective service providers that need to be paid or invoiced by the IESO must submit relevant Canadian bank account details to the IESO. |
| HST Registration Number | Prospective service providers that need to be paid or invoiced by the IESO must obtain an HST registration number and submit it to the IESO. |

#### Service Provider Types

Prospective service providers select their applicable service type in Online IESO. Table 2-8- lists the service provider types and their services.

Table 2-8: Service Provider Types

| Service Type | Scope of Service |
| --- | --- |
| Centralized Forecasting Provider | A forecasting entity that provides a centralized forecasting service relating to variable generation. |
| Metering Service Provider | Refer to MR Ch.11 and to MM 3.8. |
| Meter Data Associate | A person, other than the metered market participant, that has access to metering data. The metered market participant assigns access to this data to the meter data associate. |

#### Authorization Notification for a Service Provider

The IESO notifies Applicant Representatives for prospective service providers who have completed their assigned tasks in Online IESO by an email from IESO Metering.

– End of Section –

## Register Equipment

(MR Ch.7 ss.2.1.1 and 2.2.1)

Market participants must register their facilities and equipment to connect to the IESO-controlled grid. In some cases, a market participant will also register resources to participate in the IESO-administered markets or for billing and effecting payment in respect of financial obligations or transactions processed by the IESO.

The costs incurred by the IESO during the registered equipment phase will be invoiced by the IESO to the market participant according to the provisions described in section 6 of this market manual.

### Roles, Responsibilities and Relationships

The following subsections contain roles and responsibilities information, market participant and equipment relationships, market participant and resource relationships and other background information that organizations having an Owner role (refer to section 2.2.3) should review before starting the Register Equipment procedures.

Depending on the scope of the equipment change (e.g. a new facility or a modified facility registered with the IESO), the facility owner will be required to complete an assessment and/or submit the applicable supporting documentation for the change.

#### Equipment Registration Specialist

The Applicant Representative (refer to section 2.1) must assign an Equipment Registration Specialist contact role. The Equipment Registration Specialist is responsible for initiating and completing tasks, including submitting technical data through Online IESO for their facility, its equipment, and any applicable resources. Online IESO will guide the Equipment Registration Specialist to submit the data that is required. If any data is determined to be inaccurate, incomplete or missing, the IESO will reject it and the Equipment Registration Specialist will need to resubmit updated data.

#### Facility Contacts

The Applicant Representative must assign specific facility contacts, where applicable, including:

- Operator High and Normal Priority, the 24/7 contact section responsible for operating equipment at the facility location,

- Dispatch High and Normal Priority, the 24/7 contact section responsible for carrying out dispatch instructions, and,

- the Facility Coordinator responsible for communications with the IESO about a facility during regular business hours.

#### Relationships

##### Market Participant/Facility Role Relationship

The key role relationships between a market participant and a facility are owner and operator of the equipment within that facility, as described in section 2.2.3.

##### Facility/Resource Relationship

The IESO creates resource and facility data record types in Online IESO for each facility it registers. Establishing a relationship between a facility and one or more resources ensures that a facility is properly represented in the IESO-administered markets and in the IESO systems and tools. This is illustrated in the Single-Line Diagram in Figure 3-1, where a fictitious company GenCo owns a generation facility consisting of one combustion turbine (G1) and one steam turbine (G2) connecting to a common connection point.

Figure 3-1: Single-Line Diagram Example

The generation facility would be registered in Online IESO as GenCo GS and would include all physical equipment that comprise the facility (e.g., generation units, transformers, circuits, and breakers) and their associated technical data. The IESO would create two resources for this facility. The first resource would be identified as Genco-LT.G1 and would include information provided by the generator that is the owner of generation unit G1. The second resource would be identified as Genco-LT.G2. It includes information provided by the generator that is the owner of generation unit G2.

One connection point can have many resources associated with it. For example, a distributor might own a load facility connected to the IESO-controlled grid and be registered with a load resource at that connection point. If a dispatchable generation unit is embedded in the same distribution system, that generation unit would be registered as a separate generation resource associated with the same connection point. In other words, the generation resource will be distinguished from the load resource even though the generation resource is embedded in the distribution system. Both resources have the same connection point because they both inject or withdraw energy into or from the IESO-controlled grid at the same physical connection point.

##### Market Participant-Resource Role Relationships

(MR Ch.7 ss.2.2.5 and 2.2.6)

Each resource may have role relationships with several different market participants. However, each role may only be filled by one market participant.

One market participant may fill one, more, or all of the role relationships, depending on their qualifications and responsibilities. The market participant assigned as a registered market participant, metered market participant or metered market participant transmission must have that corresponding role assigned to its organization.

Table 3-1- lists the role relationships that are assigned by the market participant for each resource.

Table 3-1: Market Participant/Resource Role Relationships

| Role | Responsibility |
| --- | --- |
| Owner | The owner is responsible for completing the Register Equipment procedures and assigning the registered market participant, metered market participant and operator role relationships to equipment or resources if applicable. The owner is also responsible for assigning an Equipment Registration Specialist as described in section 3.1.1. Refer to MR Ch.7 s.2.2.6.1. |
| Operator | The market participant responsible for operating the equipment within a facility in the real-time operations. Refer to MR Ch.7 s.2.2.6.1. |
| Registered Market Participant | The sole market participant responsible and authorized to submit dispatch data for the resource to which it has been assigned The registered market participant is also responsible for assigning registered market participant user-resource relationships that allow individual users to submit dispatch data for the assigned resource. Refer to MR Ch.7 s.2.2.4. |
| Metered Market Participant | The market participant responsible for the financial settlement with the IESO of all quantities of physical services at the relevant delivery point for the resource as part of the settlement process. The metered market participant assigns further relationships required for a delivery point as detailed in MM 3.8. Only one metered market participant may be assigned to each delivery point. The metered market participant assigned to the day-ahead market must be the same metered market participant assigned to the real-time market. Metered market participants must contract with a metering service provider for their metered resources. The metered market participant assigns the metering service provider relationships to the delivery point for the resource. Each delivery point requires the assignment of a metered market participant. |
| Metered Market Participant Transmission | The market participant responsible for paying for one or more transmission services to a transmitter relating to an owned facility. |
| Metering Service Provider | Provides, installs, commissions, registers, maintains, repairs, replaces, inspects and tests metering installations associated with a resource. For more information, refer to MM 3.8. |
| Meter Data Associate | A service provider appointed by an metered market participant to access metering data pertaining to the resource’s delivery point. For more information, refer to MM 3.8. |
| Distributor | The market participant that owns and operates the distribution system to which the facility associated with a resource is connected. |
| Transmitter | The market participant that owns and operates the transmission system to which the facility associated with a resource is connected. The transmitter may create a transmission network (TN) resource or a transmission connection (TC) resource for the facility for the purpose of collecting the applicable transmission tariff. |

### Registration of Facilities and Equipment

(MR Ch.7 ss.2.1.1.2, 2.1.1.7 and 2.2)

The Equipment Registration Specialist must provide the IESO with facility and equipment data via Online IESO. The IESO ensures that all facility data provided by owners are referenced appropriately in Online IESO in the facility records that contain technical data related to the physical equipment within the facility.

Important: It is critical that market participants review their registered data in Online IESO to ensure that it is accurate and current. The procedures for changing market participant, facility, equipment, and resource data are contained in section 4.

Through the facility and equipment registration activities, the associated resource(s) will be established. Sections 3.3 through 3.8 identify the resource registration data that the IESO may require depending on the resource participation type.

#### Assessment Requirements

Prospective and existing market participants and embedded market participants must sufficiently complete the Connection Assessment and Approval Process as described in MM 1.4. During this process, they will:

receive a Notification of Conditional Approval to Connect from the IESO; and

confirm with the IESO the number of resources required at their facility.

This information must be provided during the Register Equipment process.

#### Submission Requirements

(MR Ch.7 ss.2.1.1, 2.2.1, 2.2.3 and 2.2.6)

The facility owner must submit the applicable data and documentation described in Table 3-2-.

Table 3-2: Submission Requirements for Recording Equipment

| Submission Requirement | Description |
| --- | --- |
| Notification of Conditional Approval to Connect | Approval received during the Connection Assessment and Approval Process. |
| Single-Line Diagram | Each market participant must provide a station electrical diagram showing the new or modified facility and its connection path to the IESO-controlled grid. The Single-Line Diagram must: be accepted by their transmitter or distributor; contains the appropriate approved operating nomenclature that is used by the market participant’s transmitter, and not the engineering nomenclature; shows the electrical equipment at the facility and the connection points to the grid; shows as-built data approved for construction, and marked with an Ontario Professional Engineer’s seal; clearly references the market participant’s name, and the facility name to be registered in Online IESO; be annotated with data monitoring information, including the location of the Dynamic Disturbance Recorder and/or equivalent; and have enough detail to allow the IESO to implement modelling changes in IESO systems and tools. A Single-Line Diagram is required for all facilities being registered for participation in the IESO-administered markets, and is submitted via Online IESO. |
| Protection Description Document | Market participants must prepare a document marked with an Ontario Professional Engineer’s seal containing written descriptions of all protections and settings (e.g., A, B, primary, or backup), communication schemes, and tele-protections for each protection group at the new or modified facility. The Protection Description Document includes local and remote estimated design fault clearing times, a tripping matrix, and (where applicable), describes the separation of redundant protection groups. The IESO can provide a template upon request. |
| Operational Philosophy Document | Market participants must prepare a document attesting to their facilities’ operating conditions and limitations (e.g., common mode failures, high/low temperatures, high/low wind speed) and procedures for planned and forced outages, returning equipment to service, responding to IESO directives within five minutes, and training staff on IESO interaction. Facilities associated with variable generation resources must also provide a description of the power equipment and power curves. Refer to Appendix B: Wind Facility Data Requirements. The IESO provides a template of what is required in the operational philosophy document when registering a new facility. |
| Technical Equipment Data | The Register Equipment procedures in Online IESO will require market participants to submit technical data for equipment and, where applicable, supporting documentation. This data and supporting information will be reviewed and approved by the IESO. Technical data is described in the Register Equipment Help File. These procedures might require some time and several iterations to complete. Market participants must start these tasks as early as possible. The specific technical data required is identified in the Register Equipment Help File. |
| Review Operational and Performance Requirements | The technical requirements and associated performance standards for each type of facility are stated in the market rules (refer to Appendix A) and in MM 6. |
| Execute Connection Agreement | For a facility to participate in the IESO-administered markets, the facility owner must submit an executed copy of their connection agreement with the applicable transmitter (if the connection is to the IESO-controlled grid) or with the applicable distributor (if the connection is to the distribution system). |
| Prepare Restoration Participant Attachment | Based on the criteria contained in section 2.2 of MM 7.8, and as identified in the applicable System Impact Assessment, certain market participants are designated as restoration participants. Restoration participants are entities that contribute to the IESO-controlled grid restoration process. Restoration participants are required to submit a Restoration Participant Attachment via Online IESO as outlined in section 13 of MM 7.8. |
| Prepare Facility Description Document | In some situations, as identified in a System Impact Assessment, a new or modified facility may need to participate in remedial action schemes, or other specialized control schemes. This includes Generation or Load Rejection Schemes, Generation Run-Back Schemes, Capacitor Switching Schemes, or Breaker Backup Protections. These are not typical protection system installations. For such facilities, market participants must prepare Facility Description Documents, marked with an Ontario Professional Engineer’s seal, and submit them for review and approval by the owner of remedial action schemes, special protection systems, or other specialized control schemes. Facility Description Documents contain a description of how the remedial action scheme, special protection system, or specialized control scheme operates, when and under what conditions, and the estimated design operating times. A block diagram showing the configuration, and functions, and (where applicable) the separation of the redundant functions is also submitted. |
| Other Supporting Documentation | Other supporting documentation may include items such as nameplate photos, synchronous machine capability curves, manufacturer’s wind turbine power curves or solar array power data. |

#### Metering Requirements

(MR Ch.9 s.2.1.2)

After a market participant has applied to register a facility with the IESO, and one or more resource records have been created in Online IESO, the market participant must identify the metered market participant for each resource record. The metered market participant will assign a metering service provider to satisfy the metering requirements for the resource.

Information on procedures relating to metering registration can be found in the Meter Registration section of the IESO website, as well as in the MM 3: Metering series, available at the IESO Market Rules & Manuals Library.

The metering registration procedures cannot be completed until the metered market participant-resource relationship is created (refer to section 3.1.3.3) and the IESO has issued a RAN via Online IESO.

#### Data Monitoring Requirements

(MR Ch.2 s.6 and App.2.2, MR Ch.4 s.5)

All facilities must comply with the applicable data monitoring requirements, which are listed in the MR Ch.4 Appendices. Data monitor testing is explained in section 3.2.7.3.

#### Market Rule Exemptions

(MR Ch.1 s.14)

The procedure for applying for an exemption from any applicable market rule requirement is contained in MM 2.2.

#### Facility Registration Status

(MR Ch.2 s.3.1.5 and MR Ch.7 s.2.1.1)

Equipment Registration Specialists can track the progress of their Register Equipment procedures by accessing the Manage Facility Requests Report in Online IESO, emailing market.registration@ieso.ca, or by contacting the IESO Enrolment Specialist assigned to their equipment change.

The IESO issues a RAN to communicate the completion of specific Register Equipment activities. It can be either final or conditional. A Register Equipment change is not considered registered until the IESO issues a final RAN.

##### Conditional RANs

(MR Ch.2 s.4.1)

A conditional RAN is issued to allow a commissioning generation facility or a commissioning electricity storage facility to convey electricity into, through or out of the IESO-controlled grid during the time the facility is undergoing commissioning tests. It contains a list of requirements that must be completed prior to the specified expiry date in order for a facility to qualify for a final RAN.

The IESO may issue one or more conditional RANs during the registration process before issuing a final RAN. For example, a conditional RAN may be issued to allow a new facility to:

- connect and energize on potential only;

- connect and withdraw as a load; or

- connect and/or generate for commissioning purposes.

The IESO Enrolment Specialist assigned to the Register Equipment change will determine when a conditional RAN is appropriate. A conditional RAN may impose restrictions on a facility while the RAN is in effect, such as the facility’s output being limited to a specified maximum MW value.

##### RAN Extensions

(MR Ch.2 s.4.1)

A RAN may include conditions that must be met by an expiry date. If a condition cannot be met by the expiry date due to circumstances beyond the market participant’s or program participant’s control, the Equipment Registration Specialist may request a RAN extension by emailing either their IESO Enrolment Specialist or market.registration@ieso.ca, providing the reason for the extension request and a plan for meeting the RAN conditions. If a RAN extension is granted by the IESO, the RAN version number will increment by one.

##### Conditional RAN Expiration and Renewal

(MR Ch.2 s.4.2)

If a conditional RAN is suspended,terminated or lapses, the RAN may be renewed by having the Equipment Registration Specialist submit a request with a new plan for completing all the requirements in the suspended, terminated or lapsed conditional RAN that is acceptable to the IESO.

When a conditional RAN is suspended or terminated or lapses, the new or modified equipment must be immediately switched to offline and any associated dispatch data must be removed, until such time as the suspension is lifted or a new conditional RAN is issued by the IESO.

##### Final RAN

(MR Ch.2 s.4.2)

A Register Equipment change is complete and the equipment registered with the IESO when the Equipment Registration Specialist receives a final RAN email from Online IESO.

#### Participant and Facility Testing

(MR Ch.2 s.6 and App.2.2)

For a new or modified facility, the IESO may conduct tests during the Register Equipment procedure to confirm that the operational aspects of the facility can interoperate with IESO systems and tools. Tests include, but are not limited to:

confirming capability of transmitting to the IESO interface;

ensuring the connectivity of the dispatch workstation;

confirming that appropriate voice communications are in place;

if applicable, verifying that the facility responds to the IESO control signals;

assessing whether the facility complies with all applicable market rules and NERC and NPCC reliability standards; and

performing (at various Equipment Registration stages described in sections 3.1 through 3.8) data monitoring tests of the required telemetry points with the IESO to ensure that statuses, magnitudes, and sign conventions are correct. All anomalies must be fixed and retested before the first energization of the facility.

Tests are scheduled as mutually agreed between the IESO and the market participant, program participant or service provider. In order to complete the Register Equipment procedures, all tests must be verified and approved by the IESO.

Important: Market participants, program participants and service providers are responsible for ensuring that their staff receive appropriate training for all of the testing activities conducted by the IESO to ensure that they are able to interoperate with all applicable IESO systems. Appropriate employee training and procedures must be in place to ensure staff are prepared for participation in the IESO-administered markets as soon as the market participant, program participant or service provider is authorized.

##### Participant Workstation Testing

Transactions involving data exchanged with IESO systems are processed through the participant workstation via Online IESO, except for the transfer of real-time data, which is done through the dispatch workstation (refer to section 3.2.7.2). Market participants are required to install the necessary hardware and software infrastructure in accordance with the technical requirements contained in section 2 of MM 6.0.

Market participants are required to test and confirm that their participant workstation is functional, can interoperate and can meet IESO technical requirements for non-real time data transfers. Market participants receive Assign Contact Role(s) and Confirm System Access Role(s) tasks from Online IESO, for which they self-confirm. Completion of these tasks, along with the rest of the Equipment Registration procedures through Online IESO is usually sufficient to prove that the participant workstation can interact with Online IESO and the IESO gateway.

##### Dispatch Workstation Testing

Real-time data transactions are processed through the market participant’s dispatch workstation. Market participants with one or more resources that respond to dispatch instructions must install, test and maintain dispatch workstations that meet the requirements in the participant technical reference manual for real-time data transfers. The technical requirements for the dispatch workstation are contained in section 3 of MM 6.0. Testing of the dispatch workstation is conducted in the IESO Sandbox. IESO Information & Technology Services issues test dispatch instructions for which market participants are required to respond. The combined time required to set up the Sandbox test and to complete the actual test is approximately one month.

##### Data Monitor Testing

Real-time data monitoring (i.e., telemetry point data) is required by the IESO to monitor and model the power system and operate the real-time market. MR Ch.4 App.4.15 – 4.18 specifies the points required and MR Ch.4 App.4.19 – 4.23 indicate the required timing performance. The data link is configured and concurrently, the IESO Enrolment Specialist prepares a point list with the market participant. The link and points will be added to the IESO systems. The market participant will have to successfully test the link and points with the IESO before the facility is approved and a final RAN is issued. Incorrect or incomplete telemetry from a market participant shall invalidate the facility’s approval.

#### Eligibility to Provide Operating Reserve

(MR Ch.5, MR Ch.5 App.5.1 s.1.2 and MR Ch.5 s.4.9)

A market participant must meet various eligibility and procedural requirements in order to provide operating reserve (OR). Requirements specific to certain resource types are detailed in subsequent sections of this market manual. The following general eligibility and procedural requirements must be met by all market participants planning to provide operating reserve (OR):

The market participant shall initiate the Market Registration process in a timely manner in order to start providing operating reserve. For more details about this process, the market participant is advised to consult this market manual and to contact the IESO’s Market Registration at market.registration@ieso.ca.

According to MR Ch.4 s.7, the market participant shall provide to the IESO the applicable telemetry data listed in MR Ch.4 App.4.1 to 4.25 on a continual basis. The telemetry list will be finalized during the Market Registration process and it should include, but not be limited to, active power and reactive power.

The market participant must complete end-to-end testing of all necessary telemetry points with the IESO to ensure that standards are met and that sign conventions are understood.

All identified anomalies must be corrected before the IESO’s final approval is granted.

The market participant shall ensure that wholesale revenue metering installations comply with MR Ch.6. For more details, the market participant is encouraged to seek advice from their metering service provider or from the IESO Metering Group. Some existing facilities may require re-registration of the metering installations. This will be determined on case by case basis during market registration.

After the registration requirements are met, IESO will provide a conditional Registration Approval Notification (RAN) approval valid for two months from the date of issuance. During this time, the market participant will undergo an operating reserve test with the IESO. If this first operating reserve test fails, a second operating reserve test will be conducted within the two-month “grace period”, unless the operating reserve testing interferes with some abnormal system condition oroutages. In this latter case, the second operating reserve test will be conducted on another date, outside the two-month “grace period”.

If the second operating reserve test fails, the IESO may remove the market participant from the operating reserve market until the market participant submits evidence that they made changes to address the cause of the initial failures and they are fully ready to provide operating reserve service.

In case the first or the second test (as the case may be) is successful, the IESO will provide the final RAN approval to the market participant, thereby confirming that the facility is approved to provide operating reserve.

If the facility is embedded in a distributor’s distribution system, the market participant must work with the distributor to complete and submit the Operating Reserve from Embedded Facilities: Declaration Form to the IESO.

### Registration of Resources for Generators

(MR Ch.7 ss.2.1 and 2.2)

To participate in the IESO-administered markets, market participants authorized as generators must register one or more resources for each generation facility. How these resources participate in the IESO-administered market varies by the classifications set out in Table 3-3-.

Table 3-3: Generation Participation Type by Bid/Offer Type Resource Data Parameter

| Bid/Offer Type | Generation Participation Type |
| --- | --- |
|  | Dispatchable non-quick start generation resource (nuclear) |
|  | Dispatchable non-quick start generation resource (non-nuclear) |
| Dispatchable | Variable generation resource |
|  | Dispatchable hydroelectric generation resource |
|  | Dispatchable electricity storage resource |
| Self-scheduling generator | Self-scheduling generation resource Self-scheduling storage resource |
| Intermittent generator | Intermittent generation resource |

The bid/offer type is a mandatory field that indicates whether a registered generation resource is either a dispatchable generation resource, a self-scheduling generation resource or an intermittent generation resource. The Energy Market Interface uses the bid/offer type to identify the dispatch data parameters that a registered market participant will be eligible to submit for a resource.

As part of the registration procedures for the day-ahead market and real-time market, the Equipment Registration Specialist must submit resource data parameters required by a Generator Resource, as indicated in the Register Equipment Help File, using Online IESO. The IESO requires a minimum of two business days to implement changes to these values.

Table 3-4- provides additional detail on some resource data requirements for specific generation participation types.

Table 3-4: Resource Data Parameter Requirements by Generation Participation Type

|  |  | Mandatory/Optional/ by IESO |  |  |  |  |  |  | Generation |  |  | Participation |  |  | Type |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Registration Data | Section of |  |  |  |  |  |  |  |  |  | Dispatchable |  |  |  |  |  |  |  |  |  |  |  |  | Non-Dispatchable |
| Parameter | MM 1.5 |  | Non-quick start (Nuclear) | Non-quick start (non- nuclear) |  |  | Combustion Turbine Resource (combined cycle plant) |  |  | Steam Turbine Resource (combined cycle plant) |  |  | Pseudo-unit (combined cycle plant) |  |  | Variable Generation |  |  | Hydroelectric |  |  | Electricity storage (injections) |  | Self-scheduling and Intermittent |
| Bid/Offer Type | 3.3.1 | M | X | X |  |  | X |  |  | X |  |  |  |  |  | X |  |  | X |  |  | X |  | X |
| Operating Reserve Class | 3.3.1.1 | M | X | X |  |  | X |  |  | X |  |  | X |  |  |  |  |  | X |  |  | X |  |  |
| Market Control Entity for Physical Withholding | 3.3.1.2 | M | X | X |  |  | X |  |  | X |  |  | X |  |  | X |  |  | X |  |  | X |  |  |
| Quick Start Flag | 3.3.1.3 | M | X | X |  |  | X |  |  | X |  |  |  |  |  | X |  |  | X |  |  | X |  | X |
| Number of Forbidden Regions | 3.3.2.1 | O |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |  |
| Start Indication Value | 3.3.2.2 | O |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |  |
| Hourly Must Run Flag | 3.3.2.3 | O |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |  |
| Cascade Group, Forebay, and Time Lag | 3.3.2.4 and 3.3.2.5 | O |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |  |
| Elapsed Time to Dispatch | 3.3.1.4 | M | X | X |  |  | X |  |  | X |  |  |  |  |  | X |  |  | X |  |  | X |  |  |
| Period of Steady Operation | 3.3.3.1 | M |  | X |  |  | X |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Minimum Loading Point | 3.3.3.2 | M |  | X |  |  | X |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Minimum Generation Block Run Time | 3.3.3.3 | M |  | X |  |  | X |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Speed-no-Load and Start-up Offer Flag |  |  |  |  |  |  | X |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pseudo-Unit Modelling Election Flag | 3.3.4.1 | O |  |  |  |  | X |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Steam Turbine Minimum Loading Point | 3.3.4.2 | O |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Steam Turbine Percentage Share | 3.3.4.3 | M |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |
| Steam Turbine Duct Firing Capacity | 3.3.4.4 | by IESO |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Duct Firing Ten-Minute Operating Reserve Flag | 3.3.4.5 |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Levels for Financial Dispatch Data | 3.3.1.5 | M | X | X |  |  | X |  |  | X |  |  | X |  |  | X |  |  | X |  |  | X |  |  |
| Reference Levels for Non-Financial Dispatch Data | 3.3.1.6 | M | X | X |  |  | X |  |  | X |  |  | X |  |  | X |  |  | X |  |  | X |  |  |
| Reference Quantities | 3.3.1.7 | M | X | X |  |  | X |  |  | X |  |  | X |  |  | X |  |  | X |  |  | X |  |  |

#### General Generation Resource Registration Requirements

##### Operating Reserve Class

(MR Ch.7 s.2.2.8)

The operating reserve class indicates which classes, if any, of operating reserve the resource may provide. The Equipment Registration Specialist submits this mandatory parameter for each generation resource.

All dispatchable generation resources that meet the requirements of section 3.2.8 are eligible to provide operating reserve, with the exception of resources registered with a primary or alternate fuel type of wind or solar photovoltaic. The IESO uses this parameter to restrict offers submitted by the registered market participant.

The Equipment Registration Specialist submits a single value for the parameter by selecting one of the following values in Online IESO:

- 10 min non-spin and 30 min to indicate election to provide in the non-synchronized ten-minute operating reserve and thirty-minute operating reserve;

- 30 min non-spin to indicate election to provide thirty-minute operating reserve;

- All type to indicate election to provide synchronized and non-synchronized ten-minute operating reserve as well as thirty-minute operating reserve; or

- No operating reserve to indicate election not to provide operating reserve.

- In addition to the eligibility and process requirements outlined in section 3.2.8, generators must also meet the following requirements to provide operating reserve;

- 1 -Any generation unit and/or electricity storage unit(s) utilized, directly or indirectly, by the market participant to provide operating reserve must meet the performance requirements for Off-Nominal Frequency Operation (category 1), Speed/Frequency Regulation (category 2), and Voltage Ride-Through (category 3) specified in MR Ch.4 App.4.2.

- 2- Automatic reconnection capability of any generation unit and/or electricity storage unit(s) utilized, directly or indirectly, by the market participant to provide operating reserve, must be set to prevent it from: (i) automatically reconnecting and resuming injection when the system frequency is above 60.5 Hz, and (ii) automatically reconnecting and resuming charging, if applicable, when the system frequency is lower than 59.5 Hz. The frequency supervisory function shall allow for its settings to be changed, but changes shall be made only if approved or requested by the IESO.

##### Market Control Entity for Physical Withholding

(MR Ch.7 s.22.9)

Market participants disclose their market control entities and then select a market control entity for physical withholding from among their market control entities for each of their dispatchable generation resources via the Update Organization process.

##### Quick Start Flag

The quick start flag indicates if a resource is capable of injecting energy into the IESO-controlled grid within five minutes of receiving an IESO request from an offline state. The Equipment Registration Specialist must submit this mandatory parameter for all generation participation types in Table 3-4-, including for the injection side of a electricity storage facility. Some resources may be associated with generation facilities that have unique operating characteristics. As a result, the IESO will provide notification for how these resources are to be classified. A value for the quick start flag is only registered after the IESO approves the submission.

The IESO uses this parameter to determine which generation resources and electricity storage resources are quick start resources and are eligible to provide ten-minute operating reserve when their breaker is open and in the determination of generator offer guarantee (GOG)-eligible resources.

- The IESO will validate the submitted values at the resource level with what has been previously submitted at the equipment level. The value of the quick start flag for each resource should be the same flag as that of the equipment data for each associated generation unit.

If the resource is deemed to be a non-quick start resource by the IESO, the quick start flag is No. If the resource is deemed to be a quick start resource by the IESO, the quick start flag is recorded as Yes. A resource with a registered quick start value of No is eligible to provide values for the resource data parameters indicated in section 3.3.2. In all cases, the IESO also records a start date of the quick start flag value to handle time dependent revisions that affect settlement processes.

##### Elapsed Time to Dispatch

(MR Ch.7 s.2.2.6K.1)

The Equipment Registration Specialist submits this data parameter for its dispatchable generation resources and its dispatchable electricity storage resources.

For dispatchable non-quick start generation resources, the IESO uses the elapsed time to dispatch data parameter in the determination of GOG-eligible resources.

The Equipment Registration Specialist submits a single value for this resource data parameter by submitting the number of minutes as a numeral. The IESO approves this data parameter in accordance with the Elapsed Time to Dispatch supporting document as described in the Register Equipment Help File. The IESO registers elapsed time to dispatch after it reviews submitted values and supporting technical documentation.

##### Reference Levels for Financial Dispatch Data Parameters

(MR Ch.7 ss.22.1.1 and 22.2.1)

Table 3-5- lists the resource types that have reference levels registered for each financial dispatch data parameter. For more information on the process the IESO uses to determine reference levels for financial dispatch data parameters, refer to MM 14.2.

Table 3-5: Applicability of Financial Reference Levels by Resource Technology Type

| Energy Offer Reference Level | Speed No-Load Reference Level | Start-Up Reference Level | Operating Reserve Offer Reference Level |
| --- | --- | --- | --- |
| Dispatchable non-quick start generation resource (non-nuclear) Variable generation resource (i.e., wind and solar) Dispatchable hydroelectric generation resource Dispatchable non-quick start generation resource (nuclear) Dispatchable electricity storage resource (injections) | Dispatchable non-quick start generation resource (non-nuclear) | Dispatchable non-quick start generation resource (non-nuclear) | Dispatchable non-quick start generation resource (non-nuclear) Dispatchable hydroelectric generation resource Dispatchable electricity storage resource (injections) |

##### Reference Levels for Non-Financial Dispatch Data Parameters

(MR Ch.7 ss.22.1.1 and 22.3.1)

Resources have two sets of reference levels for non-financial dispatch data registered, one each for:

the summer period, which is from May 1 to October 31; and

the winter period, which is from November 1 to April 30.

Certain reference levels for non-financial dispatch data parameters are also registered for each thermal state (hot, warm, and cold) of a resource.

Table 3-6- sets out the resource types that have reference levels registered for each non-financial dispatch data parameter. For more information on the process the IESO uses to determine reference levels for non-financial dispatch data parameters, refer to MM 14.2.

Table 3-6: Reference Levels for Non-Financial Dispatch Data Parameters

| Non-Financial Reference Level | Registered for the Following Resource Types |
| --- | --- |
| Energy Ramp Rate Reference Level | Dispatchable generation resources Dispatchable electricity storage resource (injections) |
| Operating Reserve Ramp Rate Reference Level | Dispatchable generation resources Dispatchable electricity storage resource (injections) |
| Lead Time Reference Level (for each thermal state) | Dispatchable non-quick start generation resource (non-nuclear) |
| Minimum Loading Point Reference Level | Dispatchable non-quick start generation resource (non-nuclear) |
| Minimum Generation Block Run-Time Reference Level | Dispatchable non-quick start generation resource (non-nuclear) |
| Minimum Generation Block Down Time Reference Level (for each thermal state) | Dispatchable non-quick start generation resource (non-nuclear) |
| Maximum Number Of Starts per Day Reference Level | Dispatchable non-quick start generation resource (non-nuclear) Dispatchable hydroelectric generation resources |
| Energy Per Ramp Hour Reference Level (for each thermal state) | Dispatchable non-quick start generation resource (non-nuclear) |
| Ramp Hours To Minimum Loading Point Reference Level (for each thermal state) | Dispatchable non-quick start generation resource (non-nuclear) |

##### Reference Quantities

(MR Ch.7 s.22.6.1)

Table 3-7- lists the resource types that will have reference quantities registered in the energy and/or operating reserve markets. The IESO registers sets of reference quantities for each market in which a resource participates. For more information on the process the IESO uses to determine reference quantities and calculate reference quantity values, refer to MM 14.2.

Table 3-7: Reference Quantities by Technology Type and Market

| Energy Market | Operating Reserve Market |
| --- | --- |
| Dispatchable non-quick start generation resource (non-nuclear) Variable generation resource (i.e., wind and solar) Dispatchable hydroelectric generation resource Dispatchable non-quick start generation resource (nuclear) Dispatchable electricity storage resource (injections) | Dispatchable non-quick start generation resource (non-nuclear) Dispatchable hydroelectric generation resource Dispatchable electricity storage resource (injections) |

#### Dispatchable Hydroelectric Generation Resource Registration Requirements

(MR Ch.7 s.2.2.6A)

This section applies to dispatchable generation resources with a primary fuel type of Water. The registration parameters discussed in this section allow the IESO to generate schedules in the day-ahead market and pre-dispatch scheduling process that respect the technical characteristics of the hydroelectric generation units associated with the resource. This allows the dispatch of these resources to respect safety, legislative and environmental considerations.

##### Number of Forbidden Regions

(MR Ch.7 s.2.2.6A.1)

The Equipment Registration Specialist may submit the forbidden regions parameter for its dispatchable hydroelectric generation resource. This parameter is used by the IESO to approve submissions of the forbidden regions dispatch data parameter in the day-ahead market, pre-dispatch scheduling process and real-time market.

The Equipment Registration Specialist submits forbidden regions into Online IESO by providing the upper and lower limit, as measured in MW, for each forbidden region. The Equipment Registration Specialist may register up to five forbidden regions for each eligible resource in accordance with the following requirements:

Forbidden Region 1 Lower Limit shall be greater than or equal to 0;

Forbidden Region 1 Upper Limit shall be greater than Forbidden Region 1 Lower Limit;

Forbidden Region 2 Lower Limit shall be greater than Forbidden Region 1 Upper Limit;

Forbidden Region 2 Upper Limit shall be greater than Forbidden Region 2 Lower Limit;

Forbidden Region 3 Lower Limit shall be greater than Forbidden Region 2 Upper Limit;

Forbidden Region 3 Upper Limit shall be greater than Forbidden Region 3 Lower Limit;

Forbidden Region 4 Lower Limit shall be greater than Forbidden Region 3 Upper Limit; and

Forbidden Region 4 Upper Limit shall be greater than Forbidden Region 4 Lower Limit.

Forbidden Region 5 Lower Limit shall be greater than Forbidden Region 4 Upper Limit; and

Forbidden Region 5 Upper Limit shall be greater than Forbidden Region 5 Lower Limit.

The IESO will review the submitted data and may request additional technical data to support the values submitted. The IESO may deny registration of the submitted values if it believes that the technical data does not support the request. Technical data includes equipment limitations (e.g. vibrational issues) or equipment status (e.g. gate position, water levels) justifying the forbidden region values identified.

If no values are submitted or approved, then the IESO shall assign default values of zero for the number of forbidden regions (MR Ch.7 s.2.2.6E).

##### Start Indication Value

(MR Ch.7 s.2.2.6A.2)

The Equipment Registration Specialist may submit this optional start indication value parameter for each generation unit associated with a dispatchable hydroelectric generation resource. The submitted value(s) will represent the quantity that, when scheduled, indicates that a new generation unit was brought on-line.

The IESO uses this parameter to determine whether the generation units associated with the resource have used one or more of their maximum number of starts per day. If a start indication value is not registered, the registered market participant of the associated resource will not be permitted to submit the maximum number of starts per day dispatch data parameter.

The Equipment Registration Specialist submits a single value, in MW, for each generation unit associated with a dispatchable hydroelectric generation resource. Submitted values must be unique, greater than 0 MW and less than or equal to the maximum generator resource active power capability value registered for the generation unit.

##### Hourly Must Run Flag

(MR Ch.7 s.2.2.6A.3)

The Equipment Registration Specialist may submit this optional hourly must run flag parameter for each dispatchable hydroelectric generation resource.

If a registered hourly must run flag has a value of Yes then the registered market participant of the associated resource will be permitted to submit the hourly must run dispatch data parameter in the day-ahead market and pre-dispatch scheduling processes. A value of No will not permit the registered market participant of the associated resource to submit the hourly must run dispatch data parameter.

When submitted, the flag must be accompanied by technical data or other applicable supporting documentation that demonstrates the existence of hourly must run conditions for each resource. Operational data may be submitted showcasing a regulatory requirement or equipment limitation related to dam storing and spilling. The IESO registers the hourly must run flag after its review of submitted values and supporting technical documentation.

##### Cascade Group and Forebay

(MR Ch.7 s.2.2.6A.4)

The IESO will record and maintain cascade group and forebay relationships.

As shown in Figure 3-2-, a cascade river system may contain one or more cascade groups and each cascade group can be comprised of one or more forebays. Each forebay within a cascade group is comprised of one or more dispatchable hydroelectric generation resources to reflect the generation units located on the relevant forebay.

This figure is an example of the forebay and resource relationships within a cascade group.

Figure 3-2:- Cascade Group, Forebay, Resource Relationships

By default, the IESO registers a dispatchable hydroelectric generation resource on the applicable forebay.

Each resource registered on a forebay must share its maximum daily energy limit and its minimum daily energy limit with all other resources registered on that forebay. In the day-ahead market and the pre-dispatch scheduling process, all resources registered on a forebay are evaluated such that the sum of their hourly schedules respect registered market participant submissions of the maximum daily energy limit and the minimum daily energy limit dispatch data parameters. To deregister a resource from a forebay, the market participant must submit a written request to the IESO, at market.registration@ieso.ca.

##### Time Lag

(MR Ch.7 s.2.2.6A.4)

The time lag registration parameter is an optional parameter that may be registered by the Equipment Registration Specialist who is common to all resources that are registered on a forebay in a cascade group. The IESO uses this parameter in the day-ahead market and pre-dispatch scheduling process to approve submissions of the time lag dispatch data parameter by the registered market participant for the forebay. Additionally, the IESO uses the registered time lag parameter to determine if the registered market participant is permitted to submit a downstream linked forebay, time lag and MWh ratio as dispatch data in the day-ahead market and pre-dispatch scheduling process. A registered market participant is not permitted to submit these dispatch data parameters if a forebay does not have a registered time lag value.

The Equipment Registration Specialist submits a single time lag for each adjacent downstream linked forebay by submitting a whole number that is greater than or equal to 0 hours and less than 24 hours. Once the time lag for each adjacent downstream linked forebay in a cascade group is submitted, the IESO will calculate the remaining non-adjacent time lag values for all other linked forebays. Values submitted by the Equipment Registration Specialist and calculated by the IESO are shown in Figure 3-3-. The Equipment Registration Specialist must submit supporting documentation to support the registration of time lag. The IESO will ensure operational data and factors affecting and resulting in the submitted time lag values are included in the supporting documents. This operational data includes water flowrates with seasonal and daily variations and/or dam storing requirements. The IESO registers the time lag after it reviews submitted values and any supporting technical documentation.

Figure 3-3: Time Lag Example

#### Dispatchable Non-Quick Start Generation Resources

This section applies to dispatchable non-quick start generation resources with a primary fuel type of Bio Fuel, Gas, Oil or Steam that have a value of No for their quick start flag resource data parameter.

Resource data parameters specific to the modelling of a dispatchable non-quick start generation resource are described in the subsections below. A dispatchable non-quick start generation resource that has indicated an alternate fuel source as Steam and a primary or secondary fuel type that is not Uranium is deemed as a resource at a combined cycle plant and subject to registration of the resource data parameters indicated in section 3.3.4.

##### Speed-No-Load and Start-Up Offer Flag

Registered market participants have the ability to submit a start-up offer and speed no-load offer as hourly dispatch data into the day-ahead market and pre-dispatch scheduling process. Registered market participants submitting such dispatch data may do so only for:

a dispatchable non-quick start generation resource associated with a generation unit that has a primary or alternate fuel type value other than Uranium; and

a pseudo-unit.

The Equipment Registration Specialist for a market participant that intends to submit start-up offers and speed no-load offers as dispatch data for each resource must register the start-up offer and speed no-load offer eligibility flag in Online IESO as a declaration of intent to submit these offers. The Equipment Registration Specialist will be provided with instructions to use the offer template file version with the according start-up offer and speed no-load offer parameters. Changes to the start-up offer and speed no-load offer eligibility flag must be communicated via Online IESO.

##### Period of Steady Operation

(MR Ch.7 s.2.2.6K.2)

Submission of this data parameter by the Equipment Registration Specialist in Online IESO is mandatory only for a resource registered as a dispatchable non-quick start generation resource.

Period of steady operation is used in the real-time market to maintain the direction of a resource’s dispatch instruction for a minimum number of dispatch intervals. The Equipment Registration Specialist submits the data parameter, by providing a value of 0, 1 or 2 to reflect the number of dispatch intervals. The IESO will assign a default value of 0 if no value is submitted by the Equipment Registration Specialist.

Depending upon the value submitted, it may be necessary for the IESO to adjust the period of steady operation value if there is a negative impact on overall system operation. The market participant will be notified through Online IESO of any changes to this value.

##### Minimum Loading Point

(MR Ch.7 s.2.2.6B)

The Equipment Registration Specialist submits this parameter for each dispatchable non-quick start generation resource that does not have a registered primary or alternate fuel type of Uranium. The IESO uses the minimum loading point registration parameter to approve the minimum loading point submitted as daily dispatch data by the registered market participant. The IESO also uses the registered minimum loading point to determine whether the resource is a GOG-eligible resource.

The Equipment Registration Specialist submits a single minimum loading point for each eligible resource by providing a value in MW. Supporting technical documentation that demonstrates the minimum loading point for each resource must also be provided. The value submitted must be greater than zero and less than or equal to the value of the maximum active power capability registered as equipment data for the generation unit corresponding to the resource. The IESO shall assign a default value of 0 MW if a value is not submitted by the Equipment Registration Specialist. The IESO registers the minimum loading point after its review of submitted values and supporting technical documentation.

If a resource is part of a combined cycle plant and associated with a generation unit that has an alternate fuel type of Steam, referred to as a steam turbine, the Equipment Registration Specialist may submit multiple values for the minimum loading point. Submission of the minimum loading point for a resource associated with a steam turbine is described in section 3.3.4.2.

##### Minimum Generation Block Run Time

(MR Ch.7 s.2.2.6B)

The Equipment Registration Specialist submits the minimum generation block run-time resource data parameter for a dispatchable non-quick start generation resource associated with a generation unit that does not have a primary or alternate fuel type registered as Uranium. The IESO uses the minimum generation block run-time resource data parameter to determine whether the resource is a GOG-eligible resource.

The Equipment Registration Specialist submits a single value of the minimum generation block run-time for each eligible dispatchable non-quick start generation resource by providing a value from 0 to 24 hours. The IESO approves submissions by using supporting technical documentation submitted by the Equipment Registration Specialist in Online IESO. The IESO registers MGBRT after its review of submitted values and supporting technical documentation.

##### Requirements for Generator Offer Guarantee Status

(MR Ch.7 s.2.2.21, MR Ch.9 s.4.4 and MR Ch.9 s.4.5)

A resource will receive a GOG eligibility flag of Y if they register the necessary information for their dispatchable non-quick start generation resource to meet the requirements of a GOG-eligible resource.

Otherwise, the resource will receive a GOG eligibility flag of N.

#### Combined Cycle Plant

(MR Ch.7 s.2.2.6G)

This section applies to a combined cycle plant whose generation units are represented as individual resources and it does not have physically aggregated resources. Aggregation is explained in section 3.6.

A combined cycle plant is a group of generation resources associated with a generation facility that contains at least one dispatchable non-quick start generation resource registered with a generator turbine type value of combustion turbine and at least one dispatchable non-quick start generation resource registered with a generator turbine type value of steam turbine. The generator turbine type is a mandatory resource data parameter that the IESO specifies for a resource based on the equipment data parameters submitted by the Equipment Registration Specialist for each generation unit associated with the resource. The resource registered with the combustion turbine value is deemed as a combustion turbine resource. The resource registered with the steam turbine value is deemed as a steam turbine resource.

Modelling of a combined cycle plant in the day-ahead market and real-time market allows generators to offer their interdependent units into the market as one pseudo-unit, reflecting actual operation dependencies for each combustion turbine with the associated portion of the steam turbine capacity.

In addition to any applicable registration requirements in the Register Equipment Help File, the Equipment Registration Specialist is required by MR Ch.7 s.2.2.6G to submit all mandatory resource data parameters specific to a combined cycle plant as listed in this subsection. Registration of this data allows a market participant that intends to utilize a pseudo-unit to schedule their combined cycle plant in the day-ahead market and real-time market.

To deregister pseudo-units, the market participant must submit a written request to the IESO, at market.registration@ieso.ca. Deregistration must include all of the pseudo-units associated with the facility (i.e., all of the pseudo-units associated with the combustion turbines that share the same steam turbine). For facility deregistration procedures, refer to section 5.1.

##### Combustion and Steam Turbine Configuration Relationships – Pseudo-Unit Modelling

Potential dispatch configuration relationships between combustion turbine resources and a steam turbine resource at a combined cycle plant must be established. These relationships will help ensure that steam turbine resource constraints, as a result of a commitment in the day-ahead market, pre-dispatch scheduling process or real-time market, are applied to the correct minimum loading point amount based on the steam turbine resource’s schedule, and the scheduled configuration of associated combustion turbine resources.

For registration purposes, the Equipment Registration Specialist must provide the Resource Name and Resource ID of up to four physical combustion turbine resources and one physical steam turbine resource, which make up the combined cycle plant. The Resource Name and Resource ID are assigned by the IESO for each combustion turbine resource and steam turbine resource and are available in Online IESO. From this submission, the IESO derives relationships between the combustion turbine resources and the steam turbine resources and records their associations.

The registration of a pseudo-unit is completed only when the IESO approves the request. Approval is determined using the steam turbine utilization supporting document. This document identifies how steam is used at the combined cycle plant and must be submitted by the Equipment Registration Specialist at time of pseudo-unit registration in Online IESO. The IESO will approve pseudo-unit requests if it determines that the proposed pseudo-unit will be able to comply with dispatch instructions and not impact the security of the IESO-controlled grid. The IESO will consider on a case-by-case basis pseudo-unit registration requests where not all resources designated as part of that pseudo-unit are connected to the IESO-controlled grid at the same connection point.

For participation in pseudo-unit modeling, pseudo-units are created and their relationship to a combustion turbine resource and steam turbine resource is recorded. The pseudo-unit modelling election flag resource data parameter is assigned by the IESO to each combustion turbine resource and steam turbine to indicate that the market participant has elected to enable pseudo-unit modelling for scheduling. The number of pseudo-units to be registered is equal to the number of combustion turbine resources at the combined cycle plant.

Combined cycle relationship data for a combined cycle plant participating in pseudo-unit modeling are used to:

- calculate pseudo-unit dispatch data values from physical unit submissions;

- allocate physical unit derating and transmission limitations to the pseudo-unit level;

- translate the pseudo-unit schedules to physical unit level; and

- enable settlement of pseudo-units on the physical unit level.

The IESO approves the data for all physical combustion turbine resources and steam turbine resources based on the following rules:

- each resource has been registered individually;

- each resource is part of the same facility;

- each resource has a resource bid type of Dispatchable;

- the resources are not part of an aggregated resource;

- all resources are under the operational control of a single market participant; and

- all resources are assessed a settlement under a single metered market participant.

For participation in pseudo-unit modeling as part of scheduling of the combined cycle plant in the day-ahead market and real-time market, further validation by the IESO includes:

- the number of pseudo-units registered is equal to the number of combustion turbine resources registered to the combined cycle plant;

- each pseudo-unit will have a unique combustion turbine resource;

- all combustion turbine resources at a combined cycle plant that register as a pseudo-unit must share the same steam turbine resource;

- each pseudo-unit will be evaluated to determine if it is a GOG-eligible resource based on the physical combustion turbine resource unit technical data;

- pseudo-unit market type participation (i.e., energy market, operating reserve market) shall be identical to that of the physical combustion turbine resource unit registration data;

- pseudo-unit administrative relationships (i.e., registered market participant, metered market participant, as well as registered market participant user eligibility to submit dispatch data) shall be identical to that of the physical combustion turbine resource unit technical data;

- pseudo-unit maximum generator capacity (PSU MGC) will be calculated and recorded based on the MGC of the combustion turbine resource (CT) and steam turbine resource (ST), and the steam turbine percentage share (ST Share%) parameter registered in section 3.3.4.3. Computed parameters need to be rounded to the nearest single decimal value in the following formula:
PSU MGC = (ST Share% * ST MGC) + CT MGC; and

- pseudo-unit maximum ramp rate will be calculated and recorded based on the sum of the Maximum Ramp Rate of the combustion turbine resource and steam turbine resource.

The combined cycle plant relationships and resource data parameter requirements are summarized in Figure 3-3.

Figure 3-4: Combined Cycle Plant Relationships and Resource Data Parameter Requirements

##### Steam Turbine Minimum Loading Point

The steam turbine minimum loading point reflects one or more resource data parameters for a steam turbine resource. It is the minimum loading point, in MW, that is required for a steam turbine resource, given its relationship with one or more combustion turbine resources. The number of steam turbine minimum loading points that must be registered corresponds to the number of combustion turbine resources at the same combined cycle plant that share a steam turbine resource (Figure 3-3). The IESO uses the steam turbine minimum loading point resource data parameters to accept daily dispatch data submissions of steam turbine resource minimum loading points. The Equipment Registration Specialist must submit one or more of the following resource data parameters:

- steam turbine minimum loading point – when one or more combustion turbines are associated with the steam turbine;

- steam turbine minimum loading point (2 on 1) – when two or more combustion turbines are associated with the steam turbine;

- steam turbine minimum loading point (3 on 1) – when three or more in-service combustion turbines are associated with the steam turbine;

- steam turbine minimum loading point (4 on 1) – when four or more in-service combustion turbines are associated with the steam turbine.

The value submitted by the Equipment Registration Specialist for the steam turbine must reflect the actual capability of the associated generation unit.

The IESO accepts the submission using the following validation rules:

- must be a steam turbine part of a combined cycle plant;

- number format xxxx.x – unit is MW; and

- 0 < MLP(i-1)-on-1 < MLP(i)-on-1 =< MGC,

- where:

| MLP | is the minimum loading point. |
| --- | --- |
| MGC | is the pseudo-unit maximum generator capacity as determined by the IESO |
| I | is an index for the steam turbine minimum loading point to indicate its relationship to the combined cycle plant configuration. The “i” is defined as a variable 2 =< i =< n, where “n” is the number of combustion turbines at the combined cycle plant. |

##### Steam Turbine Percentage Share

The steam turbine percentage share must be submitted by the Equipment Registration Specialist for each pseudo-unit. The IESO uses this parameter to determine the steam duct firing capacity of a pseudo-unit and the maximum resource active power capability equipment data parameter for the generation unit associated with the steam turbine.

The Equipment Registration Specialist must submit a percentage, from 0% to 100%, that correlates to the number of combustion turbines registered for the combined cycle plant. Additionally, the Equipment Registration Specialist must submit supporting documentation that provides operational data showcasing a linear correlation between the steam turbine and each combustion turbine in the dispatchable range. Operational data should be given for different operating conditions with a maintained linear correlation.

The IESO accepts the submission using the following validation rules:

the number of steam turbine percentage share values registered must equal the number of registered combustion turbines elected for pseudo-unit modeling;

- each steam turbine percentage share value must >=0 and in the format xx.x %;

- the sum of all steam turbine percentage share values = 100.0%; and

- each steam turbine percentage share value * (registered maximum generator resource active power capability for the steam turbine generation unit associated with the steam turbine) >= (MLP for a 1 combustion turbine to 1 steam turbine relationship).

##### Steam Turbine Duct Firing Capacity

The steam turbine duct firing capacity represents the capacity, in MW, available from the duct firing range of the generation unit associated with a steam turbine resource. This data parameter may be submitted by the Equipment Registration Specialist for each generation unit associated with a steam turbine resource and reflects the actual capability of the generation unit. If the market participant has elected to model the steam turbine resource as part of a pseudo-unit, the IESO will use this parameter to derive the steam turbine duct firing capacity parameter for the associated resource. The resource’s data parameter is used to calculate the duct firing operating region when scheduling a pseudo-unit in the day-ahead market, pre-dispatch scheduling process and real-time market.

The IESO accepts the submission using the following validation rules:

- the generation unit must be associated with a steam turbine that is part of a combined cycle plant;

- number format xxxx.x – unit is MW; and

- 0 =< Duct Firing =< ST MGC – [ (Registered Number of Combustion Turbines at a Combined Cycle Plant) * (Registered ST MLP1-on-1) ]

##### Duct Firing Ten-Minute Operating Reserve Capability Flag

The duct firing 10-minute operating reserve capability flag can be used to prevent steam turbine resources associated with a pseudo-unit from receiving ten-minute operating reserve schedules within the duct firing operating region. The IESO uses this parameter to determine which classes of operating reserve can be scheduled in the duct firing region of a pseudo-unit. The parameter is only used if the steam turbine resource is registered to participate in pseudo-unit modelling and is scheduled as part of a pseudo-unit in the IESO-administered markets.

This data parameter must be submitted by the Equipment Registration Specialist for each steam turbine resource that has elected to participate in pseudo-unit modelling. The value submitted by the Equipment Registration Specialist must reflect the actual capability of all generation units associated with steam turbine resources in a pseudo-unit. A value of Yes indicates that the pseudo-unit may be scheduled by the IESO for any class of operating reserve in the duct firing region. This value may only be submitted if the registered steam turbine duct firing capacity is > 0 MW. A value of No indicates the pseudo-unit may not be scheduled by the IESO for synchronized or non-synchronized ten-minute operating reserve in the duct firing region.

### Registration of Resources for Wholesale Consumers

(MR Ch.7 ss.2.1, 2.2.1, 2.2.2, 2.2.3, 2.2.5, 2.2.6 (as applicable) and 2.2.8 )

Wholesale consumers may participate in the IESO-administered markets using a load resource with one of the load participation types specified in Table 3-8-. These load participation types are determined by the bid/offer type as established by the bid/offer type resource parameter. This parameter must be submitted by each load resource and is described in the subsection below.

Table 3-8: Types of Load Resources

| Bid/Offer Type | Load Participation Types |
| --- | --- |
| Dispatchable | Dispatchable load (includes dispatchable electricity storage resources registered to withdraw) Hourly demand response resource |
| Non-dispatchable | Non-dispatchable load |
| Day-ahead price responsive | Price responsive load (includes self-scheduling electricity storage resources registered to withdraw) |

As part of the registration procedures for the day-ahead market and real-time market, the Equipment Registration Specialist must submit resource data parameters required by a Load Resource, as indicated in the Register Equipment Help File, using Online IESO. The IESO requires a minimum of two business days to implement changes to these values.

Table 3-9- provides additional detail on some resource data requirements for specific load participation types.

Table 3-9: Load Resource Registration Parameters

|  |  | Load Participation Types |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Registration Parameter | Mandatory/Optional | Non-Dispatchable Load | Dispatchable Load Including Dispatchable Electricity Storage Resource Registered to Withdraw | Price Responsive Load Including Self-Scheduling Storage Resource Registered to Withdraw | Hourly Demand Response |
| Bid/Offer Type | M | X | X | X | X |
| Operating Reserve Class | M |  | X |  |  |
| Market Control Entity for Physical Withholding | M |  | X |  |  |
| Maximum Load – Active Power | by IESO |  | X | X |  |
| Reference Levels for Financial Dispatch Data | M |  | X |  |  |
| Reference Levels for Non-Financial Dispatch Data | M |  | X |  |  |
| Reference Quantities | M |  | X |  |  |

As part of the registration procedures for the day-ahead market and real-time market, the Equipment Registration Specialist must submit specific technical data and resource data through Online IESO, which the IESO uses to determine a resource’s:

- commitments and schedules, while respecting the facility’s technical data; and

- eligibility for settlement amounts, including make-whole payments for the day-ahead market and real-time market.

The following subsections describe the applicable resource data parameters that must be submitted by the Equipment Registration Specialist of a load resource.

##### Bid/Offer Type

The bid/offer type registration parameter is a mandatory registration parameter for all load resources. This parameter identifies a resource registered as either a dispatchable load, price responsive load or a non-dispatchable load. The value selected by the Equipment Registration Specialist will be used by the IESO’s tools to determine bid submission eligibility for a load resource or electricity storage resource in the day-ahead market and real-time market. During the registration procedure, the Equipment Registration Specialist must select one of the following bid/offer types for each load resource or electricity storage resource registering to withdrawal during the registration procedure:

- Dispatchable to indicate a market participant’s intent to participate in the IESO-administered markets as a dispatchable load;

- Price Responsive Load to indicate a market participant’s intent to participate in the IESO-administered markets as a price responsive load; or

- Non-Dispatchable to indicate a market participant’s intent to participate in the IESO-administered markets as a non-dispatchable load.

Market participants can change their bid/offer type from a dispatchable load or a price responsive load to a non-dispatchable load and vice versa. For more details on the requirements specific to submitting these change requests, refer to section 4.2.2.

###### Batch Type Dispatchable Loads

Most of the dispatchable loads participating in the energy market are of the continuous process type. However, some load resources are batch type load resources, meaning that there are cyclical periods during the bidding hour in which they are operating at 0 MW in order to refuel or unload.

A batch type load resource may be considered for participation in the energy market as dispatchable loads provided:

the batch type load resource has an hourly consumption schedule that is predictable at least two hours in advance of the dispatch hour to allow the market participant to formulate and submit its bids within the timelines specified by the market rules for dispatchable resources; and

the batch type load resources exhibits a duty ratio of at least 0.75. This means that within an hour, the load resources should not be at zero consumption for more than a cumulative of 15 minutes.

##### Operating Reserve

(MR Ch.7 s.2.2.8)

Each wholesale consumer associated with a dispatchable load must submit a value for the operating reserve class registration parameter. This parameter identifies if the resource is eligible to provide operating reserve and the operating reserve classes that the market participant has elected to provide.

The Equipment Registration Specialist submits a single value for the parameter by selecting one of the following values in Online IESO:

- 10 min non-spin and 30 min to indicate election to provide in the non-synchronized ten-minute operating reserve and thirty-minute operating reserve;

- 30 min non-spin to indicate election to provide thirty-minute operating reserve;

- All type to indicate election to provide synchronized and non-synchronized ten-minute operating reserve as well as thirty-minute operating reserve; or

- No operating reserve to indicate election not to provide operating reserve.

###### Eligibility Criteria for Participation in the Operating Reserve Markets

Dispatchable loads must have a predictable, periodic consumption cycle, and meet the eligibility criteria for participation in the ten-minute operating reserve and thirty-minute operating reserve market as described in Table 3-10-.

Table 3-10: Dispatchable Load Eligibility Criteria

|  | Criteria |  | Rationale |
| --- | --- | --- | --- |
| 1 |  | Must demonstrate a load cycle of more than 0.75 (total minutes consuming divided by total minutes of the cycle period) | This criterion allows the IESO to make assumptions about the availability and consumption level of the load resource. A lower duty ratio means that the IESO has to carry more ten-minute operating reserve or thirty-minute operating reserve or regulation to compensate for a higher uncertainty of the ability of the load resource to comply with the ten-minute operating reserve or thirty-minute operating reserve activation request. This also limits the exposure of that load resource in the event it’s scheduled for ten-minute operating reserve or thirty-minute operating reserve but is not able to activate because it would be down 10 or 30 minutes after receipt of the activation message. For instance, for non-spinning ten-minute operating reserve, if a load resource was down six minutes then up four minutes, it would meet criterion #2, but have a duty cycle of 40%. However, if it were activated in minute 3, then ten minutes later (i.e., minute 13) it would have been down anyway. Criterion #2 combined with criterion #4 limits this exposure. |
| 2 |  | Must not be at zero consumption for more than 10 minutes at a time (exceptions are allowed for unplanned events) | This criterion is required to help ensure that the load resource will be able to respond to a ten-minute operating reserve activation and reduce consumption within 10 minutes (i.e., the resource would have been loaded at the time the relief is required). |
| 3 |  | Must not be at zero consumption for more than 10 minutes at a time (exceptions are allowed for unplanned events) | This criterion is required to help ensure that the load resource will be able to respond to a thirty-minute operating reserve activation and reduce consumption within 30 minutes (i.e., the resource would have been loaded at the time the relief is required). |
| 4 |  | Must be able to maintain a zero consumption level for at least one hour, when activated for ten-minute operating reserve or thirty-minute operating reserve | As described in NPCC Directory 5 Reserve. |
| 5 |  | Must be able to respond to the IESO's activation request for ten-minute operating reserve and reduce load within 10 minutes | As described in: IESO market rules, definitions of ten-minute operating reserve and thirty-minute operating reserve NERC Glossary of Terms |
| 6 |  | Must be able to respond to the IESO's activation request for thirty-minute operating reserve and reduce load within 30 minutes | As described in: IESO market rules, definitions of ten-minute and thirty-minute reserve NERC Glossary of Terms |

##### Market Control Entity for Physical Withholding

(MR Ch.7 s.22.9)

Market participants disclose their market control entities and then select a market control entity for physical withholding from among their market control entities for each of their dispatchable load resources via the Update Organization process.

##### Maximum Load – Active Power

The maximum load – active power registration parameter is a mandatory resource data parameter that is determined by the IESO. This parameter represents the maximum active power capability for a resource registered as either a dispatchable load or a price responsive load. For a dispatchable load, the IESO uses this parameter to calculate the maximum offer quantity for energy or operating reserve that can be submitted as dispatch data. For a price responsive load, the IESO uses this parameter to calculate the maximum offer quantity for energy that can be submitted as dispatch data in the day-ahead market. The IESO determines the value of this parameter by calculating the sum of the Total peak load – Active Power values provided by the Equipment Registration Specialist for all registered load equipment associated with the load resource.

##### Reference Levels for Financial Dispatch Data Parameters

(MR Ch.7 ss.22.1.1 and 22.2.1)

Table 3-11- lists the load resource types that have reference levels registered for each financial dispatch data parameter. For more information on the process the IESO uses to determine reference levels for financial dispatch data parameters, refer to MM 14.2.

Table 3-11: Applicability of Financial Reference Levels by Types of Loads

| Energy Offer Reference Level | Speed No-Load Reference Level | Start-Up Reference Level | Operating Reserve Offer Reference Level |
| --- | --- | --- | --- |
| None | None | None | - Dispatchable load - Dispatchable electricity storage resource (withdrawals) |

##### Reference Levels for Non-Financial Dispatch Data Parameters

(MR Ch.7 ss.22.1.1 and 22.3.1)

Resources have two sets of reference levels for non-financial dispatch data registered, one each for season:

- the summer period, which is from May 1 to October 31; and

- the winter period, which is from November 1 to April 30.

Table 3-12- sets out the resource types that have reference levels registered for each non-financial dispatch data parameter. For more information on the process the IESO uses to determine reference levels for non-financial dispatch data parameters, refer to MM 14.2.

Table 3-12: Reference Levels for Non-Financial Dispatch Data Parameters

| Non-Financial Reference Level | Registered for the Following Resource Types |
| --- | --- |
| Operating Reserve Ramp Rate Reference Level | Dispatchable load Dispatchable electricity storage resource (withdrawals) |

##### Reference Quantities

(MR Ch.7 s.22.6.1)

Table 3-13- lists the load participation types that have reference quantities registered in the energy and/or operating reserve markets. The IESO registers sets of reference quantities for each market in which a resource participates. For more information on the process the IESO uses to determine reference quantities and calculate reference quantity values, refer to MM 14.2.

Table 3-13: Reference Quantities by Load Participation Type and Market

| Energy Market | Operating Reserve Market |
| --- | --- |
| None | - Dispatchable load - Dispatchable electricity storage resource (withdrawals) |

### Registration of Facilities, Equipment, and Resources for Electricity Storage Participants

(MR Ch.7 ss.2.1, 2.2 and 21.2)

All electricity storage participants must submit facility data and provide operational monitoring to the IESO. This includes:

electricity storage participants intending to participate in the IESO-administered markets; and

embedded electricity storage participants that are not market participants but are program participants.

Electricity storage participants intending to participate in the IESO-administered markets are required to register in accordance with this market manual.

In accordance with MR Ch.7 s.21, the evolution of the participation framework for electricity storage in Ontario to potentially provide for fuller integration of electricity storage into the Ontario wholesale electricity markets and grid is under consideration by the IESO.

Some or all of the requirements set out herein may change as a result of such evolution, and the IESO may, in connection with such changes, require electricity storage participants to modify their registration and operational arrangements in accordance with future market rule amendments which may supplant the requirements stated herein.

An electricity storage participant can register its facility in one of three ways:

dispatchable electricity storage facility;

self-scheduling electricity storage facility providing regulation service only; or

self-scheduling electricity storage facility not providing regulation service.

An electricity storage participant participating in the energy market, operating reserve market, or capacity auction must register its facility as a dispatchable electricity storage facility. For more details on electricity storage facility participation in the capacity auction, refer to MM 12.0.

An electricity storage participant participating in the energy market only (not the operating reserve market or capacity auction) may register as a self-scheduling energy storage facility, if its electricity storage facility size is less than 10 MW.

A self-scheduling electricity storage facility registered to provide regulation service will not be permitted to participate in the energy market or the operating reserve market.

Prior to registering with the IESO, electricity storage participants may be required to complete a connection assessment as described in MM 1.4.

##### Registering Resources

(MR Ch.7 s.21.2)

Registration solution for electricity storage resources – Until such time that electricity storage resources are more fully integrated into the IESO’s tools, electricity storage resources are represented within the IESO tools as a combination of separate generation and load resources representing their injection and withdrawal capabilities respectively. Electricity storage participants registering their resources pursuant to MR Ch.7 s.21.2, must satisfy the registration requirements applicable to generation and load resources, as outlined in Table 3-14. As such, market participants intending to register electricity storage resources should also review section 3.3 and section 3.4 to identify the requirements to register generation resources and load resources, respectively.

Table 3-14: Electricity Storage Resource Type versus Registration Requirements

| Resource Type | Authorization | Applicable Registration Requirements |
| --- | --- | --- |
| Dispatchable electricity storage resource | - To inject energy | - Dispatchable generation resource(s) |
|  | - To withdraw energy | - Dispatchable load resource(s) |
| Self-scheduling electricity storage resource (providing regulation only) | - To inject energy | Self-scheduling generation resource(s) |
|  | - To withdraw energy | No registration required |
| Self-Scheduling Electricity Storage resource (not-providing regulation) | - To inject energy | - Self-scheduling generation resource(s) |
|  | - To withdraw energy | - Price responsive load resource(s) |
| Embedded Electricity Storage resource (only program participants) | - To inject energy | - Self-scheduling generation resource(s) |
|  | - To withdraw energy | - Either Non-dispatchable load(s) or Price responsive load resource(s), only if required by the IESO |

For facilities referred to in MR Ch.7 ss.3.5.10 and 3.5.11 (electricity storage facilities and generation facilities under the same connection point), all resources i.e. generation resource(s) and electricity storage resources (both those authorized to inject and those authorized to withdraw) must be registered as dispatchable resources.

Interim participation of electricity storage resources – The market rules impose explicit requirements applicable to various types of electricity storage resources. Considering that the IESO’s systems do not explicitly include electricity storage resources, to satisfy these requirements, electricity storage participants participate in the IESO markets by adhering to the processes applicable to the other resource types as described in Table 3-14.

##### Facility Data

Electricity storage participants submit facility data via Online IESO for their equipment and resources.

In addition to the equipment data that is required in Online IESO, the IESO requires additional data listed in Table 3-15-.

Table 3-15: Additional Data Required for Electricity Storage Facilities

| Parameter | Description |
| --- | --- |
| Certified Duration of Service (injecting) | The certified time an electricity storage facility can inject continuously until it reaches its Certified Lower Energy Limit, assuming the electricity storage facility operates at its Upper Power Operating Limit (injecting). |
| Certified Duration of Service (withdrawal) | The certified time an electricity storage facility can withdraw continuously until it reaches its Certified Upper Energy Limit, assuming the electricity storage facility operates at its Upper Power Operating Limit (withdrawing). |
| Cycle Efficiency | The percentage of withdrawn energy that is re-injected over one full cycle of the electricity storage facility. During any certification or recertification test, energy withdrawals occur at the Lower Power Operating Limit (withdrawing) and energy injections occur at the Upper Power Operating limit (injecting). |
| Certified Upper Energy Limit | The highest certified energy amount to which an electricity storage unit can be consistently charged without damage beyond expected degradation from normal use. |
| Certified Lower Energy Limit | The lowest certified energy amount to which an electricity storage unit can be consistently discharged without damage beyond expected degradation from normal use. |
| Upper Power Operating Limit (injecting) | The maximum active power output (MW) for operation when injecting. |
| Lower Power Operating Limit (injecting) | The minimum active power output (MW) for operation when injecting. |
| Upper Power Operating Limit (withdrawing) | The maximum active power consumed (MW) when withdrawing. |
| Lower Power Operating Limit (withdrawing) | The minimum active power consumed (MW) when withdrawing. |

##### Data Monitoring

(MR Ch.4 s.7.3A and App.4.24)

As market participants, electricity storage participants are subject to the operational data monitoring requirements on a facility basis as outlined in MR Ch.4 App.4.24.

Electricity storage participants that provide regulation will need to provide a basepoint, which is an economic dispatch value (in MW) as determined by the IESO or the market participant.

Within the required monitoring data outlined in MR Ch.4 App.4.24, there are several additional monitoring data unique to electricity storage facilities that electricity storage participants are required to provide to support the evolution of the permanent framework. These requirements are summarized in Table 3-16-.

Table 3-16: Electricity Storage Data Monitoring – Evolving Framework for Electricity Storage

| Telemetry Point | Description |
| --- | --- |
| Economic Maximum Power Mode (ECO_Pmax,g) | The dynamic, current maximum active power output for operation as provided by the market participant. |
| Economic Minimum Power Mode (ECO_Pmin,g) | The dynamic, current minimum active power output for operation as provided by the market participant. |
| Economic Minimum Charge Limit (ECO_SOCmin,g) | The dynamic, current minimum energy limit (MWh) that is provided by the market participant. |
| Economic Maximum Charge Limit (ECO_SOCmax,g) | The dynamic, current maximum energy limit (MWh) that is provided by the market participant. |

All operational monitoring shall be communicated to the IESO in accordance with IESO approved methodologies and standards as set out in MM 6.0 s.4.

##### Requirements for Operating Reserve Market Participation

(MR Ch.7 ss.2.2.8 and 21.7)

Electricity storage participants may elect to register to provide operating reserve in one of the following ways:

with its injection capability only (i.e., as a generation resource);

with its withdrawal capability only (i.e., as a load resource); or

with both its injection and withdrawal capabilities (i.e., as both a generation resource and a load resource).

Electricity storage participants wishing to provide operating reserve must meet the eligibility criteria for participation in either the ten-minute operating reserve or thirty-minute operating reserve markets, or both markets, as described in Table 3-17-. Operating reserve offers and operational requirements for electricity storage facilities are described in MM 4.1.

Table 3-17: Requirements for Operating Reserve Market Participation

| Requirement |  | Purpose and/or Applicable Rule, Standard, etc. |
| --- | --- | --- |
| 1 | To offer operating reserve from its withdraws: Electricity storage resources must be able to withdraw continuously for at least 70 minutes at or above the minimum operating reserve capability (withdrawal). The minimum operating reserve capability (withdrawal) must be at least 1 MW. | This is to ensure that the resource has the capability to withdraw continuously at the minimum operating reserve capability for an adequate duration before reducing to zero consumption should an activation be called at the end of a dispatch hour. For more details, refer to Appendix A of MM 4.1. |
| 2 | To offer operating reserve from the its injections: Electricity storage resources must be able to inject continuously for at least 130 minutes at or above the minimum operating reserve capability (injection). The minimum operating reserve capability (injection) must be at least 1 MW. | This is to ensure that the resource has the capability to inject continuously at the minimum operating reserve capability for an adequate duration should an activation be called at the end of a dispatch hour. For more details, refer to Appendix A of MM 4.1. |
| 3 | To provide operating reserve from withdrawals: Electricity storage resources must be able to maintain a zero consumption level for at least one hour when activated for ten-minute operating reserve or thirty-minute operating reserve. | Comply with NPCC Directory 5 Reserve |
| 4 | To provide operating reserve from injections Electricity storage resources must be able to sustain level of operating reserve provided for at least one hour when activated for ten-minute operating reserve or thirty-minute operating reserve | Comply with NPCC Directory 5 Reserve |
| 5 | Electricity storage resources must be able to respond to the IESO's activation request for ten-minute operating reserve and provide offering reserve within 10 minutes | - MR Ch.11 definitions of ten-minute operating reserve and thirty-minute operating reserve - NERC Glossary of Terms |
| 6 | Electricity storage resources must be able to respond to the IESO's activation request for thirty-minute operating reserve and provide offering reserve within 30 minutes | - MR Ch.11 definitions of ten-minute operating reserve and thirty-minute operating reserve - NERC Glossary of Terms |

### Aggregation of Equipment and Resources

(MR Ch.7 s.2.3)

At or subsequent to their initial registration, market participants may apply to aggregate generation units, electricity storage units or load equipment for the purpose of submitting bids/offers. The IESO will only grant an aggregation request from a market participant if the aggregation will not affect system operating limits and will not affect security or resource adequacy assessments.

#### Resource Compliance Aggregation

Resources that are not eligible for aggregation may be eligible for compliance aggregation. This is where individual generation resources within a defined group may ignore their dispatch provided that the total dispatch is respected. For example, consider two generation resources, G1 and G2, each having a dispatch of 5 MW. Under compliance aggregation, G1 may generate 3 MW and G2 may generate 7 MW, meeting the total dispatch of 10 MW. This is typical for generation resources that are part of river systems that do not share common connection points, but may individually experience challenges in following dispatch instructions due to sharing a single fuel supply.

Market participants who wish to participate in compliance aggregation shall submit a request noting the relationships between these resources (e.g., river system).

The request for aggregation will be considered based on:

whether the resources to be aggregated are dispatchable quick start generation resources or dispatchable non-quick start generation facilities. Where a market participant wishes to register dispatchable non-quick start generation facilities, such resources will be subject to ramp rate restrictions when exercising compliance aggregation in real time. These restrictions are outlined in the interpretation bulletin, Compliance with Dispatch Instructions Issued to Dispatchable Facilities, IMO_MKRI_0001 v.7.0, ss.2.2-2.3

whether the resources are related to each other (e.g. river systems); and

the likelihood that the resource will be sent to Unit Specific Dispatch for security reasons.

If the request for aggregation is approved, the market participant will be notified. The in-service activities of the aggregated resources are coordinated by the IESO in the same way as for any new or modified facility.

### Participation in Centralized Forecasting Service for Generation Facilities that have Variable Generation Resources

(MR Ch.4 s.7.1.6)

Each generation facility that has variable generation resources is required to:

- be authorized as a program participant for centralized forecasting service (refer to section 2.3.2);

- register via Online IESO to provide operational and meteorological monitoring data for centralized forecasting service, then (after being registered) provide the data via Online IESO (refer to sections 3.7.1 through 3.7.4);

- submit facility data for its equipment and supporting documentation for its meteorological equipment via Online IESO. Refer to Appendix B (wind) and Appendix C (solar) for complete listings of the required facility data. Submitted data are reviewed and (if the data meet requirements) approved by the IESO; and

coordinate with the IESO for scheduling and performing data monitoring (operational and meteorological) tests.

#### Operational and Meteorological Monitoring

(MR Ch.4 App.4.15 and 4.19)

As a market participant, a generation facility that has variable generation resources must provide operational telemetry to the IESO and is subject to the operational monitoring requirements outlined in MR Ch.4 App.4.15 and to the performance requirements outlined in MR Ch.4 App.4.19. These requirements are based on a per facility basis. All operational monitoring must be provided to the IESO per the specifications set out in MM 6.0s.4.

Meteorological monitoring that measures local weather at the facility shall be provided to the IESO at least once every 30 seconds and shall not be modified in any way (i.e., the provided value is not an averaged value).

#### Meteorological Monitoring - Wind Generation Facilities

At the time of registration, the IESO will provide the Equipment Registration Specialist with a list of applicable operational monitoring based on the requirements listed in Appendix B (wind).

Each wind turbine must be no further than 5 km from the nearest meteorological data collection point. A wind generation facility may collect and send meteorological data from as many points at the facility as are available.

Data are collected through the use of meteorological towers, sodar or lidar technology, nacelle mounted equipment, or a combination of these methods. However, the minimum number of meteorological towers or sodar/lidar units per facility must be met, as per Table 3-18-, prior to considering any other technology (i.e., nacelle mounted equipment). Multiple facilities can provide data from the same data collection points if they are within the 5 km range.

#### Meteorological Towers and Sodar/Lidar Technology

Wind facilities must provide operational monitoring that measures local weather from standalone meteorological towers, or sodar or lidar units, located in areas representative of the microclimate and winds on the prevailing upstream side of the wind facility. Data that must be provided by a wind facility is found in Appendix B.

If a wind facility provides weather data using sodar or lidar technology, supplementary nacelle mounted wind speed and direction data shall be provided. Meteorological monitoring using nacelle mounted equipment shall comply with the requirements as stated in Table B-4- of Appendix B.

Table 3-18: Meteorological Tower or Sodar/Lidar Unit Requirements for Wind Facilities

| Facility Size | Total Number of Meteorological Towers or Sodar/Lidar Units per Facility |
| --- | --- |
| Less than 10 MW | None |
| 10 MW to less than 100 MW | 1 minimum |
| 100 MW to less than 200 MW | 2 minimum |
| 200 MW to less than 300 MW | 3 minimum |
| 300 MW to less than 400 MW | 4 minimum |

#### Operational Monitoring - Solar Generation Facilities

At the time of registration, the IESO will provide the Equipment Registration Specialist with a list of applicable monitoring based on the requirements in Appendix C (solar).

Each solar facility shall have a minimum of two meteorological data collection points irrespective of the physical size of the solar facility. No solar panel shall be further than 12 km from the nearest two meteorological data collection points. Multiple facilities can provide data from the same data collection points if they are within the 12 km range.

### Next Steps

After the Stage 5: Register Equipment procedure is complete, the next stage in connecting to Ontario’s power system is Stage 6: Commission equipment and validate performance. Stage 6 is not always mandatory. This procedure is outlined in the Commission equipment and validate performance process diagram.

#### Commission Equipment

(MR Ch.7 ss.2.2A and 2.2D)

During the Commission Equipment stage, the market participant conducts commissioning tests of the equipment installed at their facility. These tests are scheduled according to the procedures in MM 7.3.

The purpose of the commissioning tests is to confirm whether the equipment:

- meets the requirements and expectations established during the connection assessment process and defined in the Notice of Conditional Approval to Connect;

- is impactive on the reliability of the IESO-controlled grid; and

- should be included in the outage reporting requirement.

All exclusions from the outage reporting requirement are subject to periodic review by the IESO and may be revoked at any time as a result of such a review and/or changes to facilities.

Commission testing consists of the following four steps, which are described in detail on the Stage 6: Commission equipment and validate performance webpage:

- submit commissioning request;

- submit commissioning test plan;

- complete commissioning test; and

- submit commissioning test report.

#### Performance Validation

(MR Ch.2 s.6)

Performance validation applies to new equipment and to equipment that has been modified such that it causes a change to its performance characteristics.

The Equipment Registration Specialist will receive a notification through Online IESO during the Register Equipment procedure if performance validation is required. For more information, refer to MM 1.6.

– End of Section –

## Maintain IESO Registered Data

The purpose of the Maintain IESO Registered Data procedures is to maintain data such that the IESO retains current and accurate information on Participants and service providers. This includes maintaining data related to their applicable facilities, equipment, resources, and people and their contact information and system accesses registered with the IESO.

Changes to registered data should be identified to the IESO and made in Online IESO as soon as possible before they take effect. However, some proposed changes must be identified to the IESO well before they take effect.

Important: 	It is the responsibility of the market participant, program participant or service provider to review and maintain their IESO registered data and submitted supporting documentation on an enduring basis, to ensure that they all are correct.

The costs incurred by the IESO during the maintain IESO registered data phase will be invoiced by the IESO to the market participant according to the provisions described in section 6.

### Maintain Organization/Participant Registered Data

(MR Ch.1 s.11.3.1 and MR Ch.2 s.3.1.8)

Each market participant, program participant, and service provider, via their Applicant Representatives, is required to maintain IESO registered data, including supporting documentation, by reviewing and updating them as necessary in Online IESO. Examples of IESO registered data include (but are not limited to):

- organization name, address, contact information, etc.;

- access to IESO systems;

- market participant, program participant, and service provider authorization type;

- bank account data;

- supporting documentation (e.g., prudential support, OEB licence, CER permit); and

- applicable market control entities or market control entities for physical withholding.

#### Change Organization Name

An Authorized Representative of a market participant, program participant, or service provider may initiate an organization name change request by emailing market.registration@ieso.ca. The request must include the reason for the name change.

The market participant, program participant, or service provider will then be instructed to upload applicable supporting documents through Online IESO (e.g., official statement of merger or buyout).

The IESO will advise the Authorized Representative whether any additional supporting documents are needed. If no additional supporting documents are needed, the market participant, program participant, or service provider must then re-register the organization using the procedures in section 2. A new participant agreement will be generated, printed, and issued for signature as described in section 2.1.1.

Market participants changing their organization name must also update their prudential support information. Additionally, they must update and submit their OEB Licence and (if applicable) CER permit (refer to section 2.2.1).

#### Change Participation Type

Upon receiving a request from a market participant to change their participation type, the IESO assesses any possible impact the requested class change may have on the market participant’s facility information, and whether the change has any real or potential impact on the security and reliability of the IESO-controlled grid.

#### Access Additions/Changes to IESO Systems

Rights Administrators may need to update, add or delete users that have access to the IESO systems used for exchanging data between themselves and the IESO (e.g., Online IESO, IESO gateway). For these situations, refer to MM 1.3 for information on system access.

#### Changes to Mandatory Organization Contacts

Market participants, program participants and service providers may request a change to one of their mandatory organization contacts (refer to section 2.1) by submitting a task through Online IESO on the day before the change is to take effect, or as soon as possible after. The change must be requested by another mandatory organization contact as described below:

- a request to change an Applicant Representative may be submitted by any mandatory organization contact who is registered in Online IESO;

- a request to change a Rights Administrator may be submitted by either an Authorized Representative, Primary Contact, or another Rights Administrator who is registered in Online IESO and is still functioning in that role; and

- a request to change a Primary Contact may be submitted either by an Authorized Representative or another Primary Contact who is registered in Online IESO and is still in that role.

Online IESO sends an automatic annual email notification to each participant on the anniversary date of their registration requesting they confirm that their mandatory organization contacts are accurate, or to make any necessary changes.

##### Changing an Authorized Representative

A request to change an Authorized Representative may be submitted through Online IESO by any mandatory organization contact. However, the request must be accompanied by a letter (on company letterhead) from either the new Authorized Representative, or from another Authorized Representative who is registered in Online IESO and is still in that role. The letter must include the following information:

- name (legal and if applicable, known name), email address and phone number of the new Authorized Representative;

- attestation either from self (if the new Authorized Representative is to be the only Authorized Representative) or from the Authorized Representative writing the letter that the person identified is now an Authorized Representative;

- attestation that the new Authorized Representative has the authority to contractually bind the company;

- attestation that any registered Authorized Representatives who are no longer in that role should be removed from that role;

- the effective date of the Authorized Representative change; and

- printed name and signature of the Authorized Representative writing the letter.

##### Changing all Mandatory Organization Contacts

In a situation where all of a market participant’s, program participant’s or service provider’s registered mandatory organization contacts have changed (e.g., a complete management turnover), a representative of the organization’s new management who has the authority to contractually bind the company must contact IESO Customer Relations (customer.relations@ieso.ca) to begin the process of registering their new mandatory organization contacts.

### Facility, Equipment and Resource Data Maintenance

(MR Ch.1 s.11.3.1)

After approving a facility for participation in the IESO-administered markets, the IESO uses the maintenance procedures to ensure that all facilities continue to meet the minimum requirements defined by the market rules. In addition, the maintenance procedures ensure that any changes or additions to facilities and their associated resources participating in the IESO-administered markets, or their related data stored in Online IESO, do not negatively impact the security or reliability of the IESO-controlled grid. For example, facility maintenance is required where there are market participation changes, such as:

- resource type (generation resource, load resource, etc.);

- bid/offer type data parameter for generation resources (dispatchable [regular], non-dispatchable, self-scheduling, intermittent);

- bid/offer type data parameter for electricity storage resources;

- bid/offer type data parameter for load resources (dispatchable [regular], day-ahead price responsive, non-dispatchable);

- operating reserve class (ten-minute or thirty-minute);

- facility type (generation facility, load facility, etc.);

- combined cycle plant modelling (pseudo-unit model, etc.);

- physical site modifications (e.g., changes in MW output, ramp rates, governor models, data monitoring, and voice communication equipment, etc.);

- changes in operational control, as defined by the registered market participant; and

- changes to market control entities or market control entity for physical withholding, as applicable.

Market participants and program participants manage their facility, resource, and equipment data, and applicable relationship data using Online IESO. These persons are required to submit a change request through Online IESO to notify the IESO about any changes, additions or deletions to data concerning their facilities. These changes may impact the data stored in Online IESO or the supporting documentation relating to the facility.

Any changes that a market participant, program participant, or service provider cannot make through Online IESO must be emailed to market.registration@ieso.ca. The IESO will update the relevant data in Online IESO, which the market participant, program participant, or service provider can then confirm by accessing their Online IESO registration data.

Depending on the nature of the change request, the IESO may need to prepare and issue a RAN to the Participant in order to approve the change. As a guideline to market participants or program participants with existing facilities, the IESO will issue a RAN for changes including, but not limited to:

- resource data parameter changes:

- operating reserve class;

- decease/increase in maximum capacities;

- bid/offer type,

- minimum run-time, MGBRT, minimum loading point;

- reference levels, reference quantities; and

- participation in an IESO program (e.g., generator offer guarantee status);

- equipment data changes (including operating nomenclature changes):

- breaker, transformer, and switch replacements;

- static VAR compensator (SVC), STATCOM, capacitor and reactor;

- remedial action scheme; and

- modifications to automatic voltage regulator (AVR), power system stabilizer (PSS); and

- relationship changes for a facility or boundary entity resource (i.e., ownership, operation, or registered market participant changes).

A RAN is generally not issued for changes to facility contact information, user-resource relationship, protection changes to an existing facility, and revenue metering changes.

It is recommended that the market participant or program participant email market.registration@ieso.ca early in the change process to determine if a RAN is required.

The following subsections cover specific types of facility data changes.

#### Data Monitoring and Voice Communications Changes

Any change to a market participant’s or program participant’s data monitoring or voice communications requires re-submission via Online IESO and, if necessary, revised Single-Line Diagrams. Changes to this data may require the market participant or program participant to redo certain facility tests (refer to section 3.2.7). After assessment of the requested changes, the IESO will notify the market participant or program participant through Online IESO whether the requested changes have been approved or denied.

#### Changes to Bid/Offer Type Registration Parameter for Load Resources

(MR Ch.7 ss.2.2.19 and 2.2.20)

As described in section 3.4.1.1, existing load resources can indicate their intent to participate in the IESO-administered markets as a dispatchable load, a non-dispatchable load or a price responsive load when submitting the bid/offer type resource parameter. A load resource can change its intent by requesting a change of the bid/offer type resource parameter to be approved from the IESO. Depending on the nature of the change, a load resource will have to complete additional stages in the Connecting to Ontario’s Power System process as described in section 1.1. MR Ch.7 s.2.2.19 does not permit a market participant to change the bid/offer type for an electricity storage resource or an hourly demand response resource. Requirements for each type of change in the bid/offer type of a load resource are summarized in the headings below.

##### Changing from a Non-Dispatchable Load or a Price Responsive Load to a Dispatchable Load

Market participants that request a change to their bid/offer type from either a non-dispatchable load or a price responsive load to a dispatchable load must do so at least 180 calendar days prior to the effective date. Market participant contacts registered with the IESO, including the Equipment Registration Specialist and Revenue Metering contact, must complete several requirements at least five business days prior to the effective date, including but not limited to the requirements set out below:

the Register Equipment procedure as a dispatchable load, including all applicable prerequisite requirements indicated in section 3.1.1;

assignment of all applicable market participant/resource relationships as described in section 3.1.3.3;

all applicable metering and data monitoring requirements (e.g., dispatch workstation) as described in section 3.2; and

submission of all facility, equipment and resource data required by a dispatchable load as indicated in the Register Equipment Help File.

- A non-dispatchable load transitioning to a dispatchable load must adhere to resource naming conventions as advised by the IESO.

##### Changing from a Non-Dispatchable Load or a Dispatchable Load to a Price Responsive Load

Market participants that request a change to their bid/offer type from either a non-dispatchable load or a dispatchable load to a price responsive load must do so at least 75 calendar days prior to the effective date. Market participant contacts registered with the IESO, including the Equipment Registration Specialist and Revenue Metering contact, must complete a number of requirements at least five business days prior to the effective date, including but not limited to the requirements set out below:

- the register equipment procedures as a price responsive load, including all applicable prerequisite requirements indicated in section 3.1.1;

- assignment of all applicable market participant/resource relationships as described in section 3.1.3.3;

- all applicable metering and data monitoring requirements as described in section 3.2; and

- submission of all facility, equipment and resource data required by a dispatchable load as indicated in the Register Equipment Help File.

- A non-dispatchable load transitioning to a price responsive load must adhere to resource naming conventions as advised by the IESO.

##### Changing from a Dispatchable Load or a Price Responsive Load to a Non-Dispatchable Load

Market participants that request a change to their bid/offer type from either a dispatchable load or price responsive load to a non-dispatchable load must do so at least 75 calendar days prior to the effective date.

Once the change to the bid/offer type takes effect, market participants will not be permitted to revert their bid/offer type back to a dispatchable load or price responsive load for a minimum period of 180 calendar days.

A market participant for a load resource at a dispatchable electricity storage facility will not be eligible to change the resource’s bid/offer type from Dispatchable to Day-ahead price responsive or Non-dispatchable if the associated storage generation resource has a bid/offer type of Dispatchable.

A market participant for a price responsive load storage resource will not be eligible to change the resource’s bid/offer type from Day-ahead price responsive to Dispatchable or Non-dispatchable if the associated storage generation resource is a self-scheduling storage resource.

#### Assessments for Operating Reserve Market Participation

The IESO will assess requests to change a resource’s registration data to allow it to be used for participation in the operating reserve market to determine whether:

- the resource is eligible to provide synchronized ten-minute operating reserve. Boundary entity resources are not eligible to offer synchronized ten-minute operating reserve;

- the resource’s registration data indicate that there may be difficulty in providing ten-minute operating reserve vs. thirty-minute operating reserve; and

- whether the dispatchable load resource is eligible to provide ten-minute operating reserve or thirty-minute operating reserve.

#### Changes to Self-Scheduling Generators

(MR Ch.7 ss.2.2.9 and 2.2.11)

The IESO will assess requests for changes to self-scheduling generation facilities and any associated resources with respect to:

- ensuring that the resource associated with the self-scheduling generation facility is between 1 MW and 10 MW nameplate rating, and is within the IESO control area; and

- whether the changes to the noted resource will affect IESO-controlled grid security.

#### Changes to Intermittent Generators

(MR Ch.7 s.2.2.15)

The IESO will assess requests for changes to intermittent generation resources to ensure that the change to the related facility will not affect security of the IESO-controlled grid. Market participants and program participants shall submit sufficient documentation for the intermittent status and this documentation must be approved by the IESO. The documentation must demonstrate that the generation facility generates on an intermittent basis as a result of factors beyond the control of the generator.

#### Changes to Electricity Storage Facilities

(MR Ch.7 2.2.11)

The IESO will assess requests to change to an electricity storage facility to ensure that the change will not affect the security of the IESO-controlled grid. The market participant requesting the change shall submit sufficient documentation relating to the requested change and this documentation must be approved by the IESO.

#### Transfer of Facility Registration

(MR Ch.7 s.2.5)

Market participants who wish to transfer the registration of a facility to other market participants as a result of their intent to sell, lease, assign or transfer control of that facility must submit a request to the IESO for the transfer of the facility at least 10 business days in advance of the proposed date of transfer. The request must specify:

- the identity of the transferee and whether or not they are or intend to be a market participant; and

- the date on which the proposed transfer is to take place.

The market participant to whom the facility is to be transferred must provide to the IESO:

- confirmation that it is willing and able to assume control of the facility to be transferred and to comply with all provisions of the market rules related to facilities and any reliability must-run contract or contracted ancillary services contract applicable to the facility;

- a new connection agreement;

- a new OEB licence;

- a new or revised restoration participant attachment (if applicable);

- any changes related to the operational control of the facility (e.g., new registered market participant data);

- any changes to market control entities or market control entity for physical withholding (if applicable);

- information concerning any planned changes to the facility’s physical characteristics or its associated data monitoring or voice communications equipment; and

- information concerning changes to contacts for the facility.

In a rare case, where the facility or associated resources refer to the prior market participant’s name, the new market participant will be required to register the new facility and associated resources in Online IESO with a different name. This is to ensure they do not negatively impact the security or reliability of the IESO-controlled grid. The new facility owner is also expected to complete this registration change with their applicable transmitter or distributor.

If the proposed transferee is not a market participant at the time the request for transfer is made, the IESO will not approve the transfer until such time as the transferee has completed the Participant Authorization procedures (refer to section 2). All obligations will remain with the current market participant.

### Document Changes

(MR Ch.1 s.11.1 and MR Ch.2 s.3.1.8)

Market participants must resubmit the following documentation to the IESO any time the content of the original document changes:

- OEB licence;

- connection agreement;

- restoration participant attachment;

- Single-Line Diagram;

- Protection Description Document;

- Operational Philosophy Document;

- Facility Description Documents; and

- technical data, such as capability curves, protection document, operational philosophy, etc.

Once an updated document has been stored in Online IESO, the previous version is archived in the IESO document management system, where it can be accessed if required.

– End of Section –

## Facility Deregistration/Market Participant Withdrawal

### Facility Deregistration

(MR Ch.7 s.2.4)

Market participants who wish to deregister one or more facilities are required to file a Notice of Request to Deregister with the IESO Manager, Operations Integration by email (market.registration@ieso.ca).

The request to deregister should include, at a minimum, the following information:

- market participant name;

- facility name;

- facility ID;

- resource name(s);

- reason for deregistration

- the expected deregistration date; and

- confirmation that deregistration of the facility will not potentially:

- endanger the safety of any person;

- damage equipment; or

- violate any applicable law (e.g., environmental).

The IESO will review the request and may ask the market participant to provide additional data if required.

As stated in MR Ch.7 s.2.4.8, generators with facilities must provide the IESO with at least six months’ notice of plans to retire a facility, in addition to notification of any plans the generator may have to construct replacement facilities for those being retired. This notice is necessary so that the IESO has sufficient time to assess the impact the deregistration could have on the reliability of the IESO-controlled grid, and whether a full technical assessment is required.

#### Determining Whether Technical Assessment Is Required

Within 10 business days of receiving a market participant’s request to deregister a facility, the IESO will inform the market participant and the transmitter to whose transmission system the facility is connected (if applicable) as to whether or not an IESO technical assessment of the impact of the facility’s disconnection on the reliability of the IESO-controlled grid is required.

#### When Technical Assessment Is Not Required

If the IESO determines that a technical assessment of a deregistration is not required, the IESO will email the market participant and inform them of this decision. The market participant will then inform the IESO of the date they wish to have the deregistration take effect. The deregistration date:

- may not be less than five business days after the date on which the market participant received the IESO’s notification that the deregistration would not require a technical assessment; and

- as applicable, is subject to the date on which the facility has been disconnected as confirmed to the IESO by the relevant transmitter.

#### When Technical Assessment Is Required

If the IESO determines that a technical assessment is required, they will notify the market participants and the transmitters of the anticipated completion date of the assessment, which can be no more than 45 business days from the notification date, unless a longer timeframe is mutually agreed upon by the IESO and the market participants.

Table 5-1: Actions during Deregistration

| If the technical assessment indicates that deregistration of the facility: | IESO/ Market Participant Actions |
| --- | --- |
| - impacts, or could potentially impact the reliability of the IESO-controlled grid; or - could potentially endanger the safety of any person, damage equipment, or violate any applicable law (e.g., environmental); | - The IESO will not grant approval for the deregistration of the facility. - IESO Contract Management staff and the relevant market participant are required by the market rules to enter into good faith negotiations to conclude an agreement for a reliability must-run contract for the applicable facility. |
| - does not impact the reliability of the IESO-controlled grid; - does not endanger the safety of any person, damage equipment, nor violate any applicable law (e.g., environmental); - if the facility is not directly connected to the IESO-controlled grid | - Upon receiving the IESO response to the deregistration request, the market participant or program participant shall email IESO to advise of the date they want the facility deregistered. - The deregistration date shall not be less than five business days from the date the market participant or program participant receives the notification from the IESO that the deregistration request is approved. - The IESO will issue a disconnection letter to the distributor or host customer, noting that the facility will be deregistered and the date of the deregistration. The distributor or host customer will notify the IESO when the facility is disconnected. |
| - does not impact the reliability of the IESO-controlled grid; - does not endanger the safety of any person, damage equipment, nor violate any applicable law (e.g., environmental); and - if the facility is directly connected to the IESO-controlled grid | - Upon receiving the IESO response to the deregistration request, the market participant shall email IESO to advise of the date they want the facility deregistered. - The deregistration date shall not be less than five (5) business days from the date the market participant or program participant receives the notification from the IESO that the deregistration request is approved. The IESO will then: issue a disconnection letter to the relevant transmitter, directing it to disconnect the facility from the IESO-controlled grid on the date specified in the notice filed by the market participant; and deregister the facility on the date they receive confirmation from the relevant transmitter that the facility has been disconnected. |

Figure 5-1: Facility Deregistration Process (requested by Market Participant)

### Market Participant, Program Participant or Service Provider Withdrawal

(MR Ch.2 s.9)

The following types of market participants, program participants, and service providers that no longer wish to participate in the IESO-administered markets or programs, or wishes to completely withdraw their organization, must notify the IESO by initiating the Withdrawal process through Online IESO.

- market participants who no longer wish to participate in any of the IESO-administered markets;

- program participants who no longer wish to participate in any of the IESO’s programs; and

- service providers who no longer wish to provide services to the IESO.

The market participants, program participants, and service providers will be required to upload a signed copy of the Certification to Withdraw Participation/Organization form (available for download in the online withdrawal process). The Certification to Withdraw Participation/Organization must be signed by the registered Authorized Representative, or a Legal Representative acting on behalf of the market participant, program participant, or service provider. The completed Certification to Withdraw Participation/Organization will be filed in IESO records as a permanent record on the completion of the withdrawal process.

The market participant, program participant, or service provider withdrawal procedures are distinct from the information on Market Participant Deregistration or Termination for Non-compliance. Market participants with facilities that are registered by the IESO shall apply to the IESO to transfer or deregister their applicable facilities before they submit their application for withdrawal (refer to section 5.1).

The withdrawal date can not be earlier than 10 business days from the date of the initiated withdrawal request.

Before requesting a participation withdrawal, the market participant, program participant or service provider must ensure that:

- the last of the market participant’s applicable facilities is to be deregistered by the IESO and, where applicable, disconnected from the IESO-controlled grid; or

- the last of the market participant’s applicable facilities is to be transferred by the IESO to another eligible market participant.

A market participant’s, program participant’s or service provider’s application for withdrawal will be reviewed and assessed by the appropriate IESO groups. If the IESO determines that a market participant’s, program participant’s or service provider’s withdrawal can proceed as per their withdrawal request, the IESO will send the Participant a Registration Approval Notification (RAN) confirming that the company is approved to withdraw. The IESO will update the market participant’s, program participant’s or service provider’s registration record to indicate that the market participant, program participant or service provider has withdrawn their participation from the IESO-administered markets or from applicable programs.

A market participant who has given notice of their intention to withdraw from the IESO-administered markets will cease to be a market participant on the latest of the following dates:

- the withdrawal date specified when the withdrawal process was initiated; or

- the date that all payments due from the market participant have been received by the IESO.

### Market Participant Deregistration or Termination for Non-compliance

#### Termination Order

(MR Ch.3 s.6.4)

Market participants are monitored on an ongoing basis for compliance with their obligations under the market rules. A breach of the market rules may result in the IESO issuing to the market participant a financial or non-financial penalty, a suspension order, or a termination order.

The IESO can also issue a termination order if a market participant has been wound up, dissolved or otherwise has ceased to exist.

A termination order results in the forced withdrawal (termination) of the market participant from the IESO-administered markets.

For complete information on the compliance processes, including the issuance of termination orders by the IESO, refer to MM 2.6.

#### Deregistration for Non-Compliance

(MR Ch.3 ss.6.2, 6.2A and 6.5)

The IESO may seek to deregister a facility and/or its associated resources as a result of the suspension of a market participant for non-compliance with the market rules or as a result of persistent breaches of the market rules by the market participant. This deregistration activity may be in respect of a specific facility and its associated resources or may be part of the process to terminate the market participant’s participation in the IESO-administered markets. For more information on this process, refer to MM 2.6.

– End of Section –

## Cost Recovery for Reliable Integration Activities

(MR Ch.2 s.10)

The IESO is responsible for directing the operation of the IESO-administered markets and maintaining the reliability of the IESO-controlled grid. To fulfill these responsibilities, the IESO must perform the reliable integration activities described in this market manual before a new or modified facility can be placed in service.

The provisions for recovering the cost of these activities apply to reliable integration of facilities initiated by their market participant on or after December 8, 2022. The content of this section does not apply to any reliable integration activity initiated by a market participant before this date.

For the purposes of Cost Recovery, to determine whether work was initiated before or after December 8, 2022, a market participant will be deemed by the IESO to have initiated reliable integration work based on when they first made contact with IESO Market Registration to begin registration activities for either a new participation type or for a new or modified facility.

In accordance to and following the provisions of MR Ch.2 s.10, the cost of reliable integration activities shall be borne by the market participant that causes the IESO to incur the cost for reliably integrating the market participant’s new or modified facility into the IESO-controlled grid and IESO-administered markets. The market participant shall pay all the costs and expenses incurred, directly or indirectly, by or on behalf of the IESO in processing the market participant’s request for reliable integration.

### Reliable Integration Activities

To fulfill its responsibilities for directing the operation of the IESO-administered markets and maintaining the reliability of the IESO-controlled grid, the IESO must perform the reliable integration activities described in this market manual before a new or modified facility can be placed in service. Such activities may include, but are not limited to:

- costs and expenses incurred by the IESO to verify, accept and record the information submitted by the market participant;

- costs associated with the project planning and with the coordination, approval and issuance of the Registration Approval Notifications (RANs);

- costs and expenses incurred by the IESO relating to the market participant’s proceeding(s) before the NPCC or NERC, including: studies and analysis performed by or under the supervision of the IESO that are necessary for representation, classification or approval of new facilities or of modifications to existing facilities to NERC and/or NPCC, regulatory support costs, legal fees, and costs resulting from related activities and travel;

- costs and expenses incurred by the IESO for studies and analysis performed by or under the supervision of the IESO that are necessary to confirm that the new facility or the modifications to an existing facility performs according to the applicable requirements in the market rules, reliability standards and other IESO requirements, including specific requirements within the System Impact Assessment (SIA) that was performed under the provisions of MM 1.4;

- costs and expenses incurred by the IESO for studies and analysis performed by or under the supervision of the IESO that are necessary to update operating security limits, operating procedures and other operational documentation, as they relate to the reliable integration of the market participant’s new facility or the modifications to its existing facility;

- costs and expenses incurred by the IESO for work performed by or under the supervision of the IESO that is necessary to update the systems and tools used by the IESO for the operation of the IESO-controlled grid and/or the IESO-administered markets;

- costs related to any additional reports of the estimated integration costs issued by the IESO, at a market participant’s request; and

- costs and expenses invoiced to the IESO from external consultants engaged to assist in completing the integration activities described in section 3 and section 4.

### Cost Allocation

#### New or Modified Facilities

The cost of reliable integration activities shall be borne by the market participant that causes the IESO to incur the cost for reliably integrating the market participant’s new or modified facility into the IESO-controlled grid and IESO-administered markets. The market participant shall pay all the costs and expenses incurred, directly or indirectly, by or on behalf of the IESO in processing the market participant’s request for reliable integration.

These costs also apply to new or modified facilities that are connected to the distribution system with an installed capacity greater than 10 MW, regardless of whether they will participate in the IESO-administered markets.

#### Cost Apportioning for Cluster Studies

The IESO conducts power system studies to determine reliable operating conditions for the IESO-controlled grid. New or modified facilities can alter these conditions, and new studies must be conducted. Combining multiple projects into one “cluster study” is known to gain efficiency, reduce the overall processing time, utilize the resources better and reduce the overall cost of the study. As such, when possible, the IESO will cluster a number of projects into a single study that is necessary for their reliable integration. Clustering is practical for projects that:

- have reached the status of “committed”, as described in section 3.3 of MM 1.4.

- are located within the same geographic area (generally within the same transmission zone);

- could impact each other or have similar impact on the reliability of the power system; and

- are scheduled to come into service within a relatively short period of time from each other (six months to one year).

Clustering is not practical for projects that are: not committed, are located far from each other, in different transmission zones, each has some impact on the reliability of a different part of the power system or are scheduled to come in service many years apart. Clustering is also not practical for activities that belong to individual projects, like recording, verifying and correcting the project data, testing their models, etc.

Timely initiation of the market registration process (one of the several options for a project to reach the “committed” status) is important for projects to reduce their integration costs. Projects that become committed while the study is ongoing and are qualified to be part of the study may be included in the cluster only if their inclusion doesn’t materially increase the duration or the cost of the ongoing study. Otherwise, they’ll be studied on an individual basis or part of a subsequent cluster.

Committed projects may be included, even if they did not initiate their market registration at the start of the cluster study. The market participants of those projects will be notified with the date of starting the study or they will be asked to initiate market registration process at an earlier date, such that the information needed for the cluster study is made available to the IESO at the start of the study.

At the IESO’s discretion, non-committed projects might also be included, but only if their inclusion doesn’t materially increase the cost/volume of work for the study. This way, if a non-committed project is withdrawn there is no significant left-over cost associated with that project, after the entire cost of the study has been apportioned amongst the committed projects.

#### Criteria for Apportioning Cost for Cluster Studies

For each facility included in the cluster study, the market participant’s share of cost will be determined based on the equivalent MVA rating of the facility, calculated as described in this section. Note that the equivalent MVA rating in this section is defined exclusively for the purpose of apportioning costs for cluster studies, and has no other, technical or otherwise, meaning and should not be used for any other purposes.

The IESO will calculate the total equivalent MVA rating associated with the cluster study by adding together the equivalent MVA rating of each facility considered in the study and then calculate the apportioning coefficient for each market participant, by dividing the market participant’s facility equivalent MVA rating to the total equivalent MVA rating of the cluster study. The IESO will provide, upon request, the apportioning coefficient to each market participant whose facility was included in the cluster study. Upon a transmitter’s request, the IESO will provide the apportioning coefficients for all facilities included in the cluster study, that are connecting to that transmitter’s transmission system.

The apportioning coefficients will be used to calculate the share of the total cost of the cluster study that is allocated to each market participant whose new or modified facility was included in the cluster study, that share of cost will be added on the invoice to the cost of the other reliable integration activities performed for the market participant’s facility.

The equivalent MVA rating of each facility considered in a cluster study will be calculated as follows:

- New or modified load, generation or electricity storage facilities that involve installation of new power transformers will be assigned an equivalent MVA rating that is the highest nameplate continuous summer rating of the transformers. If multiple transformers are installed within the facility, the sum of the equivalent MVA rating of those transformers will be used to calculate the total equivalent MVA rating for that facility. Only main power transformers or main step up transformers are considered in the calculation of the equivalent MVA rating; other transformers, like station service transformers, spare transformers or instrument transformers, will be ignored.

- Modifications to existing load, generation or electricity storage facilities that don’t involve installing new transformers will be assigned an equivalent MVA rating that is calculated using the magnitude of the change (MW) and a 0.9 power factor.

- New transmission lines will be allocated an equivalent MVA rating calculated using the line’s summer continuous planning rating and its nominal voltage. For uprated or de-rated transmission lines, the incremental raise or reduction to the summer continuous planning rating and its nominal voltage will be used to calculate its equivalent MVA rating. The equivalent MVA rating will only be allocated to transmission lines that are not dedicated or constructed for a single load facility, generation facility or electricity storage facility. Those dedicated lines for a single facility are considered part of that facility and will not have their own equivalent MVA rating assigned for the purpose of this calculation.

- Transmission stations and switching stations, other than stations built to serve a single load, generation or electricity storage facility will be allocated 50% of the equivalent MVA rating of each new or modified transmission line, excluding transmission line uprating or derating, that is connected within that station. For a modified transmission station or switching station, only new or modified lines are considered, those that remain unchanged do not participate in the equivalent MVA rating calculation. New reactive compensation equipment installed in these stations will be allocated an equivalent MVA rating that is equal to the equipment’s Mvar rating.

#### Cost Allocation for RAS Classification

The entire cost related to classification of a new or modified Remedial Action Scheme (RAS) is charged to the market participant that required a change to the RAS, or a new RAS, in order to connect.

### Invoicing

(MR Ch.3 s.2)

Upon completion of the reliable integration activities described above, the market participant will receive an invoice from the IESO to cover the total costs and expenses incurred by the IESO in conducting these activities. Such invoice shall be considered to create an obligation under the market rules to pay the amount specified therein and such amount may, without prejudice to any other manner of recovery available at law, be recovered accordingly.

The market participant shall, within 10 business days, pay to the IESO all amounts owing under an invoice submitted to it by the IESO pursuant to this market manual.

For further certainty, the market participant is responsible for the payment of, and shall pay, any and all invoiced amounts of HST resulting from the IESO’s performance of the reliable integration activities described in this market manual. “HST” means excise tax, harmonized sales tax, or goods and services tax, imposed under the Excise Tax Act (Canada) or any provincial or territorial legislation imposing sales tax, harmonized sales tax or goods and services tax.

Except as may otherwise be provided in the market rules, any disputes arising for invoices issued under section 6 shall be resolved using the dispute resolution process set out in MR Ch.3 s.2.

Notwithstanding any other provision of this market manual, to the extent consistent with the market rules, the IESO may set off any amounts owed to the IESO by the market participant to which the IESO became entitled under the market rules or under any other agreement between the IESO and the market participant against any amount remaining after payment in full has been made to the IESO for the reliable integration activities described in this market manual.

If the reliable integration of a new or modified facility takes more than nine months, the market participant that seeks to register the new or modified facility may request an update of the cost and expenses incurred by the IESO to date. At the request of such market participant, the IESO may issue one report of the estimated integration costs and expenses incurred to date for the market participant’s facility once in each calendar year for the duration of the reliable integration for that project. The market participant that requested the update will pay all the costs and expenses incurred by IESO to produce the cost update reports.

– End of Section –

## Technical Communication Requirements

(MR Ch.2, MR Ch.2 App.2, MR Ch.4, MR Ch.5 and MR Ch.7)

Table A-1- contains references to technical communications requirements contained in the market rules. Given the detailed nature of these references, future rule amendments may alter them. It is the market participant’s responsibility to confirm whether or not any rule amendments made to the market rules, subsequent to the publication of this procedure, change these references. The latest Market Rule Amendments (as posted on the IESO website) shall prevail in case of any errors or omissions.

Table A-1: Market Rule Technical Requirements

|  | Chapter 2 & Appendices |  |  |  | Chapter 4 & Appendices | Chapter 7 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Communications Reliability |  |
|  | General | Voice | Data Monitoring | Workstations | Data Monitoring Requirements & Performance Standards | Data & Workstations | Voice |
| All | Ch. 2, Sec 6.1, 6.3 App 2.2, Sec 1.5 | App 2.2, Sec 1.1, 1.1.7-11 | App 2.2, Sec 1.2, 1.2.6 | App 2.2, Sec 1.3 (dispatch) 1.4 (participant) | Ch. 4, Sec 7.1, 7.6A, 7.7 (maintenance & repair, MTBF, response times), 7.8 (Reclassification) | Sec 12.1.1, 12.1.2, 12.1.4–6, 12.3 | Sec 12.2 12.2.1–12, 12.4 |
| Generators |  | App 2.2, Sec 1.1.1, 1.1.2 | App 2.2, Sec 1.2.1 |  | Ch. 4, Sec 7.3 App 4.2, item 9, 4.15, 4.19 | Sec 12.1.1.2 12.1.3.1–2 |  |
| Distributors |  | App 2.2, Sec 1.1.3 | App 2.2, Sec 1.2.4 |  | Ch. 4, Sec 7.5 App 4.17, 4.22 | Sec 12.1.3.4–5 |  |
| Transmitters |  | App 2.2, Sec 1.1.4 | App 2.2, Sec 1.2.3 |  | Ch. 4, Sec 7.2, 7.4 App 4.4, item 9, 4.16, 4.20, 4.21 | Sec 12.1.3.3 |  |
| Wholesale consumer |  | App 2.2, Sec 1.1.5 | App 2.2, Sec 1.2.2 |  | Ch. 4, Sec 7.5 App 4.17, 4.22 | Sec 12.1.3.1–2 12.1.3.4–5 |  |
| Embedded Loads |  | App 2.2, Sec 1.1.6 | App 2.2, Sec 1.2.5 |  | Ch. 4, Sec 7.6 App 4.18, 4.23 | Sec 12.1.3.1–2 |  |
| Electricity Storage |  | App 2.2, Sec 1.1.12 | App 2.2, Sec 1.2.7 |  | Ch. 4 Sec 7.3A App 4.24, 4.25 | Sec 12.1.1.2 12.1.3.1-2e |  |

– End of Appendix –

## Wind Resource Data Requirements

Table B-1- identifies resource data requirements for the physical layout and details of the turbines. Market participants that have wind resources must also refer to section 3 for registration requirements.

Table B-1: Wind Resource Data Requirements

| # | Static Plant Data | Description |
| --- | --- | --- |
| 1 | Turbine Hub location | Turbine Hub location (latitude and longitude), height, and elevation from sea level. |
| 2 | Meteorological (MET) Tower or Sodar or Lidar Unit location | Physical location (latitude and longitude), height of measurements, and elevation from sea level. Met towers require measurement at hub height, sodar/lidar units should measure at hub height as well as 50 and 110 m if possible |
| 3 | Type of turbine | Whether the turbine is a horizontal or vertical axis type. |
| 4 | Manufacturer’s power curve | Power curve maps containing expected output for a turbine at varying wind speeds. |
| 5 | Cut in speed | The lowest wind speed (metres per second [m/s]) at which the turbine will generate power. |
| 6 | Cut out speed | The wind speed (m/s) at which the wind turbine will be shut down to prevent physical damage. |
| 7 | Cut out temperature | The maximum and minimum ambient temperature (in °C) at which the wind turbine will be shut down to prevent physical damage. |

Table B-2- identifies operational monitoring requirements for wind generation resources.

Table B-2: Wind Resource Operational Monitoring Requirements

|  |  | Operational Monitoring Requirements |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Measurement Type |  |  | Unit of Measure | Height of Measurement | Precision (to the nearest…) |  |
| MW output (per facility) |  |  | Megawatt (MW) | N/A | 0.1 MW |  |
| Available Megawatts |  |  | Megawatt (MW) | N/A | 0.1 MW |  |

Table B-3- identifies monitoring requirements for wind generation resources from Meteorological towers or sodar or lidar units.

Table B-3: Met Tower and Sodar/Lidar Unit Requirements

|  |  |  | Meteorological Tower and Sodar/Lidar Unit Requirements |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # |  | Measurement Type |  | Unit of Measure | Height of Measurement | Precision (to the nearest…) |  |  |
| 1 |  | Wind Speed |  | Metres per Second (m/s) | Met towers require measurement at hub height, sodar/lidar units should measure at hub height as well as 50 and 110 m if possible | 0.1 m/s |  |  |
| 2 |  | Wind Direction |  | Degrees from True North | Met towers require measurement at hub height, sodar/lidar units should measure at hub height as well as 50 and 110 m if possible | 1 degree |  |  |
| 3 |  | Ambient Air Temperature |  | Degrees Celsius (°C) | Can be provided from any height | 0.1 °C |  |  |
| 4 |  | Barometric Pressure |  | Hectopascals (HPa) | Can be provided from any height | 0.1 HPa |  |  |
| 5 |  | Relative Humidity |  | Percentage (%) | Can be provided from any height | 1 % |  |  |

Table B-4- identifies monitoring requirements for wind generation facilities from Nacelle mounted data collection points (temperature, pressure and humidity measurements may be taken at any height at the turbine, not necessarily at the nacelle).

Table B-4: Nacelle-mounted Data Collection Requirements

| Nacelle-mounted Data Collection Requirements |  |  |  |  |
| --- | --- | --- | --- | --- |
| # | Measurement Type | Unit of Measure | Height of Measurement | Precision (to the nearest…) |
| 1 | Wind Speed | Metres per Second (m/s) | Hub height | 0.1 m/s |
| 2 | Wind Direction | Degrees from True North | Hub height | 1 degree |
| 3 | Ambient Air Temperature | Degrees Celsius (°C) | Can be provided from any height | 0.1 °C |
| 4 | Barometric Pressure | Hectopascals (HPa) | Can be provided from any height | 0.1 HPa |
| 5 | Relative Humidity | Percentage (%) | Can be provided from any height | 1% |

Wind data collected at the nacelle is expected to represent the apparent wind, not the true wind value at a facility, it does not need to compensate for changes in conditions due to the motion of the rotor blades.

– End of Appendix –

## Solar Resource Data Requirements

Table C-1- identifies resource data requirements for the physical layout and details of the solar arrays. Market participants that have solar resources must also refer to section 3 for registration requirements.

Table C-1: Solar Resource Data Requirements

| # | Static Plant Data | Description |
| --- | --- | --- |
| 1 | Solar facility location (latitude and longitude) | Physical location (GPS coordinates) of each solar array. |
| 2 | Meteorological data collection device location and elevation (latitude and longitude) | Physical location (GPS coordinates) of each met data collection device, its elevation and height of measurement. |
| 3 | Elevation and orientation angles of arrays | Height from ground level and angle of each solar array, Tilt (angle with horizontal plane) and Azimuth (angle in North-East-South West Plane) |
| 4 | Power Rating | Rated Power at standard test conditions. |
| 5 | Generation capacity of the generating facility and each generation unit | The name plate capacity of the entire facility with a breakdown for each array within the system. (DC and AC Power at standard test conditions for arrays and power of inverters.) |
| 6 | Temperature Coefficient | Temperature coefficient of the module power at the maximum power point. |
| 7 | Type of Mounting | Ground Mount, Rooftop, Rack Mount, Fixed or Solar Tracking (single or dual axis), etc. |
| 8 | Module Type | Crystalline, Thin-Film, Concentrated PV (CPV) etc. |
| 9 | Wind Protection | Wind speed at which panels are stored to avoid damage. (If applicable) |

Table C-2- identifies operational monitoring for solar generation resources.

Table C-2: Solar Resource Operational Monitoring Requirements

| Operational Monitoring Requirements |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # | Measurement Type | Definition | Unit of Measure | Data Required for | Measurement Precision |
| 1 | MW output (per facility) | Current Megawatt (MW) output for the facility | Megawatt (MW) | All | 0.1 MW |
| 2 | Available Megawatts | What the facility can produce after deducting outages | Megawatt (MW) | All | 0.1 MW |

Table C-3- identifies meteorological monitoring for solar generation facilities.

Table C-3: Solar Resource Meteorological Monitoring Requirements

| Meteorological Monitoring Requirements |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # | Measurement Type | Definition | Unit of Measure | Data Required for | Measurement Precision |
| 1 | Plane-of-Array Irradiance (POA) | Measurements perpendicular to the solar receiver | Watts/ Square Metre | Crystalline, Thin-Film, CPV | +/- 1W/m2 |
| 2 | Global Horizontal Irradiance (GHI) | The solar irradiance available to a flat-plate collector oriented horizontal to the earth’s surface | Watts/ Square Metre | Crystalline, Thin-Film, CPV | +/- 1W/m2 |
| 3 | Direct Irradiance (DNI) | The amount of solar radiation received per unit area by a surface that is always held perpendicular (or normal) to the rays that come in a straight line from the direction of the sun at its current position in the sky. | Watts/ Square Metre | CPV | +/- 1 W/m2 |
| 4 | Ambient temperature at the array average height | Ambient temperature at the array average height | Degrees Celsius (°C) | Crystalline, Thin-Film, CPV | 0.1 °C |
| 5 | Back of Module Temperature | Average temperature at the back of module | Degrees Celsius (°C) | Crystalline, Thin-Film, CPV | 0.1 °C |
| 6 | Barometric pressure | Barometric Pressure | Hectopascals (HPa) | Crystalline, Thin-Film, CPV | 0.1 HPa |
| 7 | Wind speed at the average array height | Anemometer | Metres/Second (m/s) | Crystalline, Thin-Film, CPV | 0.1 m/s |
| 8 | Wind direction at the average array height | Wind vane or wind mast readings | Degrees from True North | Crystalline, Thin-Film, CPV | 1 ° |

– End of Appendix –

List of Acronyms

| Acronym | Meaning |
| --- | --- |
| CER | Canada Energy Regulator |
| GOG | Generator offer guarantee |
| MGBRT | Minimum generation block run-time |
| MLP | Minimum loading point |
| NAESB | North American Energy Standards Board |
| NERC | North American Electric Reliability Corporation |
| OEB | Ontario Energy Board |
| RAN | Registration Approval Notification |

– End of Section –

References

| Document ID | Document Title |
| --- | --- |
| RUL-6 to RUL-24 | Market Rules |
| MAN-107 | Market Manual 1.3: Identity Management Operations Guide |
| MAN-132 | Market Manual 2.1: Dispute Resolution |
| MAN-133 | Market Manual 2.2: Exemption Application and Assessment |
| MAN-136 | Market Manual 2.6: Treatment of Compliance Issues |
| MAN-145 | Market Manual 3.0: Metering Overview |
| MAN-146 | Market Manual 3.1: Metering Service Provider Registration, Revocation and De-registration |
| MAN-147 | Market Manual 3.2: Meter Point Registration and Maintenance |
| MAN-151 | Market Manual 3.7: Totalization Table Registration |
| MAN-152 | Market Manual 3.8: Creating and Maintaining Delivery Point Relationships |
| MAN-109 | Market Manual 4.1: Submission of Dispatch Data in the Physical Markets |
| MAN-111 | Market Manual 4.3: Operation of the Real-Time Markets |
| MAN-112 | Market Manual 4.4: Transmission Rights Auction |
| MAN-115 | Market Manual 5.4: Prudential Support |
| MAN-165 | Market Manual 6: Participant Technical Reference Manual (PTRM) |
| MAN-123 | Market Manual 7.3: Outage Management |
| MAN-157 | Market Manual 7.8: Ontario Power System Restoration Plan |
| MAN-158 | Market Manual 7.10: Ontario Electricity Emergency Plan |
| MAN-125 | Market Manual 12.0: Capacity Auctions |
| MAN-168 | Market Manual 13.1: Capacity Export Requests |
| IMO_GDE_0001 | Market Participant Emergency Plan Guidelines & Requirements |
| LST-48 | Register Equipment Help File |
|  | Prudential Training Guide |

– End of Document –

The “Stage 3: Design and build” activities are determined between the connection applicant and its associated transmitter or distributor after the completion of Stages 1 and 2.

The IESO will conduct a business registry search to confirm evidence of an active organization, including the registered officers and current status. The jurisdiction of registration must be within Canada or the U.S.A.

Under extraordinary circumstances, the IESO may email the participation agreement to the prospective market participant’s or program participant’s authorized representative.

Market participants may import energy and operating reserve but can only export energy.

For information on e-Tags, refer to the North American Energy Standards Board website.

For information on HST registration, refer to the Canada Revenue Agency website.

Imports and/or export trades are from or to the Ontario energy market. For example, a market participant seeking to export energy from a facility within Ontario will have to submit both an offer for that energy into the Ontario real-time market and a bid to export that energy into another control area. The first offer would be associated with the resource that is registered with the IESO. The second offer would be associated with a boundary entity resource. Refer to MM 4.1 for more information on this process.

For information on HST registration, refer to the Canada Revenue Agency website.

For information on HST registration, refer to the Canada Revenue Agency website.

“As-built” data consists of the measurements and specifications of a facility prior to any modifications, and is submitted to the IESO on a single-line diagram. Confirming as-built equipment in some cases may be as simple as confirming nameplate values are provided during equipment registration.  In other cases, data monitoring will be used to confirm model parameters.

A single operating reserve ramp rate reference level is registered that will be used to validate all applicable classes of operating reserve ramp rates dispatch data submission.

A single operating reserve ramp rate reference level is registered that will be used to validate all applicable classes of operating reserve ramp rates dispatch data submission.

Regulation is an ancillary service that is currently contracted by the IESO.  A contracted electricity storage facility may not exceed an electricity storage facility size of 50 MW as per MR Ch.7 s.21.3.2.

Embedded electricity storage resources that are associated with market participants will register in the other three categories stated above.

As per MR Ch.4 App.4.19, the IESO considers medium performance to be acceptable for embedded variable generators (i.e., program participants).

As alternative technologies are identified, the IESO will review their compatibility with the existing requirements and where appropriate expand the list of acceptable technologies.

Sandbox testing, facilitated by the IESO, is required for new registered market participants becoming dispatchable for the first time. Sandbox testing provides the ability for a market participant to familiarize themselves with the dispatch workstation.

Sandbox testing, facilitated by the IESO, is required for new registered market participants becoming dispatchable for the first time.

Sandbox testing, facilitated by the IESO, is required for new registered market participants becoming price responsive for the first time.

The deregistration of a generator, for example, may require a longer time period to determine whether a technical assessment is required.

The applicable facility may be either generation, transmission, or load. For more information on reliability must-run contracts, refer to MR Ch.7 ss. 9.6 and 9.7 and MR Ch.5 s.4.8.

Megawatts shall be provided as one measurement per connection point.

Available Megawatts shall be reported as the sum total of the capacities of all available turbines per connection point. This value should not take into account speed or temperature cut-outs (i.e., available MW = max capacity – outages).

Wind direction measured at the nacelle may only be used if properly calibrated and if it continues to be provided when the turbine is not generating.

The physical location should be representative of the GPS coordinates at the centre of each solar array such that every solar panel within that array is within 5 km of the GPS coordinates. In the event that the array is larger, additional GPS coordinates will be required to outline the geographic footprint of the array.

Solar array is defined as a collection of solar panels that share a connection point going into an inverter.

If the tracking feature is disabled the generator shall notify the IESO using the address renewableforecastinfo@ieso.ca with as much notice as possible.

Megawatts shall be provided as one measurement per connection point.

Available Megawatts shall be reported as the sum total of the capacities of all available panels per connection point (i.e., available MW = max capacity – outages).

The GPS coordinates of the back of module temperature measurement locations shall be included.