Market Manual

PUBLIC

Market Manual 4: Market Operations

# Part 4.1:  Submitting Dispatch Data in the Physical Markets

Issue 5.2

MAN-109

September 9, 2026

This procedure provides guidance to market participants on the submission of dispatch data in the physical markets.

Document Change History

| Issue | Reason for Issue | Date |
| --- | --- | --- |
| Refer to Issue 68.0 (MDP_PRO_0027) for changes prior to Market Transition. |  |  |
| 1.0 | Market Transition | November 11, 2024 |
| 2.0 | Issued in advance of MRP Go Live – May 1, 2025 | April 25, 2025 |
| 3.0 | Issued in advance of Baseline 54.0 | August 14, 2025 |
| 4.0 | Issued for Baseline 54.1 | December 3,2025 |
| 5.0 | Issued for Baseline 55.1 | June 3, 2026 |
| 5.1 | Issued for Baseline 56.0 | September 9,2026 |
| 5.2 | Issued for Baseline 56.0 | September 9,2026 |

Related Documents

| Document ID | Document Title |
| --- | --- |
| MAN-110 | Market Manual 4.2: Operation of the Day-Ahead Market |
| MAN-111 | Market Manual 4.3: Operation of the Real-Time Market |

Table of Contents

Table of Contents	i

List of Figures	v

List of Tables	vi

Table of Changes	vii

Market Manuals	viii

Market Manual Conventions	viii

1	Introduction	1

1.1	Purpose	1

1.2	Scope	1

1.3	Contact Information	2

2	Dispatch Data to Supply and Consume Energy	3

2.1	Dispatchable Generation and Dispatchable Electricity Storage Resources	3

2.1.1	Price-Quantity Pairs	5

2.1.2	Start-Up Offer	7

2.1.3	Speed No-Load Offer	8

2.1.4	Energy Ramp Rate	8

2.1.5	Minimum Hourly Output	9

2.1.6	Hourly Must-Run	9

2.1.7	Variable Generation Forecast Quantity	9

2.1.8	Linked Forebays	9

2.1.9	Forbidden Regions	10

2.1.10	Maximum Daily Energy Limit	10

2.1.11	Minimum Daily Energy Limit	11

2.1.12	Maximum Number of Starts Per Day	12

2.1.13	Minimum Loading Point	12

2.1.14	Minimum Generation Block Run-Time	13

2.1.15	Minimum Generation Block Down-Time	13

2.1.16	Single Cycle Mode	14

2.1.17	Lead Time	14

2.1.18	Ramp Up Energy to Minimum Loading Point	14

2.1.19	Thermal State	15

2.2	Computed Pseudo-Unit Technical Parameters	15

2.2.1	Single Cycle Mode for a Combustion Turbine of a Pseudo-Unit	17

2.2.2	Computed Pseudo-Unit Technical Parameters	17

2.2.3	Computed Steam Turbine Portion of Pseudo-Unit Operating Regions	19

2.3	Non-Dispatchable Generation	21

2.4	Dispatchable Loads, Dispatchable Electricity Storage Resources and Hourly Demand Response Resources	21

2.4.1	Price-Quantity Pairs	21

2.4.2	Energy Ramp Rate	22

2.5	Price Responsive Loads and Self-Scheduling Electricity Storage Resources Intending to Withdraw	23

3	Dispatch Data to Supply Operating Reserve	24

3.1	Dispatchable Resources	24

3.1.1	Supply Operating Reserve Price-Quantity Pairs	24

3.1.2	Operating Reserve Class	25

3.1.3	Operating Reserve Ramp Rate	25

3.1.4	Reserve Loading Point	25

3.2	Operating Reserve Offers for Electricity Storage Resources	26

4	Dispatch Data for Boundary Entity Resources	27

4.1	Energy Import, Energy Export, and Supply Operating Reserve Transactions	27

4.1.1	Boundary Entity Resource and Tie Point ID	28

4.1.2	Interjurisdictional Capacity Transactions	29

4.1.3	e-Tags	29

4.1.4	Operating Reserve Class	33

4.2	Linked Wheeling Through Transactions	33

4.2.1	Linked Wheeling Through Transactions as Independent Import and Export	33

4.2.2	Linked Wheeling Through Transactions as Linked Import and Export	34

4.3	Capacity Exports	35

4.3.1	Dispatch Data Requirements for Scheduling a Called Capacity Export	35

4.3.2	Changes/Updates to Called Capacity Exports or Capacity Resources	36

4.4	Validation of Bids and Offers for Imports and Exports	37

4.4.1	Requirements for Bids and Offers	37

4.4.2	Validation Process	37

5	Dispatch Data for Virtual Transactions	38

6	Standing Dispatch Data	40

6.1	Submitting Standing Dispatch Data	40

6.1.1	Procedure for Submitting and Revising Standing Dispatch Data	41

7	Submitting Dispatch Data	42

7.1	Dispatch Data Submissions by Resource Type	43

7.2	Dispatch Data Submissions or Revisions for the Day-Ahead Market	46

7.2.1	Dispatch Data Submission or Revisions During the Day-Ahead Market Submission Window	46

7.2.2	Dispatch Data Submission or Revisions During the Day-Ahead Market Restricted Window	47

7.3	Dispatch Data Submissions or Revisions for the Real-Time Market	48

7.3.1	Hourly Dispatch Data Submissions or Revisions during the Unrestricted Window	48

7.3.2	Hourly Dispatch Data Submissions or Revisions during the Real-Time Market Mandatory Window	50

7.3.3	Daily Dispatch Data Submissions or Revisions during the Real-Time Market Restricted Window	53

7.4	Alternate Means of Submitting or Revising Dispatch Data during a Tool Failure	55

7.4.1	Overriding Concerns/Principles for a Tool Failure	56

7.4.2	IESO Actions During Tool Failure	57

7.4.3	Dispatch Data Submissions and Revisions by Telephone	57

7.4.4	Dispatch Data Submissions and Revisions by Email	59

7.5	Availability Declaration Envelope	60

7.5.1	Enforcement of the Availability Declaration Envelope	60

7.5.2	Process to Expand the Availability Declaration Envelope	61

8	Accessing Submitted Dispatch Data	64

8.1	Dispatch Data Reports	64

8.2	Retrieval of Submitted Dispatch Data	65

9	Replacement Energy Offers Program	67

10	Requests for Segregated Mode of Operation	68

10.1	Segregated Mode of Operation Inadvertent Accounting	69

11	Submitting Regulation Offers	71

Appendix A: Content of Dispatch Data	73

A.1	Bid/Offer Data Requirements	73

A.2	Schedules and Forecasts	73

A.3	Schedules and Forecasts – Electricity Storage Resources	73

Appendix B: Dispatch Data Submission and Revision Reasons and Reason Codes	76

B.1	Introduction	76

B.2	Daily Dispatch Data Submissions or Revisions during the Real-Time Market Restricted Window	77

B.3	Dispatch Data Submissions or Revisions that Expand the Availability Declaration Envelope	78

B.4	Hourly Dispatch Data Submissions or Revisions during the Real-Time Market Mandatory Window	78

B.5	Single Cycle Mode Submissions or Revisions for the Real-Time Market	88

B.6	Hourly Dispatch Data Withdrawal	88

B.7	Reason Codes	88

Appendix C: Boundary Entity Resources	91

C.1	Boundary Entity Resource Representation for Exports and Imports	91

C.2	Table of Boundary Entity Resources	91

Appendix D: Ontario Specific e-Tag Requirements	111

D.1	Specific requirements for e-Tag	111

D.2	Examples of e-Tag Format Conventions for Interchange Schedules from Linked Wheeling Through Transactions	113

Appendix E: Virtual Transaction Zones and Virtual Zonal Resources	114

Appendix F: Submission of Dispatch Data in the IESO Tools	116

F.1	Energy Bid or Offer Dispatch Data Forms	117

F.2	Whole Submission of Dispatch Data	122

F.3	Order of Submission	122

F.4	Cross Validation	123

F.5	Concurrent Submissions	123

F.6	Cancelling of Dispatch Data and Submission of Null Values	125

F.7	Revision Restrictions for GOG-eligible Resources	125

F.8	Revision Restriction Exceptions and Reason Codes	126

List of Acronyms	127

References	129

List of Figures

Figure 7-1: Data Submission Timeline for Daily Dispatch Data	42

Figure 7-2: Data Submission Timeline for Hourly Dispatch Data	42

Figure A-1: Electricity Storage Dispatch Data Example	74

Figure B-1: Short Notice Submission Window	80

List of Tables

Table 2-1: Applicable Dispatch Data for Dispatchable Generation and Electricity Storage Resources	4

Table 2-2: Submitted Pseudo-Unit Daily Dispatch Data	16

Table 4-1: Applicable Dispatch Data by Intertie Transaction Type	28

Table 4-2: IESO Actions when an e-Tag is Required for Reliability	31

Table 6-1: Procedure for Submitting and Revising Standing Dispatch Data	41

Table 7-1: Dispatch Data Submissions by Resource Type	43

Table 7-2: Timing of Dispatch Data Submission	44

Table 7-3: Procedure for Submitting or Revising  Dispatch Data during the Day-Ahead Market Submission Window	46

Table 7-4: Procedure for Submitting or Revising Hourly Dispatch Data during the Real-Time Market Unrestricted Window	49

Table 7-5: Procedure for Submitting or Revising Hourly Dispatch Data Within Two Hours of the Dispatch Hour	51

Table 7-6: Procedure for Submitting or Revising Daily Dispatch Data during the Real-Time Market Restricted Window	54

Table 7-7: Procedure for Submitting Dispatch Data by Telephone during a Tool Failure	58

Table 7-8: Procedure for Submitting Dispatch Data by Email during a Tool Failure	59

Table 7-9: Procedure Expanding the Availability Declaration Envelope	61

Table 8-1: Confidential Dispatch Data Reports Description	64

Table 11-1: Procedure for Submitting Regulation Offers	71

Table B-1: Submission or Revision Situations Requiring a Reason and Reason Code	76

Table B-2:  Summary of Allowable Dispatch Data Changes	84

Table B-3: Reason Codes	89

Table C-1: Boundary Entity Resources	92

Table C-2: Boundary Entity Resources - Resource ID Mapping	95

Table D-1: Interface PORs and PODs	111

Table E-1: Virtual Zonal Resources	114

Table F-1: Dispatch Data Forms	117

Table F-2: Concurrent Submissions	124

Table of Changes

| Reference | Description of Change |
| --- | --- |
| Section 3.1.4 | Change to allow resources to submit reserve loading point values that are equal to zero, specifically for synchronized ten-minute operating reserve offers. |
| Appendix C.2, Table C-1 and Appendix D.1.3 | Updated references to reflect the renaming of tie-line connection to Hydro Quebec from H4Z (Holden) to A4Z (Antoine), which went into effect on June 10, 2026. Also changed the Tie Point ID from PQHZ to PQAZ. |

Market Manuals

Market manuals set out procedural and administrative details with respect to market rule requirements. Where there is a conflict between the requirements described in a market manual or appended document, and those within the market rules, the market rules shall prevail.

Market Manual Conventions

This market manual uses the following conventions:

the word 'shall' denotes a mandatory requirement;

references to market rule sections and sub-sections may be abbreviated in accordance with the following representative format: ‘MR Ch.1 ss.1.1-1.2’  (i.e. market rules, Chapter 1, sections 1.1 to 1.2).

references to market manual sections and sub-sections may be abbreviated in accordance with the following representative format: ‘MM 1.5 ss.1.1-1.2’  (i.e. market manual 1.5, sections 1.1 to 1.2).

internal references to sections and sub-sections within this manual take the representative format: ‘sections 1.1 – 1.2’

terms and acronyms used in this market manual and in its appended documents that are italicized have the meanings ascribed thereto in MR Ch.11; and

data fields are identified in all capitals.

– End of Section –

## Introduction

### Purpose

This market manual provides market participants with information necessary to submit daily and hourly dispatch data, for both energy and operating reserve, in the IESO’s day-ahead and real-time physical markets.

This market manual also provides a procedure for changing dispatch data, and describes how the IESO processes dispatch data and changes and the subsequent publication of the security and adequacy assessments and pre-dispatch schedule (and notification to scheduled market participants).

### Scope

This market manual supplements the following market rules:

MR Ch.5 s.6.6: Outage coordination tests

MR Ch.7 s.2.2.6I: Pseudo-unit technical parameters

MR Ch.7 s.3: Data submissions in the Real-time Market

MR Ch.7 s.4.8.1

MR Ch.7 s.5.8.2.10

MR Ch.7 s.6.7.4

MR Ch.7 s.9: IESO procurement markets

MR Ch.7 s.13.2.4.1: Market suspension events

MR Ch.7 s.19.9: Energy market participation for system-backed capacity import resources

MR Ch.7 s.20.1: Capacity export request and IESO review

MR Ch.7 s.21.5: Revisions to dispatch data

MR Ch.7 s.21.6: Operating reserve

MR Ch.7 App.7.1: Energy offer, schedule or forecast information

MR Ch.7 App.7.7: Radial intertie transactions

MR Ch.8 s.2: Physical bilateral contract data and quantities

### Contact Information

Changes to this market manual are managed via the IESO Change Management process. Stakeholders are encouraged to participate in the evolution of this market manual via this process.

To contact the IESO, you can email IESO Customer Relations at customer.relations@IESO.ca or use telephone or mail. Telephone numbers and the mailing address can be found on the IESO website . IESO Customer Relations staff will respond as soon as possible.

– End of Section –

## Dispatch Data to Supply and Consume Energy

### Dispatchable Generation and Dispatchable Electricity Storage Resources

(MR Ch.7 s.3.5)

This section sets out the dispatch data parameters submitted by registered market participants as part of its offer to provide energy on dispatchable generation resources or dispatchable electricity storage resources intending to inject.

Overview – Dispatch data parameters for dispatchable generation resources or dispatchable electricity storage resources intending to inject consist of a combination of:

hourly dispatch data parameters listed in MR Ch.7 ss.3.5.3-3.5.4, which apply to a specific dispatch hour; and

daily dispatch data parameters described in MR Ch.7 ss.3.5.21-3.5.22, which apply to an entire dispatch day or the remainder of a dispatch day if it is submitted as a revision during a dispatch day.

Hourly dispatch data parameters – Hourly dispatch data is submitted to apply for one hour on a given dispatch day.

Daily dispatch data – Daily dispatch data are submitted as a single value applicable to an entire dispatch day.

Thermal states – When submitted, start-up offer, minimum generation block down-time, lead time, and ramp up energy to minimum loading point are dispatch data parameters that are submitted for each thermal state.

Table 2-1 summarizes the dispatch data applicable to each dispatchable generation resource and dispatchable electricity storage resource intending to inject by type.

Table 2-1: Applicable Dispatch Data for Dispatchable Generation and Electricity Storage Resources

| Dispatch Data Parameter | Data Interval | Nuclear Generation | Non-Quick Start Generation | Variable Generation | Hydro Electric Generation | Other Quick Start Generation and Electricity Storage Intending to Inject |
| --- | --- | --- | --- | --- | --- | --- |
| Price-Quantity Pairs | Hourly | x | x | x | x | x |
| Start-up offer | Hourly |  | x |  |  |  |
| Speed no-load offer | Hourly |  | x |  |  |  |
| Energy ramp rate | Daily & Hourly | x | x | x | x | x |
| Minimum hourly output | Hourly |  |  |  | x |  |
| Hourly must run | Hourly |  |  |  | x |  |
| Variable generator forecast quantity | Hourly |  |  | x |  |  |
| Linked forebay, time lag and MWh ratio | Daily |  |  |  | x |  |
| Forbidden regions | Daily |  |  |  | x |  |
| Maximum daily energy limit | Daily |  | x | x | x | x |
| Minimum daily energy limit | Daily |  |  |  | x |  |
| Maximum number of starts per day | Daily |  | x |  | x |  |
| Minimum loading point | Daily |  | x |  |  |  |
| Minimum generation block run-time | Daily |  | x |  |  |  |
| Minimum generation block down-time | Daily |  | x |  |  |  |
| Single cycle mode | Daily |  | x |  |  |  |
| Lead time | Daily |  | x |  |  |  |
| Ramp up energy to minimum loading point | Daily |  | x |  |  |  |
| Thermal state | Daily |  | x |  |  |  |

#### Price-Quantity Pairs

(MR Ch.7 ss.3.5.3.1, 3.5.5, and 3.9)

Pseudo-units – For the purposes of MR Ch.7 s.3.5.5, for a pseudo-unit, the price-quantity pairs are submitted on the pseudo-unit rather than on the resources associated with the combustion and steam turbine generation units used to model the pseudo-unit.

##### Resource-Specific Requirements

(MR Ch.7 ss.1.6.2 and 3.5.6)

Overview – Registered market participants submitting price-quantity pairs on non-quick start resources that are not nuclear generation resources, resources providing energy generated by flexible nuclear generation, and variable generation resources, are subject to additional requirements.

Non-quick start resource excluding nuclear – The IESO tool does not automatically validate for compliance with MR Ch.7 s.3.5.5.7.

Flexible nuclear generation – For the purposes of MR Ch.7 s.3.5.5.8, the price offered in a price-quantity pair on a resource that is offering to provide energy generated by flexible nuclear generation must be no less than -$5/MWh.

Variable generation resources – For the purposes of MR Ch.7 s.3.5.5.8, offers on variable generation resources are to be submitted in the following manner:

the price offered in a price-quantity pair on a solar resource or wind resource, excluding the last 10% of the available capacity of a wind resource, must be no less than -$3/MWh; and

the price offered in the price-quantity pair corresponding to the last 10% of the available capacity of a wind resource must be no less than -$15/MWh.

Related provisions – In addition to variable generation price-quantity pairs, the registered market participant may, at its sole discretion, submit variable generation forecast quantities in the day-ahead market with respect to the offers in accordance with MR Ch.7 s.3.5.18. Refer to section 2.1.7 for more information.

##### Planned Testing

(MR Ch.5 s.6.6)

Criteria for IESO approval – For the purposes of approving planned tests under MR Ch.5 s.6.6.4, the IESO will attempt to provide registered market participants with flexibility for all IESO-approved planned testing, provided:

there are no reliability concerns; and

the scope of the test (including the scope of any potential changes to the test plan) has been identified by the registered market participant at the time of the original submission.

Offer prices –  Dispatchable generators and dispatchable electricity storage participants are expected to offer at a price to be scheduled for the full capability of the test unit.

Energy Offer quantities – Dispatchable generators and dispatchable electricity storage participants are expected to submit outage requests to derate the test unit to the required test output levels.

When a registered market participant whose generation resource is expected to undergo a test submits dispatch data for any hour of the test, the registered market participant must offer a quantity that equals the expected hourly average energy delivery of the resource.

Solar and wind resources –  To ensure full capability for the test, the offer price in the price-quantity pair corresponding to solar and wind resources during an IESO-approved planned test may be less than -$3/MWh and -$15/MWh, respectively, for the duration of the test.

Operating reserve quantities –  Where the test is instantly recallable, the generation resource or electricity storage resource registered to inject may participate in the operating reserve market. A registered market participant may offer operating reserve provided that it ensures that the sum of the maximum energy expected to be produced during the hour and the operating reserve quantity offered for the dispatch hour does not exceed the maximum amount of energy that the resource can produce that hour.

##### Energy Offer Price Revisions

(MR Ch.7 ss.3.3.3 and 3.5)

Pseudo-units –  For the purposes of MR Ch.7 ss.3.3.3.4, 3.3.3.5 and 3.3.3.8, for a pseudo-unit, the minimum loading point applicable to energy offer price revision restrictions is the computed parameter referred to as pseudo-unit minimum loading point. Refer to section 2.2.2 for information on how the pseudo-unit minimum loading point is derived.

Timing of revisions – After the pre-dispatch calculation engine has initialized at the top of each hour, in accordance with MR Ch.7 s.3.3.3.14, revisions to increase energy offer prices for GOG-eligible resources for quantities above the minimum loading point  by the registered market participant are prohibited until 30 minutes past the hour when a binding pre-dispatch advisory schedule would be issued. Revisions after 30 minutes past the hour are subject to MR Ch.7 ss.3.3.3.8 and 3.3.3.10. Such energy offer price revision restrictions are based on the latest dispatch data accepted and approved in the system at the top of each hour when the pre-dispatch calculation engine is initialized.

Offering additional energy quantities previously not offered in hours subject to price restrictions – A registered market participant for GOG-eligible resources may offer additional MW quantities previously not offered for a dispatch hour that is subject to energy offer price revision restrictions in MR Ch.7 s.3.3.3.10. The offer price for additional MW quantities previously not offered must not exceed the maximum offer price submitted for the dispatch hour at the time the revision restriction is applied, unless circumstances exists whereby the market participant may increase the energy offer price. If the additional MW quantities expand the availability declaration envelope, refer to section 7.5 for more information.

Conditions for energy price increase after a commitment –  MR Ch.7 ss.3.3.3.9 and 3.3.3.11 set out the conditions required for a market participant to increase its energy offer price after receiving a commitment. All submissions are subject to the restrictions applicable in the real-time unrestricted and mandatory window. The procedures for submitting and revising dispatch data for the real-time market must be followed. Refer to section 7.3.

Related provision – Refer to Appendix A for content requirements of dispatch data.

#### Start-Up Offer

(MR Ch.7 s.3.5.12)

Default submission – For the purposes of MR Ch.7 s.3.5.12, where no start-up offer is submitted for any of the thermal states, a default value of zero will apply.

Pseudo-units – For the purposes of MR Ch.7 s.3.5.12, for a pseudo-unit, the start-up offer is submitted on the pseudo-unit rather than on the resources associated with the combustion and steam turbine generation units used to model the pseudo-unit.

Additional submission instructions – In compliance with MR Ch.7 s.3.5.35, a registered market participant must identify a thermal state applicable to its start-up offer in the day-ahead market. Refer to section 2.1.19.

A registered market participant may submit escalating start-up offers into the day-ahead market and pre-dispatch process to reflect the commitment cost parameters associated with the completion of minimum generation block run-time over midnight The generator offer guarantee calculation does not guarantee commitment costs after midnight for minimum generation block run-times that extend across two days. Therefore, the market participant may include those commitment costs in the hours prior to midnight as escalating start-up offers to ensure those costs are included in the guarantee.

Revisions to start-up offers – The market rules provide obligations related to start-up offer revisions in MR Ch.7 ss.3.3.3.6 and 3.3.3.7.

#### Speed No-Load Offer

(MR Ch.7 s.3.5.13)

Default submission – For the purposes of MR Ch.7 s.3.5.13, where no speed no-load offer is submitted, a default value of zero will apply.

Pseudo-units – For the purposes of MR Ch.7 s.3.5.13, for a pseudo-unit, the speed no-load offer is submitted on the pseudo-unit rather than on the resources associated with the combustion and steam turbine generation units used to model the pseudo-unit.

Revisions to speed no-load offers – The market rules provide obligations related to speed no-load offer revisions in MR Ch.7 ss.3.3.3.4 and 3.3.3.5.

#### Energy Ramp Rate

(MR Ch.7 ss.3.5.7 and 3.5.34)

This subsection includes additional information related to submitting hourly and daily energy ramp rates from MR Ch.7 ss.3.5.7 and 3.5.34, respectively.

Additional submission instructions – For the purposes of MR Ch.7 ss.3.5.7 and 3.5.34, registered market participants may submit laminations that are different from those of the price-quantity pairs included in each energy bid or energy offer.

Pseudo-units – For the purposes of MR Ch.7 ss.3.5.7 and 3.5.34, for a pseudo-unit, the energy ramp rate is submitted on the pseudo-unit rather than on the resources associated with the combustion and steam turbine generation units used to model the pseudo-unit.

Related provisions – Ramp rates for resources that are registered for compliance aggregation must meet the additional requirements as specified in the interpretation bulletin, Compliance with Dispatch Instructions Issued to Dispatchable Facilities, IMO_MKRI_0001 v.7.0, which may be amended from time to time.

#### Minimum Hourly Output

(MR Ch.7 ss.3.5.14 and 3.5.15)

Default submission – For the purposes of MR Ch.7 s.3.5.15, where no minimum hourly output is submitted, a default value of zero will apply.

#### Hourly Must-Run

(MR Ch.7 ss.3.5.16 and 3.5.17)

Default submission – For the purposes of MR Ch.7 s.3.5.17, where no hourly must-run is submitted, a default value of zero will apply.

#### Variable Generation Forecast Quantity

(MR Ch.7 s.3.5.18)

Effect of submission – A registered market participant associated with a dispatchable variable generation resource may submit, to the day-ahead market only, a variable generation forecast quantity for each dispatch hour. The variable generation forecast quantity, if submitted for the dispatch hour, replaces the IESO’s centralized forecast quantity for the resource for the dispatch hour.

Default submission – For the purposes of MR Ch.7 s.3.5.18, where no variable generation forecast quantity is submitted, the IESO’s centralized forecast quantity for the resource will continue to be used for the dispatch hour.

#### Linked Forebays

(MR Ch.7 s.3.5.23)

Additional submission instructions – To establish linked forebays under MR Ch.7 s.3.5.23, a registered market participant must submit the downstream linked forebay, time lag and MWh ratio on a forebay that is not located between another set of linked forebays. Once these dispatch data parameters are submitted, the forebay that is the subject of the submission becomes the upstream linked forebay for the applicable dispatch day.

##### Downstream Linked Forebays

(MR Ch.7 s.3.5.23.1)

Additional submission instructions – For the purposes of MR Ch.7 s.3.5.23.1, when submitting a downstream linked forebay, registered market participants must respect the following requirements:

it must be located downstream relative to the upstream linked forebay (i.e, it must have a forebay sequence ID greater than that of the forebay upon which it is submitted);

it must not be submitted on more than one upstream linked forebay in a dispatch day; and

it must not be located between another set of linked forebays.

##### Time Lag

(MR Ch.7 s.3.5.23.2)

Additional submission instructions – For the purposes of MR Ch.7 s.3.5.23.2, registered market participants may submit a time lag of zero to indicate there is no delay in the water discharge between the linked forebays.

##### MWh Ratio

(MR Ch.7 s.3.5.23.3)

Additional submission instructions – For the purposes of MR Ch.7 s.3.5.23.3, the schedule for the upstream resource(s) and downstream resource(s) will respect the ratio in the following manner:

a ratio less than one indicates less energy is required to be scheduled at the downstream linked forebay;

a ratio equal to one indicates the same quantity of energy is required to be scheduled at the downstream linked forebay; and

a ratio greater than one indicates more energy is required to be scheduled at the downstream linked forebay.

#### Forbidden Regions

(MR Ch.7 s.3.5.24)

Additional submission instructions – For the purposes of MR Ch.7 s.3.5.24, each forbidden region registered during the equipment registration process is identified by a number from 1 to 5 (refer to MM 1.5 s.3.3.2.1). For the purposes of MR Ch.7 s.3.5.24, any submitted forbidden region must be within an acceptable range for any forbidden region registered for the resource. The numerical identifier used in the submission of forbidden region may be different from the numerical identifier used in registration.

#### Maximum Daily Energy Limit

(MR Ch.7 s.3.5.25)

Forebays –  For the purposes of MR Ch.7 s.3.5.25, for a dispatchable hydroelectric generation resource that is registered to a forebay, the maximum daily energy limit is submitted on the forebay rather than on the individual resources registered to the forebay.

Pseudo-units – For the purposes of MR Ch.7 s.3.5.25, for a pseudo-unit, the maximum daily energy limit is submitted on the pseudo-unit rather than on the resources associated with the combustion and steam turbine generation units used to model the pseudo-unit. For the purposes of MR Ch.7 s.3.5.25.3, the maximum daily energy limit submitted on the pseudo-unit is validated against the pseudo-unit minimum loading point as described section 2.2.2.

Dispatchable electricity storage – Electricity storage participants who are offering energy from an electricity storage resource should use the maximum daily energy limit to reflect their state of charge limitations. Doing so will limit the schedules they receive to inject from the day-ahead market calculation engine and the pre-dispatch calculation engine, as otherwise the schedules produced from these engines may exceed the ability of the resource to provide energy. Electricity storage participants entering a maximum daily energy limit should use ‘fuel availability’ as a reason code.

Default submission –  For the purposes of MR Ch.7 s.3.5.25, where no maximum daily energy limit is submitted, a null value will apply for the dispatch day.

Reason codes – When submitting the maximum daily energy limit pursuant to MR Ch.7 s.3.5.25, registered market participants must select one of the following reason codes from the MAX DEL reason code field to be submitted with the maximum daily energy limit value:

safety of any person;

damage to equipment;

violation of any applicable law; or

fuel availability.

#### Minimum Daily Energy Limit

(MR Ch.7 s.3.5.26)

Forebays – For the purposes of MR Ch.7 s.3.5.26, for a dispatchable hydroelectric generation resource that is registered to a forebay, the minimum daily energy limit is submitted on the forebay rather than on the individual resources registered to the forebay.

Default submission – For the purposes of MR Ch.7 s.3.5.26, where no minimum daily energy limit is submitted, a null value will apply for the dispatch day.

Revisions to minimum daily energy limits – Following MR Ch.7 s.3.5.26.2, after the dispatch day has begun, revisions to the minimum daily energy limit must also take into account the total actual energy produced up to the last hour and the real-time market dispatch advisory for the current dispatch hour.

#### Maximum Number of Starts Per Day

(MR Ch.7 s.3.5.28)

Default submission – For the purposes of MR Ch.7 s.3.5.28, where no maximum number of starts per day is submitted on an eligible resource, a default value of null will apply.

Pseudo-units – For the purposes of MR Ch.7 s.3.5.28, for a pseudo-unit, the maximum number of starts per day is submitted on the resource for the associated combustion turbine generation unit rather than on the resource associated with the steam turbine generation unit or the pseudo-unit.

Additional submission instructions – For the purposes of MR Ch.7 s.3.5.28, the maximum number of starts per day, if submitted, must be greater than or equal to 1.

#### Minimum Loading Point

(MR Ch.7 s.3.5.29)

Pseudo-units – For the purposes of MR Ch.7 s.3.5.29, for a pseudo-unit, the minimum loading point is submitted on the resources for the associated combustion turbine and steam turbine generation units rather than on the pseudo-unit.

Resources for steam turbines – All steam turbine (ST) generation resources that are part of a combined cycle plant and are not physically aggregated (regardless of whether or not the market participant has elected to use the pseudo-unit model, or a facility using the pseudo-unit model and operating in single cycle mode) must provide each of their n-on-1 minimum loading points where applicable under MR Ch.7 s.3.5.29. The number of minimum loading points that must be submitted for an ST is dependent on the number of combustion turbines (CTs) in the combined cycle plant.

The additional n-on-1 minimum loading points is limited and equal to n, where n is equal to the number of CTs at the combined cycle plant. For example, a combined cycle plant with three CTs and one ST must provide a 2-on-1 and 3-on-1 minimum loading point, but may not submit a 4-on-1 minimum loading point. A registered market participant may only submit CT-to-ST configuration values for the number of CTs in the combined cycle plant.

Resources for steam turbines in the pseudo-unit model – For the purposes of MR Ch.7 s.3.5.29.1, for a steam turbine generation resource that is using the pseudo-unit model, the 1-on-1 minimum loading point submitted on the resources must not exceed the maximum registered generation capacity minus the registered duct firing capacity, multiplied by the minimum of the registered steam turbine percentage shares from all associated pseudo units.

##### Minimum Loading Point after Day-Ahead Market Submission

(MR Ch.7 s.3.3.7)

Operating below the minimum loading point – To comply with MR Ch.7 s.3.3.7, after day-ahead market expiration, if a resource is required to operate below its minimum loading point, an outage request must be submitted to derate the resource to the desired output two hours prior to the derate.

Operating above the minimum loading point – If a resource is required to operate above its minimum loading point after day-ahead market expiration, the market participant must request a SEAL constraint from the IESO.

Duration of outage or constraint – The outage or SEAL constraint start and end times should correspond to the period of time the resource expects to operate below or above minimum loading point.

Additional submission instructions – A revision of offer price-quantity pairs to economically schedule the resource to the desired output is required in conjunction with and at the same time as the outage request submission. Operating reserve cannot be provided when the resource operates below its minimum loading point.

#### Minimum Generation Block Run-Time

(MR Ch.7 ss.3.3.7 and 3.5.30)

Pseudo-units – For the purposes of MR Ch.7 s.3.5.30, for a pseudo-unit, the minimum generation block run-time is submitted on the resource for the associated combustion turbine generation unit rather than on the resource associated with the steam turbine generation unit or the pseudo-unit.

Revisions for minimum generation block run-time – MR Ch.7 s.3.3.7 governs revisions to minimum generation block run-time.

#### Minimum Generation Block Down-Time

(MR Ch.7 s.3.5.31)

Pseudo-units – For the purposes of MR Ch.7 s.3.5.31, for a pseudo-unit, the minimum generation block down-time is submitted on the resource for the associated combustion turbine generation unit rather than on the resource associated with the steam turbine generation unit or the pseudo-unit.

#### Single Cycle Mode

(MR Ch.7 ss.3.3.7 and 3.5.27)

Pseudo-units – For the purposes of MR Ch.7 s.3.5.27, single cycle mode is submitted on the resource for the associated combustion turbine generation unit rather than on the resource associated with the steam turbine generation unit or the pseudo-unit. The registered market participant should ensure that dispatch data submitted on the pseudo-unit supports the single cycle mode selection to avoid unintended scheduling results.

Revisions to single cycle mode – MR Ch.7 s.3.3.7 governs revisions to single cycle mode, and the IESO will manually review and approve any revisions to single cycle mode submitted with the appropriate reason code. Refer to section 7.3.3 and Appendix B for the process to submit revisions to the single cycle mode.

#### Lead Time

(MR Ch.7 s.3.5.32)

Pseudo-units – For the purposes of MR Ch.7 s.3.5.32, for a pseudo-unit, the lead time is submitted on the resource for the associated combustion turbine generation unit rather than on the resource associated with the steam turbine generation unit or the pseudo-unit.

#### Ramp Up Energy to Minimum Loading Point

(MR Ch.7 s.3.5.33)

Additional submission instructions – For the purposes of MR Ch.7 s.3.5.33, the ramp up energy to minimum loading point is submitted by providing an average quantity of energy in MWh for each ramp up hour for each thermal state.

Pseudo-units – For the purposes of MR Ch.7 s.3.5.33, for a pseudo-unit, the ramp up energy to minimum loading point is submitted on the resources for the associated combustion turbine and steam turbine generation units rather than on the pseudo-unit.

##### Energy per Ramp Hour

(MR Ch.7 s.3.5.33.3)

Additional submission instructions – For the purposes of MR Ch.7 s.3.5.33.3, the energy per ramp hour must be submitted for contiguous ramp hours to minimum loading point starting from the first ramp hour to the minimum loading point.  Energy per ramp hour shall be submitted for all ramp hours to minimum loading point that a resource is expected to inject into the IESO-controlled grid.

##### Ramp Hours to Minimum Loading Point

(MR Ch.7 ss.3.5.33.1 and 3.5.33.2)

Additional submission instructions – For the purposes of MR Ch.7 s.3.5.33, ramp hours to minimum loading point is derived based on the number of submitted energy per ramp hour values.

Pseudo-units – For the purposes of MR Ch.7 s.3.5.33, for resources that are a steam turbine generation unit associated to a pseudo-unit, the ramp hours to minimum loading point must be less than or equal to the minimum of all the submitted lead times for the corresponding thermal state on the associated resources for the combustion turbine generation units.

For a pseudo-unit, the submission on the associated resources for the combustion turbine and steam turbine generation units with the larger number of ramp hours represents the resource that will be ramped up first. For example, if the number of ramp hours to minimum loading point submitted on the resource for the steam turbine generation unit is greater than the number of ramp hours to minimum loading point submitted on the resources for the combustion turbine generation units, it indicates the steam turbine generation unit is ramping up first.

#### Thermal State

(MR Ch.7 s.3.5.35)

Pseudo-units – For the purposes of MR Ch.7 s.3.5.35, for a pseudo-unit, the thermal state is submitted on the pseudo-unit rather than on the resources associated with the combustion and steam turbine generation units used to model the pseudo-unit.

### Computed Pseudo-Unit Technical Parameters

(MR Ch.7 s.2.2.6I)

Computation process – The IESO will compute pseudo-unit technical parameters for pseudo-units pursuant to MR Ch.7 s.2.2.6I using the daily dispatch data parameters submitted on the resources for the corresponding combustion turbine and steam turbine generation units. The computed technical parameter values are inputs to the day-ahead calculation engine, pre-dispatch calculation engine, and real-time calculation engine to determine the pseudo-unit schedules, commitments, and dispatch instructions.

Rounding computed values – All computed technical parameters will be rounded to the nearest single decimal value, if applicable.

Onus on registered market participants – The registered market participant submitting dispatch data for its pseudo-unit is expected to understand the impact of each dispatch data parameter submitted on the resources for the corresponding combustion turbine and steam turbine generation units and its effect on the pseudo-unit schedules and commitments.

The following table lists the dispatch data parameters for pseudo-units, and whether it is submitted on the pseudo-unit or the resources for the associated combustion turbine generation unit or steam turbine generation unit.

Table 2-2: Submitted Pseudo-Unit Daily Dispatch Data

| Dispatch Data Parameter | Pseudo-Unit | Combustion Turbine Generation Unit | Steam Turbine Generation Unit |
| --- | --- | --- | --- |
| Daily energy ramp rate | x |  |  |
| Maximum daily energy limit | x |  |  |
| Maximum number of starts per day |  | x |  |
| Minimum loading point |  | x | x |
| Minimum generation block run-time |  | x |  |
| Minimum generation block down-time |  | x |  |
| Single cycle mode |  | x |  |
| Lead time |  | x |  |
| Ramp up energy to minimum loading point |  | x | x |
| Thermal state | x |  |  |

This section provides additional information and formulae on how the IESO computes technical parameters pursuant to MR Ch.7 s.2.2.6I.

#### Single Cycle Mode for a Combustion Turbine of a Pseudo-Unit

Effect of single cycle mode selection – If the registered market participant submits its intent to operate in single cycle mode in accordance with MR Ch.7 s.3.5.27, the steam turbine generation unit contribution is removed for the pseudo-unit, and the computed technical parameters for the pseudo-unit will be equal to the parameters of the combustion turbine generation unit.

Availability of single cycle mode – The single cycle mode parameter is only available to a combustion turbine generation unit associated with a pseudo-unit, and will enable the registered market participant to continue submitting offers on the pseudo-unit when the steam turbine generation unit is derated or unavailable.

Computing single cycle mode – The single cycle mode is a single value applied to all hours of the dispatch day, or the remaining dispatch hours in the dispatch day if the single cycle mode selection is changed during the day due to an outage resulting in the pseudo-unit resource to only be available in single cycle mode.

IF 
SingleCycleModeFlagPSU(n) = NO,

THEN 
PSU operates in combined cycle mode (ST contribution enabled)

ELSE
SingleCycleModeFlagPSU(n) = YES,

THEN
PSU operates in single cycle mode (ST contribution disabled)

#### Computed Pseudo-Unit Technical Parameters

The following technical parameters are computed by the IESO based on the relevant daily dispatch data parameters submitted on the resource for the corresponding generation unit.

##### Pseudo-Unit Maximum Generator Capacity (PSU MGC)

PSU MGC is computed to be the sum of the MGC of the associated combustion turbine (CT) submitted during the facility registration process, plus the steam turbine (ST) contribution to PSU MGC (computed value).

MaxCapacityPSU(n) = MaxCapacityCT(n) + MaxCapacityST_to_PSU(n)

WHERE, 
IF 
SingleCycleModeFlag PSU(n) = NO, 
MaxCapacityST_to_PSU(n) = Share%PSU(n) * MaxCapacityST

ELSE 
MaxCapacityST_to_PSU(n) = 0.0

##### Pseu do-Unit Minimum Loading Point (PSU MLP)

PSU MLP is computed to be the sum of the minimum loading point of the associated CT plus the 1-on-1 MLP of the ST submitted as dispatch data.

IF 
SingleCycleModeFlag PSU(n) = NO, 
MLPPSU(n) = MLPCT(n) + MLPST

ELSE 
MLPPSU(n) = MLPCT(n)

##### Pseudo-Unit Minimum Generation Block Run Time (PSU MGBRT)

PSU MGBRT is computed to be equal to the associated CT MGBRT submitted as dispatch data.

MGBRTPSU(n) = MGBRTCT(n)

##### Pseudo-Unit Minimum Generation Block Down Time (PSU MGBDT)

PSU MGBDT is computed to be equal to the associated CT MGBDT submitted as dispatch data.

Hot MGBDTPSU(n) = Hot MGBDTCT(n);

Warm MGBDTPSU(n) = Warm MGBDTCT(n);

Cold MGBDTPSU(n) = Cold MGBDTCT(n)

##### Pseudo-Unit Maximum Number of Starts (PSU MaxStarts)

PSU MaxStarts is computed to be equal to the associated CT maximum number of starts per day submitted as dispatch data.

MaxStartsPSU(n) = MaxStartsCT(n)

##### Pseudo-Unit Lower Operating Region Amount (PSU_OR_1)

PSU_OR_1, also known as the MLP Range, is defined as the capacity available from zero output to the MLP of the PSU. The PSU Lower Operating Region is computed to be equal to the computed value of the MLP of the PSU.

PSU_OR_1PSU(n) = MLPPSU(n)

##### Pseudo-Unit Upper Operating Region Amount (PSU_OR_3)

PSU_OR_3, also known as the Duct Firing Range, is defined as the capacity available from duct firing above the Middle Operating Region. The PSU Upper Operating Region is computed to be the product of ST percentage share per PSU and the ST duct firing capacity. Both input values are submitted during the facility registration process.

IF 
SingleCycleModeFlag PSU(n) = NO, 
PSU_OR_3PSU(n) = Share%PSU(n) * DuctFiringST

ELSE 
PSU_OR_3PSU(n) = 0.0

##### Pseudo-Unit Middle Operating Region Amount (PSU_OR_2)

PSU_OR_2, also known as the Dispatchable Range, is defined as the capacity available above the PSU MLP and below the start of duct firing. The PSU Middle Operating Region is computed as the difference of the PSU Maximum Generator Capacity, the Upper Operating Region and the Lower Operating Region.

PSU_OR_2PSU(n) = MaxCapacityPSU(n) – PSU_OR_3PSU(n) – PSU_OR_1PSU(n)

#### Computed Steam Turbine Portion of Pseudo-Unit Operating Regions

This subsection sets out computations for the steam turbine generation unit portion of pseudo-unit operating regions.

The following technical parameters are computed by the IESO based on the relevant daily dispatch data parameters submitted on the resource for the corresponding steam turbine generation unit.

The steam turbine (ST) portion of an operating region is the capacity the ST contributes to the pseudo-unit for a specified operating region. The day-ahead calculation engine, pre-dispatch calculation engine and real-time calculation engine require this input of the ST portions to be expressed as percentages.

##### Steam Turbine Portion of the Lower Operating Region Amount (ST_OR_1)

ST_OR_1 is equal to the 1-on-1 minimum loading point (MLP) of the ST.

IF 
SingleCycleModeFlagPSU(n) = NO, 
ST_OR_1PSU(n) = MLPST

ELSE 
ST_OR_1PSU(n) = 0.0

##### Steam Turbine Portion of the Upper Operating Region Amount (ST_OR_3)

ST_OR_3, expressed in MW, is computed as the product of steam turbine percentage share per pseudo-unit and the steam turbine duct firing capacity. Both input values are submitted during the facility registration process.

IF 
SingleCycleModeFlag PSU(n) = NO, 
ST_OR_3PSU(n) = Share%PSU(n) * DuctFiringST

ELSE 
ST_OR_3PSU(n) = 0.0

##### Steam Turbine Portion of the Middle Operating Region Amount (ST_OR_2)

ST_OR_2, expressed in MW, is computed as the difference of the steam turbine contribution to a PSU MGC, the ST Portion of the Upper Operating Region and the ST Portion of the Lower Operating Region. All three input values are computed.

ST_OR_2PSU(n) = MaxCapacityST_to_PSU(n) – ST_OR_3PSU(n) – ST_OR_1PSU(n)

##### Steam Turbine (ST) Portions of Operating Regions

ST Portions of PSU Operating Regions, expressed as percentages, are computed as the share of the ST portion operating region divided by the corresponding PSU Operating Region. The percentages are denoted by K1, K2, and K3 to represent the ST portion of the PSU’s MLP Range, Dispatchable Range, and Duct Firing Range, respectively. Both input values are computed.

K1 = ST_OR_1PSU(n) / PSU_OR_1PSU(n) * 100

K2 = ST_OR_2PSU(n) / PSU_OR_2PSU(n) * 100 where PSU_OR_2PSU(n) > 0, ELSE K2 = 0

K3 = ST_OR_3PSU(n) / PSU_OR_3PSU(n) * 100 where PSU_OR_3PSU(n) > 0, ELSE K3 = 0

### Non-Dispatchable Generation

(MR Ch.7 ss.3.7 and 3.9)

Variable generation – A registered market participant for a variable generation resource that is a self-scheduling generation resource or intermittent generation resource must comply with MR Ch.7 ss.3.7.1 or 3.9.1, as applicable, by submitting the total installed capacity of the variable generation, net any derates or outages that have been submitted through the outage process.

Refer to Appendix A for content requirements of dispatch data for non-dispatchable generation.

### Dispatchable Loads, Dispatchable Electricity Storage Resources and Hourly Demand Response Resources

This subsection pertains to the submission of dispatch data for dispatchable loads, dispatchable electricity storage resources proposing to withdraw, and hourly demand response resources.

#### Price-Quantity Pairs

(MR Ch.7 ss.3.5.3, 3.5.5 and 3.5.6)

This subsection includes additional information related to price-quantity pairs for dispatchable loads, hourly demand response resources, and dispatchable electricity storage resources proposing to withdraw.

Status of electricity storage resources – A market participant registered as an electricity storage resource is not entitled to change its load status as set out in MR Ch.7 s.3.3.3.1. Electricity storage units intending to withdraw must follow the outage requirements contained in MM 7.3 to signal planned unavailability and the requirements listed in Appendix B.4 for state of charge changes.

Dispatchable load energy bids and operating reserve offers – For a dispatchable load that expects to be consuming energy for only part of the dispatch hour, the bid quantity under MR Ch.7 s.3.5.5 shall reflect its average value at normal production when operating. To comply with MR Ch.7 s.7.4.2, its operating reserve offer shall reflect its minimum dispatchable consumption during the dispatch hour, or zero if the entire bid is at MMCP.

Operating as non-dispatchable load – A dispatchable load that intends to operate its load in whole as non-dispatchable can, pursuant to MR Ch.7 ss.3.2.3 and 3.3.3.1, refrain from submitting bids or remove all bids as necessary for the hours in which it intends to be non-dispatchable, in which case the dispatchable load will have no schedule and have “zero” dispatchable quantity.

In the real-time market, the IESO will automatically dispatch the load to 0 MW in the first interval (Interval 1) of the first hour that does not have dispatch data. The dispatchable load is required to disregard the 0 MW dispatch instruction to confirm its intention to becoming non-dispatchable. The IESO will consider the load as non-dispatchable until new bids are submitted, resulting in a new dispatch instruction.

Alternatively, the dispatchable load may identify all or a portion of its consumption as non-dispatchable by bidding the consumption at the maximum market clearing price in accordance with MR Ch.7 s.3.5.5.

Changing status after the day-ahead market submission window – If a dispatchable load requires a change to dispatchable status in the real-time market from non-dispatchable status in the day-ahead market, or an increase to its dispatchable bid quantity after the day-ahead market submission window the change or increase must meet the requirements for expanding the availability declaration envelope under MR Ch.7 s.3.1.13. Refer to section 7.5 for details.

Changing status during the real-time market mandatory window – If a dispatchable load requires a change to or from dispatchable status by submitting or removing bids during the real-time market mandatory window under MR Ch.7 s.3.3.5, the registered market participant is required to contact the IESO to indicate the reason for its status change.

The dispatchable load will automatically be dispatched to 0 MW in the first interval (Interval 1) of the first hour that does not have dispatch data. The dispatchable load is required to disregard the 0 MW dispatch instruction to confirm its intention to becoming non-dispatchable. The IESO will consider the dispatchable load as non-dispatchable until new bids are submitted, resulting in a new dispatch instruction (refer also to Appendix B.4: Hourly Dispatch Data Submissions or Revisions during the Real-Time Market Mandatory Window).

Demand response bid price threshold – For the purposes of MR Ch.11 “demand response bid price threshold”, the demand response bid price threshold is $100/MWh. A capacity market participant intending to meet its capacity obligation for a demand response resource must submit a demand response energy bid quantity equal to the capacity obligation for their demand response resource for all hours of the availability window of the obligation period (as specified in MM 12: Capacity Auctions).

#### Energy Ramp Rate

(MR Ch.7 s.3.5.7)

This subsection includes additional information related to submitting energy ramp rates for hourly demand response resources.

Energy ramp rates for hourly demand response resources – Pursuant to MR Ch.7 s.3.5.7, capacity market participants must submit ramp up rates and ramp down rates for each hourly demand response resource that is equal to the demand response capacity of the hourly demand response resource. For example, an hourly demand response resource with a demand response capacity of 10 MW would submit ramp up rates and ramp down rates of 10 MW/minute.

### Price Responsive Loads and Self-Scheduling Electricity Storage Resources Intending to Withdraw

(MR Ch.7 ss.3.8 and 3.11)

Bids automatically excluded from real-time market – Price responsive loads and self-scheduling electricity storage resources intending to withdraw are evaluated in the day-ahead market only. After day-ahead market expiration, the registered market participant is not required to remove its energy bid from the real-time market. The energy bids are automatically excluded from the pre-dispatch scheduling process and real-time scheduling process.

– End of Section –

## Dispatch Data to Supply Operating Reserve

(MR Ch.7 s.3.6)

Overview – Subject to eligibility requirements for applicable resource types (refer to MM 1.5), there are three classes of operating reserve that may be offered. The Register Equipment process establishes the classes of operating reserve that a registered market participant may submit for a given resource.

Standing dispatch data – Standing dispatch data may be submitted for operating reserve.

### Dispatchable Resources

(MR Ch.7 s.3.6)

Pseudo-units – For the purposes of MR Ch.7 s.3.6, for a pseudo-unit, operating reserve offers are submitted on the pseudo-unit rather than on the resources associated with the combustion turbine and steam turbine generation units used to model the pseudo-unit.

#### Supply Operating Reserve Price-Quantity Pairs

(MR Ch.7 s.3.3.3.12)

Timing of operating reserve price revisions – After the pre-dispatch calculation engine has initialized at the top of each hour, in accordance with MR Ch.7 s.3.3.3.14, revisions to increase operating reserve offer prices for GOG-eligible resources  by the registered market participant are prohibited until 30 minutes past the hour when a binding pre-dispatch advisory schedule would be issued. Revisions after 30 minutes past the hour are subject to MR Ch.7 ss.3.3.3.12. The operating reserve offer price revision restrictions are based on the latest dispatch data accepted and approved in the system at the top of each hour when the pre-dispatch calculation engine is initialized.

Offering additional operating reserve quantities previously not offered in hours subject to price restrictions – The registered market participant for GOG-eligible resources may offer additional MW quantities previously not offered for a dispatch hour that is subject to operating reserve offer price revision restrictions in MR Ch.7 s.3.3.3.12. The offer price for additional MW quantities previously not offered must not exceed the maximum offer price submitted for the dispatch hour (if a submission was made) at the time the revision restriction is applied, unless circumstances exists whereby the market participant may increase the operating reserve offer price.

Conditions for operating reserve price increase after a commitment – MR Ch.7 s.3.3.3.13 set out the conditions required for a registered market participant to increase its operating reserve offer price after a day-ahead operational commitment. All submissions are subject to the applicable restrictions in the real-time market unrestricted window and real-time market mandatory window.

Related provisions – Refer to Appendix A for content requirements of dispatch data.

#### Operating Reserve Class

(MR Ch.7 ss.3.6.0 and 3.6.1)

Classes of operating reserve – Pursuant to MR Ch.7 ss.3.6.0 and 3.6.1, the registered market participant must select one of the following operating reserve classes, to the extent it is eligible to provide it, with each offer to supply operating reserve:

ten-minute operating reserve synchronized;

ten-minute operating reserve non-synchronized; or

thirty-minute operating reserve.

#### Operating Reserve Ramp Rate

(MR Ch.7 s.3.5.8)

Ramp rate submission – The operating reserve ramp rate is expressed in megawatts per minute (MW/min), up to one decimal place, must be greater than zero, and cannot exceed 999.9.

#### Reserve Loading Point

(MR Ch.7 s.3.6.5)

Dispatchable loads and dispatchable electricity storage resources registered to withdraw – For dispatchable loads and dispatchable electricity storage resources registered to withdraw, the reserve loading point is not applicable and the value submitted for any class of operating reserve offers under MR Ch.7 s.3.6.5 must equal zero.

Reserve loading point submission – The reserve loading point is to be expressed in MW, up to one decimal place, greater than or equal to zero and cannot exceed 9,999.9. The reserve loading point value submission for:

synchronized ten-minute operating reserve offers must be greater than or equal to zero and less than or equal to the registered maximum generation capacity or electricity storage capacity of the resource registered to inject;

non-synchronized ten-minute operating reserve offers must equal zero; and

thirty-minute operating reserve offers must be greater than or equal to zero and less than or equal to the registered maximum generation capacity or electricity storage capacity of the resource registered to inject.

Effect of submission – The quantity of operating reserve scheduled will respect the reserve loading point for the resource based on the quantity of energy scheduled and is prorated if the quantity of energy scheduled is below the reserve loading point.

### Operating Reserve Offers for Electricity Storage Resources

(MR Ch.7 s.21.6)

Duration requirements for injecting component – When the electricity storage resource is offering operating reserve exclusively from the injecting component of an electricity storage unit, the remaining duration of service until the resource is depleted of energy must be greater than or equal to 130 minutes at the end of the real-time market mandatory window (i.e. minute 50) for the applicable dispatch hour.

Duration requirements for withdrawing components – When the electricity storage resource is offering to provide operating reserve exclusively from the withdrawing component of the electricity storage unit, the remaining duration of service to full state of charge is greater than or equal to 70 minutes at the end of the real-time market mandatory window (i.e. minute 50) for the applicable dispatch hour.

Related provisions – Refer to Appendix A.3 for further details, examples, and rationale for electricity storage dispatch data requirements.

– End of Section –

## Dispatch Data for Boundary Entity Resources

(MR Ch.7 s.3.4.1.5)

Overview – Energy traders submit dispatch data, for the purposes of trading between the IESO physical markets and other jurisdictions, by following a similar process to that used to submit dispatch data for the day-ahead and real-time energy and operating reserve markets within Ontario. An eligible energy trader may submit dispatch data on a boundary entity resource to conduct the following types of physical transactions:

offer to import energy into the IESO-administered markets;

bid to export energy from the IESO-administered markets;

offer to provide operating reserve into the IESO-administered markets through energy imports or exports. Bids to export operating reserve out of the Ontario market are not accepted; and

linked wheeling through transaction in the IESO-administered markets through an offer to import and bid to export energy.

Energy traders may export energy to the United States only if they have a valid Canada Energy Regulator electricity export permit.

Refer to MM 1.5 for more information on the process of registering an energy trader and for using a boundary entity resource.

Standing dispatch data – Standing dispatch data may be submitted on a boundary entity resource for energy and operating reserve.

### Energy Import, Energy Export, and Supply Operating Reserve Transactions

(MR Ch.7 ss.3.5 and 3.6)

The table below sets out the dispatch data parameters submitted by a registered market participant for an energy trader to import and export energy, and supply operating reserve.

Table 4-1: Applicable Dispatch Data by Intertie Transaction Type

| Subsection | Import Energy | Export Energy | Supply Operating Reserve |
| --- | --- | --- | --- |
| 4.1.1 Boundary Entity Resource and Tie Point ID | x | x | x |
| 4.1.2 Interjurisdictional Capacity Transactions | x | x |  |
| 4.1.3 e-Tag | x | x |  |
| 4.1.4 Operating Reserve Class |  |  | x |

#### Boundary Entity Resource and Tie Point ID

(MR Ch.7 ss.3.5 and 3.6)

Obligation to specify boundary entity resource and tie point ID – Each offer or bid to import or export energy or operating reserve, as applicable, must specify a boundary entity resource and tie point ID.

Sink and source – Appendix C lists the available boundary entity resources and corresponding tie point IDs that eligible registered market participants must use to submit offers and bids to import or export energy or supply operating reserve. Registered market participants must select boundary entity resources identified as “Source” when submitting offers to import energy, and must select boundary entity resources identified as “Sink” when submitting bids to export energy.

Additional submission instructions to supply operating reserve – Registered market participants offering to supply operating reserve must select the “Source” or “Sink” boundary entity resource and tie point ID that corresponds with the energy import offer or export bid used to support the operating reserve transaction pursuant to MR Ch.7 s.3.6.3.

Submission restrictions – There are restrictions on the boundary entity resources that can be used for submission of dispatch data for capacity import resources and imports on the Beauharnois boundary entity:

All capacity import resources must be offered on the designated boundary entity associated with the control area for which the capacity import resource originates.

Capacity market participants scheduling a system-backed capacity import in accordance with MR Ch.7 s.19.9 are required to use one of the boundary entity resources listed in Table C-1: Boundary Entity Resources, that includes the identifier “SBACK” in its boundary entity resource name (e.g., PQ.OUTAOUAIS.SOURCE.SBACK).

Capacity market participants scheduling a generator-backed capacity import  in accordance with MR Ch.7 s.19.9B are required to use one of the boundary entity resources listed in Table C-1: Boundary Entity Resources, that includes the identifier “GBACK” in its boundary entity resource name (e.g., NY.ROSETON.SOURCE.GBACK).

For imports on the Beauharnois boundary entity, due to scheduling restrictions imposed by the IESO, registered market participants offering imports from the Beauharnois boundary entity are required to use only the boundary entity resources PQ.BEAUHARNOIS.SOURCE.01-10.

Submission requirements – An offer or bid submitted on a boundary entity resource must specify whether the boundary entity resource will be conducting an import (‘INJECTION’) or an export (‘OFF-TAKE’) in the “Bid Offer” field of the submission.

#### Interjurisdictional Capacity Transactions

(MR Ch.7 ss.19.9, 19.9B and 20.1)

Capacity transaction parameter – A registered market participant that is submitting dispatch data on a boundary entity resource may select the capacity transaction parameter to indicate the offer or bid is for an interjurisdictional capacity transaction in accordance with MR Ch.7 ss.19.9, 19.9B or 20.1. The capacity transaction parameter may also be selected for imports and exports to implement the IESO-Hydro Quebec capacity sharing agreement.

Registration – Energy traders that intend to import energy or export energy for an interjurisdictional capacity transaction must register the capability to do so with the IESO as part of the participant authorization process. Refer to MM 1.5 for more information on the process of registering an energy trader to submit interjurisdictional capacity transactions.

#### e-Tags

(MR Ch.7 App.7.1 s.1.2)

Overview – An e-Tag represents a transaction scheduled to flow between or across control areas. This subsection includes additional information related to e-Tags.

Obligation to submit – e-Tags are required to facilitate the checkout of interchange schedules with external control areas in accordance with NERC reliability standards, and must be submitted through the e-Tagging system. Operation in segregated mode with Hydro Quebec also requires the submission of e-Tags in accordance with IESO requirements.

An e-Tag ID must be submitted for each boundary entity resource offer and bid to establish a link between that offer or bid to its associated e-Tag in the IESO systems.

Related provision – Appendix D comprises some Ontario-specific requirements for e-Tags.

##### e-Tag Submission Process

Timing of e-Tag ID submission – e-Tag IDs must be submitted at least 32 minutes prior to the dispatch hour. However, registered market participants are encouraged to submit e-Tag IDs as soon as possible after submitting their bid or offer to support the validation processes described below.

Typically, registered market participants submitting dispatch data on a boundary entity are required to submit all offers or bids by two hours prior to the dispatch hour. However, registered market participants may make short notice changes, if necessary, to the e-Tag ID up to 32 minutes prior to dispatch hour as specified in Appendix B.4.2.

Submitting to the e-Tag system – In addition to the IESO submission, registered market participants are required to submit the e-Tag(s) and scheduled MW quantity to the e-Tag system at least 32 minutes prior to the dispatch hour.

Extenuating circumstances – If the IESO fails to issue the “Pre-Dispatch Intertie Transactions and NQS Resource Extensions Report” 45 minutes before the dispatch hour, the IESO will allow additional time for e-Tag submissions equal to the delay after the 32-minute e-Tag submission timeline, up until 10 minutes before the dispatch hour. However, in such situations, the IESO encourages the registered market participants to submit the e-Tag 32 minutes prior to the dispatch hour based on the expected interchange schedule and to subsequently make necessary changes as required.

NYISO requirements – With respect to interchange schedules with NYISO, and notwithstanding the obligation stated above, registered market participants shall not revise their e-Tag MW schedule according to the IESO “Pre-Dispatch Intertie Transactions and NQS Resource Extensions Report”. To ensure that any required e-Tag MW schedule changes are not rejected by the NYISO, the sink control area will make these adjustments on behalf of registered market participants.

e-Tag replacement during the real-time market mandatory window – Pursuant the MR Ch.7 s.3.3.5 the registered market participants may not change the boundary entity resource associated with a given bid or offer to reflect an e-Tag replacement without IESO approval.

Interjurisdictional capacity transactions – System backed capacity import offers will be required to include the letters “SCAP” in between the Balancing Authority identification. Generator-backed capacity import offers will be required to include the letters “GCAP” in between the Balancing Authority identification.

##### Intertie Transaction Failures

Missing or late e-Tag submission – Missing or late e-Tags not required for reliability reasons will be treated as a breach of the market rules and the interchange schedule(s) will be treated as failed. The IESO will notify the registered market participant by automated email with “Missing e-Tag” indicated as the reason.

If an e-Tag:

is submitted late;

has incorrect data (MW quantity does not match dispatch instruction); or

has yet to be submitted after 32 minutes prior to the dispatch hour;

- but is required by the IESO for internal reliability purposes, the interchange schedule may be approved on a reasonable effort basis.

Note: Although the interchange schedule may be approved for reliability reasons after 32 minutes prior to the dispatch hour, it is still deemed a breach of the market rules.

##### IESO Actions when an e-Tag is Required for Reliability

Table 4-2 lists the IESO actions in situations where an e-Tag is required for reliability reasons.

Table 4-2: IESO Actions when an e-Tag is Required for Reliability

| Situation | IESO Actions |
| --- | --- |
| Missing or late e-Tag (no e-Tag corresponding to the dispatch data [e-Tag ID]), or No e-Tag submitted by 32 minutes prior to the dispatch hour | Notify the registered market participant of the required change by telephone, identifying that the registered market participant must: identify the correct e-Tag; submit or enter the corrections into the e-Tag system to ensure the interchange schedule will flow; and notify the IESO when complete, |
| Missing e-Tag ID | Link the correct e-Tag ID in the market tools, provided it is identified by the registered market participant. |
| Incorrect e-Tag data (MW quantity does not match dispatch instruction, or the interchange schedule is curtailed) | Adjust the e-Tag to coincide with the dispatch instruction or the curtailed interchange schedule and, except for MW quantity mismatches, notify the registered market participant of the change by automated email with the reason as one of the following: external curtailment (e.g., external control area TLR), internal curtailment, or scheduling disagreement, and in the case of the MW quantity mismatches, notifications for e-Tag MW quantity adjustments made by the IESO to match the dispatch instruction are automatically issued via the e-Tag system with the reason “IESO Market Results”. |
| The e-Tag data and dispatch instruction agree, and The interchange schedule is curtailed down due to reliability reasons within the IESO-controlled grid | Enter the adjusted MW quantity into the e-Tag system on behalf of the registered market participant. Notify the registered market participant of the adjusted amount by automated email with the reason “Internal Curtailment”. |
| The registered market participant is unable to flow the interchange schedule as adjusted by the IESO | Consider a further change to the interchange schedule. If a further change is not feasible, then the interchange schedule will be deemed to have failed. |
| The interchange schedule is denied by another control area as a result of a change due to the IESO reliability concerns | - Record the interchange schedule as an IESO curtailment. Notify the registered market participant of the change by automated email with the reason “Internal Curtailment”. |
| The interchange schedule is failed by another control area for reasons other than IESO reliability concerns (e.g., TLR) | - Record the interchange schedule as an external curtailment.(e.g., external control area TLR) Notify the registered market participant of the change by automated email with the reason “External Curtailment”. |

#### Operating Reserve Class

(MR Ch.7 ss.3.6.0 and 3.6.1)

Classes of operating reserve – Pursuant to MR Ch.7 ss.3.6.0 and 3.6.1, the registered market participant must select one of the following operating reserve class types for each offer to supply operating reserve:

- ten-minute operating reserve- non-synchronized; or

- thirty-minute operating reserve.

### Linked Wheeling Through Transactions

(MR Ch.7 s.3.5.19)

Overview – Registered market participants submitting a linked wheeling through transaction must submit the energy import and energy export as independent transactions or linked transactions following the formatting requirements as described in section 4.2.2.

#### Linked Wheeling Through Transactions as Independent Import and Export

(MR Ch.7 s.3.5.19.1)

Independent import and export schedules – Pursuant to MR Ch.7 ss.3.5.19.1, linked wheeling through transactions will be implemented as independent import and export transactions:

The dispatch data for the interchange offer must be accompanied by the unique e-Tag ID for the import, where Ontario would be designated in the e-Tag as the sink control area.

The dispatch data for the interchange bid must be accompanied by a separate e-Tag ID for the export, where Ontario would be designated in the e-Tag as the source control area.

Scheduled quantities may differ – The IESO will consider the submissions of dispatch data for the import offer and export bid to be independent of each other, meaning that their scheduled quantities may not be the same. In addition, the IESO may manually curtail the import and/or the export transaction independently from the other.

#### Linked Wheeling Through Transactions as Linked Import and Export

(MR Ch.7 s.3.5.19.2)

E-tag submission – Pursuant to MR Ch.7 ss.3.5.19.2, registered market participants may ensure that the import and export schedule of a linked wheeling through transaction obtains the same scheduled quantity by submitting the same e-Tag ID for both the import offer and the export bid. This will indicate that the import offer and the export bid are linked.

e-tag format – Registered market participant must submit the same e-Tag IDs in the following formatting convention for the import offer and the export bid to be linked, subject to the e-Tag ID format requirement for linked wheeling through transaction involving the Hydro Quebec TransEnergie (HQT).

for the import: WI_SourceCA…SinkCA

for the export: WX_SourceCA…SinkCA

Where:

"SourceCA…SinkCA" is the unique e-Tag ID from the e-Tag system for the interchange schedule for a linked wheeling through transaction treated in this manner, Ontario would not be listed as a source control area (SourceCA) or as the sink control area (SinkCA) in the e-Tag ID, but would be included in the e-Tag as part of the transmission path;

WI is a delimiter indicating that the interchange schedule is the import component of a linked wheeling through transaction, the delimiter is added by the registered market participant to the e-Tag ID submitted to the IESO as dispatch data for the import; and

WX is a delimiter indicating that the interchange schedule is the export component of a linked wheeling through transaction, the delimiter is added by the registered market participant to the e-Tag ID submitted to the IESO as dispatch data for the export.

Related provisions – Refer to Appendix D.2 for an example of an e-tag for a linked wheeling through transaction (Example 1).

Revise e-Tag quantity – The IESO will consider the submissions of dispatch data for the import component and the export component of the linked wheeling through transaction, and will schedule the import and export of the linked wheeling through transaction to the lowest economic quantity. It is the registered market participant’s responsibility to revise the e-Tag quantity to the lowest scheduled quantity of the import/export.

Curtailments to linked wheeling through transactions will be applied equally to both the import component and export component such that their schedules will remain equal to each other.

E-tag format for transactions Hydro Quebec TransEnergie – For an interchange schedule for a linked wheeling through transaction involving the HQT control area, the e-Tag must identify, in addition to the general e-Tag formatting requirements, HQT is identified as the SOURCE, SINK or intermediate control area, failing which the IESO will deny the e-Tag.

Related provision – Refer to Appendix D.2 for an example of an e-tag for a linked wheeling through transaction pertaining to the HQT control area (Example 2).

### Capacity Exports

(MR Ch.7 s.20.1.2)

Eligibility – Registered market participants with Ontario-based generation resources and the injecting component of electricity storage resources may be eligible to export capacity to designated external control areas during specified periods of time, subject to IESO pre-approval under MR Ch.7 s.20.1.2.

#### Dispatch Data Requirements for Scheduling a Called Capacity Export

(MR Ch.7 s.20)

Responsibility of registered market participant – Where the registered market participant for a resource has committed capacity to an external control area, it assumes the responsibility of responding to capacity calls from that external control area.

Dispatch data requirements – In order to receive export curtailment treatment as a called capacity export the registered market participant is required to:

- Submit an energy bid to export for delivery to the external control area for the duration of the capacity call by bidding at MMCP prior to the closing of the real-time market mandatory window for the dispatch hour, where, in addition to the requirements for energy export bids, the bid must comply with the following requirements:

the bid quantity must be in a single lamination and must not exceed the called export MW quantity;

“Tie Point ID” must be selected in the direction of the calling external control area; and

“Delivery Date” and “Delivery Hour” must span the period (between start and end date) of the call as stipulated by the calling jurisdiction;

“Capacity Transaction” flag must be selected;

“Other Reason” field must include a six-digit resource ID (format ######) identifying the resource that has committed capacity to the external control area; and

“e-Tag ID” field must include the correct tag naming convention as described in section 4.1.3;

Submit an e-Tag containing the name of the resource  that is the subject of the capacity call, in the Comments section; and

Telephone the IESO Control Room and indicate the e-Tag ID number of the export, the resource, and the expected duration of the capacity call during which the export is to be treated as a called capacity export.

Operating reserve offers – Registered market participants with resources that have committed capacity to an external control area may offer to provide operating reserve provided they manage any operating reserve offers from their resource for the duration of capacity call to ensure that there is sufficient energy available satisfy the called capacity export and any operating reserve activations.

#### Changes/Updates to Called Capacity Exports or Capacity Resources

(MR Ch.7 s.20)

Communication requirements – The registered market participant for a resource with committed capacity to an external control area must telephone the IESO Control Room in the following circumstances:

if the quantity of energy called changes or if the expected duration of the capacity call changes;

if the resource becomes unavailable at any time throughout the duration of the capacity call; or

when the end time of the capacity call is confirmed to the registered market participant by the external control area.

### Validation of Bids and Offers for Imports and Exports

(MR Ch.7 App.7.1 s.1.2)

#### Requirements for Bids and Offers

Bids and offers to import or export energy will be validated by the IESO to ensure that:

bids and offers are submitted in accordance with the intentions declared during the boundary entity registration process (or any subsequent updates);

the registered market participant has the necessary licenses and authorizations;

the e-Tag source/sink corresponds with the boundary entity resource, as set out in Appendix D;

the e-Tag is consistent with the tie point ID in the dispatch data submission;

the e-Tag IDs submitted for an interchange schedule from a linked wheeling through transactions are correctly formatted;

the registered market participant has navigated successfully intermediary markets as well as the Ontario markets; and

there are no external or internal transmission constraints or other mitigating limitations.

#### Validation Process

Timing – The IESO typically validates bids and offers between one and two hours prior to the dispatch hour but will exercise reasonable efforts to do so earlier. This may prevent a registered market participant from resubmitting its bid or offer, depending on the nature of the change that is required to address the validation failure.

Outcome of the process – The IESO will also seek to notify registered market participants of validation failures on a reasonable effort basis. Further, registered market participants will be able to determine that there has been a failure in the validation process based on the revised pre-dispatch schedule.

– End of Section –

## Dispatch Data for Virtual Transactions

(MR Ch.7 s.3.10)

Overview – The submission of dispatch data for virtual transactions shall follow the same process that is generally used for physical transactions in the day-ahead market. A registered market participant for a virtual trader may submit energy offers and energy bids in the day-ahead market. Dispatch data with respect to virtual transactions must be associated with one of the virtual zonal resources, corresponding to a virtual transaction zone, which have been established in the IESO’s market systems.

Standing dispatch data – Standing dispatch data may be submitted on a virtual zonal resource for energy.

- Obligation to specify virtual zonal resource and virtual transaction zone – For each offer or bid, the registered market participant must specify the virtual zonal resource and virtual transaction zone for the virtual transaction.

Virtual zonal resources – The IESO has established two virtual zonal resources for each virtual transaction zone, one resource for offers and one resource for bids, for which dispatch data can be submitted to facilitate virtual transactions. This means a registered market participant may submit no more than one energy offer or bid, as applicable, for each virtual zonal resource for a dispatch hour.

Identification of virtual transactions – Since multiple virtual traders may submit an offer or bid on a given virtual zonal resource, the virtual traders’ names will be used to identify the dispatch data on the virtual zonal resource.

Offer hub or bid hub – Appendix E lists the available virtual zonal resources and corresponding virtual transaction zones on which registered market participants for virtual traders submit offers and bids for virtual transactions. Registered market participants must select virtual zonal resources identified as “OFFER:HUB” when submitting energy offers, and must select virtual zonal resources identified as “BID:HUB” when submitting energy bids.

Submission requirements – An offer or bid submitted on a virtual zonal resource must specify whether the virtual zonal resource will be conducting a virtual sale (‘VIRTUAL-GENERATOR’) or a virtual purchase (‘VIRTUAL-LOAD’) of energy in the “Bid Offer” field of the submission.

- Price Quantity Pairs – Following MR Ch.7 ss.3.5.5.3 and 3.10.1.2, the minimum quantity that must be submitted in the second quantity of the price-quantity pair for an offer or bid is 1.0 MW. Following MR Ch.7 ss.1.6.3 and 3.10.1.3, the maximum quantity that may be submitted is limited by the IESO established offer or bid quantity limit.

- The total number of price-quantity pairs that may be submitted in accordance with MR Ch.7 ss.1.6.3 and 3.10.1.5 includes the first price-quantity within each offer and bid.

- Quantity and Lamination Volume Limit – Following MR Ch.7 s1.6.3, the IESO established energy lamination volume limit and offer or bid quantity limit can be found on the IESO Public Reports website – Transmission Facility All in Service Limits Report (Days 0 to 34).

- Offer/bid screen for submitted but not cleared exposure – The IESO-estimated daily cumulative submitted but not cleared dollar exposure for each virtual trader in accordance with MR Ch.7 s.3.10.1.4 is calculated by:

(a) 	multiplying the maximum quantity submitted for each virtual transaction for the dispatch day by the IESO-determined price delta for the associated virtual transaction zone;

(b) 	multiplying the maximum quantity submitted for each virtual transaction for the dispatch day by the virtual transaction uplift estimation; then

(c) 	taking the sum of (a) and (b).

- In the event the prudential system becomes unavailable, the IESO’s ability to accept virtual transaction submissions can be limited.

– End of Section –

## Standing Dispatch Data

(MR Ch.7 s.3.3.9)

Overview – If the dispatch data submitted for a resource for a given trading day of a trading week will not change from trading week to trading week, the registered market participant may consider submitting standing dispatch data.

### Submitting Standing Dispatch Data

(MR Ch.7 s.3.3.9)

Timing of submission – Standing dispatch data for hourly dispatch data, daily dispatch data, or both may be submitted to the IESO or revised at any time. The IESO registers standing dispatch data and does not consider such dispatch data for the current dispatch day being processed nor the next dispatch day if the standing dispatch data is registered after 06:00 EPT of the current dispatch day.

Dispatch day type – The submission must include a dispatch day type, ‘Mon.’ through ‘Sun.’ or ‘All’, that specifies the day of the week with respect to which the standing dispatch data applies.

Expiration date – If an expiration date for the standing dispatch data is submitted, it represents the last dispatch day accepted standing dispatch data will be converted to dispatch data at 06:00 EPT on the day prior to the dispatch day.

Validation and revision – Standing dispatch data is validated at the time of submission, and is entered into the IESO system if it complies with applicable requirements. The standing dispatch data that has been entered into the IESO system is subsequently validated once it is converted to dispatch data at 06:00 EPT each day of the day prior to the dispatch day. Submissions, revisions, and withdrawals of standing dispatch data received after 06:00 EPT of the day prior to the dispatch day will be processed on the next day or another day as specified in the dispatch day type. The revision of dispatch data after it has been converted from standing dispatch data follow the timelines and procedure outlined in section 7.

Day-ahead market only data – For price responsive loads, self-scheduling electricity storage resources registered to withdraw, and virtual zonal resources, standing dispatch data is converted for use in the day-ahead market only.

Related provisions – Refer to Appendix A for content requirements of dispatch data.

#### Procedure for Submitting and Revising Standing Dispatch Data

(MR Ch.7 s.3.3.9)

This subsection includes additional information related to the process for submitting and revising standing dispatch data.

Process for submission and revision – Table 6-1 contains the steps for the submission and revision of standing dispatch data.

Table 6-1: Procedure for Submitting and Revising Standing Dispatch Data

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | Registered market participant | Before 06:00 EPT on the day prior to the dispatch day, submits or revises standing dispatch data. |
| 2 | IESO | Timestamps and performs validation on the received standing dispatch data. If the standing dispatch data passes validation, then the IESO: confirms receipt of the submitted standing dispatch data; and accepts and approves the standing dispatch data. If the standing dispatch data fails validation, then the IESO: rejects the standing dispatch data; and notifies registered market participant that the standing dispatch data has failed validation. |
| 3 | Registered market participant | Receives from the IESO: confirmation of standing dispatch data receipt, or notification of standing dispatch data validation failure. Corrects the standing dispatch data and resubmits, then continue from step 2 (if applicable) |
| 4 | Registered market participant | Contacts the IESO immediately if neither confirmation nor notification is received. |
| 5 | Registered market participant and IESO | Resolves the status of submitted or revised standing dispatch data. |

– End of Section –

## Submitting Dispatch Data

(MR Ch.7 ss.3.1-3.3)

Overview – The dispatch data submission process applies to daily and hourly dispatch data parameters for use in the day-ahead market and real-time market. Registered market participants submit daily and hourly dispatch data for its resources for any or all hours of a dispatch day, as specified, subject to the limitations set out in the market rules and this manual. The timelines within the process for submitting daily and hourly dispatch data for the day-ahead market and real-time market are illustrated in Figure 7-1 and Figure 7-2, respectively.

Figure 7-1: Data Submission Timeline for Daily Dispatch Data

*The day-ahead market is usually completed at 13:30 EPT, and must be completed by 15:30 EPT.

Figure 7-2: Data Submission Timeline for Hourly Dispatch Data

### Dispatch Data Submissions by Resource Type

(MR Ch.7 ss.3.2-3.10)

Resource types – Table 7-1 lists the resource types for which a registered market participant may submit dispatch data in the day-ahead market and real-time market (MR Ch.7 ss.3.4.1.1-3.4.1.2).

Table 7-1: Dispatch Data Submissions by Resource Type

| Resource Type | Energy | Operating Reserve |
| --- | --- | --- |
| Dispatchable generation resource | Offer | Offer |
| Self-scheduling generation resource | Self-schedule | N/A |
| Intermittent generation resource | Forecast of intermittent generation | N/A |
| Dispatchable load | Bid | Offer |
| Hourly demand response resource | Bid | N/A |
| Price responsive load | Bid | N/A |
| Dispatchable electricity storage resource | Bid /Offer | Offer |
| Self-scheduling electricity storage resource | Bid /Self-schedule | N/A |
| Boundary entity resource | Bid/Offer | Offer |
| Virtual transaction zonal trading entity resource | Bid/Offer | N/A |

Day-ahead market only data – Note that registered market participants for price responsive loads, self-scheduling electricity storage resources intending to withdraw, and virtual transactions do not submit dispatch data in the real-time market.

Variable generation resource – Registered market participants for variable generation resources must submit dispatch data indicating the total installed capacity net any derates or outages in each dispatch hour.

Self-scheduling electricity storage resources must submit self-schedules for the injecting resource indicating the amount of energy to be provided. The withdrawing resource for such resources submit energy bids as a price responsive load.

Physical bilateral contracts – A registered market participant must provide dispatch data to the IESO for all resources for which dispatch data is required even if all of the registered market participant’s sales or purchases of energy are subject to a physical bilateral contract pursuant to MR Ch.8 s.2.

Related provisions – Refer to Appendix A for dispatch data content requirements.

Timing of submission – Table 7-2 provides a timeline for submitting and revising hourly and daily dispatch data.

Table 7-2: Timing of Dispatch Data Submission

| Time | Events |
| --- | --- |
| 06:00 to 10:00 EPT on the day prior to the dispatch day | standing dispatch data accepted by the IESO for the applicable dispatch day is validated and converted to dispatch data by the IESO at 06:00 EPT. day-ahead market submission window: registered market participants can submit and revise daily and hourly dispatch data for the next dispatch day to the extent authorized by MR Ch.7 ss.3.2.1 to 3.2.3. prior to 08:00 EPT: registered market participants submit requests for segregation for any of their resources that require an outage to a critical transmission element for any or all hours of the dispatch day; dispatch data is submitted or revised as required (refer to section 10 and MR Ch.7 App.7.7). prior to 09:00 EPT: registered market participants submit requests for segregation for any of their resources that do not require an outage to a critical transmission element for any or all hours of the dispatch day for inclusion in the day-ahead market; dispatch data is submitted or revised as required (refer to section 10 and MR Ch.7 App.7.7). |
| 10:00 EPT to DAM expiration on the day prior to the dispatch day | day-ahead market restricted window: registered market participants must not submit or revise daily and hourly dispatch data for the next dispatch day, unless authorized by MR Ch.7 ss.3.2.4 and 3.2.5. day-ahead market process begins and initializes using the latest dispatch data submitted to and accepted by the IESO, which is also used to establish the availability declaration envelope for dispatchable resources. The day-ahead market is typically completed at 13:30 EPT on the day prior to the dispatch day, but may be delayed up to 15:30 EPT in the event of an IESO tool issue. |
| DAM expiration to 20:00 EST on the day prior to the dispatch day | real-time market restricted window: registered market participants may submit and revise daily dispatch data parameters to the extent authorized by MR Ch.7 s.3.3.7. real-time market unrestricted window: registered market participants may submit and revise hourly dispatch data parameters to the extent authorized by MR Ch.7 ss.3.3.3.1 to 3.3.3.4 and 3.3.3.6. |
| 20:00 EST on the day prior to the dispatch day to two hours before the dispatch hour | real-time market restricted window continues. real-time market unrestricted window: registered market participants may submit and revise hourly dispatch data parameters to the extent authorized by MR Ch.7 s.3.3.3. at least two hours prior to the start of the outage, registered market participants submit requests for segregation for any of their resources that do not require an outage to a critical transmission element for any or all hours of the dispatch day for inclusion in the pre-dispatch process; dispatch data is submitted or revised as required (refer to section 10 and MR Ch.7 App.7.7). pre-dispatch process begins, runs every hour and initializes at the top of the hour using the latest dispatch data submitted to and accepted by the IESO. |
| Two hours to 60 minutes before the dispatch hour | real-time market restricted window continues. real-time market mandatory window: submissions and revisions to hourly dispatch data parameters require the IESO’s approval in accordance with MR Ch.7 s.3.3.5. pre-dispatch process continues. |
| 60 to 10 minutes before the dispatch hour | real-time market restricted window continues. for resources other than boundary entity resources, the real-time market mandatory window continues for boundary entity resources, registered market participants must not submit or revise hourly dispatch data. pre-dispatch process continues and determines pre-dispatch schedules for the final hour before the dispatch hour. |
| 10 minutes before the dispatch hour and beyond | real-time market restricted window continues. for all resources, registered market participants must not submit or revise hourly dispatch data. real-time dispatch process begins, runs every five minutes and initializes approximately 10 minutes before the five-minute interval using the latest dispatch data submitted to and accepted by the IESO. |
| End of dispatch day | registered market participants must not submit or revise daily dispatch data. |

### Dispatch Data Submissions or Revisions for the Day-Ahead Market

(MR Ch.7 ss.3.1.11, 3.1.12 and 3.2)

Eligibility – Dispatch data in the day-ahead market may be submitted for dispatchable and non-dispatchable generation resources, dispatchable loads, hourly demand response resources, dispatchable electricity storage resources, self-scheduling electricity storage resources, boundary entity resources, price responsive loads, and virtual zonal resources.

Boundary entity resources – Registered market participants submitting dispatch data on boundary entity resources may submit dispatch data into the real-time market without having to first submit the dispatch data into the day-ahead market or establish an availability declaration envelope (MR Ch.7 ss.3.1.11 and 3.1.12).

#### Dispatch Data Submission or Revisions During the Day-Ahead Market Submission Window

(MR Ch.7 s.3.2)

Process for submission and revision – Table 7-3 lists the steps for the submission of dispatch data and revisions in the day-ahead market.

Table 7-3: Procedure for Submitting or Revising  Dispatch Data during the Day-Ahead Market Submission Window

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | IESO | At 06:00 EPT on the day prior to the dispatch day, performs validation on existing standing dispatch data. If the standing dispatch data passes validation, then the IESO: converts it to dispatch data for the dispatch day. If the standing dispatch data fails validation, then: standing dispatch data is not converted to dispatch data for the dispatch day; and the IESO notifies the registered market participant that the standing dispatch data has failed validation. |
| 2 | Registered market participant | Between 06:00 EPT and 10:00 EPT on the day prior to the dispatch day, submits or revises dispatch data. Note: Between 06:00 EPT and 08:00 EPT on the day prior to the dispatch day, submits request for segregation for any of their resources that require an outage to a critical transmission element for any or all hours of the dispatch day. Note: Between 06:00 EPT and 09:00 EPT on the day prior to the dispatch day, submits request for segregation for any of their resources that do not require an outage to a critical transmission element for any or all hours of the dispatch day. |
| 3 | IESO | Timestamps and performs validation on received dispatch data. If the dispatch data passes validation, then the IESO: confirms receipt of the submitted dispatch data; and accepts and approves the dispatch data. If the dispatch data fails validation, then the IESO: rejects the dispatch data; and notifies the registered market participant that the dispatch data has failed validation. |
| 4 | Registered market participant | Receives from the IESO: confirmation of dispatch data receipt; or notification of dispatch data validation failure. Corrects the dispatch data and resubmits, then continue from step 3 (if applicable) Contacts the IESO immediately if neither confirmation nor notification is received. |
| 5 | Registered market participant and IESO | Resolves outstanding issues, if any, regarding submitted or revised dispatch data. |
| 6 | IESO | At 10:00 EPT (barring any tool issues), uses the latest accepted and approved dispatch data in the day-ahead market. |

#### Dispatch Data Submission or Revisions During the Day-Ahead Market Restricted Window

(MR Ch.7 ss.3.2.4 – 3.2.6)

- Reason Code – For the purposes of MR Ch.7 ss.3.2.4, the registered market participant must provide a reason for the submission or revision via the REASON CODE field. If the registered market participant selects the ‘OTHER’ reason code, a free text reason must be entered in the OTHER REASON field. Refer to Appendix B.4 for additional information.

- Tool failure – In the event of an IESO tool failure whereby the registered market participant is submitting dispatch in the day-ahead market restricted window in accordance with MR Ch.7 ss.3.2.4 and 3.2.5, the registered market participant should use the alternate method for the submission of dispatch data during such events. Refer to section 7.4.

- Day-ahead market cancellation – Refer to MM 4.5 s.2.

### Dispatch Data Submissions or Revisions for the Real-Time Market

(MR Ch.7 s.3.3)

Day-ahead market data continuation – Dispatch data received by the IESO for the day-ahead market continues to be valid and used for the real-time market until it is revised by the registered market participant. Dispatch data submitted during the day-ahead market restricted window and not approved by the IESO in accordance with MR Ch.7 ss.3.2.4 and 3.2.5 is deleted upon DAM expiration and will not be valid for the real-time market.

Revision requirements – For the purposes of MR Ch.7 s.3.3.8, hourly dispatch data revisions are not required for:

The current hour,

The next hour when it is less than 10 minutes to the start of the hour, and

An hour when it is reasonably expected that the dispatch data deviation will be eliminated mid-hour because the limitation will end.

However, in such cases, the registered market participant is required to notify the IESO of such dispatch data deviation.

Hourly demand response resources – If the quantity of demand response capacity that can be delivered by an hourly demand response resource differs from the submitted demand response energy bid by 5 MW for any dispatch hour, the capacity market participant must submit revised dispatch data to the IESO as soon as practicable. The capacity market participant must also notify the IESO via telephone as soon as practicable of such dispatch data revisions when the IESO has issued an activation notice to the capacity market participant for that hourly demand response resource.

#### Hourly Dispatch Data Submissions or Revisions during the Unrestricted Window

(MR Ch.7 s.3.3.3)

GOG-eligible resources – Specific submission and revision restrictions apply to GOG-eligible resources under MR Ch.7 s.3.3.3 after the day-ahead market is completed. For the purposes of MR Ch.7 ss.3.3.3.9(b), 3.3.3.11(b), 3.3.3.11(c), and 3.3.3.13(b) the registered market participant must provide the appropriate reason for the submission or revision via the REASON CODE field, refer to Appendix F.8 for more information.

Process for submission and revision – Table 7-4 contains the general procedure for submitting and revising hourly dispatch data during the real-time market unrestricted window for hourly dispatch data.

Table 7-4: Procedure for Submitting or Revising Hourly Dispatch Data during the Real-Time Market Unrestricted Window

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | IESO | After DAM expiration, transfers all accepted and approved dispatch data used in the day-ahead market, installed capacity net derates or outages (for variable generation resources), and IESO approved segregation requests to the real-time market. |
| 2 | Registered market participant | After DAM expiration and up to two hours before the dispatch hour, submits or revises dispatch data. If the submission or revision expands the availability declaration envelope, refer to the process in section 7.5.2 for additional steps required for the submission/revision. If the submission or revision is within two hours before the dispatch hour, refer to the process in section 7.3.2 for additional steps required for the submission/revision. If the submission or revision is to a start-up offer, speed no-load offer, energy offer price, or operating reserve offer price for a GOG-eligible resource, ensure the submission/revision conforms to the requirements specified in MR Ch.7 s.3.3.3. |
| 3 | IESO | Timestamps and performs validation on received dispatch data. If the dispatch data passes validation, then the IESO: confirms receipt of the submitted dispatch data; and accepts and approves the dispatch data. If the dispatch data fails validation, then the IESO: rejects the dispatch data; and notifies the registered market participant that the dispatch data has failed validation. |
| 4 | Registered market participant | Receives from the IESO: confirmation of dispatch data receipt; or notification of dispatch data validation failure. Corrects the dispatch data and resubmits, then continue from step 3 (if applicable) Contacts the IESO immediately if neither confirmation nor notification is received. |
| 5 | Registered market participant and IESO | Resolves outstanding issues, if any, regarding submitted or revised dispatch data. |
| 6 | IESO | Publishes advisory notices to notify market participants of any advisories, warnings, and problems (if applicable). If the IESO rejects dispatch data previously accepted and approved, then the IESO: rejects the dispatch data; and notifies the registered market participant that the dispatch data previously accepted and approved has been rejected. If the IESO requires dispatch data to be resubmitted, then the IESO directs the registered market participant to submit dispatch data. If the IESO requires the quantity element of the dispatch data to be resubmitted, then the IESO directs the registered market participant to resubmit the quantity element of the dispatch data. The above actions may be taken by the IESO based on the results of the pre-dispatch calculation engine and the need to maintain the reliability of the IESO-controlled grid. |
| 7 | Registered market participant | Receives from the IESO: rejection of previously accepted and approved dispatch data; direction to submit dispatch data; or direction to resubmit the quantity element of dispatch data. Updates dispatch data and resubmits, then continue from step 3 (if applicable). |
| 8 | IESO | At the top of each hour, uses the latest accepted and approved dispatch data in the pre-dispatch calculation engine. |

#### Hourly Dispatch Data Submissions or Revisions during the Real-Time Market Mandatory Window

(MR Ch.7 ss.3.3.5 and 21.5)

Submission and revision – Submissions and revisions during the real-time market mandatory window are accepted only if the conditions in MR Ch.7 ss.3.3.5 or 21.5, as applicable, are met and if the change complies with the IESO Short Notice Change Criteria (see Appendix B.4).

Timing of submission and revision – The IESO will not accept any dispatch data submissions and revisions for boundary entity resources within 60 minutes before start of the dispatch hour, and for other resources, within 10 minutes before start of the dispatch hour.

Reason codes – For the purposes of MR Ch.7 ss.3.3.5 and 21.5, the registered market participant must provide a reason for the submission or revision via the REASON CODE field. If the registered market participant selects the ‘OTHER’ reason code, a free text reason must be entered in the OTHER REASON field. Refer to Appendix B.4 for additional information.

Process for submission and revision – Table 7-5 lists the steps for submitting and revising hourly dispatch data during the real-time market mandatory window.

Table 7-5: Procedure for Submitting or Revising Hourly Dispatch Data Within Two Hours of the Dispatch Hour

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | IESO | Starting two hours before the dispatch hour, submissions and revisions that are validated are accepted but not automatically approved in the IESO tool. |
| 2 | Registered market participant | Within two hours before the dispatch hour, submits or revises dispatch data. Submissions or revisions for resources other than boundary entity resources: may be made up to 10 minutes prior to the dispatch hour; and that expand the availability declaration envelope, refer to section 7.5.2 for additional steps required for the submission/revision. Submissions or revisions for boundary entity resources may be made up to 60 minutes prior to the dispatch hour. All submissions or revisions must include a reason code. |
| 3 | IESO | Timestamps and performs validation on received dispatch data. If the dispatch data is validated, then the IESO: confirms receipt of the submitted dispatch data; and accepts the dispatch data. If the dispatch data fails validation, then the IESO: rejects the dispatch data; and notifies the registered market participant that the dispatch data has failed validation. |
| 4 | Registered market participant | Receives from the IESO: - confirmation of dispatch data receipt, or - notification of dispatch data validation failure. Corrects the dispatch data and resubmits, then continue from step 3 (if applicable). Contacts the IESO immediately if neither confirmation nor notification is received. |
| 5 | Registered market participant and IESO | Resolves outstanding issues, if any, regarding submitted or revised dispatch data. |
| 6 | Registered market participant | Contacts the IESO to provide additional information pertaining to reason. This step is not required but doing so could facilitate the IESO’s assessment and expedite receiving the IESO’s approval. |
| 7 | IESO | Reviews accepted dispatch data to manually assess if submission or revision meets the applicable requirements for manual approval during the real-time market mandatory window. If the accepted dispatch data meets the applicable requirements, the IESO approves the dispatch data. If the accepted dispatch data does not meet the applicable requirements the IESO: rejects the dispatch data; and notifies the registered market participant that the dispatch data has been rejected. Refer to Appendix B.4 for additional information. |
| 8 | Registered market participant | Receives from the IESO a notification of dispatch data rejection. Updates the dispatch data and resubmits, then continue from step 3 (if applicable). |
| 9 | IESO | Publishes advisory notices to notify market participants of any advisories, warnings and problems (if applicable). If it is necessary for the IESO to reject dispatch data that has previously been accepted and approved, then the IESO: rejects the dispatch data; and notifies the registered market participant that the dispatch data previously accepted and approved has been rejected. If the IESO requires dispatch data to be submitted, then the IESO directs the registered market participant to submit the dispatch data. If the IESO requires the quantity element of dispatch data to be resubmitted, then the IESO directs the registered market participant to resubmit the quantity element of dispatch data. The above actions may be taken by the IESO based on the results of the pre-dispatch calculation engine and the need to maintain the reliability of the IESO-controlled grid. |
| 10 | Registered market participant | Receives from the IESO: rejection of previously accepted and approved dispatch data; direction to submit dispatch data; or direction to resubmit the quantity element of dispatch data. Updates dispatch data and resubmits, then continue from step 3 (if applicable). |
| 11 | IESO | At the top of each hour up to 60 minutes prior to the dispatch hour, uses the latest accepted and approved dispatch data in the pre-dispatch calculation engine. Starting at 10 minutes prior to the dispatch hour, uses the latest accepted and approved dispatch data in the real-time calculation engine. |

#### Daily Dispatch Data Submissions or Revisions during the Real-Time Market Restricted Window

(MR Ch.7 s.3.3.7)

Single cycle mode revisions- The IESO will manually approve submissions that include a revision to single cycle mode during the real-time market restricted window to enable compliance with MR Ch.7 s.3.3.7.3.

Timing of submission and revision – The IESO will not accept any dispatch data submissions and revisions after the dispatch day.

Reason codes – For the purposes of MR Ch.7 s.3.3.7, the registered market participant must provide a reason for the submission or revision via the REASON CODE field. If the registered market participant selects the ‘OTHER’ reason code, a free text reason must be entered in the OTHER REASON field. Refer to Appendix B.2 for additional information.

Process for submission or revision – Table 7-6 lists the steps for submitting and revising daily dispatch data during the real-time market restricted window.

Table 7-6: Procedure for Submitting or Revising Daily Dispatch Data during the Real-Time Market Restricted Window

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | IESO | After DAM expiration, transfers all accepted and approved daily dispatch data used in the day-ahead market to the real-time market. |
| 2 | Registered market participant | After DAM expiration until the end of the dispatch day, submits or revises daily dispatch data. The IESO tool accepts the submission and revision of daily dispatch data parameters except for minimum loading point and minimum generation block run-time. Refer to Appendix B.2 for additional information on daily dispatch data submissions during the real-time market restricted window. |
| 3 | IESO | Timestamps and performs validation on received daily dispatch data. If the daily dispatch data is validated, then the IESO: confirms receipt of the submitted daily dispatch data; and accepts and approves the dispatch data (note the IESO tool automatically approves the dispatch data except when a submission or revision to single cycle mode is made, in which case the approval is manually performed by the IESO). If the daily dispatch data fails validation, then the IESO: rejects the daily dispatch data; and notifies the participant that the daily dispatch data has failed validation. |
| 4 | Registered market participant | Receives from the IESO: confirmation of daily dispatch data receipt, or notification of daily dispatch data validation failure. Corrects the daily dispatch data and resubmits, then continue from step 3 (if applicable). Contact the IESO immediately if neither a confirmation nor notification is received. |
| 5 | Registered market participant and IESO | Resolves outstanding issues, if any, regarding submitted or revised dispatch data. |
| 6 | IESO | Publishes advisory notices to notify market participants of any advisories, warnings and problems (if applicable). If it is necessary for the IESO to reject daily dispatch data that has previously been accepted and approved, then the IESO: rejects the daily dispatch data; and notifies the registered market participant that the daily dispatch data previously accepted and approved has been rejected. If the IESO requires daily dispatch data to be submitted, then the IESO directs the Participant to submit the daily dispatch data. The above actions may be taken by the IESO based on the results of the pre-dispatch calculation engine and the need to maintain the reliability of the IESO-controlled grid. |
| 7 | Registered market participant | Receives from the IESO: rejection of previously accepted and approved daily dispatch data; or direction to submit daily dispatch data, or Updates daily dispatch data and resubmits, then continue from step 3 (if applicable). |
| 8 | IESO | At the top of each hour, uses the latest accepted and approved daily dispatch data in the pre-dispatch calculation engine. |

### Alternate Means of Submitting or Revising Dispatch Data during a Tool Failure

(MR Ch.7 s.3.1.2.3)

This section contains information on the IESO’s plan for operating the day-ahead market and real-time market in the event that the electronic information system is unavailable, including due to tool failures.

Contingency plan – The IESO may implement the contingency plan when there is a failure of the hardware, software, or communications to the market participant system or the IESO market systems, preventing registered market participants from submitting or revising dispatch data while the market systems remain operational. The latest dispatch data that has been accepted and approved by the IESO remains valid, including standing dispatch data that has been converted to dispatch data for a dispatch day if it has not been subsequently revised.

Alternative means of submission – When a registered market participant is unable to submit dispatch data to the day-ahead market or real-time market as a result of a tool failure that affects the Participant Network while the market systems remain operational, it may submit or revise dispatch data by email or telephone. The IESO will use the administrative capabilities within the tools to submit, revise, or cancel dispatch data on behalf and on the instruction of the registered market participant.

Processing of submission by alternative means – The ability of the IESO to act on behalf of the registered market participant will depend on the extent and severity of the tool failure. It may take up to an hour for the IESO to process dispatch data received by telephone or email. Therefore, it is strongly recommended that registered market participants submit their dispatch data well in advance, at least one hour prior to the dispatch hour.

SEAL and reliability – The IESO will attempt to use the administrative capabilities within the tools to submit or revise dispatch data on the registered market participant’s behalf to prevent any of following circumstances:

- endangerment to the safety of any person;

- damage to property or equipment;

- violation of any applicable law; or

- risks to reliability.

#### Overriding Concerns/Principles for a Tool Failure

(MR Ch.7 s.13.2.4.1)

Market participant responsibilities – Market participants are responsible for risk assessment and contingency preparation for tool failures pertaining to their equipment. This includes providing alternative communications pathways, business continuity plans, control centres, etc. Market participants may also choose to use standing dispatch data, default bids/offers, or zero bids/offers.

Day-ahead market suspension for tool failures – The IESO may suspend the day-ahead market in the event of a tool failure under MR Ch.7 s.13.2.4.1 if the volume of data received by alternative means is impracticable for the IESO to process.

Restriction of dispatch data inputs – The IESO may restrict the volume of dispatch data inputs based on factors including the nature (hardware, software, communications), location (IESO or registered market participant) and duration of the failure.

#### IESO Actions During Tool Failure

Extent and duration – When a tool failure event occurs, the IESO evaluates its expected extent and duration. The extent varies according to whether the event affects the IESO or market participant(s), and the number and criticality of the components that have been affected. The duration may be short-term (up to two hours in length), medium-term (two to four hours in length) or long-term (more than four hours in length).

Market system failure – For an IESO tool failure, the IESO may:

accept and approve dispatch data by telephone and data files provided through email;

inform market participants to continue to comply with current dispatch instructions;

continue using current offers and bids available from the pre-dispatch process in the first two hours following the tool failure;

instruct registered market participants to resubmit dispatch data in the real-time unrestricted window if market system tools return to service;

suspend the market in accordance with MR Ch.7 s.13.2.4.1 and instruct market participants to remain at the last dispatch instruction if the IESO tools have not returned to service within two hours of the tool failure;

approve revisions to dispatch data in accordance with the Short Notice Change Criteria in Appendix B.4; or

allow revisions to bids/offers in order to fix a constraint problem.

Communications failure – For a tool failure event affecting communications with a market participant (Participant Network), the IESO will instruct the market participant to submit dispatch data by email. If the volume of emails exceeds the parameters of an orderly market operation, the IESO will suspend the IESO-administered markets.

#### Dispatch Data Submissions and Revisions by Telephone

Limitations to submission by telephone – The IESO will use reasonable effort to accept dispatch data through the alternative methods. However, if a widespread failure occurs that impacts the IESO’s ability to receive dispatch data by telephone, including due to the large volume of information, the IESO will only accept data files submitted by email.

Price-quantity pair simplification – The IESO reserves the right to accept only simplified price-quantity pairs, which include at least two and up to a maximum of five price-quantity pairs for each dispatch hour.

Process for telephone submission and revision – Table 7-7 lists the steps for submitting dispatch data to the IESO by telephone during a tool failure.

Table 7-7: Procedure for Submitting Dispatch Data by Telephone during a Tool Failure

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | Registered market participant | Determines that dispatch data cannot be submitted as a result of a tool issue. |
| 2 | Registered market participant | Submits request to the IESO via telephone to submit dispatch data by telephone: During the day-ahead market, by contacting the IESO Day-Ahead Operator; or During the real-time market, by contacting the IESO Control Room Operator. |
| 3 | IESO | Receives request to submit dispatch data by telephone from the registered market participant. If the tool failure is a local tool failure, the IESO informs the registered market participant that dispatch data may be submitted by telephone. If the tool failure is a widespread tool failure or if there are extenuating circumstances, in the IESO’s discretion, the IESO informs the registered market participant that dispatch data may only be submitted by emailing a data file (proceed to step 4 of Table 7-8: Procedure for Submitting Dispatch Data by Email during a Tool Failure). |
| 4 | Registered market participant | Submits the dispatch data by telephone, up to five energy price-quantity pairs. |
| 5 | IESO | Receives the registered market participant’s dispatch data and enters it into the Market Information Management System on its behalf. |
| 6 | IESO | The day-ahead market calculation engine, pre-dispatch calculation engine, or real-time market calculation engine uses the latest accepted and approved dispatch data. |

#### Dispatch Data Submissions and Revisions by Email

Prior notice by telephone – Registered market participants are required to notify the IESO by telephone prior to submitting or revising dispatch data via email.

Data file format – The format requirements for the data files are contained in MM 6: Participant Technical Reference Manual, s.5.1.2: Energy Market Application. For unexpected tool failures, registered market participants are encouraged to have the dispatch data readily available in XML format.

Price-quantity pairs – The data file allows up to 20 price-quantity pairs to be submitted.

Process for email submission and revision – Table 7-8 lists the steps for the tool failure procedure for submitting dispatch data to the IESO by email.

Table 7-8: Procedure for Submitting Dispatch Data by Email during a Tool Failure

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | Registered market participant | Determines that dispatch data cannot be submitted as a result of a tool issue. |
| 2 | Registered market participant | Submits requests to the IESO via telephone to submit dispatch data by email: During the day-ahead market, contact the IESO’s Day-Ahead Operator; or During the real-time market, contact the IESO’s Control Room Operator. |
| 3 | IESO | Receives request to submit dispatch data by email from the registered market participant. The IESO provides the registered market participant with the applicable IESO email address to submit dispatch data via email for the day-ahead market. |
| 4 | Registered market participant | Prepares the data file. |
| 5 | Registered market participant | Submits the data file via email. During the day-ahead market, use the email address provided by the IESO’s Day-Ahead Operator. During the real-time market, use the email address provided during registration for participation in the IESO-administered markets. |
| 6 | IESO | Receives the registered market participant’s data file and uploads it into the Market Information Management System on its behalf. |
| 7 | IESO | The day-ahead market calculation engine, pre-dispatch calculation engine, or real-time market calculation engine uses the latest accepted and approved dispatch data. |

### Availability Declaration Envelope

(MR Ch.7 ss.3.1.11 and 3.1.14)

This section includes additional information related to the availability declaration envelope.

#### Enforcement of the Availability Declaration Envelope

(MR Ch.7 ss.3.1.14, 3.3.3.2, and 3.3.3.3)

Materiality threshold – For the purposes of MR Ch.7 ss.3.1.14.5, 3.3.3.2 and 3.3.3.3, if a registered market participant has established an availability declaration envelope (i.e., above 0 MW) it may increase the quantity of an energy offer or bid during the real-time market  above the availability declaration envelope without formally requesting the IESO’s approval provided the revised offer or bid quantity does not exceed the lesser of (i) 15% of the existing availability declaration envelope, or (ii) 10 MW. The IESO will automatically approve revisions in such circumstances.

No automated check – There is no automated enforcement mechanism of the availability declaration envelope for dispatch data submission in the IESO tool. The IESO will manually detect and process unauthorized expansions of a resource’s availability declaration envelope.

MACD enforcement – If the registered market participant submits an offer or bid that exceeds its resource’s availability declaration envelope in a manner that contravenes the applicable provisions of MR Ch.7 ss.3.3.3.2 and 3.3.3.3 or operates in a manner that breaches MR Ch.7 ss.3.1.12 and 3.1.13, the registered market participant may be subject to compliance actions for breach of the market rules.

Generation units connecting radially for operations in Ontario – For resources that represent generation units:

located outside Ontario but have the ability to connect radially for operation in Ontario; and

not part of Ontario’s total capacity,

If the IESO has approved the resources to operate in the IESO-administered markets, the IESO will accept and approve the registered market participant to submit dispatch data for the resources even when no dispatch data was submitted for these resources in the day-ahead market. Submission of dispatch data is subject to the applicable requirements as specified in MR Ch.7.

Generation units with the ability to connect through the 115 kV or 230 kV system – Generation units that have the option to be configured on the transmission system, to connect to either the 115 kV or 230 kV system, is modelled using two resources to represent the connection to the 115 kV and 230 kV system. The registered market participant submits offers on the appropriate resource based on the configuration. For these resources, subject to IESO approval, for a change in configuration, the registered market participant may revise offers in the real-time market between the resource on the 115 kV system and the resource on the 230 kV systems without changing the quantities established in the original day-ahead market offers.

#### Process to Expand the Availability Declaration Envelope

(MR Ch.7 s.3.1.14)

Reason codes – Registered market participants that seek to expand the availability declaration envelope must provide a reason for the submission or revision via the REASON CODE field. If the registered market participant selects the “OTHER” reason code, a free text reason must be entered in the OTHER REASON field. Refer to Appendix B.3 for additional information.

Process for Availability Declaration Envelope expansion – Table 7-9 lists the steps for registered market participants to submit or revise dispatch data that expands the availability declaration envelope beyond the materiality threshold in the real-time market.

Table 7-9: Procedure Expanding the Availability Declaration Envelope

| Step | Completed by… |  | Action |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | Registered market participant | After DAM expiration, submits or revises dispatch data that expands the availability declaration envelope. If the submission or revision expands the availability declaration envelope above the applicable materiality threshold: the submission or revision must include a reason code, and all the steps of this procedure apply. If the submission or revision expands the availability declaration envelope below the applicable materiality threshold: the submission or revision does not require a reason code; and steps 5 through 7 of this procedure do not apply. If the submission or revision is in response to an IESO request for additional bids or offers: the submission or revision must include a reason code, and steps 5 through 7 of this procedure do not apply. Refer to Appendix B.3 for additional information. |  |  |
| 2 | IESO | Timestamps and performs validation on received dispatch data. If the dispatch data is validated, then the IESO: confirms receipt of the submitted dispatch data; and accepts and approves the dispatch data. If the dispatch data fails validation, then the IESO: rejects the dispatch data; and notifies the registered market participant that the dispatch data has failed validation. |  |
| 3 | Registered market participant | Receives from the IESO: confirmation of dispatch data receipt; or notification of dispatch data validation failure. Corrects the dispatch data and resubmits, then continue from step 2 (if applicable). Contacts the IESO immediately if neither confirmation nor notification is received. |  |
| 4 | Registered market participant and IESO | Resolves outstanding issues, if any, regarding submitted or revised dispatch data. |  |
| 5 | Registered market participant | Contacts the IESO to indicate that it has submitted or revised its offer or bid quantity in a manner that has expanded the availability declaration envelope above the applicable materiality threshold, and provides additional information pertaining to the reason if required. |  |
| 6 | IESO | Assesses whether to approve the submission given the reason and applicable requirements under the Market Rules. |  |
| 7 | IESO | Logs its decision to approve or reject the submission. Notifies the registered market participant of the decision. |  |
| 8 | Registered market participant | Receives from the IESO notification of approval or rejection decision. If the IESO issued an approval notification, the registered market participant continues with step 9 of this procedure. If the IESO issued a rejection notification, the registered market participant re-submits its offer or bid with a quantity that is permissible under the Market Rules. Refer to Appendix B.3 for additional information. |  |
| 9 | IESO | The pre-dispatch calculation engine and real-time calculation engine use the latest accepted and approved dispatch data. |  |

– End of Section –

## Accessing Submitted Dispatch Data

### Dispatch Data Reports

(MR Ch.7 ss.4.8.1, 5.8.2.10, and 6.7.4)

Table 8-1 lists the dispatch data reports that the IESO issues.

Table 8-1: Confidential Dispatch Data Reports Description

| Report Name | Report Description |
| --- | --- |
| Dispatch Data Report for Day-ahead Market Scheduling Process (MR Ch.7 s.4.8.1.1) | The Dispatch Data Report for Day-ahead Market Scheduling Process: - contains a summary the dispatch data submitted for the day-ahead market for each of the market participant’s resources; - is typically issued at approximately 13:30 EPT; and - presents information with hourly and daily granularity, respectively. |
| Day-ahead Operating Reserve Bid Offer Report | The Day-ahead Operating Reserve Bid Offer Report: - contains the offers for operating reserve used by the day-ahead market calculation engine; - is typically issued at approximately 13:30 EPT; and presents information with hourly granularity. |
| Dispatch Data Report for the Real Time Scheduling Process for Resources (MR Ch.7 s.6.7.4) | The Dispatch Data Report for Real Time Scheduling Processes for Resources: - contains the dispatch data used by the real-time calculation engine; - is typically issued daily for the previous dispatch day at approximately 06:00 EST; and - presents information with hourly and daily granularity. |
| Dispatch Data Report for the Real Time Scheduling Processes for Forebays (MR Ch.7 s.6.7.4) | The Dispatch Data Report for Real Time Scheduling Processes for Forebays: - contains the dispatch data for forebays used by the real-time calculation engine; - is typically issued daily for the previous dispatch day at approximately 06:00 EST; and - presents information with hourly and daily granularity. |
| Real-time Operating Reserve Bid Offer Report (MR Ch.7 s.6.7.4) | The Real-time Operating Reserve Bid Offer Report: - contains the offers for operating reserve used by the real-time calculation engine - is typically issued daily for the previous dispatch day at approximately 6:00 EST; and - presents information with hourly granularity. |
| Real-time Schedule Bid Offer Report (MR Ch.7 s.6.7.4) | The Real-time Schedule Bid Offer Report: - contains the dispatch data used by the real-time calculation engine for self-scheduling generation resources, self-scheduling electricity storage resources intending to inject and intermittent generation resources, notably, self-schedules and forecast of intermittent generation; - is typically issued daily at approximately 06:00 EST for the previous dispatch day; and - presents information with hourly granularity. |
| Pseudo-Unit Computed Values Reports (MR Ch.7 s.4.8.1.2) (MR Ch.7 s.5.8.2.10) | The Pseudo-Unit Computed Values Reports: - contain the values used by the day-ahead market calculation engine, pre-dispatch calculation engine, or real-time dispatch calculation engine for pseudo-units and generation resources associated with the corresponding combustion turbine generation units and steam turbine generation units; - these reports are based on market participant submitted registration and dispatch data for physical units which includes impact of outages, derates and constraints; - presents information with hourly granularity for the reports containing the values used by the day-ahead market calculation engine and pre-dispatch calculation engine; and - presents information with five-minute granularity for the report containing the values used by the real-time dispatch calculation engine. |

### Retrieval of Submitted Dispatch Data

(MR Ch.7 s.3.1)

Retrieval function – A registered market participant can retrieve dispatch data that it has previously submitted to the IESO in accordance with MR Ch.7 s.3.1 using the RETRIEVE action of the MPI/GUI or the API. The RETRIEVE action is a data download (referred to as the Valid Bid Report) that results in a query of dispatch data that the registered market participant has submitted into the IESO’s Market Operation System (MOS). The RETRIEVE download contains the dispatch data submissions that have been validated and accepted into the MOS “work space” data area.

Viewing results – The query results can be viewed online in HTML format or received as an XML data file that uses the applicable dispatch data submission template format. The XML data file received from the query can be saved for future use for the purpose of resubmitting dispatch data.

Included data – The data the registered market participant receives when using the RETRIEVE action does not include any dispatch data that is pending the IESO’s approval. Prior dispatch data submissions that may have been accepted and approved are overwritten with the most recent data submission pending approval, and are no longer stored in the MOS “work space” data area. Therefore, such prior approved dispatch data are not included in the query results.

Calculated pseudo-unit data is not available through the query. These calculated values are available via private reports.

– End of Section –

## Replacement Energy Offers Program

(MR Ch.7 s.3.3.4)

Forced outage – For the purposes of MR Ch.7 s.3.3.4, forced outage is an outage request submitted with the “FORCED” or “URGENT” priority code to the IESO’s outage management system.

Capacity exports – The Replacement Energy Offers program is not available for resources that have committed capacity to an external control area.

Communication requirements – The registered market participant must notify the IESO via telephone to report the outage (as per the outage process) and request to participate in the Replacement Energy Offers program. For the purposes of Ch.7 s.3.3.4, the registered market participant must indicate:

the name of the generation resource that is expected to be unavailable;

the quantity of energy required to be replaced; and

the name of the generation resource that will supply the replacement energy.

Non-transfer of day-ahead schedules – The Replacement Energy Offers program does not allow for the replacement or transfer of the day-ahead schedules from the resource experiencing outage to a related generation resource.

– End of Section –

## Requests for Segregated Mode of Operation

(MR Ch.7 App.7.7 s.1.3)

This section includes additional information about operating in segregate mode of operation.

Requirements for segregated mode of operation – To operate in segregated mode of operation, registered market participants must submit:

a request to the IESO to operate their resource in segregated mode of operation;

dispatch data for their generation resources to allow dispatch in Ontario should segregated mode of operation be recalled;

an outage request for the period that the resource will operate in segregated mode of operation; and

e-Tags as detailed below.

Outage to critical equipment – A request for segregation may require an outage to critical transmission equipment, which is transmission equipment that affects the system topology of the IESO-controlled grid and reduces transmission limits.

No outage to critical equipment – Requests for segregation to be included in the day-ahead market made under MR Ch.7 App. 7.7, s.1.3.3 that do not require an outage to critical equipment received by the IESO after 09:00 EPT and before 10:00 EPT will be assessed on a reasonable effort basis.

Content of request for segregation – In accordance with MR Ch.7 App. 7.7, s.1.3.1, request for segregation shall include, but not be limited to:

the start time of the segregated mode of operation;

the expiry time (duration) of the segregated mode of operation;

a list of the generation resources that are intended to operate in the segregated mode of operation ; and

an hourly schedule.

Registered market participants must submit e-Tags for the interchange schedules in segregated mode with Hydro Quebec.

Dispatch data requirements – A registered market participant that intends for its resource to operate in segregated mode of operation shall provide dispatch data for the resource for each dispatch hour during which the resource is intended to operate in segregated mode of operation, in the event that the IESO rejects or recalls its approval under MR Ch.7 App. 7.7, s.1.3.6.

Registered market participants are required to have offers submitted for their segregated mode of operation generation resource prior to 10:00 EPT on the day prior to the dispatch day if the request for segregation is submitted for inclusion in the day-ahead market.

Communication requirements – When submitting a request for segregation, registered market participants must use the outage process described in MM 7.3. Along with submitting an outage request for the resources that are intended to operate in segregated mode of operation, registered market participants are required to notify the IESO by phone of the request.

IESO approval – If the IESO approved a request for segregation, in addition to the direction requirements provided by MR Ch.7 App.7.7 s.1.3.5, the IESO must coordinate and confirm with the applicable control area operator the switching to be effected by the transmitter and the names of the resources that will operate in a segregated mode.

Revocation of approval – Upon revoking the IESO’s approval to a request for segregation under MR Ch.7 App.7.7 s.1.3.6, the IESO must revoke any direction issued to effect the segregated mode of operation for the relevant resource.

Notice of revocation and termination – The IESO must notify the registered market participants whose request for segregation is revoked or terminated in accordance with MR Ch.7 App.7.7 s.1.3.6.

### Segregated Mode of Operation Inadvertent Accounting

(MR Ch.7 App.7.7 ss.1.4.2 and 1.4.4)

End of dispatch day inadvertent accumulation reconciliation – For the purpose of MR Ch.7 App.7.7 s.1.4.4, the IESO will calculate and confirm inadvertent accumulation with neighbouring control areas at the end of each dispatch day. All reconciliations will include adjustments due to differences in time zones. This subsection sets out information related to inadvertent accounting.

IESO responsibilities – Where the interconnection, for which the inadvertent accumulation applies, is comprised of one or more interties capable of operating in segregated mode of operation, the IESO will:

confirm the segregated mode of operation schedules with the appropriate market participant(s) and compare these schedules with the corresponding interchange schedule(s) for purposes of determining the export transmission service charges and inadvertent amounts, pursuant to MR Ch.7 App.7.7 ss.1.4.2 and 1.4.4, respectively;

determine and distinguish, with hourly granularity, the inadvertent accumulation in both the segregated mode of operation and non-segregated mode in relation to individual intertie segregated mode of operation inadvertent accumulation;

differentiate the “on” and “off” peak inadvertent accumulation in accordance with the NERC definition of “on” and “off” peak in relation to individual intertie segregated mode of operation inadvertent accumulation;

maintain an ongoing daily record of the total segregated mode of operation and non-segerated mode inadvertent accumulation;

on a weekly basis, provide applicable market participants individual intertie segregated mode of operation inadvertent accumulation data regarding hourly, peak, off peak, and daily totals; and

track total inadvertent accumulation with the neighbouring control areas.

Market participant responsibilities – For the purpose of MR Ch.7 App.7.7 s.1.4.4, market participants shall be responsible for arranging payback of segregated mode of operation inadvertent accumulation, by scheduling imports/exports from/to the applicable neighbouring control area into/out of Ontario, unless otherwise mutually agreed to between the market participant(s) and the applicable control area operator.

By the sixth calendar day of each month, market participants shall report to the IESO the quantities of inadvertent accumulation paid back so that the IESO may maintain an accurate and up-to-date running balance.

– End of Section –

## Submitting Regulation Offers

(MR Ch.7 s.9)

The IESO determines the quantity of regulation capacity needed and publishes this information. Refer to MM 7.2: Near Term Assessments and Reports for more information.

Regulation offer submission – Each ancillary service provider for regulation must offer regulation capacity for the next dispatch day by 09:00 EPT on the day prior to the dispatch day, in response to the IESO’s requirements as specified in MM 7.2.

Offers for regulation – Regulation offers must be expressed in MW, up to one decimal place in the format of xxx.x MW, and greater than or equal to 0.0 MW. Regulation offers must be submitted in a standardized template acceptable to the IESO.

Regulation schedules – The IESO will typically determine regulation schedules by 10:00 EPT on the day prior to the dispatch day.

Regulation capacity requirement changes – The IESO will publish an advisory notice to notify ancillary service providers of any change to the regulation capacity requirement for the relevant dispatch day.

GOG-eligible resources – In the hours in which a registered market participant’s GOG-eligible resource is selected to provide regulation service, the resource is eligible for a day-ahead operational commitment provided that the IESO and the registered market participant have mutually agreed to start up the resource specifically to provide regulation, and that it would not otherwise be economic to start up for the energy and operating reserve markets. Any resulting day-ahead market generator offer guarantee payment will be applied as payment by the IESO under the applicable compensation provisions of the regulation contract for such start-ups.

Table 11-1: Procedure for Submitting Regulation Offers

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | Ancillary service provider | Emails regulation offers to the IESO before 09:00 EPT on the day prior to the dispatch day. |
| 2 | IESO | Assesses received regulation offers. |
| 3 | IESO | Notifies ancillary service provider (by phone or email) of selected regulation offers by approximately 10:00 EPT. |
| 4 | Ancillary service provider | Receives from the IESO notification of selected regulation offers. |

– End of Section –

## Appendix A: Content of Dispatch Data

This appendix provides references to the IESO documentation that describes the standards that market participants have to follow when submitting dispatch data to the IESO-administered real-time energy and operating reserve markets.

### A.1	Bid/Offer Data Requirements

User guides providing examples of the following template files can be found on the Participant Tool Training page on the IESO public website .  Bid/offer data requirements include:

energy offers and bids (including imports, exports, and requests for the segregated mode of operation);

standing energy offers and bids;

operating reserve offers (including imports);

standing operating reserve offers and bids;

energy schedules (for self-scheduling generation resources, self-scheduling electricity storage resources intending to inject, and intermittent generators);

total installed capacity net outages and derates (for variable generation); and

bids to reduce energy withdrawals.

### A.2	Schedules and Forecasts

Refer to the Participant Tool Training page on the IESO public website (www.ieso.ca) For examples of various schedules, forecasts and assessment data files.

### A.3	Schedules and Forecasts – Electricity Storage Resources

(MR Ch.5 App.5.1 s.1.2)

The bid/offer and state of charge/remaining duration of service requirements outlined in section 3.2 of this market manual for electricity storage participant participation in the energy market and operating reserve markets are applied as a safeguarding reliability measures, and to help electricity storage participants comply with dispatch instructions.

Figure A-1 illustrates an electricity storage resource’s operating scenario. In dispatch hours 1, 2 and 3, the resource has an offer in the energy market, and in hours 1, 4 and 5 the resource has a bid in the energy market. In this example below, suppose that the unit proposing to inject is activated for operating reserve in the last dispatch interval of the second dispatch hour. As per MR Ch.5 App.5.1 s.1.2, the resource is required to meet its obligation of having the capability to inject energy for at least one hour when activated for operating reserve. To meet this obligation, the resource must also act as a dispatchable injecting electricity storage unit in the third dispatch hour. The resource cannot have a bid in the energy market in the third dispatch hour because it cannot simultaneously follow an injecting electricity storage unit dispatch and a withdrawing electricity storage unit dispatch in the third dispatch hour.

Figure A-1: Electricity Storage Dispatch Data Example

                - Examples – Minimum duration of service requirements explained

Changes to operating reserve offers within the real-time market mandatory window are only permitted as a result of state of charge related submission and revisions in accordance with section 4.2 of this market manual. Otherwise changes must be done outside of the real-time market mandatory window.

Rationale for the 130-minute minimum duration of service requirement for the injecting resource:

Electricity storage participants proposing to offer operating reserve must submit their offers such that that there is at least 130 minutes of duration prior to the closing of the mandatory (i.e., the cut-off) window when providing operating reserve. This accounts for:

the duration between the mandatory cut-off and the dispatch hour (10 minutes);

the possibility that the electricity storage unit could be called to provide operating reserve as late as minute 59 of the dispatch hour (60 minutes), and;

the subsequent obligation to provide energy for one hour after being 
activated (60 minutes).

Rationale for the 70-minute minimum duration of service requirement for the withdrawing resource:

Electricity storage participants proposing to offer operating reserve must submit their offers such that there is at least 70 minutes of duration prior to the closing of the real-time market mandatory window when providing operating reserve. This accounts for:

the duration between the mandatory cut-off and the dispatch hour (10 minutes); and,

the possibility that the electricity storage unit could be called to provide operating reserve as late as minute 59 of the dispatch hour (60 minutes).

– End of Appendix –

## Appendix B: Dispatch Data Submission and Revision Reasons and Reason Codes

This appendix provides the conditions for which a reason for the submission or revision is required, and includes additional information and requirements for each condition.

### B.1	Introduction

The registered market participant is required to include a reason for the submission or revision of dispatch data for certain situations. The reason is communicated to the IESO using the reason codes available in the IESO tool when submitting or revising the dispatch data, and in some cases the registered market participant is required to directly notify the IESO of the reason to facilitate the IESO’s assessment for the change. The following table provides the situations that require a reason and reason code, and whether notification to the IESO is required.

Table B-1: Submission or Revision Situations Requiring a Reason and Reason Code

| Situation | Telephone the IESO | IESO Operator Manual Approval |
| --- | --- | --- |
| Submission or revision of daily dispatch data for the real-time market, except a revision to single cycle mode | Not required | Not required |
| Submission or revision of dispatch data that expands the availability declaration envelope (ADE) | Required after submission or revision | Required |
| Submission or revision of hourly dispatch data during the real-time market mandatory window | Required before submission or revision | Required |
| Submission or revision of single cycle mode for the real-time market | Required before submission or revision | Required |

The valid reasons for change and reason codes available are provided later in this appendix.

### B.2	Daily Dispatch Data Submissions or Revisions during the Real-Time Market Restricted Window

Submission and revisions made to daily dispatch data during the real-time market restricted window, except for the minimum loading point, minimum generation block run-time, and single cycle mode, do not require IESO approval. However, a reason code is required to indicate the reason for the change as part of the submission.

The minimum loading point and minimum generation block run-time may not be submitted or revised during the real-time market restricted window, and a submission or revision to the single cycle flag requires the IESO’s manual approval (refer to Appendix B.5 for more information).

There is automated validation of daily dispatch data submission and revisions during the real-time market restricted window. If a reason code is not included by the registered market participant, the submission or revision to daily dispatch data will be automatically rejected and a validation error will be issued.

B.2.1	Daily Dispatch Data – Reasons

(MR Ch.7 s.3.3.7)

The IESO will approve the submission of new or revised daily dispatch data during the real-time market restricted window in accordance with MR Ch.7 s.3.3.7.

The IESO may review the reason for daily dispatch data changes to determine whether the submission or revision is in compliance to the market rules.

### B.3	Dispatch Data Submissions or Revisions that Expand the Availability Declaration Envelope

Submitting new or revised dispatch data that expands the availability declaration envelope (ADE) above the permitted materiality threshold, in accordance with section 7.5.1 of this market manual, requires IESO approval. IESO approval is not required if the submission is in response to the IESO’s request for additional bids and offers.

There is no automated ADE validation in the IESO’s tool for dispatch data that expands the ADE. Submission or revisions that expand the ADE and pass normal validation checks will be entered into the system, however, it does not imply compliance with the market rules. It is the responsibility of the registered market participant to notify the IESO when making changes to dispatch data that expand the ADE.

If the submission or revision that expands the ADE is rejected by the IESO, and the submission or revision has been automatically accepted and approved by the IESO’s tools (in the case when it does not include any hours in the mandatory window), the IESO’s tool does not automatically substitute the registered market participant’s offer or bid in the system with an earlier offer or bid submission that was permissible under the Market Rules. It is the responsibility of the registered market participant to revise its offer or bid with a quantity that is permissible under the Market Rules upon rejection.

The IESO reviews for violations of the ADE (changes made without IESO approval) after the dispatch day and will apply the materiality threshold for assessing compliance. Violations are subject to compliance actions for breach of the market rules.

B.3.1	Availability Declaration Envelope – Reasons

(MR Ch.7 s.3.1.14)

The IESO will approve the submission of new or revised dispatch data that expands the ADE in accordance with MR Ch.7 s.3.1.14.

For the late start of a planned outage, the IESO will accept the dispatch data submitted, but the IESO will not approve the expansion of your ADE. The submission will be logged to compliance for review.

### B.4	Hourly Dispatch Data Submissions or Revisions during the Real-Time Market Mandatory Window

Any new or revised hourly dispatch data submitted in the real-time market mandatory window (i.e. within two hours in advance of the dispatch hour) must be manually approved by the IESO for use in the real-time market.

There is automated validation for hourly dispatch data in the IESO tool during the real-time market mandatory window. If a reason code is not included by the registered market participant, the submission or revision during the real-time market mandatory window will be automatically rejected and a validation error will be issued.

After the submission or revision is validated and entered into the system, the IESO’s manual approval is required to include the change in the real-time market. IESO approval is contingent upon manually reviewing the submission or revision, and the IESO may initiate a direct conversation with the registered market participant to clarify the reason(s) provided.

Submissions and revisions made for economic reasons are not accepted during the real-time market mandatory window. Bid or offer price changes are not allowed within the real-time market mandatory window and will be rejected by the IESO except for:

a dispatchable load changing its load status, either in whole or in part, to or from dispatchable by changing the bid price to or from MMCP,

the IESO has directed the registered market participant to make an additional (i.e., new, not revised) submission, or

as permitted in response to a System Advisory for under-generation, over-generation or an operating reserve shortfall.

Approval of real-time market mandatory window submissions and revisions into the real-time market will occur only when a resource is experiencing an operational situation which precludes it from physically or legally being able to satisfy its current pre-dispatch schedule (equipment malfunction, worker or public safety situation, legal requirement, property damage, environmental regulations, or state of charge limitation for an electricity storage resource). In addition, the IESO will not sanction or support the violation of any law or statute by market participants through its market dispatch and dispatch instructions, and will approve any submission that clearly indicates such a violation will occur if changes are not approved.

The IESO’s manual review and approval is for the hourly dispatch data submitted in the real-time market mandatory window, but the entire submission that can include dispatch data for dispatch hours outside of the real-time market mandatory window is approved or rejected as a whole, refer to Appendix F.2 for more information.

Short Notice Submission

Submissions and revisions made to hourly dispatch data that are within two hours of the start of the dispatch hour identified in the submission are referred to as short notice submissions for the purposes of this market manual.

T0

T-1

T-2

S

Dispatch hour

Real-Time Market Unrestricted Window

Real-Time Market Mandatory Window

Figure B-1: Short Notice Submission Window

B.4.1	Real-Time Market Mandatory Window – Reasons

The conditions for manual acceptance of new and revised dispatch data for the real-time market mandatory window, which is also referred to as the Short Notice Change Criteria, as provided below. A summary of the Short Notice Change Criteria is also available in Appendix B.4.4.

The market rules govern the IESO’s manual approval for short notice submissions. The IESO will approve such changes and authorize the submission of new or revised dispatch data if:

The revision is considered a replacement energy offer,

The revision, in the case of a dispatchable load, relates to:

changing its load status, in whole or in part, either to or from dispatchable, by bidding at or changing from MMCP, (changing to dispatchable is also subject to the availability declaration envelope requirements); or

a request to restore its operating reserve offers after a forced outage or urgent outage.

The revision reflects changes in the operational status of the generation resource or the dispatchable load resource to prevent a situation that could endanger the safety of any person, damage to equipment, or violate any applicable law.

The revision reflects changes in the state of charge, which can only be reductions in quantity and must be submitted prior to the closing of the real-time market mandatory window. Electricity storage participants revising dispatch data within the real-time market mandatory window for state of charge related reasons must include the term “SOC” in their reason for change.

The IESO will also approve the submission of new or revised dispatch data in the real-time market mandatory window if the revision relates solely to the quantity element of the dispatch data, and the change results from one or more of the following:

direction from the IESO to submit dispatch data for reliability reasons;

changes in the operational status of the generation resource or the dispatchable load resource to prevent violation of any applicable law, endangering the safety of any person, or damage to property or the environment;

the market participant recognizes that the quantity of any physical service scheduled in the current pre-dispatch schedule for the resource differs from the quantity the market participant reasonably expects to be delivered or withdrawn by more than the greater of 2% or 10 MW;

is associated with an hourly demand response resource;

the IESO denies a request for segregation;

the IESO revokes its approval to operate a registered resource in a segregated mode of operation;

the IESO terminates the operation of a registered resource in a segregated mode of operation;

an advisory notice for under-generation has been issued, and the new or revised dispatch data increases offers or decreases bids of energy;

an advisory notice for over-generation (i.e., a Minimum Generation Alert or Event) has been issued, and the new or revised dispatch data decreases offers or increases bids of energy; or

an advisory notice for an operating reserve shortfall has been issued, and the new or revised dispatch data increases offers of operating reserve.

B.4.2	Short Notice Submission – Boundary Entity Resources

Changes to hourly dispatch data for boundary entity resources are subject to the same submission restrictions as hourly dispatch data received from non-boundary entity resources (refer to section B.4.1).

Quantity changes to hourly dispatch data resulting from changes in an external control area will be accepted until 60 minutes prior to the dispatch hour. For example, an interchange schedule may have been scheduled for a lesser quantity in the external control area. Refer to MM 4.3 s.5.3: Boundary Entity Resources.

By two hours prior to the dispatch hour, registered market participants must submit dispatch data to reflect the correct e-Tag IDs; failure to do so will be treated as a breach of the market rules. Registered market participants may revise the e-Tag ID up to 32 minutes prior to the start of the dispatch hour which will be automatically accepted.

The e-Tag ID mandatory window begins 32 minutes before the start of the dispatch hour and closing 10 minutes prior to the start of the dispatch hour. There is no automatic approval of the e-Tag ID during the e-Tag ID mandatory window.

Submitting or revising the e-Tag ID during the real-time market mandatory window, which encompasses the e-Tag ID mandatory window, must include a reason code with the submission. If a reason code is not included by the registered market participant, the submission or revision will be automatically rejected and a validation error will be issued.

During the e-Tag ID mandatory window, the IESO will manually review the submitted e-Tag ID and associated reason and reason code before approving the change. The IESO may initiate a direct conversation with the registered market participant to clarify the reason provided.

For clarity, if registered market participants submit changes to their boundary entity resource’s dispatch data and e-Tag ID for approval more than 60 minutes prior to the dispatch hour, which is within the real-time market mandatory window for boundary entity resources and outside of the e-Tag ID mandatory window, then changes to dispatch data require manual approval from the IESO, and changes to e-Tag ID are automatically approved.

B.4.3	Short Notice Submission – Reliability

The IESO will allow the offers to be submitted for a brief period only for those stations where a hydraulic unit is required to run to maintain system reliability and which may result in spill to be caused at other affected stations on the same river system.

A modified criterion is established under which the IESO will consider approving changes to offers and bids within the real-time market mandatory window for system reliability.

The IESO will open the submission window for a minimum of one hour or until the reliability concern is resolved to allow hourly dispatch data to be modified within the short notice submission window when the IESO has or is about to initiate EEA2 (Energy Emergency Alert 2) procedures.

The intent of opening the real-time market submission window in the above situation is strictly to assist in alleviating/mitigating reliability or security concerns of the IESO-controlled grid (e.g. encourage market participants to submit additional offers or bids that will assist in alleviating an adequacy deficiency) and, as such, the submission window will only be open to accept the following:

all new offers; and

those modified existing offers where price remains the same or is lower (a price increase on an existing offer is not allowed).

The real-time market submission window will still remain closed for any changes to an intertie scheduling limit or to an operating security limit.

All other changes submitted by registered market participants in the real-time market mandatory window, if opened, will only be approved by the IESO in accordance with MR Ch.7 s.3.3.6, where the revision relates solely to injecting energy (or withdrawing energy insofar as an electricity storage resource is concerned) and the revision is required in order to reflect a proposed change in the operating status of the registered resource designed solely "to prevent the resource from operating in a manner that would endanger the safety of any person, damage equipment, or violate any applicable law ." Storage resources may also make revisions for state of charge reasons (MR Ch.7 s.21.5).

B.4.4	Real-Time Market Mandatory Window – Reasons Summary

This section provides a summary of the Short Notice Change Criteria.

Table B-2:  Summary of Allowable Dispatch Data Changes

|  | Changes Allowed |  |  |  |
| --- | --- | --- | --- | --- |
| Reason for Bid/Offer Change | 2 hours+ | 2-0 Hours | Market Rule Reference |
| Market-based changes | Unrestricted changes to dispatch data except where reliability issue identified in pre-dispatch schedule | None | Ch.7 ss.3.3.3, 3.3.10 |
| Forced outages or urgent outages, generation unit or dispatchable load limitations: > the greater of 2% or 10 MW |  | Offers do not need to be revised as long as an outage request is entered into the outage management system to reflect actual capability as long as derating does not last more than two hours. | Ch.7 s.3.3.8 |
|  |  | Bids need to be revised to: reflect what the dispatchable load reasonably expects to withdraw; indicate if their status changes to or from being dispatchable; and identify when operating reserve capability is restored following the outage |  |
| Hourly demand response resources | Unrestricted changes to dispatch data except where reliability issue identified in pre-dispatch schedule | Reflect what the hourly demand response resource reasonably expects to withdraw. |  |
| Electricity Storage Participants revisions for state of charge changes that exceed the greater of 2% or 10 MW |  | For state of charge related revisions, offers and bids setting out the quantity that the electricity storage participant reasonably expects to inject and withdraw needs to be revised prior to the closing of the mandatory window. Note: only quantity reductions are permitted. | Ch.7 s.21.5 |
| Personnel/Public Safety Property Damage Legal requirement Environmental Regulation |  | Quantity and price changes to reflect actual capability | Ch.7 s.3.3.6 |
| Offers/bids created or revised in response to a System Advisory issued by the IESO for under-generation |  | Increased quantities in existing energy offers (generators, wholesale sellers and electricity storage participants) Decreased quantities in existing load bids (dispatchable loads, and electricity storage participants) New offers from generators and electricity storage participants. | Ch.7 s.12.2 |
| Offers/bids created or revised in response to a System Advisory issued by the IESO for over-generation | Unrestricted changes to dispatch data except where reliability issue identified in pre-dispatch schedule | Decreased quantities in existing energy offers (generators, wholesale sellers, and electricity storage participants) Increased quantities in existing load bids (dispatchable loads and electricity storage participants) New bids from dispatchable loads and electricity storage participants. | Ch.7 s.12.2 |
| Offers created or revised in response to a System Advisory issued by the IESO for an operating reserve shortfall |  | Increased quantities in existing operating reserve offers New operating reserve offers | Ch.7 s.12.2 |
| When IESO has directed a market participant to bid/offer for reliability reasons identified in pre-dispatch schedule (includes High-Risk Operating Conditions). |  | Increased quantities in existing offers New offers | Ch.7 s.3.3.13 |
| When IESO has directed a market participant to bid/offer under terms of a Reliability Must Run Contract. |  | Increased quantities in existing offers New offers | Ch.5 s.4.8 |
| Where IESO refuses a request for segregated mode of operation |  | Increased quantities in existing offers New offers | Ch.7 App.7.7 s.1.2 |
| Where IESO refuses request by generator or electricity storage participant for de-synchronization from the IESO-controlled grid | Unrestricted changes to dispatch data except where reliability issue identified in pre-dispatch schedule | Increased quantities in existing offers New offers | Ch.7 s.11.2.3 |
| Interchange schedule – Quantity Changes |  | Quantity reductions allowed up to 60 minutes prior to the dispatch hour, due to external control area schedules |  |
| Interchange schedule – e-Tag ID changes |  | e-Tag identification changes allowed up to 32 minutes prior to the dispatch hour |  |
| Where IESO directs the ancillary service provider to change the regulation requirements with less than five hours notice |  | Increased quantities in existing offers New offers |  |
| Where the ancillary service provider must change the regulation requirements due to a forced outage or urgent outage or a de-rating to its equipment. |  | Increased quantities in existing offers New offers |  |
| Where the market participant submits a replacement energy offer due to a forced outage or urgent outage |  | Revised dispatch data for a related generation resource | Ch.7 s.3.3 |

### B.5	Single Cycle Mode Submissions or Revisions for the Real-Time Market

Submissions and revisions made to the single cycle mode parameter during the real-time market restricted window, requires IESO manual approval.

There is automated validation of daily dispatch data submission and revisions during the real-time market restricted window. If a reason code is not included by the registered market participant, the submission or revision to daily dispatch data will be automatically rejected and a validation error will be issued.

The IESO’s manual review and approval is for the single cycle mode parameter, but the entire submission that can include other daily dispatch data is approved or rejected as a whole (please see Appendix F.2 for more information).

B.5.1	Daily Dispatch Data – Reasons

(MR Ch.7 s.3.3.7)

The IESO will approve the submission or revision of single cycle mode during the real-time market restricted window in accordance to MR Ch.7 s.3.3.7. For example, the IESO will approve a revision to single cycle mode made for economics if the pseudo-unit does not have an upcoming commitment and is not currently online and operating.

The IESO may review the reason for daily dispatch data changes to determine whether the submission or revision is in compliance to the market rules.

### B.6	Hourly Dispatch Data Withdrawal

Cancelling dispatch data for a GOG-eligible resource that has been committed in the day-ahead market or pre-dispatch process and withdrawing from its commitment requires IESO approval and “WITHDRAW” in the REASON CODE. Refer to MM 4.3 s.5.9 for more information on the withdrawal from commitment process.

### B.7	Reason Codes

The REASON CODE field in the IESO tool provides a predetermined list of reason codes that could be selected by the registered market participant for the submission or revision.

The registered market participant must select the reason code that reflects their reason for the change. For example, changes as a result of a forced outage must use the “FO” reason code.

If the registered market participant selects “OTHER”, a free text must be entered in the OTHER REASON field to provide an explanation or the submission or revision will be automatically rejected and a validation error will be issued. For example, the free text entered in the OTHER REASON field may be:

“IESO tool issue”;

“SOC” for a State Of Charge limitation being entered for an electricity storage resource;

“Data submitted in response to IESO’s request for additional bids and offers”;

“Change to the start of a planned outage”;

“Change to an e-Tag identifier”; or

“Change to demand response capacity”.

Table B-3 lists the reason codes available in the IESO tool for submission or revision for daily and hourly dispatch data.

Table B-3: Reason Codes

| Reason Code | Used for | Daily Dispatch Data | Hourly Dispatch Data |
| --- | --- | --- | --- |
| ECON | Economics | x |  |
| ERPO | Early Return from Planned Outage |  | x |
| FD | Forced Derating |  | x |
| FO | Forced Outage |  | x |
| FO-ST | Forced Outage on ST of Pseudo-unit | x | x |
| LRPO | Late Return from Planned Outage |  | x |
| MPM-EORLI | MPM Energy Offer Reference Level Increase |  | x |
| NT | Non-technical | x |  |
| OTHER | If the OTHER reason code is selected, a free text reason must be entered in the OTHER REASON field | x | x |
| T | Technical | x |  |
| WITHDRAW | Cancellation of offers, but not revision of offers, when withdrawing from a commitment |  | x |

– End of Appendix –

## Appendix C: Boundary Entity Resources

### C.1	Boundary Entity Resource Representation for Exports and Imports

There are two export tax treatments that need to be considered when selecting boundary entity resources. Interchange schedules between Canadian provinces must pay HST and interchange schedules to the US are exempt from HST. Specific resources have been established at each relevant location for each type of interchange schedule. For the Minnesota and Manitoba interties, these are denoted by a “CAN” or “US” reference in the boundary entity resource name.

For exports from Ontario wheeling through Michigan or New York and into another province (and therefore not HST exempt), the requirement is to use the “WC.PRAIRIERANGES.SINK” or “EC.MARITIMES.SINK” respectively.

For Imports into Ontario there is no need to differentiate between Canada and US sources as the tax treatments is identical.

The boundary entity resources established by the IESO take the form of [X].[Y].[N], where:

X = Boundary resource representation,

Y = ‘SOURCE’ or ‘SINK’, and

N = 1, 2, 3 etc.

Example: MB.WHITESHELL.CAN.SOURCE.01 is the first of 15 boundary entity resources that in this example can be used to import into Ontario energy and/or operating reserve across the Manitoba interconnection from any control area within Canada.

### C.2	Table of Boundary Entity Resources

The following revised table details the final simplified boundary entity resource names for each intertie zone and the number of boundary entity resources that are available at each of these locations. In all cases, the number of resources refers to the number of source resources and sink resources created at each location. For instance, there are 50 MI.LUDINGTON.Source resources and 50 MI.LUDINGTON.Sink resources available to each market participant. The number of boundary entity resources created reflects the maximum expected number of interchange schedules that any one registered market participant would initiate between Ontario and the control area the boundary entity resource.

Table C-1: Boundary Entity Resources

| Intertie | Tie Point ID | Boundary Entity Resource Name | # of BERs | Description |
| --- | --- | --- | --- | --- |
| Manitoba 115 kV | MBSK | MB.SEVENSISTERS.SINK | 2 | Export via IESO/Manitoba 115kV intertie |
|  |  | MB.SEVENSISTERS.SOURCE | 2 | Import via IESO/Manitoba 115kV intertie |
| Manitoba 230 kV | MBSI | MB.WHITESHELL.CAN.SINK | 15 | Export to Canada via IESO/Manitoba 230kV intertie |
|  |  | MB.WHITESHELL.SOURCE.SBACK | 1 | System-Backed Capacity Import Resources via IESO/Manitoba 230kV intertie |
|  |  | MB.WHITESHELL.CAN.SOURCE | 15 | Import via IESO/Manitoba 230kV intertie |
|  |  | MB.WHITESHELL.US.SINK | 5 | Export to US via IESO/Manitoba 230kV intertie |
| Michigan | MISI | MI.LUDINGTON.SINK | 50 | Export to US (except PJM) via IESO/Michigan intertie |
|  |  | MI.LUDINGTON.SOURCE | 50 | Import via IESO/Michigan intertie from the US (except PJM) |
|  |  | WC.PRAIRERANGES.SINK | 5 | Export to Canada via IESO/Michigan intertie |
|  |  | MD.CALVERTCLIFF.SINK | 20 | Export to PJM via IESO/Michigan intertie |
|  |  | MD.CALVERTCLIFF.SOURCE | 20 | Import via IESO/Michigan intertie from PJM |
| Minnesota | MNSI | MN.INTFALLS.US.SINK | 10 | Export to US via IESO/Minnesota intertie |
|  |  | MN.INTFALLS.US.SOURCE | 10 | Import via IESO/Minnesota intertie |
|  |  | MN.INTFALLS.CAN.SINK | 5 | Export to Canada via IESO/Minnesota intertie |
| New York | NYSI | NY.ROSETON.SINK | 50 | Export to US (except PJM) via IESO/NYISO intertie |
|  |  | NY.ROSETON.SOURCE | 50 | Import via IESO/NYISO intertie from the US (except PJM) |
|  |  | NY.ROSETON.SOURCE.GBACK | 20 | Generator-Backed Capacity Import Resources via IESO/NYISO intertie from the US (except PJM) |
|  |  | EC.MARITIMES.SINK | 2 | Export to Canada via IESO/NYISO intertie |
|  |  | MD.CALVERTCLIFF.SINK | 20 | Export to PJM via IESO/NYISO intertie |
|  |  | MD.CALVERTCLIFF.SOURCE | 20 | Import via IESO/NYISO intertie from PJM |
| Quebec B5D/B31L | PQBE | PQ.BEAUHARNOIS.SOURCE PQ.BEAUHARNOIS.SOURCE.SBACK | 20 1 | Import via IESO/Quebec intertie B5D/B31L System-Backed Capacity Import Resources via IESO/Quebec intertie B5D/B31L |
| Quebec X2Y | PQXY | PQ.BRYSON.SINK | 5 | Export via IESO/Quebec intertie X2Y |
|  |  | PQ.BRYSON.SOURCE | 5 | Import via IESO/Quebec intertie X2Y |
| Quebec A4Z | PQAZ | PQ.KIPAWA.SINK | 5 | Export via IESO/Quebec intertie A4Z |
|  |  | PQ.KIPAWA.SOURCE | 5 | Import via IESO/Quebec intertie A4Z |
| Quebec D5A | PQDA | PQ.MACLAREN.SINK | 5 | Export via IESO/Quebec intertie D5A |
|  |  | PQ.MACLAREN.SOURCE | 5 | Import via IESO/Quebec intertie D5A |
|  |  | PQ.MACLAREN.SOURCE.GBACK | 1 | Generator-Backed Capacity Import Resources via IESO/Quebec intertie D5A |
| Quebec H9A | PQHA | PQ.MASSON.SINK | 5 | Export via IESO/Quebec intertie H9A |
|  |  | PQ.MASSON.SOURCE | 5 | Import via IESO/Quebec intertie H9A |
| Quebec P33C | PQPC | PQ.PAUGAN.SINK | 5 | Export via IESO/Quebec intertie P33C |
|  |  | PQ.PAUGAN.SOURCE | 5 | Import via IESO/Quebec intertie P33C |
| Quebec Q4C | PQQC | PQ.QUYON.SOURCE | 5 | Import via IESO/Quebec intertie Q4C |
| Quebec D4Z | PQDZ | PQ.RAPIDDESISLE.SINK | 5 | Export via IESO/Quebec intertie D4Z |
|  |  | PQ.RAPIDDESISLE.SOURCE | 5 | Import via IESO/Quebec intertie D4Z |
| Quebec A41T/A42T | PQAT | PQ.OUTAOUAIS.SINK | 20 | Export via IESO/Quebec intertie A41T/A42T |
|  |  | PQ.OUTAOUAIS.SOURCE.SBACK | 1 | System-Backed Capacity Import Resources via IESO/Quebec intertie A41T/A42T |
|  |  | PQ.OUTAOUAIS.SOURCE | 20 | Import via IESO/Quebec intertie A41T/A42T |
|  |  | PQ.OUTAOUAIS.US.SINK | 20 | Export to US via IESO/Quebec intertie A41T/A42T |

Table C-2: Boundary Entity Resources - Resource ID Mapping

| RESOURCE_NAME | ID |
| --- | --- |
| EC.MARITIMES.SINK.01 | 105040 |
| EC.MARITIMES.SINK.02 | 105041 |
| MB.SEVENSISTERS.SINK.01 | 107016 |
| MB.SEVENSISTERS.SINK.02 | 107017 |
| MB.SEVENSISTERS.SOURCE.01 | 107011 |
| MB.SEVENSISTERS.SOURCE.02 | 107012 |
| MB.WHITESHEL.SOURCE.SBACK.01 | 148490 |
| MB.WHITESHELL.CAN.SINK.01 | 105010 |
| MB.WHITESHELL.CAN.SINK.02 | 105011 |
| MB.WHITESHELL.CAN.SINK.03 | 105012 |
| MB.WHITESHELL.CAN.SINK.04 | 105013 |
| MB.WHITESHELL.CAN.SINK.05 | 105014 |
| MB.WHITESHELL.CAN.SINK.06 | 105015 |
| MB.WHITESHELL.CAN.SINK.07 | 105016 |
| MB.WHITESHELL.CAN.SINK.08 | 105017 |
| MB.WHITESHELL.CAN.SINK.09 | 105018 |
| MB.WHITESHELL.CAN.SINK.10 | 105002 |
| MB.WHITESHELL.CAN.SINK.11 | 105003 |
| MB.WHITESHELL.CAN.SINK.12 | 105004 |
| MB.WHITESHELL.CAN.SINK.13 | 105005 |
| MB.WHITESHELL.CAN.SINK.14 | 105006 |
| MB.WHITESHELL.CAN.SINK.15 | 105007 |
| MB.WHITESHELL.CAN.SOURCE.01 | 105036 |
| MB.WHITESHELL.CAN.SOURCE.02 | 105037 |
| MB.WHITESHELL.CAN.SOURCE.03 | 105038 |
| MB.WHITESHELL.CAN.SOURCE.04 | 105059 |
| MB.WHITESHELL.CAN.SOURCE.05 | 105060 |
| MB.WHITESHELL.CAN.SOURCE.06 | 105061 |
| MB.WHITESHELL.CAN.SOURCE.07 | 105062 |
| MB.WHITESHELL.CAN.SOURCE.08 | 105063 |
| MB.WHITESHELL.CAN.SOURCE.09 | 105064 |
| MB.WHITESHELL.CAN.SOURCE.10 | 105065 |
| MB.WHITESHELL.CAN.SOURCE.11 | 105042 |
| MB.WHITESHELL.CAN.SOURCE.12 | 105020 |
| MB.WHITESHELL.CAN.SOURCE.13 | 105021 |
| MB.WHITESHELL.CAN.SOURCE.14 | 105022 |
| MB.WHITESHELL.CAN.SOURCE.15 | 105023 |
| MB.WHITESHELL.US.SINK.01 | 104553 |
| MB.WHITESHELL.US.SINK.02 | 104530 |
| MB.WHITESHELL.US.SINK.03 | 104531 |
| MB.WHITESHELL.US.SINK.04 | 104532 |
| MB.WHITESHELL.US.SINK.05 | 104528 |
| MD.CALVERTCLIFF.SINK.01 | 104686 |
| MD.CALVERTCLIFF.SINK.02 | 104687 |
| MD.CALVERTCLIFF.SINK.03 | 104688 |
| MD.CALVERTCLIFF.SINK.04 | 104689 |
| MD.CALVERTCLIFF.SINK.05 | 104690 |
| MD.CALVERTCLIFF.SINK.06 | 104691 |
| MD.CALVERTCLIFF.SINK.07 | 104604 |
| MD.CALVERTCLIFF.SINK.08 | 104605 |
| MD.CALVERTCLIFF.SINK.09 | 104606 |
| MD.CALVERTCLIFF.SINK.10 | 104607 |
| MD.CALVERTCLIFF.SINK.11 | 104608 |
| MD.CALVERTCLIFF.SINK.12 | 104609 |
| MD.CALVERTCLIFF.SINK.13 | 104610 |
| MD.CALVERTCLIFF.SINK.14 | 104611 |
| MD.CALVERTCLIFF.SINK.15 | 104612 |
| MD.CALVERTCLIFF.SINK.16 | 104613 |
| MD.CALVERTCLIFF.SINK.17 | 104614 |
| MD.CALVERTCLIFF.SINK.18 | 104615 |
| MD.CALVERTCLIFF.SINK.19 | 104616 |
| MD.CALVERTCLIFF.SINK.20 | 104617 |
| MD.CALVERTCLIFF.SINK.21 | 104618 |
| MD.CALVERTCLIFF.SINK.22 | 104619 |
| MD.CALVERTCLIFF.SINK.23 | 104620 |
| MD.CALVERTCLIFF.SINK.24 | 104621 |
| MD.CALVERTCLIFF.SINK.25 | 104622 |
| MD.CALVERTCLIFF.SINK.26 | 104600 |
| MD.CALVERTCLIFF.SINK.27 | 104578 |
| MD.CALVERTCLIFF.SINK.28 | 104579 |
| MD.CALVERTCLIFF.SINK.29 | 104580 |
| MD.CALVERTCLIFF.SINK.30 | 104581 |
| MD.CALVERTCLIFF.SINK.31 | 104582 |
| MD.CALVERTCLIFF.SINK.32 | 104583 |
| MD.CALVERTCLIFF.SINK.33 | 104584 |
| MD.CALVERTCLIFF.SINK.34 | 104585 |
| MD.CALVERTCLIFF.SINK.35 | 104586 |
| MD.CALVERTCLIFF.SINK.36 | 104587 |
| MD.CALVERTCLIFF.SINK.37 | 104588 |
| MD.CALVERTCLIFF.SINK.38 | 104589 |
| MD.CALVERTCLIFF.SINK.39 | 104590 |
| MD.CALVERTCLIFF.SINK.40 | 104591 |
| MD.CALVERTCLIFF.SOURCE.01 | 104893 |
| MD.CALVERTCLIFF.SOURCE.02 | 104894 |
| MD.CALVERTCLIFF.SOURCE.03 | 104895 |
| MD.CALVERTCLIFF.SOURCE.04 | 104896 |
| MD.CALVERTCLIFF.SOURCE.05 | 104897 |
| MD.CALVERTCLIFF.SOURCE.06 | 104898 |
| MD.CALVERTCLIFF.SOURCE.07 | 104899 |
| MD.CALVERTCLIFF.SOURCE.08 | 104900 |
| MD.CALVERTCLIFF.SOURCE.09 | 104901 |
| MD.CALVERTCLIFF.SOURCE.10 | 104902 |
| MD.CALVERTCLIFF.SOURCE.11 | 104903 |
| MD.CALVERTCLIFF.SOURCE.12 | 104881 |
| MD.CALVERTCLIFF.SOURCE.13 | 104859 |
| MD.CALVERTCLIFF.SOURCE.14 | 104860 |
| MD.CALVERTCLIFF.SOURCE.15 | 104861 |
| MD.CALVERTCLIFF.SOURCE.16 | 104862 |
| MD.CALVERTCLIFF.SOURCE.17 | 104863 |
| MD.CALVERTCLIFF.SOURCE.18 | 104864 |
| MD.CALVERTCLIFF.SOURCE.19 | 104865 |
| MD.CALVERTCLIFF.SOURCE.20 | 104866 |
| MD.CALVERTCLIFF.SOURCE.21 | 104867 |
| MD.CALVERTCLIFF.SOURCE.22 | 104868 |
| MD.CALVERTCLIFF.SOURCE.23 | 104869 |
| MD.CALVERTCLIFF.SOURCE.24 | 104870 |
| MD.CALVERTCLIFF.SOURCE.25 | 104871 |
| MD.CALVERTCLIFF.SOURCE.26 | 104872 |
| MD.CALVERTCLIFF.SOURCE.27 | 104873 |
| MD.CALVERTCLIFF.SOURCE.28 | 104874 |
| MD.CALVERTCLIFF.SOURCE.29 | 104875 |
| MD.CALVERTCLIFF.SOURCE.30 | 104876 |
| MD.CALVERTCLIFF.SOURCE.31 | 104877 |
| MD.CALVERTCLIFF.SOURCE.32 | 104878 |
| MD.CALVERTCLIFF.SOURCE.33 | 104879 |
| MD.CALVERTCLIFF.SOURCE.34 | 104880 |
| MD.CALVERTCLIFF.SOURCE.35 | 104858 |
| MD.CALVERTCLIFF.SOURCE.36 | 104836 |
| MD.CALVERTCLIFF.SOURCE.37 | 104837 |
| MD.CALVERTCLIFF.SOURCE.38 | 104838 |
| MD.CALVERTCLIFF.SOURCE.39 | 104839 |
| MD.CALVERTCLIFF.SOURCE.40 | 104840 |
| MI.LUDINGTON.SINK.01 | 104708 |
| MI.LUDINGTON.SINK.02 | 104709 |
| MI.LUDINGTON.SINK.03 | 104710 |
| MI.LUDINGTON.SINK.04 | 104711 |
| MI.LUDINGTON.SINK.05 | 104712 |
| MI.LUDINGTON.SINK.06 | 104713 |
| MI.LUDINGTON.SINK.07 | 104714 |
| MI.LUDINGTON.SINK.08 | 104715 |
| MI.LUDINGTON.SINK.09 | 104716 |
| MI.LUDINGTON.SINK.10 | 104717 |
| MI.LUDINGTON.SINK.11 | 104655 |
| MI.LUDINGTON.SINK.12 | 104656 |
| MI.LUDINGTON.SINK.13 | 104657 |
| MI.LUDINGTON.SINK.14 | 104658 |
| MI.LUDINGTON.SINK.15 | 104659 |
| MI.LUDINGTON.SINK.16 | 104660 |
| MI.LUDINGTON.SINK.17 | 104661 |
| MI.LUDINGTON.SINK.18 | 104662 |
| MI.LUDINGTON.SINK.19 | 104663 |
| MI.LUDINGTON.SINK.20 | 104664 |
| MI.LUDINGTON.SINK.21 | 104665 |
| MI.LUDINGTON.SINK.22 | 104666 |
| MI.LUDINGTON.SINK.23 | 104667 |
| MI.LUDINGTON.SINK.24 | 104668 |
| MI.LUDINGTON.SINK.25 | 104669 |
| MI.LUDINGTON.SINK.26 | 104670 |
| MI.LUDINGTON.SINK.27 | 104647 |
| MI.LUDINGTON.SINK.28 | 104624 |
| MI.LUDINGTON.SINK.29 | 104625 |
| MI.LUDINGTON.SINK.30 | 104626 |
| MI.LUDINGTON.SINK.31 | 104627 |
| MI.LUDINGTON.SINK.32 | 104628 |
| MI.LUDINGTON.SINK.33 | 104629 |
| MI.LUDINGTON.SINK.34 | 104630 |
| MI.LUDINGTON.SINK.35 | 104631 |
| MI.LUDINGTON.SINK.36 | 104632 |
| MI.LUDINGTON.SINK.37 | 104633 |
| MI.LUDINGTON.SINK.38 | 104634 |
| MI.LUDINGTON.SINK.39 | 104635 |
| MI.LUDINGTON.SINK.40 | 104636 |
| MI.LUDINGTON.SINK.41 | 108750 |
| MI.LUDINGTON.SINK.42 | 108711 |
| MI.LUDINGTON.SINK.43 | 108712 |
| MI.LUDINGTON.SINK.44 | 108713 |
| MI.LUDINGTON.SINK.45 | 108714 |
| MI.LUDINGTON.SINK.46 | 108715 |
| MI.LUDINGTON.SINK.47 | 108716 |
| MI.LUDINGTON.SINK.48 | 108717 |
| MI.LUDINGTON.SINK.49 | 108718 |
| MI.LUDINGTON.SINK.50 | 108719 |
| MI.LUDINGTON.SOURCE.01 | 104972 |
| MI.LUDINGTON.SOURCE.02 | 104950 |
| MI.LUDINGTON.SOURCE.03 | 104928 |
| MI.LUDINGTON.SOURCE.04 | 104929 |
| MI.LUDINGTON.SOURCE.05 | 104930 |
| MI.LUDINGTON.SOURCE.06 | 104931 |
| MI.LUDINGTON.SOURCE.07 | 104932 |
| MI.LUDINGTON.SOURCE.08 | 104933 |
| MI.LUDINGTON.SOURCE.09 | 104934 |
| MI.LUDINGTON.SOURCE.10 | 104935 |
| MI.LUDINGTON.SOURCE.11 | 104936 |
| MI.LUDINGTON.SOURCE.12 | 104937 |
| MI.LUDINGTON.SOURCE.13 | 104938 |
| MI.LUDINGTON.SOURCE.14 | 104939 |
| MI.LUDINGTON.SOURCE.15 | 104940 |
| MI.LUDINGTON.SOURCE.16 | 104941 |
| MI.LUDINGTON.SOURCE.17 | 104942 |
| MI.LUDINGTON.SOURCE.18 | 104943 |
| MI.LUDINGTON.SOURCE.19 | 104944 |
| MI.LUDINGTON.SOURCE.20 | 104945 |
| MI.LUDINGTON.SOURCE.21 | 104946 |
| MI.LUDINGTON.SOURCE.22 | 104947 |
| MI.LUDINGTON.SOURCE.23 | 104948 |
| MI.LUDINGTON.SOURCE.24 | 104949 |
| MI.LUDINGTON.SOURCE.25 | 104927 |
| MI.LUDINGTON.SOURCE.26 | 104905 |
| MI.LUDINGTON.SOURCE.27 | 104906 |
| MI.LUDINGTON.SOURCE.28 | 104907 |
| MI.LUDINGTON.SOURCE.29 | 104908 |
| MI.LUDINGTON.SOURCE.30 | 104909 |
| MI.LUDINGTON.SOURCE.31 | 104910 |
| MI.LUDINGTON.SOURCE.32 | 104911 |
| MI.LUDINGTON.SOURCE.33 | 104912 |
| MI.LUDINGTON.SOURCE.34 | 104913 |
| MI.LUDINGTON.SOURCE.35 | 104914 |
| MI.LUDINGTON.SOURCE.36 | 104915 |
| MI.LUDINGTON.SOURCE.37 | 104916 |
| MI.LUDINGTON.SOURCE.38 | 104917 |
| MI.LUDINGTON.SOURCE.39 | 104918 |
| MI.LUDINGTON.SOURCE.40 | 104919 |
| MI.LUDINGTON.SOURCE.41 | 108720 |
| MI.LUDINGTON.SOURCE.42 | 108721 |
| MI.LUDINGTON.SOURCE.43 | 108722 |
| MI.LUDINGTON.SOURCE.44 | 108723 |
| MI.LUDINGTON.SOURCE.45 | 108724 |
| MI.LUDINGTON.SOURCE.46 | 108725 |
| MI.LUDINGTON.SOURCE.47 | 108726 |
| MI.LUDINGTON.SOURCE.48 | 108727 |
| MI.LUDINGTON.SOURCE.49 | 108728 |
| MI.LUDINGTON.SOURCE.50 | 108729 |
| MN.INTFALLS.CAN.SINK.01 | 104996 |
| MN.INTFALLS.CAN.SINK.02 | 104974 |
| MN.INTFALLS.CAN.SINK.03 | 104975 |
| MN.INTFALLS.CAN.SINK.04 | 104976 |
| MN.INTFALLS.CAN.SINK.05 | 104977 |
| MN.INTFALLS.US.SINK.01 | 104505 |
| MN.INTFALLS.US.SINK.02 | 104502 |
| MN.INTFALLS.US.SINK.03 | 104503 |
| MN.INTFALLS.US.SINK.04 | 104504 |
| MN.INTFALLS.US.SINK.05 | 104533 |
| MN.INTFALLS.US.SINK.06 | 104534 |
| MN.INTFALLS.US.SINK.07 | 104535 |
| MN.INTFALLS.US.SINK.08 | 104536 |
| MN.INTFALLS.US.SINK.09 | 104537 |
| MN.INTFALLS.US.SINK.10 | 104538 |
| MN.INTFALLS.US.SOURCE.01 | 104753 |
| MN.INTFALLS.US.SOURCE.02 | 104754 |
| MN.INTFALLS.US.SOURCE.03 | 104755 |
| MN.INTFALLS.US.SOURCE.04 | 104756 |
| MN.INTFALLS.US.SOURCE.05 | 104757 |
| MN.INTFALLS.US.SOURCE.06 | 104758 |
| MN.INTFALLS.US.SOURCE.07 | 104759 |
| MN.INTFALLS.US.SOURCE.08 | 104760 |
| MN.INTFALLS.US.SOURCE.09 | 104761 |
| MN.INTFALLS.US.SOURCE.10 | 104700 |
| NY.ROSETON.SINK.01 | 104574 |
| NY.ROSETON.SINK.02 | 104575 |
| NY.ROSETON.SINK.03 | 104576 |
| NY.ROSETON.SINK.04 | 104539 |
| NY.ROSETON.SINK.05 | 104540 |
| NY.ROSETON.SINK.06 | 104541 |
| NY.ROSETON.SINK.07 | 104542 |
| NY.ROSETON.SINK.08 | 104543 |
| NY.ROSETON.SINK.09 | 104544 |
| NY.ROSETON.SINK.10 | 104545 |
| NY.ROSETON.SINK.11 | 104546 |
| NY.ROSETON.SINK.12 | 104547 |
| NY.ROSETON.SINK.13 | 104548 |
| NY.ROSETON.SINK.14 | 104549 |
| NY.ROSETON.SINK.15 | 104550 |
| NY.ROSETON.SINK.16 | 104551 |
| NY.ROSETON.SINK.17 | 104552 |
| NY.ROSETON.SINK.18 | 104529 |
| NY.ROSETON.SINK.19 | 104506 |
| NY.ROSETON.SINK.20 | 104507 |
| NY.ROSETON.SINK.21 | 104508 |
| NY.ROSETON.SINK.22 | 104509 |
| NY.ROSETON.SINK.23 | 104510 |
| NY.ROSETON.SINK.24 | 104511 |
| NY.ROSETON.SINK.25 | 104512 |
| NY.ROSETON.SINK.26 | 104513 |
| NY.ROSETON.SINK.27 | 104514 |
| NY.ROSETON.SINK.28 | 104515 |
| NY.ROSETON.SINK.29 | 104516 |
| NY.ROSETON.SINK.30 | 104517 |
| NY.ROSETON.SINK.31 | 104518 |
| NY.ROSETON.SINK.32 | 104519 |
| NY.ROSETON.SINK.33 | 104520 |
| NY.ROSETON.SINK.34 | 104521 |
| NY.ROSETON.SINK.35 | 104522 |
| NY.ROSETON.SINK.36 | 104523 |
| NY.ROSETON.SINK.37 | 104524 |
| NY.ROSETON.SINK.38 | 104525 |
| NY.ROSETON.SINK.39 | 104526 |
| NY.ROSETON.SINK.40 | 104527 |
| NY.ROSETON.SINK.41 | 108730 |
| NY.ROSETON.SINK.42 | 108731 |
| NY.ROSETON.SINK.43 | 108732 |
| NY.ROSETON.SINK.44 | 108733 |
| NY.ROSETON.SINK.45 | 108734 |
| NY.ROSETON.SINK.46 | 108735 |
| NY.ROSETON.SINK.47 | 108736 |
| NY.ROSETON.SINK.48 | 108737 |
| NY.ROSETON.SINK.49 | 108738 |
| NY.ROSETON.SINK.50 | 108739 |
| NY.ROSETON.SOURCE.01 | 104786 |
| NY.ROSETON.SOURCE.02 | 104787 |
| NY.ROSETON.SOURCE.03 | 104788 |
| NY.ROSETON.SOURCE.04 | 104766 |
| NY.ROSETON.SOURCE.05 | 104744 |
| NY.ROSETON.SOURCE.06 | 104745 |
| NY.ROSETON.SOURCE.07 | 104746 |
| NY.ROSETON.SOURCE.08 | 104747 |
| NY.ROSETON.SOURCE.09 | 104845 |
| NY.ROSETON.SOURCE.10 | 104846 |
| NY.ROSETON.SOURCE.11 | 104847 |
| NY.ROSETON.SOURCE.12 | 104848 |
| NY.ROSETON.SOURCE.13 | 104849 |
| NY.ROSETON.SOURCE.14 | 104850 |
| NY.ROSETON.SOURCE.15 | 104851 |
| NY.ROSETON.SOURCE.16 | 104852 |
| NY.ROSETON.SOURCE.17 | 104853 |
| NY.ROSETON.SOURCE.18 | 104854 |
| NY.ROSETON.SOURCE.19 | 104855 |
| NY.ROSETON.SOURCE.20 | 104856 |
| NY.ROSETON.SOURCE.21 | 104857 |
| NY.ROSETON.SOURCE.22 | 104835 |
| NY.ROSETON.SOURCE.23 | 104813 |
| NY.ROSETON.SOURCE.24 | 104814 |
| NY.ROSETON.SOURCE.25 | 104815 |
| NY.ROSETON.SOURCE.26 | 104816 |
| NY.ROSETON.SOURCE.27 | 104817 |
| NY.ROSETON.SOURCE.28 | 104818 |
| NY.ROSETON.SOURCE.29 | 104819 |
| NY.ROSETON.SOURCE.30 | 104820 |
| NY.ROSETON.SOURCE.31 | 104821 |
| NY.ROSETON.SOURCE.32 | 104822 |
| NY.ROSETON.SOURCE.33 | 104823 |
| NY.ROSETON.SOURCE.34 | 104824 |
| NY.ROSETON.SOURCE.35 | 104825 |
| NY.ROSETON.SOURCE.36 | 104826 |
| NY.ROSETON.SOURCE.37 | 104827 |
| NY.ROSETON.SOURCE.38 | 104828 |
| NY.ROSETON.SOURCE.39 | 104829 |
| NY.ROSETON.SOURCE.40 | 104830 |
| NY.ROSETON.SOURCE.41 | 108740 |
| NY.ROSETON.SOURCE.42 | 108741 |
| NY.ROSETON.SOURCE.43 | 108742 |
| NY.ROSETON.SOURCE.44 | 108743 |
| NY.ROSETON.SOURCE.45 | 108744 |
| NY.ROSETON.SOURCE.46 | 108745 |
| NY.ROSETON.SOURCE.47 | 108746 |
| NY.ROSETON.SOURCE.48 | 108747 |
| NY.ROSETON.SOURCE.49 | 108748 |
| NY.ROSETON.SOURCE.50 | 108749 |
| NY.ROSETON.SOURCE.GBACK | 225541 |
| NY.ROSETON.SOURCE.GBACK.01 | 216294 |
| NY.ROSETON.SOURCE.GBACK.02 | 222016 |
| NY.ROSETON.SOURCE.GBACK.03 | 222017 |
| NY.ROSETON.SOURCE.GBACK.04 | 222018 |
| NY.ROSETON.SOURCE.GBACK.05 | 222019 |
| NY.ROSETON.SOURCE.GBACK.06 | 222020 |
| NY.ROSETON.SOURCE.GBACK.07 | 222021 |
| NY.ROSETON.SOURCE.GBACK.08 | 222022 |
| NY.ROSETON.SOURCE.GBACK.09 | 222023 |
| NY.ROSETON.SOURCE.GBACK.10 | 222024 |
| NY.ROSETON.SOURCE.GBACK.11 | 222025 |
| NY.ROSETON.SOURCE.GBACK.12 | 222026 |
| NY.ROSETON.SOURCE.GBACK.13 | 222027 |
| NY.ROSETON.SOURCE.GBACK.14 | 222028 |
| NY.ROSETON.SOURCE.GBACK.15 | 222029 |
| NY.ROSETON.SOURCE.GBACK.16 | 222030 |
| NY.ROSETON.SOURCE.GBACK.17 | 222031 |
| NY.ROSETON.SOURCE.GBACK.18 | 222032 |
| NY.ROSETON.SOURCE.GBACK.19 | 222033 |
| NY.ROSETON.SOURCE.GBACK.20 | 222034 |
| PQ.BEAUHARNOIS.SOURCE.SBACK.01 | 239090 |
| PQ.BEAUHARNOIS.SOURCE.01 | 105160 |
| PQ.BEAUHARNOIS.SOURCE.02 | 105161 |
| PQ.BEAUHARNOIS.SOURCE.03 | 105138 |
| PQ.BEAUHARNOIS.SOURCE.04 | 105115 |
| PQ.BEAUHARNOIS.SOURCE.05 | 105116 |
| PQ.BEAUHARNOIS.SOURCE.06 | 105117 |
| PQ.BEAUHARNOIS.SOURCE.07 | 105118 |
| PQ.BEAUHARNOIS.SOURCE.08 | 105119 |
| PQ.BEAUHARNOIS.SOURCE.09 | 105120 |
| PQ.BEAUHARNOIS.SOURCE.10 | 105121 |
| PQ.BEAUHARNOIS.SOURCE.11 | 105175 |
| PQ.BEAUHARNOIS.SOURCE.12 | 105176 |
| PQ.BEAUHARNOIS.SOURCE.13 | 105177 |
| PQ.BEAUHARNOIS.SOURCE.14 | 105178 |
| PQ.BEAUHARNOIS.SOURCE.15 | 105179 |
| PQ.BEAUHARNOIS.SOURCE.16 | 105180 |
| PQ.BEAUHARNOIS.SOURCE.17 | 105181 |
| PQ.BEAUHARNOIS.SOURCE.18 | 105182 |
| PQ.BEAUHARNOIS.SOURCE.19 | 105183 |
| PQ.BEAUHARNOIS.SOURCE.20 | 105184 |
| PQ.BRYSON.SINK.01 | 105071 |
| PQ.BRYSON.SINK.02 | 105072 |
| PQ.BRYSON.SINK.03 | 105046 |
| PQ.BRYSON.SINK.04 | 105047 |
| PQ.BRYSON.SINK.05 | 105048 |
| PQ.BRYSON.SOURCE.01 | 105150 |
| PQ.BRYSON.SOURCE.02 | 105151 |
| PQ.BRYSON.SOURCE.03 | 105152 |
| PQ.BRYSON.SOURCE.04 | 105153 |
| PQ.BRYSON.SOURCE.05 | 105154 |
| PQ.KIPAWA.SINK.01 | 105049 |
| PQ.KIPAWA.SINK.02 | 105050 |
| PQ.KIPAWA.SINK.03 | 105051 |
| PQ.KIPAWA.SINK.04 | 105052 |
| PQ.KIPAWA.SINK.05 | 105053 |
| PQ.KIPAWA.SOURCE.01 | 105155 |
| PQ.KIPAWA.SOURCE.02 | 105156 |
| PQ.KIPAWA.SOURCE.03 | 105157 |
| PQ.KIPAWA.SOURCE.04 | 105158 |
| PQ.KIPAWA.SOURCE.05 | 105159 |
| PQ.MACLAREN.SINK.01 | 105105 |
| PQ.MACLAREN.SINK.02 | 105106 |
| PQ.MACLAREN.SINK.03 | 105107 |
| PQ.MACLAREN.SINK.04 | 105108 |
| PQ.MACLAREN.SINK.05 | 105109 |
| PQ.MACLAREN.SOURCE.01 | 105185 |
| PQ.MACLAREN.SOURCE.02 | 105122 |
| PQ.MACLAREN.SOURCE.03 | 105123 |
| PQ.MACLAREN.SOURCE.04 | 105124 |
| PQ.MACLAREN.SOURCE.05 | 105125 |
| PQ.MACLAREN.SOURCE.GBACK.01 | 216295 |
| PQ.MASSON.SINK.01 | 105088 |
| PQ.MASSON.SINK.02 | 105089 |
| PQ.MASSON.SINK.03 | 105066 |
| PQ.MASSON.SINK.04 | 105043 |
| PQ.MASSON.SINK.05 | 105044 |
| PQ.MASSON.SOURCE.01 | 105131 |
| PQ.MASSON.SOURCE.02 | 105132 |
| PQ.MASSON.SOURCE.03 | 105162 |
| PQ.MASSON.SOURCE.04 | 105139 |
| PQ.MASSON.SOURCE.05 | 105140 |
| PQ.OUTAOUAIS.SINK.01 | 109757 |
| PQ.OUTAOUAIS.SINK.02 | 109758 |
| PQ.OUTAOUAIS.SINK.03 | 109759 |
| PQ.OUTAOUAIS.SINK.04 | 109760 |
| PQ.OUTAOUAIS.SINK.05 | 109761 |
| PQ.OUTAOUAIS.SINK.06 | 109762 |
| PQ.OUTAOUAIS.SINK.07 | 109763 |
| PQ.OUTAOUAIS.SINK.08 | 109764 |
| PQ.OUTAOUAIS.SINK.09 | 109765 |
| PQ.OUTAOUAIS.SINK.10 | 109766 |
| PQ.OUTAOUAIS.SINK.11 | 109767 |
| PQ.OUTAOUAIS.SINK.12 | 109768 |
| PQ.OUTAOUAIS.SINK.13 | 109769 |
| PQ.OUTAOUAIS.SINK.14 | 109770 |
| PQ.OUTAOUAIS.SINK.15 | 109771 |
| PQ.OUTAOUAIS.SINK.16 | 109772 |
| PQ.OUTAOUAIS.SINK.17 | 109773 |
| PQ.OUTAOUAIS.SINK.18 | 109774 |
| PQ.OUTAOUAIS.SINK.19 | 109775 |
| PQ.OUTAOUAIS.SINK.20 | 109776 |
| PQ.OUTAOUAIS.SOURCE.01 | 109777 |
| PQ.OUTAOUAIS.SOURCE.02 | 109779 |
| PQ.OUTAOUAIS.SOURCE.03 | 109780 |
| PQ.OUTAOUAIS.SOURCE.04 | 109782 |
| PQ.OUTAOUAIS.SOURCE.05 | 109783 |
| PQ.OUTAOUAIS.SOURCE.06 | 109784 |
| PQ.OUTAOUAIS.SOURCE.07 | 109785 |
| PQ.OUTAOUAIS.SOURCE.08 | 109786 |
| PQ.OUTAOUAIS.SOURCE.09 | 109787 |
| PQ.OUTAOUAIS.SOURCE.10 | 109788 |
| PQ.OUTAOUAIS.SOURCE.11 | 109789 |
| PQ.OUTAOUAIS.SOURCE.12 | 109790 |
| PQ.OUTAOUAIS.SOURCE.13 | 109791 |
| PQ.OUTAOUAIS.SOURCE.14 | 109792 |
| PQ.OUTAOUAIS.SOURCE.15 | 109793 |
| PQ.OUTAOUAIS.SOURCE.16 | 109794 |
| PQ.OUTAOUAIS.SOURCE.17 | 109795 |
| PQ.OUTAOUAIS.SOURCE.18 | 109796 |
| PQ.OUTAOUAIS.SOURCE.19 | 109797 |
| PQ.OUTAOUAIS.SOURCE.20 | 109798 |
| PQ.OUTAOUAIS.SOURCE.SBACK.01 | 148491 |
| PQ.OUTAOUAIS.US.SINK.01 | 109991 |
| PQ.OUTAOUAIS.US.SINK.02 | 109994 |
| PQ.OUTAOUAIS.US.SINK.03 | 109995 |
| PQ.OUTAOUAIS.US.SINK.04 | 109996 |
| PQ.OUTAOUAIS.US.SINK.05 | 109997 |
| PQ.OUTAOUAIS.US.SINK.06 | 109998 |
| PQ.OUTAOUAIS.US.SINK.07 | 109999 |
| PQ.OUTAOUAIS.US.SINK.08 | 110000 |
| PQ.OUTAOUAIS.US.SINK.09 | 110001 |
| PQ.OUTAOUAIS.US.SINK.10 | 110002 |
| PQ.OUTAOUAIS.US.SINK.11 | 109993 |
| PQ.OUTAOUAIS.US.SINK.12 | 110003 |
| PQ.OUTAOUAIS.US.SINK.13 | 110004 |
| PQ.OUTAOUAIS.US.SINK.14 | 110005 |
| PQ.OUTAOUAIS.US.SINK.15 | 110006 |
| PQ.OUTAOUAIS.US.SINK.16 | 110007 |
| PQ.OUTAOUAIS.US.SINK.17 | 110008 |
| PQ.OUTAOUAIS.US.SINK.18 | 110009 |
| PQ.OUTAOUAIS.US.SINK.19 | 110010 |
| PQ.OUTAOUAIS.US.SINK.20 | 110011 |
| PQ.PAUGAN.SINK.01 | 105045 |
| PQ.PAUGAN.SINK.02 | 105110 |
| PQ.PAUGAN.SINK.03 | 105111 |
| PQ.PAUGAN.SINK.04 | 105112 |
| PQ.PAUGAN.SINK.05 | 105113 |
| PQ.PAUGAN.SOURCE.01 | 105135 |
| PQ.PAUGAN.SOURCE.02 | 105136 |
| PQ.PAUGAN.SOURCE.03 | 105137 |
| PQ.PAUGAN.SOURCE.04 | 105114 |
| PQ.PAUGAN.SOURCE.05 | 105091 |
| PQ.QUYON.SOURCE.01 | 105141 |
| PQ.QUYON.SOURCE.02 | 105142 |
| PQ.QUYON.SOURCE.03 | 105143 |
| PQ.QUYON.SOURCE.04 | 105144 |
| PQ.QUYON.SOURCE.05 | 105145 |
| PQ.RAPIDDESISLE.SINK.01 | 105054 |
| PQ.RAPIDDESISLE.SINK.02 | 105055 |
| PQ.RAPIDDESISLE.SINK.03 | 105056 |
| PQ.RAPIDDESISLE.SINK.04 | 105073 |
| PQ.RAPIDDESISLE.SINK.05 | 105074 |
| PQ.RAPIDDESISLE.SOURCE.01 | 105096 |
| PQ.RAPIDDESISLE.SOURCE.02 | 105097 |
| PQ.RAPIDDESISLE.SOURCE.03 | 105098 |
| PQ.RAPIDDESISLE.SOURCE.04 | 105099 |
| PQ.RAPIDDESISLE.SOURCE.05 | 105100 |
| WC.PRAIRERANGES.SINK.01 | 104999 |
| WC.PRAIRERANGES.SINK.02 | 105000 |
| WC.PRAIRERANGES.SINK.03 | 105001 |
| WC.PRAIRERANGES.SINK.04 | 105008 |
| WC.PRAIRERANGES.SINK.05 | 105009 |

– End of Appendix –

## Appendix D: Ontario Specific e-Tag Requirements

### D.1	Specific requirements for e-Tag

The following requirements are associated with the Physical Path section of the e-Tag. The conventions listed below will ensure correct treatment of the transaction by the Interchange Distribution Calculator (IDC) model for curtailment purposes. Failure to follow these requirements may result in transaction curtailments by the TLR process when the transaction does not impact the flow gate in question, due to incorrect modeling within IDC.

D.1.1	CA Column

- Control Area (CA) has to contain “ONT” when the generation supplying the transaction is physically located in Ontario.

- Control Area (CA) has to contain “ONT” when the load being supplied by the transaction is physically located in Ontario.

D.1.2	TP Column

All transactions associated with the IESO must show the IESO as Transmission Provider (TP), using “ONT” as identifier. This includes all transactions with HQT and linked wheeling through transactions (where the IESO is not identified as the source or sink CA).

D.1.3	POR and POD Column

Point of Receipt (POR) and Point of Delivery (POD) names must represent the interface that the transactions are associated with. For exports, a POD must be selected from the drop down list and for imports, a POR must be selected. Table D-1 lists the proper PORs and PODs.

Note: POD/POR information is available on the OATI webRegistry (login required).

Table D-1: Interface PORs and PODs

| Interface | Imports (POR) | Exports (POD) |
| --- | --- | --- |
| Manitoba MBSI | ONT.IMPORT.WHITSHELL.PS | ONT.EXPORT.WHITSHELL.PS |
| Michigan MISI | ONT.IMPORT.MECS.PS | ONT.EXPORT.MECS.PS |
| Minnesota MNSI | ONT.IMPORT.INTFALLS.PS | ONT.EXPORT.INTFALLS.PS |
| New York NYSI | ONT.IMPORT.NYIS.PS | ONT.EXPORT.NYIS.PS |
| Outaouais PQAT | ONT.IMPORT.AT | ONT.EXPORT.AT |
| Beauharnois PQBE | ONT.IMPORT.LAW | ONT.EXPORT.LAW |
| D5A PQDA | ONT.IMPORT.D5A | ONT.EXPORT.D5A |
| D4Z PQDZ | ONT.IMPORT.D4Z | ONT.EXPORT.D4Z |
| H9A PQHA | ONT.IMPORT.H9A | ONT.EXPORT.H9A |
| A4Z PQAZ | ONT.IMPORT.A4Z | ONT.EXPORT.A4Z |
| P33C PQPC | ONT.IMPORT.P33C | N/A |
| Q4C PQQC | N/A | ONT.EXPORT.Q4C |
| X2Y PQXY | ONT.IMPORT.X2Y | ONT.EXPORT.X2Y |

Examples:

With the introduction of phase shifters on all circuits across the Ontario – Michigan intertie, market participants that are submitting offers and bids for interchange schedules across the Ontario – Michigan intertie are required to use the following POD and POR names:

ONT.IMPORT.MECS.PS as POR name for interchange schedules into IESO from MECS, and

ONT.EXPORT.MECS.PS as POD name for interchange schedules out of the IESO towards MECS.

For those interties where segregated mode of operation is available, the POD and POR portion of the physical path in the e-Tag must be as follows:

ONT.EXPORT.Q4C as the POD name for interchange schedules out of the IESO towards HQT at Chats Falls GS,

ONT.EXPORT.LAW.as the POD name for interchange schedules out of the IESO towards HQT at Saunders GS, and

ONT.IMPORT.LAW as the POR name for interchange schedules into IESO from HQT at Beauharnois.

- For a wheel tag from HQ/PQAT through ONT to Michigan, both ONT.IMPORT.AT and ONT.EXPORT.MECS.PS would appear on the path.

D.1.4	SE Column

This column should identify ONT as the scheduling entity (SE) on those rows where an Ontario POR/POD is identified.

### D.2	Examples of e-Tag Format Conventions for Interchange Schedules from Linked Wheeling Through Transactions

D.2.1	Example 1

Dispatch data for an import and an export that contains dispatch data with the following e-Tag IDs would indicate an interchange schedule from a linked wheeling through transaction:

WI_GGGG_ONTMM1234567_LLLL; and

WX_GGGG_ONTMM1234567_LLLL

D.2.2	Example 2

An interchange schedule from a linked wheeling through transaction involving the Hydro Quebec TransEnergie (HQT) control area, the e-Tag must identify HQT as being the SOURCE, the SINK or intermediate control area, otherwise, the IESO will deny the e-Tag.

For example, an interchange schedule from a linked wheeling through transaction  from Michigan to New York through Quebec must be tagged MECS-ONT-HQT

Where:

MECS is the source control area in Michigan.

HQT is the Quebec sink control area.

An additional e-Tag will be required to complete the linked wheeling through transaction from Michigan to New York.

The correct identification of these transactions in the e-Tag tool must show the IESO as both the Generating Control Area and the Transmission Provider.

All transactions involving Hydro Quebec TransEnergie must also identify HQT as a Transmission Provider in order for the NERC IDC tool to treat them appropriately (as radial or DC transmission).

– End of Appendix –

## Appendix E: Virtual Transaction Zones and Virtual Zonal Resources

The following table details the virtual zonal resource names for each virtual transaction zone. In all cases, there is only a single source resource and a single sink resource created at each location. The number of resources reflects the maximum number of virtual transactions that any one registered market participant could submit.

Table E-1: Virtual Zonal Resources

| Zone | Virtual Transaction Zone | Virtual Zonal Resource Name | Virtual Resource Zone ID | Description |
| --- | --- | --- | --- | --- |
| East | EAST:HUB | EAST_BID:HUB | 200002 | Virtual load in the East zone. |
|  |  | EAST_OFFER:HUB | 200001 | Virtual supply in the East zone. |
| Essa | ESSA:HUB | ESSA_BID:HUB | 200004 | Virtual load in the Essa zone. |
|  |  | ESSA_OFFER:HUB | 200003 | Virtual supply in the Essa zone. |
| Niagara | NIAGARA:HUB | NIAGARA_BID:HUB | 200006 | Virtual load in the Niagara zone. |
|  |  | NIAGARA_OFFER:HUB | 200005 | Virtual supply in the Niagara zone. |
| Northeast | NORTHEAST:HUB | NORTHEAST_BID:HUB | 200008 | Virtual load in the Northeast zone. |
|  |  | NORTHEAST_OFFER:HUB | 200007 | Virtual supply in the Northeast zone. |
| Northwest | NORTHWEST:HUB | NORTHWEST_BID:HUB | 200010 | Virtual load in the Northwest zone. |
|  |  | NORTHWEST_OFFER:HUB | 200009 | Virtual supply in the Northwest zone. |
| Ottawa | OTTAWA:HUB | OTTAWA_BID:HUB | 200012 | Virtual load in the Ottawa zone. |
|  |  | OTTAWA_OFFER:HUB | 200011 | Virtual supply in the Ottawa zone. |
| Southwest & Bruce | SOUTHWEST:HUB | SOUTHWEST_BID:HUB | 200014 | Virtual load in the combined Southwest and Bruce zone. |
|  |  | SOUTHWEST_OFFER:HUB | 200013 | Virtual supply in the combined Southwest and Bruce zone. |
| Toronto | TORONTO:HUB | TORONTO_BID:HUB | 200016 | Virtual load in the Toronto zone. |
|  |  | TORONTO_OFFER:HUB | 200015 | Virtual supply in the Toronto zone. |
| West | WEST:HUB | WEST_BID:HUB |  | Virtual load in the West zone. |
|  |  | WEST_OFFER:HUB |  | Virtual supply in the West zone. |

– End of Appendix –

## Appendix F: Submission of Dispatch Data in the IESO Tools

This appendix provides additional information on the IESO tools to facilitate the submission of dispatch data to the IESO-administered markets. Information on how specific market rules are integrated in the tools may also be provided.

### F.1	Energy Bid or Offer Dispatch Data Forms

Table F-1 lists various energy dispatch data parameters, its applicability to each resource type and the form it is submitted on. The following letters denote each form:

R – Real-Time Energy Market Form

D – Daily Dispatch Data Form

F – Forebay Form

Table F-1: Dispatch Data Forms

|  | GENERATOR |  |  |  |  |  | PSEUDO-UNIT |  |  |  | LOAD |  | ELECTRICITY STORAGE |  |  | PRICE RESPONSIVE LOAD |  | INJECTION & OFF-TAKE |  | VIRTUAL GENERATOR & VIRTUAL LOAD |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dispatch Data Parameter | Hydroelectric (Forebay) | Hydroelectric (Non-Forebay) | Nuclear | Variable Generation | Other Non-Quick Start | Other Quick Start | Pseudo-Unit | Combustion Turbine | Steam Turbine | Dispatchable Load & Hourly Demand Response |  | Registered to inject |  | Registered to withdraw |  |  |  |  |  |  |
| Price-Quantity Pairs | R | R | R | R | R | R | R |  |  | R |  | R |  | R | R |  | R |  | R |  |
| Hourly Energy Ramp Rate | R | R | R | R | R | R | R |  |  | R |  | R |  | R |  |  | R |  |  |  |
| Daily Energy Ramp Rate | R | R | R | R | R | R | R |  |  | R |  | R |  | R |  |  | R |  |  |  |
| OR Ramp Rate | R | R | R | R | R | R | R |  |  | R |  | R |  | R |  |  | R |  |  |  |
| Hot Start-Up Offer |  |  |  |  | R |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Warm Start-Up Offer |  |  |  |  | R |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cold Start-Up Offer |  |  |  |  | R |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Speed No-Load Offer |  |  |  |  | R |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Thermal State |  |  |  |  | R |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Minimum Hourly Output | R | R |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hourly Must Run | R | R |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maximum Daily Energy Limit | F | R |  | R | R | R | R |  |  |  |  | R |  |  |  |  |  |  |  |  |
| Minimum Daily Energy Limit | F | R |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Linked Forebay, Time Lag and MWh Ratio | F |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Variable Generation Forecast Quantity |  |  |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tie-Point |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R |  |  |  |
| NERC tag ID (e-Tag ID) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R |  |  |  |
| Capacity Transaction Flag |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R |  |  |  |
| Virtual Transaction Zonal Trading Entity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R |  |
| Forbidden Regions | D | D |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MNSPD | D | D |  |  | D |  |  | D |  |  |  |  |  |  |  |  |  |  |  |  |
| MLP |  |  |  |  | D |  |  | D | D |  |  |  |  |  |  |  |  |  |  |  |
| MGBRT |  |  |  |  | D |  |  | D |  |  |  |  |  |  |  |  |  |  |  |  |
| Hot MGBDT |  |  |  |  | D |  |  | D |  |  |  |  |  |  |  |  |  |  |  |  |
| Warm MGBDT |  |  |  |  | D |  |  | D |  |  |  |  |  |  |  |  |  |  |  |  |
| Cold MGBDT |  |  |  |  | D |  |  | D |  |  |  |  |  |  |  |  |  |  |  |  |
| Single Cycle Mode |  |  |  |  |  |  |  | D |  |  |  |  |  |  |  |  |  |  |  |  |
| Hot Lead Time |  |  |  |  | D |  |  | D |  |  |  |  |  |  |  |  |  |  |  |  |
| Warm Lead Time |  |  |  |  | D |  |  | D |  |  |  |  |  |  |  |  |  |  |  |  |
| Cold Lead Time |  |  |  |  | D |  |  | D |  |  |  |  |  |  |  |  |  |  |  |  |
| Hot Ramp Up Energy to MLP |  |  |  |  | D |  |  | D | D |  |  |  |  |  |  |  |  |  |  |  |
| Warm Ramp Up Energy to MLP |  |  |  |  | D |  |  | D | D |  |  |  |  |  |  |  |  |  |  |  |
| Cold Ramp Up Energy to MLP |  |  |  |  | D |  |  | D | D |  |  |  |  |  |  |  |  |  |  |  |

### F.2	Whole Submission of Dispatch Data

Submission to the IESO tool – In order to allow the IESO tool to perform validations, all submitted hourly dispatch data and any accompanying daily dispatch data in a given submission is evaluated, and accepted or rejected as a whole submission. This means all hourly dispatch data for all dispatch hours and the accompanying daily dispatch data in the submission is accepted if all validations are passed, and rejected if any single validation is failed.

Dispatch data in the IESO system – Previously accepted and approved dispatch data for a dispatch hour is taken into consideration when validating the current submission (as applicable) if the dispatch hour has not been submitted in the current submission. While previously accepted and approved dispatch data in the system is used for validation, the acceptance or rejection of the current submission does not impact previously accepted and approved dispatch data in the system.

Example – Twenty-four dispatch hours of the dispatch day was previously submitted and the dispatch data was accepted and approved by the IESO. The registered market participant subsequently submits revisions to six dispatch hours of the dispatch day along with daily dispatch data that is submitted with the hourly dispatch data to the IESO. The IESO tools will evaluate the six dispatch hours that were submitted along with the other eighteen dispatch hours in the system to perform validations.

If all validations are passed, the six dispatch hours along with daily dispatch data that is submitted with the hourly dispatch data is entered into the IESO system. If any validation is failed, the six dispatch hours along with daily dispatch data that is submitted with the hourly dispatch data is rejected. The IESO systems will continue to use the previously accepted and approved dispatch data for the twenty-four dispatch hours.

IESO approval – When certain dispatch hours in the submission require IESO approval, such as dispatch hours in the real-time market mandatory window, the whole submission is accepted or rejected pending on the IESO’s decision to approve or reject the dispatch hours that require the IESO’s approval.

### F.3	Order of Submission

Conversion of standing dispatch data – The IESO will convert standing dispatch data to dispatch data each day prior to the dispatch day at 06:00 EPT using the following submission order:

Daily Dispatch Data Form

Real-Time Energy Market Form

Operating Reserve Form (if applicable)

Forebay Form (if applicable)

Initial submission – An order of submission for the initial submission of dispatch data (of the data forms listed in Appendix F.1) is recommended to facilitate the successful validation of dispatch data (if applicable). The recommended submission order for the initial submission is the same order as the conversion of standing dispatch data.

Consideration – An order of submission is recommended for data forms that include any dispatch data parameters that are preconditions to another dispatch data parameter submitted on another form.

Example – The Daily Dispatch Data Form contains mandatory dispatch data parameters that apply only to non-quick start (NQS) and pseudo-unit resource types (e.g., MLP, MGBRT, MGBDT, and Lead Time). As a result, the Daily Dispatch Data Form needs to be submitted first for non-quick start resources and pseudo-unit resources that are required to submit these parameters. Hydroelectric resources that are not required to submit these parameters do not need to submit the Daily Dispatch Data Form first in accordance with the order of submission list above.

### F.4	Cross Validation

IESO tool limitations – The IESO tool performs cross validation of dispatch data in accordance with the market rules to the greatest extent feasible, however, there are cross validations where automatic validation by the IESO tool is not possible.

### F.5	Concurrent Submissions

Concurrent submission processing – Concurrent submission processing occurs when submitting multiple data files simultaneously to the IESO for different dispatch data forms, data for multiple resources, or a combination of both. The IESO tool will process the submission concurrently to optimize tool performance.

Limitation to concurrent submissions processing – Where a validation exists between different dispatch data forms, resource submissions, or a combination of both, the processing of these submissions cannot occur simultaneously to facilitate validating the dispatch data correctly. In this situation, the IESO tool will process the submission in an order as determined by the IESO tool, and reject other submissions until processing of the first submission has been completed.

Managing concurrent submissions – To manage concurrent submissions, the registered market participant may submit the data files separately or create a delay in their submission process.

Submitting through the web interface – Concurrent submissions are not possible when submitting using the IESO’s web interface as the interface can only receive a submission for one resource and one form at a time. Where a submission has been made and is waiting for IESO operator approval, subsequent related submissions may be rejected if the previous submission has not completed processing.

Submissions interrelated by validations – The following table provides a summary and examples of concurrent submissions for the IESO tool.

Table F-2: Concurrent Submissions

| Resource Submissions | Submission Forms | Examples of Rejected Concurrent Submissions |
| --- | --- | --- |
| Single resource that is not related to another resource | RTEM form Operating Reserve form Daily Dispatch Data form (applicable to non-quick start resources, excluding nuclear resources) | RTEM and Operating Reserve form RTEM and Daily Dispatch Data form together from a non-quick start resource (excluding nuclear resources) |
| All resources that are registered to a single forebay | RTEM form Operating Reserve form Forebay form Daily Dispatch Data form | RTEM and Forebay form RTEM form for multiple resources registered to the same forebay |
| A pseudo-unit, the corresponding combustion turbine generation unit, and the associated steam turbine generation unit | RTEM form Operating Reserve form Daily Dispatch Data form | RTEM and Daily Dispatch Data form for either the corresponding combustion turbine generation unit or associated steam turbine generation unit Daily Dispatch Data form on the associated steam turbine generation unit and RTEM or Daily Dispatch Data form for any related pseudo-unit and combustion turbine generation unit. |
| All virtual zonal resources from an single registered market participant | RTEM form | RTEM form for multiple virtual zonal resources from a single registered market participant |
| Price responsive load and hourly demand response resource that is associated to a set of load equipment | RTEM form | RTEM form for a price responsive load and hourly demand response resource associated to the same load equipment |

### F.6	Cancelling of Dispatch Data and Submission of Null Values

Cancelling hourly dispatch data – Hourly dispatch data that has been submitted can be cancelled for the dispatch hour using the cancellation option in the IESO tools. Any daily dispatch data that is submitted with hourly dispatch data on the same form is automatically cancelled when all the hourly dispatch data associated with the same dispatch day has been cancelled.

Cancelling daily dispatch data – The cancellation option is not available for daily dispatch data that is submitted independently of hourly dispatch data on a separate form.

Submitting null for a daily dispatch data parameter – The registered market participant can submit a null value for an optional daily dispatch data parameter that has previously been submitted to the IESO. The submission of the null value is comparable to the cancellation of the parameter, and the default value is applied if applicable to the parameter. For a parameter that is mandatory, the submission of a null value would be rejected by the IESO tool. Submitting a null is also applicable to daily dispatch data that is submitted with hourly dispatch data.

Submitting zero for a dispatch data parameter – The submission of zero does not equate the submission of a null value. For example, after a maximum daily energy limit has been submitted, the registered market participant can only remove the submission by resubmitting a null (i.e. leaving the field blank) in the maximum daily energy limit field. Submitting a value of zero does not remove the maximum daily energy limit and indicates that the resource or resources registered to the shared forebay, or electricity storage resource registered to inject, has no energy that can be scheduled.

### F.7	Revision Restrictions for GOG-eligible Resources

(MR Ch.7 ss.3.3.3.4 – 3.3.3.8, 3.3.3.10 and 3.3.3.12)

IESO tool validation – Start-up offer, speed-no-load offer, and incremental energy and operating reserve offer revision restrictions, in accordance with in MR Ch.7 ss.3.3.3.4 – 3.3.3.8, 3.3.3.10 and 3.3.3.12, are validated by the IESO tools.

Cancelling of dispatch data that is subject to revision restriction – The cancellation of dispatch data does not absolve the revisions restrictions in the IESO tool, and applicable revision restrictions continue to apply to resubmissions following the cancellation. For example, dispatch data for the next dispatch day is cancelled by the registered market participant:

- At 19:59 EST – the last valid submission prior to the cancellation of data are used to apply the revision restrictions at 20:00 EST.

- After receiving a commitment – the last values accepted by the IESO prior to the IESO issuing the commitment are used to apply the revision restrictions.

Submissions during the first 30 minutes of the hour – A registered market participant is prohibited from submitting dispatch data for the pre-dispatch process during the first 30 minutes of the hour that includes an offer price increase for any quantities above the minimum loading point or includes an operating reserve offer price increase. This is to avoid non-compliance with MR Ch.7 s.3.3.3.14 as submissions made after the pre-dispatch process has initialized and before the commitment results are issued do not comply to the market rule.

Second start-up notice – Under certain conditions, a resource may receive a second start-up notice that supersedes the first start-up notice for a pre-dispatch operational commitment. In this scenario, the revision restrictions pursuant to MR Ch.7 ss.3.3.3.8, 3.3.3.10 and 3.3.3.12 are applied based on the binding pre-dispatch advisory schedule associated with the second start-up notice.

### F.8	Revision Restriction Exceptions and Reason Codes

(MR Ch.7 ss.3.3.3.9.b, 3.3.3.11.b, 3.3.3.11.c, 3.3.3.13.b and 3.3.7.3)

Reason codes – The submission of specific reason codes is used to facilitate the exceptions to revision restrictions in the IESO tools pursuant to MR Ch.7 ss.3.3.3.9.b, 3.3.3.11.b, 3.3.3.11.c, 3.3.3.13.b and 3.3.7.3.

FO-ST – Forced Outage on ST reason code must be submitted in the REASON CODE field for exceptions to energy and operating reserve offer price revision restrictions related to a forced outage on a steam turbine of a pseudo-unit. The same reason code must also be submitted in the REASON CODE field for exceptions to single cycle mode revision restrictions related to a forced outage on a steam turbine of a pseudo-unit.

MPM-EORLI – MPM Energy Offer Reference Level Increase reason code must be submitted in the REASON CODE field for exceptions to energy offer price revision restrictions related to energy offer reference level increases.

IESO tool validation – The submission of the ‘FO-ST’ or ‘MPM-EORLI’ reason codes indicate an exception to the applicable revision restrictions that are validated by the IESO tool. A submission that does not include these reason codes and when the revision restrictions are applicable will not pass validation and is automatically rejected. The acceptance and approval of the submission by the IESO tool while using these reason codes does not imply compliance to the market rules, and the submission may be reviewed by the IESO.

– End of Appendix –

List of Acronyms

| Acronym | Term |
| --- | --- |
| ADE | availability declaration envelope |
| BCP | business continuity plan |
| CER | Canada Energy Regulator |
| CT | combustion turbine |
| DAM | day-ahead market |
| EMI | Energy Market Interface |
| EPT | Eastern Prevailing Time |
| EST | Eastern Standard Time |
| GCAP | generator-backed capacity import |
| GOG | generator offer guarantee |
| HDR | hourly demand response |
| HQT | Hydro Quebec TransÉnergie |
| IDC | Interchange Distribution Calculator |
| IESO | Independent Electricity System Operator |
| LMP | locational marginal price |
| MGBDT | minimum generation block down-time |
| MGBRT | minimum generation block run-time |
| MGC | maximum generator capacity |
| MLP | minimum loading point |
| MMCP | maximum market clearing price |
| MORP | maximum operating reserve price |
| MOS | Market Operation System |
| MPI | Market Participant Interface |
| MPM | market power mitigation |
| MW | megawatt |
| MWh | megawatt hour |
| MW/min | megawatts per minute |
| NERC | North American Electric Reliability Corporation |
| NQS | non-quick start |
| NYISO | New York Independent System Operator |
| OATI | Open Access Technology International, Inc. |
| OR | operating reserve |
| PJM | Pennsylvania–New Jersey–Maryland |
| POD | point of delivery |
| POR | point of receipt |
| PRL | price responsive load |
| PSU | pseudo-unit |
| RTEM | Real Time Energy Market |
| RTM | real-time market |
| SCAP | system-backed capacity import |
| SE | scheduling entity |
| SinkCA | sink control area |
| SourceCA | source control area |
| ST | steam turbine |
| TLR | transmission loading relief |
| TP | transmission provider |

– End of Section –

References

| Document ID & Link | Document Title |
| --- | --- |
| RUL-6 to RUL-24 | Market Rules for the Ontario Electricity Market |
| MAN-108 | Market Manual 1.5: Market Registration Procedures |
| MAN-113 | Market Manual 4.5: Market Suspension and Resumption |
| MAN-123 | Market Manual 7.3: Outage Requests |
| MAN-168 | Market Manual 13.1: Capacity Export Requests |

– End of Document –

For more on dispatch data submission for generator tests with immediate recall, refer to MM 7.3 s.4.1.2.

An escalating start-up offer is created by including, in the start-up offers for the hour, the speed-no-load offers and energy offers up to MLP for the hour(s) required to satisfy the completion of the MGBRT in the following day.

The maximum daily energy limit submitted on a hydroelectric generation resource registered to have a shared forebay represents the maximum amount of energy that can be scheduled in a dispatch day across all hydroelectric generation resources registered to the same shared forebay (i.e., the sum of the hourly schedules over a dispatch day on all resources registered to a shared forebay will not exceed the specified limit).

A SEAL constraint is used to help prevent a situation that could potentially endanger the safety of any person, damage equipment or the environment, or violate any applicable law.

Specifically pertaining to the submission of ramp up energy to minimum loading point on the steam turbine generation unit, the combustion turbine generation unit is considered to be associated to the steam turbine generation unit when the single cycle mode is set to False.

For example, assuming a reserve loading point of 100 MW, an energy schedule of 60 MW, and a maximum offered quantity of 20 MW of thirty-minute operating reserve. The schedule of thirty-minute operating reserve will be limited to a maximum of (60/100) multiplied by 20 MW = 12 MW. Note that this example assumes that the submitted operating reserve ramp rate does not limit the amount of operating reserve that can be scheduled.

The restrictions are a result of operating circuits B31L and B5D in the “bi-directional” mode, which means that the IESO will simultaneously schedule segregated mode of operation exports on B31L and imports on B5D.

The e-Tag ID is not the tag itself rather the unique ID # that will be used when an e-Tag is submitted through the e-Tagging system.

Market participants are responsible for submitting or adjusting impacted e-Tags early enough for the tags to be in the Interchange Distribution Calculator (IDC) database by 35 minutes prior to the dispatch hour when a transmission loading relief (TLR) procedure has been activated.

Should the registered market participants email system become unavailable for any reason, they must notify the IESO as soon as possible. Once notified, the IESO will revert to notifying the registered market participant of e-Tag adjustments by telephone.

If the e-Tag is denied by another control area the interchange schedule will be removed.

Capitalized terms in this section are defined in Market Manual 13.1: Capacity Export Requests, Appendix A: Glossary of Capacity Export Terms. Also, refer to MM 13.1 for an explanation of capacity export eligibility and approval requirements.

External control areas will not call on committed capacity after 135 minutes prior to the start of the dispatch hour. This provides market participants sufficient time to update their bids and offers. External control areas and market participants are also required to respect the mandatory window requirements outlined within this manual, as they pertain to changes/updates to the capacity call (e.g. changes in end times, MW quantities etc.).

Although the IESO’s approval is not required at the time of the submission or revision, the reason code is logged by the IESO and is reviewed after the fact.

IESO operator approval does not indicate compliance with the market rules.

For dispatchable electricity storage resources, a telephone call to the IESO is not required to report a revision in hourly energy offer quantities or hourly energy bid quantities required to manage limitations due to state of charge. This only includes reductions in quantities, and the withdrawal of energy bids and offers in the real-time market mandatory window. Per section B.7, such revisions should be accompanied by the OTHER reason code with SOC entered into the OTHER REASON field.

When dispatch data changes are required during the mandatory window to effect a change to or from dispatchable status, the dispatchable load is required to contact the IESO to indicate the reason for its load status change.

Refer to MM 7.2 s.4.3 for information regarding Minimum Generation states.

EEA2 – NERC Emergency Energy Alert 2: Implement emergency procedures up to but not including interrupting firm load.

This is a free format field, which allows you to type the reason for your submission in your own words, using up to 128 characters.

MD.CALVERTCLIFF.SINK.01-20 is for Michigan & MD.CALVERTCLIFF.SINK.21-40 is for New York.

MD.CALVERTCLIFF.SOURCE.01-20 is for Michigan & MD.CALVERTCLIFF.SOURCE.21-40 is for New York.

MD.CALVERTCLIFF.SINK.01-20 is for Michigan & MD.CALVERTCLIFF.SINK.21-40 is for New York.

MD.CALVERTCLIFF.SOURCE.01-20 is for Michigan & MD.CALVERTCLIFF.SOURCE.21-40 is for New York.

Due to scheduling restrictions imposed by the IESO, market participants scheduling imports on the Beauharnois interface are required to use only the boundary entity resource PQ.BEAUHARNOIS.SOURCE.01-10.

The IESO (ONT) will be identified as an intermediary control area in accordance with market rules Chapter 7, Section 3.5.