PROCEDURE

PUBLIC

Market Manual 4: Market Operations

# Part 4.3: Operation of the Real-Time Market

Issue 3.1

December 3, 2025

MAN-111

This procedure provides guidance to market participants on the real-time scheduling process in the real-time energy and operating reserve markets.

Document Change History

| Issue | Reason for Issue | Date |
| --- | --- | --- |
| Refer to version 68.0 (IMP_PRO_0034) for changes prior to Market Transition. |  |  |
| 1.0 | Market Transition | November 11, 2024 |
| 2.0 | Issued in advance of MRP Go Live – May 1, 2025 | April 25, 2025 |
| 3.0 | Issue released for Baseline 53.1. | June 4, 2025 |
| 3.1 | Issued for Baseline 54.1 | December 3, 2025 |

Related Documents

| Document ID | Document Title |
| --- | --- |
| MAN-109 | Market Manual 4.1: Submitting Dispatch Data in the Physical Markets |
| MAN-110 | Market Manual 4.2: Operation of the Day-Ahead Market |

Table of Contents

Table of Contents	i

List of Figures	vi

List of Tables	vi

Table of Changes	vii

Market Manuals	ix

Market Manual Conventions	ix

1	Introduction	1

1.1	Purpose	1

1.2	Scope	1

1.3	Workstation and Dispatch Workstation	3

1.4	Contact Information	4

2	The Pre-Dispatch Process	5

2.1	Pre-Dispatch Look-Ahead Period	5

2.2	Pre-Dispatch Process	6

2.3	Pre-Dispatch Data Inputs	6

2.3.1	Day-Ahead Market Inputs	7

2.3.2	IESO Data Inputs	7

2.3.3	Initializing Conditions	11

2.4	Pre-Dispatch Optimization Process	14

2.5 	Results from the Pre-Dispatch Process	14

2.5.1	Pre-Dispatch Schedules	14

2.5.2	Pre-Dispatch Operational Commitments and Constraints	19

2.5.3	Passing Pre-Dispatch Operational Commitments to Real-time	20

2.5.4	Pre-Dispatch Market Prices	20

3	The Real-Time Scheduling Process	21

3.1	Real-Time Market Timeline and Look-Ahead Period	21

3.2	Dispatch Advisories	21

3.3 	Real-Time Data Inputs	22

3.3.1	Real-Time Market Participant Data	22

3.3.2	Real-time Integration with the Pre-Dispatch Process	22

3.3.3	Real-Time IESO Data Inputs	23

3.4	Real-Time Optimization Process	24

3.5	Results from Real-Time Scheduling Process	24

3.5.1	Scheduling Outputs	24

3.5.2	Real-Time Market Prices for each Dispatch Interval	24

3.5.3	Real-Time Market Economic Operating Point	24

4	Determining Dispatch Instructions	26

4.1 	Dispatchable Generation Resources, Dispatchable Loads and Dispatchable Storage Resources	26

4.2 	Boundary Entity Resources	26

4.3	Interchange Scheduling Protocols	27

4.3.1	IESO/NYISO Protocol: NY90	27

4.3.2	IESO/MISO Protocol: MISO Protocol	29

4.4	Pre-Emptive Curtailments	29

4.5	Transaction Coding	31

4.5.1	Modifying Interchange Schedules	31

4.5.2	Methodology for Assigning Failure Codes	38

4.6	Capacity Export Scheduling and Curtailment	38

4.6.1	Capacity Export Delivery	38

4.6.2	Curtailment Provisions	39

4.7	Capacity Import Scheduling	40

4.7.1	Capacity Import Call for Generator-Backed Capacity Import Resources	40

5	Issuing Dispatch Instructions and Operational Notices	42

5.1	Dispatchable Generation Resources, Dispatchable Loads or Dispatchable Storage Resources	42

5.2	Hourly Demand Response Resources	46

5.3	Boundary Entity Resources	48

5.4	Dispatch of Operating Reserve	49

5.5	Manual Procurement of Operating Reserve during Forced or Planned Tool Outages	50

5.6	Resource Commitment Notices	51

5.6.1	Start-up Notices	51

5.6.2	Procedural Steps for Start-up Notices for GOG-Eligible Resources	52

5.6.3	Issuing Extended Pre-Dispatch Operational Commitments	53

5.6.4	Notice of Decommitment	54

5.7	Compliance with Dispatch Instructions	55

5.8	Compliance Aggregation	57

5.9	Withdrawal from Commitment	59

5.10	IESO Cancellation of Commitment for Generator Offer Guarantee Eligible Resources	59

5.11	Pre-Dispatch Operational Commitment Cancellation Cost Recovery	59

6	Publishing and Issuing Pre-Dispatch and Real-Time Reports	61

6.1	Pre-Dispatch Reports	61

6.2	Real-Time Reports	67

6.3	Retrieving Pre-Dispatch and Real-Time Reports and Notifications	73

7	Real-Time Market Remediation	74

Appendix A:	Constraint Violation Penalty Curves	76

Appendix B:	Coding of Commitments and Constraints	82

Appendix C:	Settlement Floor Price	84

List of Acronyms	85

References	87

List of Figures

Figure 2.1: Pre-Dispatch Look-Ahead Periods	5

Figure 3-1: Example of Real-time Calculation Engine Process	21

Figure 4-1: IESO - NYISO Scheduling Protocol	27

Figure 6-1: Pre-dispatch and Real-time Scheduling Process Reports	61

List of Tables

Table 2-1: Exceptions to Use of Single Cycle Mode	12

Table 4-1: Make Whole Payment Eligibility and Failure Charges	33

Table 4-2: Assigning Reason Codes to Interchange Schedule Adjustments	35

Table 5-1: Procedure for Dispatching Dispatchable Resources	43

Table 5-2: IESO and Market Participant Actions leading up to and during an Emergency Operating State	45

Table 5-3: Procedural Steps for Activating Hourly Demand Response Resources	47

Table 5-4:  Procedural Steps for Interchange Schedules	48

Table 5-5: Procedural Steps for Start-up notices for GOG-Eligible Resources	53

Table 5-6: Procedural Steps for DeCommitment notices for GOG-Eligible Resources	54

Table 6-1: Pre-dispatch Process Public Reports	62

Table 6-2: Pre-dispatch Process Confidential Reports	64

Table 6-3: Real-Time Scheduling Process Public Reports	67

Table 6-4: Real-Time Scheduling Process Confidential Reports	70

Table A-1: Penalty Curves in the Scheduling Algorithm	77

Table A-2: Penalty Curves in the Pricing Algorithm	79

Table A-3: Operating Reserve Demand Curve Laminations	81

Table B-1: Coding of Constraints	82

Table of Changes

| Reference | Description of Change |
| --- | --- |
| Throughout | Removed ‘zero series’ labelling and Market Transition section. |
| Table 2-1 | Updated the exceptions to use of single cycle mode information in accordance with MR-00484-R01: Post Go-Live True-Ups for the Renewed Market |
| Table 4-1 & Table 4-2 | Added ‘TLRe – MIN’ reason code to the make whole payment eligibility and failure charges settlement treatment table. The reason code is applied only for capacity exports. Further description added in Table 4-2. |

Market Manuals

Market manuals set out procedural and administrative details with respect to market rule requirements. Where there is a conflict between the requirements described in a market manual or appended document, and those within the market rules, the market rules shall prevail.

Market Manual Conventions

This market manual uses the following conventions:

the word 'shall' denotes a mandatory requirement;

references to market rule sections and sub-sections may be abbreviated in accordance with the following representative format: ‘MR Ch.1 ss.1.1-1.2’  (i.e. market rules, Chapter 1, sections 1.1 to 1.2).

references to other market manual sections and sub-sections may be abbreviated in accordance with the following representative format: ‘MM 1.5 ss.1.1-1.2’  (i.e. market manual 1.5, sections 1.1 to 1.2).

internal references to sections and sub-sections within this market manual take the representative format: ‘sections 1.1-1.2’

terms and acronyms used in this market manual and in its appended documents that are italicized have the meanings ascribed thereto in MR Ch.11; and

data fields are identified in all capitals.

– End of Section –

## Introduction

### Purpose

This market manual contains the information associated with the operation of the real-time market. It is intended to provide a summary of the steps and interfaces between market participants and the IESO during the operation of the real-time market.

The information in this market manual serves as a roadmap for market participants and the IESO, and reflect the requirements set out in the market rules and applicable IESO policies and standards.

### Scope

This market manual supplements the following market rules:

MR Ch.4 s.7.3

MR Ch.5 s.1.2: General Principles

MR Ch.5 s.2.3: Emergency Operating State

MR Ch.5 s.3.2: Obligations of the IESO

MR Ch.5 s.4.5: Operating Reserve

MR Ch.5 s.5.3: The Use of Tie-Lines and Associated Facilities

MR Ch.5 s.6: Outage Coordination

MR Ch.5 s.10.2: Demand Control Initiated by a Market Participant

MR Ch.7 s.1.3: Co-ordination with Control Areas Outside the IESO Control Area

MR Ch.7 s.1.5: Planned Outages for Maintenance and Upgrades of IESO-Administered Markets Software, Hardware and Communication Systems

MR Ch.7 s.1.6.1.3

MR Ch.7 s.2.2.6.10

MR Ch.7 s.2.2A: Registration of Commissioning Generation Facilities

MR Ch.7 s.2.2D: Registration of Commissioning Electricity Storage Facilities

MR Ch.7 s.2.3: Aggregated Generation Units, Electricity Storage Units or Sets of Load Equipment as Resources

MR Ch.7 s.3.3.7: Revisions During the Real-Time Market Restricted Window for Daily Dispatch Data Parameters

MR Ch.7 s.3.3.8: Obligation to Revise Dispatch Data

MR Ch.7 s.3.5: Energy Offers and Energy Bids

MR Ch.7 s.3.9: Intermittent Generation Resources

MR Ch.7 s.3A.1: Information Used by the IESO to Determine Schedules and Prices

MR Ch.7 s.5: The Pre-Dispatch Process

MR Ch.7 s.6: The Real-Time Market

MR Ch.7 s.7.1: Purpose and Timing of Dispatch Instructions

MR Ch.7 s.7.2: Information Used to Determine Dispatch Instructions

MR Ch.7 s.7.3.1.1

MR Ch.7 s.7.4: IESO Dispatch of Operating Reserve

MR Ch.7 s.7.5: Compliance with Dispatch Instructions

MR Ch.7 s.7.6: Dispatch Scheduling Errors

MR Ch.7 s.7.7: Additional IESO Powers in Emergency and High-Risk Conditions

MR Ch.7 s.8.2.2

MR Ch.7 s.8.4A.2

MR Ch.7 s.10: Instructions for Generator Offer Guarantee Eligible Resources

MR Ch.7 s.11.2.6: Revisions to Synchronization

MR Ch.7 s.12.1: IESO System Status Reports and Advisory Notices

MR Ch.7 s.19.4: Energy Market Participation for Hourly Demand Response Resources

MR Ch.7 s.19.9: Energy Market Participation for System-Backed Capacity Import Resources

MR Ch.7 s.19.9B: Energy Market Participation for Generator-Backed Capacity Import Resources

MR Ch.7 s.20.3.1

MR Ch.7 s.22: Market Power Mitigation

MR Ch.7 App.7.2 s.1.2.8

MR Ch.7 App.7.3 s.1.2.10

MR Ch.7 App.7.3 s.1.4.9

MR Ch.7 App.7.5A s.10: Constrained Area Conditions Test

MR Ch.7 App.7.5A s.11: Conduct Test

MR Ch.7 App.7.5A s.12: Reference Level Scheduling

MR Ch.7 App.7.5A s.13: Reference Level Pricing

MR Ch.7 App.7.5A s.14: Price Impact Test

MR Ch.7 App.7.8: Economic Operating Point

MR Ch.9 s.3.3.5

MR Ch.9 s.3.5.8: Real-Time Make-Whole Payment for Boundary Entity Resources

MR Ch.9 s.3.6: Real-Time Intertie Offer Guarantee

MR Ch.9 s.3.7: Real-Time Intertie Failure Charges

MR Ch.9 s.3.10: Hourly Uplifts

MR Ch.9 s.4.11: Fuel Cost Compensation Credit

MR Ch.9 s.4.13: Capacity Obligations

### Workstation and Dispatch Workstation

Market participants are required to operate a participant workstation and a dispatch workstation for the purposes of participating in the real time market. The participant workstation is connected to the participant network. Registered market participants submit bids and offers to the IESO via the participant workstation or equivalent Application Programming Interface (API).

Dispatch instructions for resources are issued to market participants via their dispatch workstation except for interchange schedules which are published via the Market Participant Interface, a component of the participant workstation. Start-Up notices for operational commitments, as well as commitment extensions and decommitments, are issued to market participants via their dispatch workstation.

For more information on the system and software requirements for the participant workstation and the dispatch workstation, refer to MM 6.

### Contact Information

Changes to this market manual are managed via the IESO Change Management process. Stakeholders are encouraged to participate in the evolution of this market manual via this process.

To contact the IESO, you can email IESO Customer Relations at customer.relations@IESO.ca or use telephone or mail. Telephone numbers and the mailing address can be found on the IESO website. IESO Customer Relations staff will respond as soon as possible.

– End of Section –

## The Pre-Dispatch Process

(MR Ch.7 s.5)

### 2.1	Pre-Dispatch Look-Ahead Period

(MR Ch.7 s.5.1)

Runs every hour – The pre-dispatch calculation engine runs every hour, initializing at the top of the hour using the most recent inputs. Refer to section 2.3.3 for more details on initialization.

First pre-dispatch run – The first run of the pre-dispatch calculation engine creates pre-dispatch schedules and prices for HE 22 of the current dispatch day to HE 24 of the next dispatch day, resulting in a look-ahead period of 27 hours (i.e. 21:00 EST current day – 24:00 EST next day).

Subsequent pre-dispatch runs – The next run of the pre-dispatch calculation engine will start at 21:00 EST with a look-ahead period from HE 23 of the current dispatch day to HE24 of the next dispatch day. The look-ahead period reduces by one hour for each subsequent pre-dispatch run until it again increases to 27 hours at 20:00 EST the next day.

Figure 2-1 illustrates the look-ahead period applicable to pre-dispatch calculation engine runs occurring in each hour.

Figure 2.1: Pre-Dispatch Look-Ahead Periods

### 2.2	Pre-Dispatch Process

(MR Ch.7 s.5.1)

Summary of pre-dispatch process – The timeline for the pre-dispatch process is outlined below.

- The pre-dispatch process runs every hour. As described in the previous section, the first run of the pre-dispatch calculation engine that includes all hours of the next dispatch day will occur at 20:00 EST on the current day.

- Pre-dispatch schedules for boundary entity resources for the first two dispatch hours of the look-ahead period will be issued at approximately 15 minutes past the current hour.

- Extended pre-dispatch operational commitments will be issued at approximately 15 minutes past the current hour (MR Ch.7 s.5.8.2.2).

- At approximately 30 minutes past the current hour the IESO will issue:

pre-dispatch schedules for resources other than boundary entity resources;

schedules for boundary entity resources beyond the first two hours of the look-ahead period;

if applicable, start-up notices for day-ahead operational commitments and pre-dispatch operational commitments, and

if applicable notices of decommitment.

### 2.3	Pre-Dispatch Data Inputs

(MR Ch.7 ss.3A.1, 5.2.1 and 5.5)

This section provides information with respect to certain inputs used in the pre-dispatch process.

Registered market participant data input (MR Ch.7 s.5.5.1) – The pre-dispatch calculation engine uses the following information supplied by market participants:

registered market participant dispatch data used by the day-ahead market calculation engine, other than dispatch data for price responsive loads, self-scheduling storage resources intending to withdraw, or virtual zonal resources, unless changed by the registered market participant, to the extent authorized by the market rules;

outages;

segregated mode of operation information;

planned demand control activities such as transmitter or distributor voltage reductions, load disconnection, and related activites provided in MR Ch.5 s.10.2; and

thermal ratings for the relevant portions of the transmission system.

#### 2.3.1	Day-Ahead Market Inputs

Inputs from the day-ahead market – Certain outputs from the day-ahead market are also carried over as inputs into the pre-dispatch calculation engine:

- day-ahead operational commitments and the associated start-up offers; and

- day-ahead market scheduled quantities for boundary entity resources.

#### 2.3.2	IESO Data Inputs

The IESO is responsible for providing certain data inputs for the pre-dispatch calculation engine to use when scheduling resources. These data inputs include, but are not limited to those described in this section.

##### 2.3.2.1	Constraint Violation Penalty Curves

(MR Ch.7 s.1.6.1.3)

Constraint violation penalty curves are penalty functions used to prioritize the violation of constraints in the pre-dispatch calculation engine and real-time calculation engine. Refer to Appendix A for further details.

##### 2.3.2.2	Market Power Mitigation Information

The data in connection with the market power mitigation process is established in accordance with MR Ch.7 s.22.14. Ex-ante market power mitigation is evaluated independently from mitigation in the day-ahead market using the most current dispatch data and reference levels.

##### 2.3.2.3	IESO Reliability Requirements

Reliability requirements refer to reliability-related system limitations provided by the IESO including any system-wide and area-specific operating reserve requirements, security limits, maximum import and export limits, net interchange scheduling limit (NISL) and regulation requirements. The IESO updates this information to reflect anticipated conditions for every dispatch hour.

##### 2.3.2.4	Resource Reliability Constraints

(MR Ch.5 ss.1.2 and 3.2)

Manual constraints –The IESO may manually intervene and constrain resources to be scheduled to inject or withdraw energy at, above or below a specific value to maintain reliability. To ensure the resource is scheduled by the pre-dispatch calculation engine, the IESO will create a scheduling constraint on the resource as an input to the pre-dispatch calculation engine following notice to the affected market participant.

Timing of constraint – Resource constraints for reliability may be applied at any time.

##### 2.3.2.5	Demand Forecasts

(MR Ch.7 s.3A.1.7)

Demand forecast areas – The IESO produces average and peak hourly demand forecasts for the province as a sum of four separate demand forecasts for each of the following demand forecast areas:

- Northeast: comprised of the Northeast electrical zone;

- Northwest: comprised of the Northwest electrical zone;

- Southeast: comprised of the East, Essa, Ottawa and Toronto electrical zones; and

- Southwest: comprised of the Bruce, Niagara, Southwest and West electrical zones.

The demand forecasts are generated based on historical demand levels as well as expectations of future demand.

IESO determination of demand forecasts – Average and peak hourly non-dispatchable demand forecasts, which the IESO determines using the average and peak demand forecasts, load distribution factors and bid quantities submitted on physical hourly demand response resources, represent the forecast demand quantities for all non-dispatchable loads and forecast losses in the demand forecast areas.

Average demand forecast – The pre-dispatch calculation engine uses average non-dispatchable demand forecasts in all hours of the day, unless an hour is deemed to be a ramp hour which is any hour where the peak demand exceeds the average demand by 300 MW or more.

Peak demand forecast – The pre-dispatch calculation engine uses peak non-dispatchable demand forecast for all ramp hours of the day.

Adequacy concern or surplus baseload generation – The IESO may use the average forecast demand or peak forecast demand if the IESO determines that doing so is advisable to maintain adequacy or in response to surplus baseload generation, regardless of whether the hour is a ramp hour.

##### 2.3.2.6	Centralized Variable Generation Forecast

(MR Ch.4 s.7.3.5 and MR Ch.7 s.3A.1.6)

The IESO determines the centralized variable generation forecast which consists of the expected output of registered variable generation resources. The IESO may adjust the centralized variable generation forecast to better align with observed variable generation output trends.

##### 2.3.2.7	IESO-Controlled Grid Information

IESO-controlled grid information includes, but is not limited to:

power system model which represents power flow relationships between locations on the IESO-controlled grid and between the IESO control area and neighbouring control areas;

the distribution of imports, exports, and any unscheduled flows (loop flows) between the integrated power system and neighbouring control areas or neighbouring transmission systems;

the status of power system equipment;

forced outages and approved planned outages in accordance with MR Ch.5 s.6;

load distribution factors;

a list of contingencies to be simulated;

a list of monitored equipment; and

the transmission system information provided by each transmitter pursuant to MR Ch.7 s.3.9.

##### 2.3.2.8	Operating Reserve Requirements

(MR Ch.5 s.4.5.3)

Flexible operating reserve – The IESO determines the amount of operating reserve that is required by the system for any given hour. In addition to the minimum amount of operating reserve required to be maintained under the applicable reliability standards (MR Ch.5 s.4.5.2), the IESO may require additional thirty-minute operating reserve for flexibility pursuant to MR Ch.5 s.4.5.3.

##### 2.3.2.9	Intertie Scheduling Treatment Exceptions

(MR Ch.7 s.5.2.2)

Reliability (MR Ch.7 s.5.2.2.1) – The reliability exception applies for any hours the IESO determines to be necessary to alleviate reliability concerns;

Failure of the day-ahead market (MR Ch.7 s.5.2.2.2) – The exception in respect of the failure of the day-ahead market applies for any hours of the pre-dispatch schedule;

Capacity-backed exports and imports (MR Ch.7 s.5.2.2.3) – The exception in respect of energy scheduled to carry out (a) an energy import that is supported by a system-backed capacity import resource, or (b) called capacity export, applies for the specific hours of the import or capacity export; and

Over-generation condition (MR Ch.7 s.5.2.2.4) – The exception in respect of over-generation applies for any hours the IESO determines to be necessary to alleviate the over-generation condition.

Advisory Notices –The IESO will publish an advisory notice in accordance with MR Ch.7 s.12.1.3A informing market participants of the restrictions that have been lifted.

##### 2.3.2.10	Daily Energy Production

(MR Ch.7 ss.3.5.25 and 3.5.26)

Overview – The IESO tracks the cumulative energy production for the dispatch day for dispatchable electricity storage resources and dispatchable generation resources other than a nuclear generation resources. The pre-dispatch process takes into account the cumulative energy production to ensure the applicable resource schedules that are produced for the remainder of the day respect the maximum daily energy limit and minimum daily energy limit parameters.

##### 2.3.2.11	Initial Hours of Operation and Initial Hours Down

The IESO calculates the number of hours that a GOG-eligible resource has been generating at or above its minimum loading point, or below minimum loading point. These values are used to evaluate the operating status and thermal state of these resources.

##### 2.3.2.12	Maximum Number of Starts per Day

(MR Ch.7 ss.3.5.2.5 and 3.5.28).

The IESO tracks the cumulative number of starts of dispatchable hydroelectric and non-nuclear GOG-eligible resources for the dispatch day. The pre-dispatch process takes into account these cumulative number of starts in order to ensure the applicable resource schedules that are produced for the remainder of the day respect the maximum number of starts per day parameter.

#### 2.3.3	Initializing Conditions

(MR Ch.7 s.5.4.1)

Role of initializing conditions in pre-dispatch process – The pre-dispatch calculation engine establishes initializing conditions of the IESO-administered markets and IESO-controlled grid for the study period. This section describes those conditions to allow registered market participants to manage dispatch data accordingly and to understand the results of the pre-dispatch calculation engine.

##### 2.3.3.1	Daily Dispatch Data Across Two Dispatch Days

Daily dispatch data for the current day – In most cases, the daily dispatch data submitted for a dispatch day will be used to determine pre-dispatch schedules for that dispatch day. In cases where the pre-dispatch look-ahead period spans two dispatch days (i.e. for the 20:00 to 22:00 EST pre-dispatch calculation engine runs) the IESO may use daily dispatch data submitted for a different dispatch day, as set out in this section.

Daily dispatch data for the next day – The pre-dispatch calculation engine uses the following daily dispatch data if submitted for the next dispatch day across the entire look-ahead period:

- time lag;

- MWh ratio;

- downstream linked forebay;

- minimum generation block down time (MGBDT);

- lead time;

- ramp up energy to minimum loading point and ramp hours to minimum loading point;

- daily energy ramp rate;

- minimum loading point (MLP), subject to the exception below; and

- minimum generation block run time (MGBRT), subject to the exception below.

Exception – The IESO will use the MLP and MGBRT for the current dispatch day rather than the next dispatch day, where the GOG-eligible resource received a day-ahead operational commitment, pre-dispatch operational commitment, or reliability commitment prior to the first pre-dispatch calculation engine run at 20:00 EST. In this case, the MLP and MGBRT for the current dispatch day will continue to apply until the commitment is complete even if the commitment extends into the next dispatch day. Once the commitment is complete the MLP and MGBRT for the next dispatch day will apply.

Single cycle mode – When the pre-dispatch look-ahead period spans two dispatch days (i.e. during the 20:00 to 22:00 EST pre-dispatch calculation engine runs), the pre-dispatch calculation engine will use the single cycle mode submitted for the next dispatch day for the entire look-ahead period. However, if the pseudo-unit is online at 20:00 EST, or is scheduled to be synchronized before the end of the current dispatch day, then the following two exceptions apply:

Table 2-1: Exceptions to Use of Single Cycle Mode

| Constraint status | Treatment of single cycle mode |
| --- | --- |
| The pseudo-unit is NOT subject to a minimum constraint to keep the resource in-service through midnight | The pre-dispatch calculation engine will use the single cycle mode submitted for the current dispatch day until the end of the current dispatch day and use the single cycle mode submitted for the next dispatch day for the next dispatch day. The pre-dispatch calculation engine will schedule the pseudo-unit to 0 MW in HE01 of the next dispatch day to respect the registered market participant submitted change in the operating mode. |
| The pseudo-unit is subject to a minimum constraint to keep the resource in-service through midnight | Registered market participants are prohibited from submitting revisions to single cycle mode status while a minimum constraint on a resource is in-service through midnight until the completion of the minimum constraint. (MR Ch.7 s3.3.7.3) If a registered market participant revised its single cycle mode status prior to the commitment/minimum constraint through midnight, the registered market participant is required to revise the single cycle mode submission back to its previous status until the completion of the minimum constraint (MR Ch.7 s3.3.7.3A). |

##### 2.3.3.2	Advancing Day-Ahead Operational Commitments

Overview – The pre-dispatch calculation engine will evaluate start-up offers differently when considering whether to issue an advanced pre-dispatch operational commitment for a day-ahead operational commitment, if the advanced pre-dispatch operational commitment begins during the advancement period. For clarity, the initializing assumptions discussed in this section do not apply to issuing advanced pre-dispatch operational commitments for existing pre-dispatch operational commitments.

Advancement period – The advancement period begins one hour after the hour that precedes the day-ahead operational commitment by the sum of the resource’s MGBRT and MGBDT (hot). The advancement period ends at the beginning of the existing day-ahead operational commitment. For clarity, the IESO determines the advancement period as follows.

AP = DAMOCst – (MGBRT + MGBDTh)+ 1

Where:

| AP | = | The beginning of the advancement period in respect of advanced pre-dispatch operational commitment |
| --- | --- | --- |
| DAMOCst | = | The hour that represents beginning of an existing day-ahead operational commitment |
| MGBRT | = | - The minimum generation block run-time submitted for the dispatch day |
| MGBDTh | = | The minimum generation down time for the hot thermal state submitted for the dispatch day |

Advanced pre-dispatch operational commitment beginning within the advancement period – For advanced pre-dispatch operational commitments, in respect of day-ahead operational commitments, that begin during the advancement period, the pre-dispatch calculation engine evaluates the higher value of the existing day-ahead operational commitment start-up offer and the pre-dispatch start-up offer.  This ensures that only increases in start-up offers are evaluated.

Advanced pre-dispatch operational commitment beginning before the advancement period – For advanced pre-dispatch operational commitments, in respect of day-ahead operational commitments, that begin before the advancement period, the pre-dispatch calculation engine evaluates the pre-dispatch start-up offer.

##### 2.3.3.3	Past Hourly Production for Hydroelectric Resources with Linked Forebay

Operating reserve activations excluded – To determine the energy pre-dispatch schedule of a resource on a downstream linked forebay that is consistent with the submitted time lag and MWh ratio, the pre-dispatch calculation engine uses the actual energy output of the resource on the upstream linked forebay, as indicated by operational telemetry data, exclusive of any energy injected as part of an operating reserve activation.

##### 2.3.3.4	Operational Commitments over Midnight

The pre-dispatch calculation engine will initialize the status of a GOG-eligible resource to complete the MGBRT for a day-ahead operational commitment or pre-dispatch operational commitment at the end of the current dispatch day if the day-ahead operational commitment or pre-dispatch operational commitment, as applicable, has not been completed by the day-ahead calculation engine run. Refer to MR Ch.7 s.10.3.4.

### 2.4	Pre-Dispatch Optimization Process

(MR Ch.7 s.5.6)

Market power mitigation – The pre-dispatch calculation engine will perform tests related to the ex-ante market power mitigation process, as described in MR Ch.7 App.7.5A ss.10-14.

### 2.5 	Results from the Pre-Dispatch Process

(MR Ch.7 ss.5.1, 5.2, 5.7 and 5.8)

This section describes some of the outputs of the pre-dispatch process. These outputs are further described in subsequent sections.

#### 2.5.1	Pre-Dispatch Schedules

##### 2.5.1.1	Hourly Resource Schedules

Eligible resources (MR Ch.7 s.5.8.2.3) – The pre-dispatch process produces hourly pre-dispatch schedules only for resources for which the registered market participant has submitted dispatch data for the relevant dispatch day.

Minimum daily energy limit constraints – When the sum of a dispatchable hydroelectric generation resource’s daily energy production and future pre-dispatch schedules equals the resource’s minimum daily energy limit, the pre-dispatch process produces a minimum constraint, for the real-time dispatch process, equal to the resource’s schedule for the next dispatch hour.

##### 2.5.1.2	Scheduling Discrepancies due to Inaccurate Initial Conditions

(MR Ch.7 s.3.3.7.4)

Overview – Pre-dispatch schedules will respect the following daily dispatch data parameters based on the actual and anticipated numbers of starts and actual and forecast energy production at pre-dispatch calculation engine initialization:

- maximum number of starts per day (MNSPD)

- maximum daily energy limit (MAX DEL)

- minimum daily energy limit (MIN DEL)

Pre-dispatch reports – Market participants can consult the following reports to view the values of starts and energy production used by the pre-dispatch calculation engine to respect the MNSPD, MAX DEL and MIN DEL:

- Number of Starts Tracking Report; and

- Daily Energy Limit Tracking Report.

Refer to section 6.1 for more information on these reports.

Telemetry or tracking errors – Telemetry or other errors might cause the values of the number of starts or actual energy production used by the pre-dispatch calculation engine to be inaccurate. In such circumstances, if market participants observe scheduling discrepancies attributable to inaccurate values of actual starts or energy production, registered market participants are expected to revise the relevant daily dispatch parameters, to compensate for the discrepancy, and notify the IESO. If revising the relevant daily dispatch data parameters is not feasible then market participants may request that the IESO revise the parameters used to set initial conditions.

##### 2.5.1.3	Hydroelectric Generation Resources with Linked Forebays

(MR Ch.7 s.3.3.7.4)

Net Output – For hydroelectric generation resources with linked forebays, the output of the upstream resource, less any output from an operating reserve activation, impacts the pre-dispatch schedule of the downstream resource.

Pre-dispatch report – Market participants can consult the Generator Output and Capability Report to view the reported output of the upstream resource.

Reported output of upstream resource – Telemetry or other errors might cause the value of energy production at the upstream linked forebay used by the pre-dispatch calculation engine to be inaccurate, despite the submission of accurate dispatch data. In such circumstances, if a market participant notices a discrepancy in the upstream linked forebay’s reported output, the market participant must contact the IESO to correct the reported output as revising dispatch data in these circumstances will not ensure that the downstream resource is scheduled correctly.

Cascade management – The linked forebay, time lag and MWh ratio daily dispatch parameters allow the day-ahead market calculation engine and pre-dispatch calculation engine to reflect production at an upstream resource in schedules for the linked downstream resource. Circumstances may arise when the linked forebay, time lag and MWh ratio originally submitted no longer accurately reflect the impact, if any, of upstream resource production on the expected downstream resource production.  For example, the upstream or downstream resource may experience unit outage(s), and decide to pass water via spill rather than production, rendering the previously submitted value of MWh ratio invalid.  When these circumstances arise the registered market participant is expected to adjust the linked forebay, MWh ratio and time lag, as needed, to accurately reflect the relationship between upstream resource production and downstream resource expected production so that these can be properly shown in future pre-dispatch schedules.

##### 2.5.1.4	Scheduling Discrepancies due to Thermal States

(MR Ch.7 ss.3.3.7.4)

Determining thermal state – The pre-dispatch calculation engine determines the thermal state of GOG-eligible resources based on the number of hours the resource has operated below its MLP and based on the resource’s MGBDT for each thermal state. The IESO will be unable to determine the thermal state if the registered market participant has not submitted daily dispatch data (specifically its MLP). The thermal state tracking will resume once daily dispatch data has been submitted and will reset to 0, which may cause scheduling discrepancies.

Pre-dispatch reports – Market participants can consult the Pre-Dispatch GOG-Eligible Unit Inferred State Report to ascertain the thermal states used to determine pre-dispatch schedules.

Revise thermal state – If a market participant observes scheduling or inferred thermal state discrepancies attributed to thermal state values, despite the submission of accurate dispatch data or due to the absence of daily dispatch data submissions, the registered market participant is expected to revise its MGBDT values accordingly. If revising the MGBDT values is not feasible, the market participant may contact the IESO and request to overwrite the computation of hours down used to set the thermal state.

Revise thermal state (pseudo-units) – The thermal state of a pseudo-unit is determined based on the number of hours that the pseudo-unit has operated below its MLP.  In cases where the steam turbine associated with a pseudo-unit is in service the market participant may consider that the thermal state of the combustion turbine does not accurately reflect the actual thermal state of the pseudo-unit.  In this case the registered market participant may revise the combustion turbine’s MGBDT values accordingly to reflect the actual thermal state that it wishes to use for assessment of the pseudo-unit.  If revising the MGBDT values is not feasible, the market participant may contact the IESO and request to overwrite the computation of hours down used to set the pseudo-unit thermal state.

##### 2.5.1.5	Scheduling Discrepancies due to Turnaround Time

Pre-dispatch commitments not respecting MGBDT – When the pre-dispatch calculation engine look-ahead period only contains the current dispatch day it will not consider any commitments produced for the next dispatch day.  This could result in the creation of a pre-dispatch operational commitment or extended pre-dispatch operational commitment that does not allow for sufficient time for a resource to satisfy its MGBDT(hot) prior to the next day commitment. In the event that this occurs the market participant must contact the IESO.

Unviable real-time schedules – Market participants should monitor their dispatch advisories and inform the IESO if the resource will not be able to comply with a future day-ahead operational commitment or pre-dispatch operational commitment due to limitations caused by the resource’s MGBDT. If registered market participants do not expect to comply with a start-up notice or commitment notice for other reasons, refer to MR Ch.7 ss.10.1.4, 10.1.5 and 10.3.3.

IESO assessment – When the IESO is aware of an unviable real-time schedule due to a resource’s MGBDT, the IESO will conduct a reliability assessment as follows:

If the resource is critical for maintaining reliability during the hours in which it would be unavailable, the IESO will keep it in service until its next commitment by applying a reliability constraint with a code of “PDRCMT”; or

If the resource is not critical for maintaining reliability during the hours in which it would be unavailable, the IESO will dispatch the resource off to respect its MGBDT and allow it to meet its future commitment.

##### 2.5.1.6	GOG-Eligible Resource Scheduling after Isolated State

(MR Ch.7 s.3.3.7.4)

Overview – When a GOG-eligible resource is on outage or is rendered grid incapable by a transmission outage, the resource is unavailable to be scheduled.

Scheduling to reach MLP – In the hours following a resource’s outage or grid incapability, the pre-dispatch calculation engine will consider the resource to be incapable of reaching its MLP, and will not schedule the resource to MLP or above, until the ramp hours to minimum loading point for the cold thermal state have elapsed. This applies except in cases where the resource is subject to a minimum constraint greater than or equal to the MLP for these hours.  If the resource is subject to a minimum constraint that it is unable to satisfy following an outage or grid incapability the registered market participant must notify the IESO pursuant to MR Ch.7 s.10.1.5.

Reducing ramp hours to MLP to reach MLP sooner - If the GOG eligible resource is capable of reaching its MLP before ramp hours to minimum loading point for the cold thermal state have elapsed, the registered market participant is expected to  reduce the resource’s ramp hours to minimum loading point for the cold thermal state, to allow the resource to be scheduled to its MLP sooner.

Unable to reach MLP after cold ramp hours – It is possible that due to lead time requirements a resource may not be able to reach MLP even after the cold ramp hours to MLP have elapsed. In this case the registered market participant has several options to prevent the resource being scheduled to MLP until it is able to reach MLP these include:

- Increasing cold ramp hours to MLP to delay the first hour in which the resource may be scheduled to MLP.  Note that the ability to increase these hours may be limited due to the maximum number of ramp hours to MLP being limited to 12 hours and also the ramp hours to MLP being subject to applicable market power mitigation requirements under MR Ch.7 s.22; or

- Submitting an outage or derate request that prevents the pre-dispatch calculation engine for scheduling the resource to its MLP during these hours; or

- Contacting the IESO.

##### 2.5.1.7	Interchange Schedules

(MR Ch.7 ss.5.8.2.1 and 6.1.3)

The pre-dispatch process produces hourly pre-dispatch schedules for boundary entity resource, including interchange schedules in the hour-ahead run of the pre-dispatch calculation engine.

##### 2.5.1.8	Hourly Demand Response Resource Schedules and Notices

(MR Ch.7 ss.5.8.2.3 and s.19.4)

The pre-dispatch process produces hourly schedules, standby notices and activation notices for hourly demand response resources based on the pre-dispatch schedules.

##### 2.5.1.9 	Increase in Fuel Availability

(MR Ch.7 ss.3.3.7.4)

The MAX DEL parameter represents the maximum quantity of energy that may be scheduled for a resource within a dispatch day and is used by the day-ahead market calculation engine and the pre-dispatch calculation engine to limit the scheduled output of the associated resource.  It is possible that fuel availability may increase e.g. additional rainfall or fuel deliveries, or an increase of the state of charge of an electricity storage resource. When a registered market participant becomes aware of such a change they are expected to increase the MAX DEL associated with the resource accordingly.

#### 2.5.2	Pre-Dispatch Operational Commitments and Constraints

(MR Ch.7 ss.5.2.3, 5.8.2.2, 5.8.2.4, 5.8.2.5)

Establishing stand-alone pre-dispatch operational commitments (MR Ch. 7 s.5.8.2.4) – When a GOG-eligible resource receives a pre-dispatch schedule to at least its minimum loading point, for hours without an overlapping or contiguous day-ahead operational commitment, pre-dispatch operational commitment or reliability commitment, the IESO implements the constraints for a stand-alone pre-dispatch operational commitment in accordance with MR Ch.7 s.5.2.3 and issues a start-up notice in accordance with MR Ch.7 s.10.1.

Duration of stand-alone pre-dispatch operational commitments (MR Ch.7 s.5.8.2.4) – Stand-alone pre-dispatch operational commitments apply for the duration of a GOG-eligible resource’s MGBRT. In cases where a resource is scheduled in HE24 but has not been scheduled for the duration of its MGBRT, the pre-dispatch operational commitment applies for the duration of the hours where it was scheduled to at least its minimum loading point.  Refer to MR Ch.7 s.10.3.4.

Establishing advanced pre-dispatch operational commitments (MR Ch.7 s.5.8.2.5) – When a GOG-eligible resource receives a pre-dispatch schedule to at least its minimum loading point, for hours contiguous to the start of a day-ahead operational commitment, pre-dispatch operational commitment or reliability commitment, the IESO implements the constraints for an advanced pre-dispatch operational commitment in accordance with MR Ch.7 s.5.2.3 and issues a start-up notice in accordance with MR Ch.7 s.10.1.1.

Duration of advanced pre-dispatch operational commitment (MR Ch.7 s.5.8.2.5) – Advanced pre-dispatch operational commitments do not exceed the resource’s MGBRT.

Establishing extended pre-dispatch operational commitments (MR Ch.7 s.5.8.2.2) – When a GOG-eligible resource receives a pre-dispatch schedule to at least its minimum loading point, for the hour directly following a day-ahead operational commitment, pre-dispatch operational commitment or reliability de-operational commitment and notifies the market participant.

Duration of extended pre-dispatch operational commitments (MR Ch.7 s.5.8.2.2) – Extended pre-dispatch operational commitments issued apply for one hour at a time, to the next dispatch hour.

Decommitment (MR Ch.7 s.10.2.1)– When a GOG-eligible resource does not receive a pre-dispatch schedule to at least its minimum loading point, for the hour directly following a day-ahead operational commitment, pre-dispatch operational commitment or reliability commitment, the IESO issues a notice of decommitment.

#### 2.5.3	Passing Pre-Dispatch Operational Commitments to Real-time

When the IESO establishes pre-dispatch operational commitments, GOG-eligible resources will have constraints applied for the real-time dispatch process. The IESO applies minimum constraints for GOG-eligible resources to their minimum loading point for the duration as described in section 2.5.2.

##### 2.5.3.1 	GOG-Eligible Resource Constraints for Combined Cycle Plants

Combustion turbine (CT) – A generation resource associated with a CT for a combined cycle plant that is not aggregated pursuant to MR Ch.7 s.2.3 has a constraint applied based on its minimum loading point with a constraint code of “PD-CMT”.

Steam turbine (ST) – A generation resource associated with a ST for a combined cycle plant that is not aggregated pursuant to MR Ch.7 s.2.3 has a constraint applied based on the number of CTs within the combined cycle plant that are committed  in a given hour. The constraints are described below.

For STs not using the pseudo-unit model:

The 1-on-1 ST MLP with a constraint code of “PD-CMT”, and the n-on-1 ST MLP with a constraint code of “COMCYC” whenever n number of associated CTs (n>1) are committed in a given hour and the ST also has a commitment for that hour.  If the ST does not have a commitment for that hour then an ST constraint is not created since when not using the PSU model the CT and ST must be committed independently.

For STs using the pseudo-unit model:

The n-on-1 ST MLP with a constraint code of “PD-CMT”, where n represents the number of CTs that are committed through an associated pseudo-unit operating in combined cycle mode in a given hour.

For more details, related to constraint codes, refer to Appendix B.

#### 2.5.4	Pre-Dispatch Market Prices

(MR Ch.7 ss.5.7.1.1-5.7.1.4)

Price calculations – While real-time prices are interval based, the pre-dispatch calculation engine produces hourly prices. Section 6.1 includes additional information related to pre-dispatch prices including their components.

– End of Section –

## The Real-Time Scheduling Process

(MR Ch.7 s.6)

### 3.1	Real-Time Market Timeline and Look-Ahead Period

(MR Ch.7 s.6.1)

Frequency and look-ahead period – The real-time calculation engine runs every five minutes, performing a multi-interval optimization over the next 11 dispatch intervals to determine real-time schedules.

First dispatch interval – The real-time calculation engine results for the first dispatch interval of the real-time dispatch process look-ahead period are used to determine the dispatch instructions for all resources that receive them.

Dispatch intervals 2-11 – The real-time calculation engine results for dispatch intervals 2 through 11 are used to produce dispatch advisories. This process is illustrated in Figure 3-1.

Figure 3-1: Example of Real-time Calculation Engine Process

### 3.2	Dispatch Advisories

(MR Ch.7 s.7.1.6)

Content of dispatch advisory – Dispatch advisories include the following information in respect of dispatchable resources for the next 10 dispatch intervals:

- The anticipated dispatch instructions for energy; and

- The anticipated real-time schedule for each class of operating reserve.

Missed dispatch advisories – In the event the IESO does not issue a dispatch advisory before the applicable dispatch interval, the IESO will not retrospectively issue the dispatch advisory.

- Pseudo-units – For combined cycle plants registered as a pseudo-unit, the IESO issues dispatch advisories in respect of the resources for the corresponding combustion turbine generation units and steam turbine generation unit, respectively.

### 3.3 	Real-Time Data Inputs

(MR Ch.7 ss.3A.1, 6.2.1 and 6.4)

Sections 3.3.1 through 3.3.3 provide information with respect to certain inputs used by the real-time scheduling process.

#### 3.3.1	Real-Time Market Participant Data

Market participant data carried over from pre-dispatch –  Many inputs from the pre-dispatch process carry over into the real-time scheduling process unless updated by registered market participants, to the extent authorized by the market rules.

Market participant data not carried over from pre-dispatch – Some registered market participant data inputs are not carried over into the real-time scheduling process, in which case the real-time scheduling process does not respect these data inputs from the pre-dispatch process.

These dispatch data parameters include:

maximum daily energy limit (MAX DEL);

minimum generation block down time (MGBDT);

linked forebays, time lags, and MWh ratios;

minimum hourly output; and

maximum number of starts per day.

#### 3.3.2	Real-time Integration with the Pre-Dispatch Process

Outputs from the pre-dispatch process used in the real-time scheduling process – Outputs from the pre-dispatch process that are carried over as inputs into the real-time scheduling process include:

interchange schedules;

day-ahead operational commitments;

pre-dispatch operational commitments;

hourly demand response resource activations;

minimum daily energy limit constraints;

mitigated dispatch data; and

hourly must run constraints.

#### 3.3.3	Real-Time IESO Data Inputs

The IESO is responsible for providing data inputs for the real-time scheduling process. These inputs include, but are not limited to those described in this section.

##### 3.3.3.1	Constraint Violation Penalty Curves

Refer to section 2.3.2.1

##### 3.3.3.2	Market Power Mitigation Information

The real-time dispatch process does not apply market power mitigation functions. However, it will use any dispatch data produced by ex-ante market power mitigation during the pre-dispatch process.

Market power mitigation functions are defined in section 2.3.2.2.

##### 3.3.3.3	IESO Reliability Requirements

If there are changes to reliability requirements or if outages change, the IESO updates this information in its tools. The updated information is used by the real-time scheduling process. Refer to section 2.3.2.3.

##### 3.3.3.4	Resource Reliability Constraints

(MR Ch.5 ss.1.2 and 3.2)

Manual constraints – Where the IESO enters constraints into the real-time calculation engine in order to maintain reliability, it will follow a process equivalent to that described in section 2.3.2.4.

##### 3.3.3.5	Demand Forecasts

(MR Ch.7 s.3A.1.7)

The real-time scheduling process uses a demand forecast for each dispatch interval. Refer to section 2.3.2.5.

##### 3.3.3.6 	Centralized Variable Generation Forecast

(MR Ch.4 s.3A.1.6 and Ch.4 s.7.3.5)

Refer to section 2.3.2.6 for a discussion on the IESO’s centralized variable generation forecast, which is used by the real-time scheduling process.

##### 3.3.3.7	IESO-controlled Grid Information

Refer to section 2.3.2.7 for a discussion on the IESO-controlled grid information, which is used as an input to the real-time scheduling process.

##### 3.3.3.8	Operating Reserve Requirements

(MR Ch.5 s.4.5.3)

Refer to section 2.3.2.8 for a discussion on the IESO’s operating reserve requirements, which is used as an input to the real-time scheduling process.

### 3.4	Real-Time Optimization Process

(MR Ch.7 s.6.5)

The real-time calculation engine performs a single pass. The results of this pass determine the real-time schedule which forms the basis of dispatch instructions, and prices for the next dispatch interval. The results also determine advisory schedules.

### 3.5	Results from Real-Time Scheduling Process

#### 3.5.1	Scheduling Outputs

The real-time scheduling process produces the following three scheduling outputs:

- real-time schedules;

- dispatch advisories; and

- dispatch instructions.

#### 3.5.2	Real-Time Market Prices for each Dispatch Interval

(MR Ch.7 ss.6.6.1.1-6.6.1.4)

The real-time calculation engine produces prices for each dispatch interval. Table 6-3 includes additional information related to real-time market prices including their components.

#### 3.5.3	Real-Time Market Economic Operating Point

(MR Ch.7 App.7.8)

Economic Operating Points - The IESO calculates the real-time lost cost economic operating points and real-time lost opportunity cost economic operating points for resources. Refer to MR Ch.7 App.7.8 for more information.

– End of Section –

## Determining Dispatch Instructions

### 4.1 	Dispatchable Generation Resources, Dispatchable Loads and Dispatchable Storage Resources

(MR Ch.7 ss.7.1.1A and 7.2.1A)

Departing from dispatch instructions (MR Ch.7 s.7.2.1A.2) – Real-Time schedules that are “clearly and materially in error” may include, but are not limited to, real-time schedules that do not accurately reflect a resource’s minimum run-time or lockout status due to tool limitations.

Pseudo-units – For the purposes of determining dispatch instructions pursuant to MR Ch.7 s.7.1.1A, the real-time calculation engine will determine a real-time schedule for both the pseudo-unit and the resources associated with the corresponding steam turbine generation unit and combustion turbine generation units. The IESO will only issue dispatch instructions on the resources associated with the corresponding steam turbine generation unit and combustion turbine generation unit.

### 4.2 	Boundary Entity Resources

(MR Ch.7 s.6.1.3)

Checkout process – When the IESO modifies interchange schedules pursuant to MR Ch.7 s.6.1.3, the IESO may change e-Tags and interchange schedules if the IESO and the external control area operator determine that such changes are appropriate to facilitate the flow of physical service to or from the neighbouring control area. The IESO makes these changes using the following procedure:

The IESO validates e-Tags and confirms the interchange schedules with the appropriate control areas, prior to five minutes before the start of the dispatch hour. The IESO removes interchange bids or offers from the schedule where e-Tags are missing, late, invalid, and incorrect and/or control area confirmation fails, unless such interchange bids or offers are required for reliability reasons. Refer to MM 4.1, section 5.1.6.

The IESO confirms the interchange schedules’ MW quantities with the appropriate control areas and quantities may be modified prior to the start of the ramp up process, as necessary, to ensure viable interchange schedules. In the event of a disagreement between the IESO and the externalcontrol area operator in respect of the quantity of an interchange schedule, the lesser quantity shall prevail. Failure of the IESO and the external control area operator to agree to the lesser quantity will result in the interchange scheduling being reduced to 0 MW.

If the IESO has reduced the quantity of an interchange schedule, the IESO notifies the market participant accordingly.

### 4.3	Interchange Scheduling Protocols

(MR Ch.7 ss.1.3.1, 6.1.3, 7.5.8A and 7.5.8B)

#### 4.3.1	IESO/NYISO Protocol: NY90

Overview – The IESO and the NYISO have agreed to follow a specific interchange scheduling protocol for the exchange of interchange scheduling information. This interchange scheduling protocol establishes a timeline that defines when certain interchange scheduling checkout activities occur, both within and between the two organizations. Figure 4-1 illustrates this timeline.

Transaction codes – The IESO will assign New York interchange schedules with either the "NY90", “MrNh”, “TLRe” or "OTH" code within the IESO systems to reflect schedule check-out activities within the NYISO (see IESO-NYISO scheduling protocol below). This approach will result in more accurate and reliable pre-dispatch schedules.

Figure 4-1: IESO - NYISO Scheduling Protocol

| 11:00 hours (EST) to 12:00 hours |  | The NYISO posts the day-ahead market schedule |
| --- | --- | --- |
| 13:30 EPT to 15:30 EPT |  | The IESO posts the day-ahead market results |
| 14:00 hours to 15:00 hours 20:00 EST |  | NYISO calls and performs a cursory check on eligible energy traders. The IESO posts initial pre-dispatch schedule for the next 27 hours. |
| Hourly Pre-dispatch Period (IESO) / RTC (NYISO) |  |  |  |
| T-100 minutes | The IESO determines projected interchange schedules for the dispatch hour based on the two-hour ahead pre-dispatch run, applies the NY90 code to projected interchange schedules and communicates the information to the NYISO. |  |  |
| T-100 minutes to T-75 minutes | The NYISO filters the hour ahead Real-Time Commitment (RTC) interchange schedule bids that affect the IESO/NYISO interties to include only those interchange schedules with offers/bids accepted by the IESO's two-hour ahead run of the pre-dispatch calculation engine. |  |  |
| T-75 minutes to T-40 minutes | The NYISO runs the RTC, automatically reducing e-Tags accordingly based on the RTC results then notifies the IESO of those interchange schedules that have failed (in whole or part) to navigate the NYISO market and posts the NYISO hour-ahead schedule. |  |  |
| T-30 minutes | The IESO confirms final interchange schedules with the NYISO, making final reductions to interchange schedules accordingly and notifies the market participant of the changes by automated e-mail. The NYISO posts RTC results. |  |  |
| T-100 minutes to T-75 minutes | If necessary to maintain reliability, the IESO may, in order of economic merit, - include transactions from the NYISO two-hour ahead RTC evaluation that were not scheduled in the IESO two-hour ahead pre-dispatch calculation engine run, in the short list for evaluation in the final RTC evaluation; or - adjust interchange schedules irrespective of the IESO-NYISO scheduling protocol. |  |  |

Revising dispatch data – Revisions and/or additions to dispatch data two hours prior to the dispatch hour are restricted. The IESO may accept revisions and/or additions for internal reliability reasons. Additionally, at the request of the NYISO, the IESO may allow revisions and/or additions during this timeframe if the changes facilitate a solution to NYISO reliability concerns. IESO / NYISO interchange schedule implementation is consistent with the NERC transaction ramping default of 10-minutes with the ramp straddling the top of the dispatch hour.

##### 4.3.1.1	Curtailed and Failed Interchange Schedules

Reinstating curtailed transactions – An interchange schedule that has been curtailed during the dispatch hour for reliability reasons may be reinstated within that dispatch hour if the reliability condition causing the curtailment is resolved, and the curtailed interchange schedules is scheduled in the next dispatch hour.

Maximum quantity – At T-100 minutes, the projected interchange schedules for the dispatch hour, based on the two-hour ahead run of the pre-dispatch calculation engine, are used to set the maximum quantity available for the dispatch hour and are "capped" at that using the code NY90. This "short list" is forwarded to NYISO for RTC evaluation.

Short list – Where required for reliability reasons, the IESO may include in the short list for evaluation in the final NYISO RTC evaluation the next most economical interchange schedules from the NYISO two-hour ahead RTC evaluation that failed the IESO two-hour ahead run of the pre-dispatch calculation engine. The NY90 code is not used for such interchange schedules produced by the pre-dispatch process when the addition to the short list includes a complete offer (either the full quantity of the new interchange schedule or an existing interchange schedule MW is increased to the full quantity offered). The NY90 code is used if the addition to the short list results in a selection of a partial interchange schedule offer.

Failed transactions – At T-30 minutes, interchange schedules that failed the NYISO RTC (all or in part) will be failed by the IESO using the code OTH, unless failed as a result of external transmission limitation, in which case the TLRe code will be applied.

#### 4.3.2	IESO/MISO Protocol: MISO Protocol

Overview – In an effort to facilitate the release of MISO transmission and accommodate MISO ramp restrictions the IESO has a unique scheduling protocol for all MISO transactions. At T-90, all e-Tags for transactions on the Michigan, Manitoba or Minnesota interfaces will be reduced to their two-hour-ahead pre-dispatch schedule. Subsequently, all transactions whose schedule increases from two hours out to one hour out will be reloaded to reflect their hour-ahead interchange schedule.

### 4.4	Pre-Emptive Curtailments

IESO actions where curtailment is expected – If the IESO reasonably expects transactions will require curtailment in the real-time dispatch process, the IESO will exercise reasonable efforts to curtail the transactions during the pre-dispatch process. The IESO will curtail such transactions in circumstances including those described in this section.

Internal reliability – If the IESO determines that certain transactions or a certain volume of transactions might not be successfully scheduled or might require curtailment in the real-time market due to an internal issue, the IESO may remove the affected transactions from the IESO scheduling processes for future hours. Under such circumstances, the IESO will assign a TLRi reasons code.

External reliability or market participant failure – If the IESO determines that transactions might not be successfully scheduled due to external reliability issues, or due to a persistent market participant failure, the IESO may remove or reduce the anticipated affected transactions from the IESO scheduling processes for future hours and code appropriately in accordance with Table 4-2: Assigning Reason Codes to Interchange Schedule Adjustments.

Transmission Loading Relief – If an external reliability coordinator has initiated the NERC Transmission Loading Relief (TLR) procedure and:

it has resulted, or is anticipated to result, in transaction failures; and

the IESO determines that the cause of the TLR will continue;

the IESO may pre-emptively remove transactions or reduce scheduled quantities. Under such circumstances, the IESO will assign a TLRe reason code

On a reasonable effort basis, the IESO will attempt to remove or reduce the transactions as per the Interchange Distribution Calculator (IDC) process (first by transmission priority bucket, then on a reasonable effort economic basis within the transmission bucket). To prevent an increased schedule to the remaining transactions, the IESO may constrain these transactions to their pre-dispatch value with a TLRe code.

Market participants can visit the NERC website at www.nerc.com to confirm whether TLR procedures have been implemented.

Advisory notice – If the IESO expects pre-emptive curtailments to persist for multiple hours, the IESO will publish an advisory notice to that effect in accordance with MR Ch.7 s.12.1.3A. The IESO will publish another advisory notice when the pre-emptive curtailments have ended.

### 4.5	Transaction Coding

(MR Ch.7 ss.6.1.3, 7.5.8A and 7.5.8B)

#### 4.5.1	Modifying Interchange Schedules

The IESO modifies interchange schedules in accordance with the considerations described in this section.

Principle 1 – The IESO modifies interchange schedules for a given dispatch hour if:

in the IESO’s opinion, as a result of changing conditions, the real-time schedules will not have sufficient resources available to maintain the reliable operation of the IESO-controlled grid; or

consistent with interconnection agreements and industry standards, the IESO is requested to do so by an external control area operator or reliability coordinator; or

- the market participant has not met all applicable requirements to schedule a transaction on a boundary entity resource.

Principle 2 – To the extent that it is practicable for the IESO to do so, the IESO modifies interchange schedules in a manner that most closely reproduces the anticipated outcome of the pre-dispatch process considering the reliability concern.

Principle 3 – To the extent that it is practicable for the IESO to do so, the IESO limits manual intervention to an amount equal to the difference between the change in conditions and the real-time capability of available internal resources to address that change.

Principle 4 – To the extent that it is practicable for the IESO to do so, the IESO uses the economic merit order of import or export transactions as the basis for determining which scheduled transactions to manually adjust.

##### 4.5.1.1	Reason Code Application for Interchange Schedule Adjustments and Curtailments

Overview – When the IESO modifies an interchange schedule in accordance with MR Ch.7 s.6.1.3, it assigns a reason code to the interchange schedule modification. The reason code consists of both the reason for the modification as well as the modification type as described below. Reason codes are used to determine the appropriate settlement treatment.

Reason element of reason codes – The reason portion of the reason codes are listed below:

Auto – economic schedule (i.e., no curtailment or reduction)

NY90 – New York 90-minute protocol MrNh – MISO Ramp/Transmission Service or NYISO Hour Ahead Market (HAM) protocol

TLRe – Transmission loading relief external

TLRi – Transmission loading relief internal

ADQh – Adequacy

ORA – Operating Reserve Activation

OTH – Other

Modification types – The modification identifier element of a reason code, which specifies how the IESO modified the interchange schedule, may consists of the following types of modifications:

- reduced interchange schedules are coded as MAX;

- fixed interchange schedules are coded as FIX; and

- increased interchange schedules are coded as MIN.

Bona fide and legitimate reason – Each reason code indicates whether an energy trader’s failure to comply with an interchange schedule is due to a bona fide and legitimate reason for the purposes of MR Ch.7 ss.7.5.8A and 7.5.8B, as described in Table 4-1

Settlement treatment – The reason codes applicable to a market participant’s interchange schedule identify whether the adjustment to the interchange schedule will be eligible for the following settlement treatments:

real-time make whole payments; (MR Ch.9 s.3.5.8);

intertie failure charges (MR Ch.9 s.3.7);

intertie offer guarantees (MR Ch.9 s.3.6);  or

day-ahead market balancing credit (MR Ch.9 s.3.3.5).

Table 4-1 summarizes the impact reason codes have on settlement treatment for certain settlement amounts listed above. For clarity, the table indicates one of multiple requirements for eligibility to receive a payment or pay a charge, and the requirement for such payment or charge will be determined by the applicable provisions of MR Ch.9 for further details.

Table 4-1: Make Whole Payment Eligibility and Failure Charges

| Scheduling Scenario | Reason Code | DAM and RT Intertie Failure Charge Exempt | DAM Balancing Credit | RT Intertie Offer Guarantee | RT Import Make-Whole for Operating Reserve | RT Export Make-Whole for PD Pricing Discrepancy | RT Export Make-Whole for Manual Dispatch Out-of-Merit |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Economic Schedule | AUTO | N/A | No | Yes | Yes | Yes | No |
| Reduced | NY90 - MAX | N/A | No | Yes | Yes | Yes | No |
|  | MrNh - MAX | Yes | No | Yes | Yes | Yes | No |
|  | OTH - MAX | No | No | Yes | Yes | Yes | No |
|  | TLRe - MAX | Yes | No | Yes | Yes | Yes15 | No |
|  | TLRi - MAX | Yes | Yes | Yes | Yes | Yes | No |
|  | ADQh - MAX | Yes | Yes | Yes | Yes | Yes | No |
| Increased | ADQh - MIN | Yes | No | Yes | Yes | No | Yes |
|  | ORA - MIN | Yes | No | Yes | Yes | No | YesError! No bookmark name given. |
|  | TLRe - MIN | Yes | No | N/A | No | No | No |
|  | TLRi - MIN | Yes | No | Yes | Yes | No | Yes |
| Fixed | ADQh - FIX | Yes | Yes | Yes | Yes | No | Yes |
|  | TLRi - FIX | Yes | Yes | Yes | Yes | No | Yes |

Table 4-2 provides the circumstances under which the IESO will assign a given reason code for modifying an interchange schedule.

Table 4-2: Assigning Reason Codes to Interchange Schedule Adjustments

| Adjustment Reasons | Further Description | Code Assigned |
| --- | --- | --- |
| e-Tagging errors | e-Tagging errors | OTH |
| External jurisdiction economic selection failure (whole or partial) | External jurisdiction economic selection failure (whole or partial) | OTH |
| PJM ramping capacity (where ramp reservations required) | Market participant failure to acquire ramping capability | OTH |
| ISO market participant scheduling errors | Scheduling errors in external ISOs or RTOs that are within the market participant’s control (e.g. acquiring transmission, market scheduling) | OTH |
| Linked wheeling through transaction within participant control | Curtailment of linked wheels within participant control | OTH |
| e-Tag held by IDC | e-Tag held by IDC following the first hour of the TLR process | OTH |
| Transaction on a commercially unavailable intertie | Market participant submits a bid or offer on a boundary entity resource associated with a commercially unavailable intertie if the IESO has indicated that the intertie is commercially unavailable | OTH |
| External ISO Curtailments | External ISO/RTO Curtailments for TLR (including pre-emptive curtailments) | TLRe |
| External ISO Curtailments | Other security curtailments | TLRe |
| External ISO Curtailments | External ISO/RTO adequacy cuts | TLRe |
| NYISO Ramping Capacity | For NYISO Net Interchange Scheduling Limit (NISL) binding | TLRe |
| Linked wheeling through transaction outside participant control | Curtailment of linked wheeling through transaction outside participant control | TLRe |
| Intertie limit violation when caused by an external curtailment or failure | IESO or external curtailment to respect an intertie limit violation when the violation is caused for a reason where the failure code is tagged as OTH, TLRe or MrNh | TLRe |
| Capacity export reduced for a transmission limitation | Capacity export reduced for a transmission limitation | TLRe |
| Capacity export reduced due to resource status | Backing resource is derated to an amount less than the scheduled quantity and the IESO is in an energy or operating reserve shortfall | TLRe |
| Increase schedule for a called capacity export | To ensure called capacity exports are scheduled up to the required level after meeting all delivery criteria | TLRe |
| IESO curtailments (manual) | IESO curtailments for TLR | TLRi |
| IESO curtailments (manual) | Other security curtailments | TLRi |
| Intertie limit reduction (total or partial) | IESO selects and decreases transaction quantity after the hour-ahead pre-dispatch calculation engine | TLRi |
| IESO ramping capacity (Manual management of Ramp) | For IESO managing transactions to prevent violation of NISL | TLRi |
| IESO curtailments | IESO adequacy actions Shortfall beyond next hour (for shifting energy limited resources for future hour shortfall) | TLRi |
| IESO curtailments | IESO adequacy actions Internal security concerns leading to an adequacy concern. | TLRi |
| IESO security curtailment operating reserve activation | Activation of operating reserve provided by import (increase import schedule) | ORA |
| IESO security curtailment operating reserve activation | Activation of operating reserve provided by export (reduce export schedule) | ADQh |
| IESO security curtailment operating reserve activation | Reduction in operating reserve import schedule for the activation of operating reserve | ADQh |
| MISO - Minnesota - Inability to acquire transmission service | Real-Time transaction failures from MISO | OTH |
| MISO - Michigan - Inability to acquire transmission service | Real-Time transaction failures from MISO | OTH |
| MISO - Manitoba - Inability to acquire transmission service | Real-Time transaction failures from MISO | OTH |
| MISO ramping capacity | Market participant inability to acquire ramping capability in real-time | OTH |
| NYISO curtailments | Cuts by NYISO under HAM protocol due to TLR (NYISO real-rime transactions, not NYISO day-ahead transactions but could be IESO Day-Ahead Imports) | MrNh |
| IESO curtailments | IESO adequacy (surplus or deficiency) actions not caused by internal security. (dispatching on or off of imports or exports after the hour-ahead pre-dispatch calculation engine run leading up to the dispatch hour) | ADQh |
| NYISO - IESO Scheduling Protocol | 90-minute checkout | NY90 |
| IESO curtailments (Auto - Automatic treatment by the pre-dispatch calculation engine) | Other security curtailments Scheduling result of the security constrained economic dispatch process whether in full or in part | AUTO or NY90 |
| Intertie limit reduction | After day-ahead market expiration and before hour-ahead run of the pre-dispatch calculation engine leading up to the dispatch hour Import schedules may be reduced by an Intertie Limit Reduction which may impact day-ahead market schedules for importing energy | AUTO or NY90 |
| IESO ramping capacity (pre-dispatch calculation engine managing ramp) | For pre-dispatch calculation engine managing transactions to prevent violation of NISL | AUTO or NY90 |

#### 4.5.2	Methodology for Assigning Failure Codes

##### 4.5.2.1 	External Curtailment Causing an Intertie Limit Violation

Curtailment or transaction failure due to external curtailment or energy trader conduct – If an external control area operator curtails a transaction or a transaction fails due to an energy trader’s conduct, the IESO curtails the transactions schedule and codes the transaction with TLRe, MrNh or OTH. If the curtailment causes the intertie limit to be violated, the IESO will take immediate action to relieve the violation. On all interties, with the exception of Quebec, the IESO cannot increase and therefore must curtail other transactions.

Consequential curtailment – Where the IESO curtails a transaction to remedy a violation of an intertie limit caused by an external curtailment or due to an energy trader’s conduct, this consequential curtailment will be assigned a code of TLRe, based on Principle 2 described in section 4.5.1.

### 4.6	Capacity Export Scheduling and Curtailment

Interpretation – Unless the context requires otherwise, capitalized terms in this section are defined in MM 13 App.A.

#### 4.6.1	Capacity Export Delivery

(Ch.7 s.20.3.1)

Called capacity exports with adequate supply – Where Ontario has adequate supply during the period for the called capacity export, the IESO will flow a called capacity export only if the requirements provided by MR Ch.7 s.20.3.1 are satisfied and the bid for the called capacity export is scheduled economically.  If the Capacity Resource is not scheduled economically, refer to section 4.6.2.

Called capacity export during adequacy shortfall – Where Ontario has an adequacy shortfall during the period for the called capacity export, the IESO will flow a called capacity export only if the requirements provided by MR Ch.7 s.20.3.1 are satisfied, the bid for the called capacity export is scheduled economically, and the Capacity Resource is injecting energy in real-time to at least the amount of the called capacity export.

Curtailed called capacity exports where global adequacy shortfall exists – If the called capacity export is scheduled pro-rata due to other economic exports on the intertie, and the IESO is subsequently required to curtail exports for global adequacy, the IESO will ensure the delivery of the full called amount to the external control area, provided that the Capacity Resource(s) is injecting energy in real-time to at least the full amount of the called capacity export. In this circumstance, the Capacity Resource’s interchange schedule will be based on pro-rata economic curtailment of all intertie transactions, including called capacity exports, up to the called amount.

#### 4.6.2	Curtailment Provisions

(MR Ch.7 s 20.4.3)

Reasons for curtailment – In accordance with applicable capacity export agreements, the IESO may curtail a called capacity export:

to correct or prevent a violation of voltage, stability, or thermal transmission limits/criteria;

to prevent a threat to the safety of any person, damage to equipment or the environment, or the violation of any applicable law;

if the Capacity Resource is reduced in the pre-dispatch schedule or real-time schedule for reasons which may include:

constraints for voltage, stability, or thermal transmission limitations

constraints for ensuring safety of any person

constraints preventing the damage of equipment or the environment

constraints for preventing the violation of any applicable law

if the external control area or IESO-administered markets have been suspended, or there is a market tool failure which precludes intertie scheduling and/or inter-ISO coordination; or

if the Capacity Resource is contracted to the IESO to provide black start capability and is required for IESO-controlled grid restoration.

Curtailment for failing to synchronize and inject – As discussed in section 4.6.1, where called capacity exports are implemented in accordance with MR Ch.7 s.20.3.1, the Capacity Resource must be synchronized with the real-time schedule to at least the quantity of the called capacity export. If the Capacity Resource does not satisfy this requirement (e.g. including where the Capacity Resource submits an outage), the IESO will curtail the transaction to the amount of the pre-dispatch schedule or the lower of the real-time schedule or real-time injection amount.

No curtailment – A called capacity export will not be curtailed by the IESO out of economic merit:

- as a result of, or to avoid, a global capacity shortfall resulting in voltage reductions and/or load shedding; or

- to compensate for losses other than that of the Capacity Resource.

### 4.7	Capacity Import Scheduling

(MR Ch.7 ss.19.9 and 19.9B)

Scheduling Protocols – Imports offered on system-backed capacity import resources and generator-backed capacity import resources will be scheduled according to the intertie scheduling protocols set out in section 4.3.

#### 4.7.1	Capacity Import Call for Generator-Backed Capacity Import Resources

(MR Ch.7 s.19.9B)

Pre-conditions for issuing a capacity call for generator-backed capacity import resources – If the IESO is forecasting or experiencing an adequacy shortfall, it may initiate a capacity import call to a generator-backed capacity import resource.

Content of capacity import call – The capacity import call issued to generator-backed capacity import resources will communicate the hour(s) and MW quantity, up to the capacity obligation amount, for which the import will need to be scheduled.

Offer and bid requirements – To increase the likelihood that the import transaction is successfully scheduled, the capacity market participant should price its export bid in its host energy market at the maximum bid price and its import offer in the IESO energy market at negative MMCP.

Resource availability – To reduce the likelihood of curtailment, the generator-backed capacity import resource must be available to supply energy to back the import during the called hour(s) pursuant to the host control area’s requirements (e.g. be able to inject the scheduled import MW quantity within 30-minute notice for NYISO resources). Generator-backed capacity import resources should be available to deliver their offered imports, but are not required to be available until such time, if any, as the IESO issues a capacity import call, in which case the generator-backed capacity import resource must be available to satisfy its capacity obligation (MR Ch.7 s.19.9B).

Non-performance charge – If the import is not successfully scheduled according to capacity import call issued by the IESO or if it is curtailed partially or in full in the real-time dispatch process after being scheduled in a pre-dispatch calculation engine run, non-performance charges may apply, as specified in MR Ch.9 s.4.13. The transaction will not be considered a failure for the purposes of MR Ch.9 s.4.13, and therefore, the capacity market participant will not be subject to such non-performance charges, where the IESO assigns a curtailment reason code of TLRi, TLRe, or ADQh.

– End of Section –

## Issuing Dispatch Instructions and Operational Notices

### 5.1	Dispatchable Generation Resources, Dispatchable Loads or Dispatchable Storage Resources

Target energy output (MR Ch.7 s.7.3.1.1) – The dispatch instruction indicates the target energy output to be achieved (in MW) by the resource at the end of the dispatch interval consistent with the ramp rate as specified below:

- for a dispatchable load or electricity storage resource that proposes to withdraw, the ramp rate provided by the registered market participant as dispatch data; and

- for a generation resource or electricity storage resource that proposes to inject, the most limiting of:

the offered ramp rate applicable to the energy output specified in the resource’s most recent dispatch instruction; and

the effective maximum ramp rate, as set out below.

Target energy output for pseudo-units (MR Ch.7 s.7.3.1.1) – For pseudo units, the target energy output is derived from the pseudo-unit’s ramp rate and energy output of the associated combustion turbine and steam turbine generation units.

Effective maximum ramp rate – The effective maximum ramp rate consists of the lesser of:

the resource’s registered maximum ramp rate; and

the largest ramp rate contained in the offer for the resource, multiplied by the ramp rate multiplier established by the IESO. The ramp rate multiplier is currently set to a value of 1.2.

Materiality threshold (MR Ch.7 s.7.1.1A) – For the purpose of MR Ch.7 s.7.1.1A, the IESO will only issue dispatch instructions for a given dispatch interval when the change in the quantity to be scheduled is greater than or equal to the lesser of (a) 2% of the maximum offer/bid capability of the resource, and (b) 10 MW. However, the IESO will also issue dispatch instructions in each of the following circumstances, irrespective of whether the dispatch instruction change falls within the above materiality thresholds:

to ensure the resources is dispatched to its high operating limit or low operating limit;

for provision of energy reduction change when the previous dispatch instructions are higher than the resource’s current maximum offer; or

for dispatch intervals 1 and 7 of each dispatch hour.

Variable generation resources (MR Ch.7 s.7.1.2A.1) – Dispatch instructions for variable generation resources are accompanied with an “obligation indicator” which indicates either MANDATORY or RELEASE. A RELEASE flag indicates that the dispatch instruction is accompanied with a release notification. A release notification issued under MR Ch.7 s.7.1.2A.1 allows the energy supplied from the resource to be produced by ambient conditions rather than a specified dispatch quantity. The IESO issues dispatch instructions for energy to each variable generation resource only for dispatch intervals with mandatory obligation indicators in effect or for the first dispatch interval when the mandatory obligation indicator for variable generator no longer applies.

Contingency events impacting electronic dispatch – Where a contingency event is occurring or has occurred, the IESO may temporarily cease issuing dispatch instructions. If the IESO does not issue dispatch instructions to a resource, the resource must continue to follow its most recent dispatch instructions in accordance with MR Ch.7 s.7.5.1. If the IESO issues dispatch instructions by alternative means other than through dispatch workstations, including by telephone, registered market participants are expected to communicate to the IESO using those alternative means, including to accept or reject dispatch instructions.

Table 5-1: Procedure for Dispatching Dispatchable Resources

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | IESO | The IESO schedules resources to supply energy and operating reserve to meet electricity system requirements. |
| 2 | IESO | The IESO issues dispatch instructions in accordance with MR Ch.7 s.7.1.1A or, for variable generation resources, a release notification in accordance with MR Ch.7 s.7.1.2A1. |
| 3 | Registered market participant | The registered market participant receives the dispatch instruction from the IESO and, within 60 seconds of receipt, acknowledges the dispatch instruction by confirming to the IESO that the registered resource will accept or reject the dispatch instruction in accordance with MR Ch.7 s.7.1.2A. |
| 4 | IESO | The IESO confirms whether the registered market participant has accepted or rejected the dispatch instruction. If the registered market participant does not duly acknowledge the dispatch instruction within 60 seconds, the registered market participant may, within an additional 30 seconds, call and request the IESO to manually accept or reject the dispatch instruction on its behalf. If the registered market participant rejects the dispatch instruction, it should call the IESO to explain the reason for the rejection. Rejecting a dispatch instruction for reasons other than those permitted under MR Ch.7 s.7.5.3 may result in non-compliance with the market rules. The IESO may also contact the market participant by phone to manually accept or reject the dispatch instruction on its behalf, if requested to do so. Alternatively, if the registered market participant does not accept or reject the dispatch instruction, or does not request the IESO to manually accept or reject the dispatch instruction on its behalf, the IESO will deem the registered market participant to have rejected the dispatch instruction. For dispatch instructions that are rejected or for which no response has been received, the registered market participant is required to maintain its resource at the level of the last accepted dispatch instruction. |
| 5 | Market participant | A registered market participant that expects its resource to operate in a manner that, for any reason, differs materially from the IESO’s dispatch instructions shall notify the IESO as soon as possible in accordance with MR Ch.7 s.7.5.2. Refer to section 5.7 of this market manual. |
| 6 | IESO | If the registered market participant: confirms that it is rejecting a dispatch instruction; does not acknowledge the dispatch instruction; or notifies the IESO that the resource is operating or expects to operate in a manner that differs materially from the dispatch instructions; then the IESO will assess the impact. The IESO may address the impact by: issuing additional dispatch instructions; and/or transitioning from a normal operating state to a different operating state . |
| 7 | IESO | In circumstances where the impact results in a shortfall that cannot be addressed via normal market mechanisms, the IESO will declare an emergency operating state under MR Ch.7 s.12.1.3.3 and MR Ch.5 s.2.3.3. |

Emergency operating state – The key steps leading up to and during an emergency operating state under MR Ch.7 s.7.7. and Ch.5 s.5.3 are outlined in Table 5-2.

While Table 5-2 provides the escalating order of control actions, the IESO may initiate control actions at any point in the table depending on the specific circumstances and conditions of the IESO or external control area. In addition, the IESO may alter the order in which the control actions are implemented or not implement certain actions, to respond to reliability concerns.

Table 5-2: IESO and Market Participant Actions leading up to and during an Emergency Operating State

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | Market participant | Market participants access the IESO website to view any published advisory notices published pursuant to MR Ch.7 s.12.1.3.3 which indicate any expected emergency operating states. |
| 2 | IESO | If required, the IESO requests the market participant for a commissioning generation facility or commissioning electricity storage facility to discontinue its testing referred to in MR Ch.7 s.2.2A.4.2 or MR Ch.7 s.2.2D.4.2, as applicable. |
| 3 | Market participant | Market participant acknowledges receipt of, and complies with, the IESO’s request to discontinue the commissioning test. |
| 4 | IESO | The IESO implements actions to continue to satisfy ten-minute operating reserve requirements. Refer to MM 7.1 App.B. |
| 5 | IESO | The IESO issues NERC Energy Emergency Alert 2 (EEA-2) indicating that the IESO control area has or is expected to initiate load management procedures. |
| 6 | IESO | The IESO implements actions to continue to satisfy 10-minute synchronized operating reserve requirements. Refer to MM 7.1 App.B. |
| 7 | IESO | When the requirements provided by MR Ch.5 s.2.3 and MM 7.1 App.B are satisfied, the IESO declares an emergency operating state pursuant to MR Ch.7 s.12.1.3.3 and MR Ch.7 s.2.3.3. |
| 8 | Market participant | Market participants access the IESO website to view the published advisory notice. |
| 9 | IESO | The IESO implements emergency operating state control actions to continue to satisfy ten-minute synchronized operating reserve requirements, as described in MM 7.1 App.B. |
| 10 | IESO | The IESO implements actions to meet regulation reserve requirements, as described in MM 7.1 App.B. |
| 11 | Market participant (Transmitters and/or Distributors) | Transmitters and/or distributors receive and accept instructions to reduce voltage at the distribution level either by 3% or by 5%. |
| 12 | IESO | The IESO implements actions to avoid curtailment. Refer to MM 7.1 App.B. |
| 13 | Market participant (Generators and Electricity Storage Participants) | Generators and electricity storage participants apply for environmental variances to supply additional energy to the IESO-controlled grid. |
| 14 | IESO | The IESO issues NERC Energy Emergency Alert 3 (EEA-3) indicating that load interruption is imminent or in progress. |
| 15 | IESO | The IESO implements curtailment through emergency or rotational load shedding. The IESO notifies market participants under MR Ch.7 s.12.1.3A that load shedding is imminent, and subsequently directs emergency load shedding or controlled rotational load shedding. In the event of a curtailment, the IESO will publish an estimate of aggregate load curtailed as soon as practicable following the return to a normal operating state. |
| 16 | Market participant (Transmitters and/or Distributors) | Transmitters and/or distributors receive directions from the IESO via telephone to initiate curtailment. |

### 5.2	Hourly Demand Response Resources

(MR Ch.7 ss.19.4.2 and 19.4.4)

Standby Report – For the purpose of MR Ch.7 s.19.4.2, the IESO issues a standby notice via the standby report to the capacity market participant’s private report site to indicate that an hourly demand response resource must be on standby to provide demand response. Standby notice price threshold – For the purpose of MR Ch.7 s.19.4.2, the standby notice price threshold is set to $200/MWh.

Activation Report – For the purpose of MR Ch.7 s.19.4.4, the IESO issues an activation notice via the activation report to the capacity market participant’s private report site.

Availability window – If a capacity market participant does not receive an activation notice pursuant to MR Ch.7 s.19.4.4, for the first hour of the availability window, it must, unless activated earlier in the day, continue to monitor for the receipt of an activation notice resulting from subsequent runs of pre-dispatch calculation engine until the end of the availability window.

Hourly demand response bids outside the availability window – If the capacity market participant has submitted bids for an hourly demand response resource outside the availability window and has received an activation notice, then it must comply with that activation notice, unless cancelled or withdrawn by the IESO.

Activation period – Hourly demand response resource may be activated pursuant to MR Ch.7 s.19.4.4 for an activation period consisting of one to four consecutive dispatch hours. The number of activations per resource will be limited to a maximum of one per day.

Process for activating HDR resources – The IESO activates hourly demand response resources pursuant to MR Ch.7 s.19.4.4 following the process set out in Table 5-3.

Table 5-3: Procedural Steps for Activating Hourly Demand Response Resources

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | Capacity market participant | A capacity market participant’s with a capacity obligation for an hourly demand response resource submits demand response energy bids. |
| 2 | IESO | The IESO runs the pre-dispatch calculation engine. |
| 3 | IESO | The IESO issues a standby report which may include a standby notice. |
| 4 | Capacity market participant | If the standby report does not include a standby notice, the capacity market participant removes its bids in accordance with the timelines set out in MR Ch.7 s.19.4.3. |
| 5 | IESO | The IESO issues activation notices if the conditions under MR Ch.7 s.19.4.4 are satisfied. |
| 6 | Capacity market participant | Upon receipt of the activation notice, the capacity market participant complies with the activation notice by reducing its energy withdrawals as set out in MR Ch.7 s.19.4.5. |
| 7 | Capacity market participant | A capacity market participant that expects its hourly demand response resource to operate in a manner that, for any reason, differs from the IESO’s activation notice, notifies the IESO as set out in MR Ch.7 s.19.4.7. |
| 8 | Capacity market participant | A capacity market participant that expects its hourly demand response resource to operate in a manner that, for any reason, differs from the IESO’s activation notice, revises its bid as soon as possible. |

### 5.3	Boundary Entity Resources

(MR Ch.7 s.6.1.3)

e-Tag submission – For the purpose of MR Ch.7 App 7.2 s.1.2.8, App 7.3 ss.1.2.10 and 1.4.9, a registered market participant intending to use a boundary entity resource must submit an e-Tag with a quantity that matches the IESO interchange schedule. If at anytime the e-Tag ID changes the registered market participant must revise the e-Tag ID accordingly in its dispatch data.

Modifying interchange schedules – The IESO may modify interchange schedules at anytime, including within the dispatch hour, for reasons that include incorrect or missing e-Tags, scheduling misalignments with external control areas, requests from an external control area operator, contingencies or other reliability concerns.

Notification – After the IESO modifies an interchange schedule, it will notify the market participant accordingly.

Table 5-4:  Procedural Steps for Interchange Schedules

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | Registered market participant | The registered market participant creates an e-Tag, obtains an e-Tag ID, and submits dispatch data and the e-Tag ID. |
| 2 | Registered market participant | - The registered market participant receives an IESO pre-dispatch schedule including an interchange schedule for a boundary entity resource and a corresponding schedule from the external control area. Scenario 1 – No adjustments are required if the e-tag quantity and the quantities in both the IESO and neighboring control area schedules match. Scenario 2 – Revise the e-Tag quantity to the value of the scheduled quantity if the two schedules have the same scheduled quantity but this scheduled quantity does not match the e-tag quantity. - Scenario 3 – Revise the e-Tag quantity to a value that equals the lesser amount scheduled by the control areas if the two schedules differ in quantity. If the schedule in the external control area is for a quantity that is less than the bid/offer quantity and it is more than 60 minutes before the dispatch hour the registered market participant must reduce its bid/offer quantity in the IESO market to equal the external control area schedule. |
| 3 | IESO | The IESO issues dispatch instructions, in the form of interchange schedules, to each boundary entity resource for which a dispatch instruction is required. |
| 4 | IESO | The IESO reviews the interchange schedule to determine if changes to the interchange schedule are required and notifies market participants if their interchange schedules have been modified from quantities included in the Market Participant Interface at the conclusion of the pre-dispatch process. |
| 5 | Registered market participant | Registered market participant receives notice of interchange schedule revisions and submits the revised e-Tag and e-Tag ID, if required. |
| 6 | IESO | The IESO validates the e-Tag submitted or revised e-Tag from the previous step. |
| 7 | IESO | IESO confirms the quantity and e-Tag ID for each interchange schedule with adjacent control areas. The IESO and/or adjacent control areas may reduce interchange schedules in accordance with the checkout process. |
| 8 | IESO and Market participants | Ramps of energy between control areas are initiated over 10 minutes. Energy ramps typically begin at five minutes before the dispatch hour. |
| 9 | IESO | The IESO notifies market participants of interchange schedules that have been curtailed relative to the quantities confirmed with adjacent control areas in accordance with the checkout process. |

### 5.4	Dispatch of Operating Reserve

(MR Ch.7 s.7.4)

Dispatchable loads and withdrawing dispatchable electricity storage resources (MR Ch. 7 s.7.4.3) – A dispatchable load or dispatchable electricity storage resource that is withdrawing must reduce its consumption, or remain at a reduced consumption level, to provide at least the amount of operating reserve required for an activation.

Pseudo-units (MR Ch.7 s.7.1.2A.1) – To activate operating reserve for pseudo-unit, the IESO issues dispatch instructions on the resources for the corresponding combustion turbine generation units and steam turbine generation unit, respectively.

Recovery after an activation (MR Ch.7 s.7.4.5) – When operating reserve is activated as a result of an NPCC “reportable event” as such term is defined in the NPCC Glossary of Terms, as amended from time to time, the otherwise applicable ten-minute operating reserve requirements will be reduced by the amount of the activation. For the purpose of MR Ch.7 s.7.4.5 and Ch.5 s.4.5.10, the IESO will subsequently recover to pre-contingency levels of operating reserve requirements within 105 minutes of the contingency.

Recovery after event other than activation (MR Ch.7 s.7.4.5) – For the purpose of MR Ch.7 s.7.4.5 and Ch.5 s.4.5.10, for all events that cause the IESO to become deficient other than an operating reserve activation following an NPCC reportable event, the otherwise applicable ten-minute operating reserve requirements will be reduced by a corresponding amount. The IESO will subsequently recover to pre-contingency levels of operating reserve requirements within 90 minutes of the contingency.

### 5.5	Manual Procurement of Operating Reserve during Forced or Planned Tool Outages

(MR Ch.7 s.1.5)

Proportion of available operating reserve capacity – In the event of a planned outage described in MR Ch.7 s.1.5.1 or a forced outage in respect of IESO-administered markets software, hardware or communication systems, the IESO will use reasonable efforts to procure operating reserve in amounts that are proportional with each market participant’s respective share in the total available operating reserve capacity.

Alternative procedure pursuant to MR Ch.7 s.1.5.3 – If, as a result of a planned outage described in MR Ch.7 s.1.5.1 or a forced outage in respect of IESO-administered markets software, hardware or communication systems, and the IESO has requested that a market participant provide operating reserve, the IESO will:

notify market participants that the dispatch instruction for operating reserve  issued electronically is invalid, if applicable;

indicate the amount of each class of operating reserve to be provided by the market participant;

identify whether the request represents an activation of operating reserve;

if practicable, indicate the duration of the request. If this is not practicable, the request will be valid until the IESO states otherwise;

indicate any restrictions applicable to the areas from which operating reserve must be provided, leaving the market participant to choose what resources will be used to meet the request; and

confirm with market participants each resource chosen and the amount of each class of operating reserve the resource will provide.

### 5.6	Resource Commitment Notices

#### 5.6.1	Start-up Notices

(MR Ch.7 s.10.1)

Content of start-up notices – Start-up notices contain the following elements in respect of a GOG-eligible resource:

resource name;

start-up time;

synchronization time; and

time the resource should reach its minimum loading point.

Form and timing of automated start-up notices – The IESO typically issues start-up notices via the resource’s dispatch workstation. The IESO will aim to issue these start-up notices no later than 30 minutes  before the beginning of the resource’s start-up procedures, in accordance with the applicable lead time. The applicable lead time (hot, warm or cold) used to issue the start-up notice is based on the resource’s calculated thermal state for the first hour of the commitment.

Form and timing of manual start-up notices – The IESO may elect to issue start-up notices manually via telephone call. This is most likely to occur for start-up notices issued in the following circumstances:

under MR Ch.7 s.10.1.2 (i.e. prior to 20:00 EST on the day prior to the relevant dispatch day);

under MR Ch.7 s.10.1.3; or

due to a failure or planned outage of IESO-administered markets software, hardware or communication systems.

Alternate synchronization times – When a registered market participant indicates whether it reasonably expects to comply with the start-up notice under MR Ch.7 s.10.1.4, it is permitted to propose an alternate synchronization time . For GOG-eligible resources other than resources for steam turbine generation units that are registered as pseudo-units, the IESO will approve the alternate synchronization time if the alternative synchronization time satisfies each of the following requirements:

it is no earlier than one hour prior to the synchronization time indicated in the start-up notice;

it is no later than one hour after the synchronization time indicated in the start-up notice;

it is no later than the time indicated to reach the minimum loading point in the start-up notice; and

it is for a future time.

- Alternate synchronization times for steam turbines – For resources for steam turbine generation units registered as pseudo-units, the IESO will approve the alternate synchronization time if the alternative synchronization time satisfies all of the following requirements:

it is no earlier than one hour prior to the synchronization time indicated in the start-up notice;

it is no later than the time indicated to reach the minimum loading point in the start-up notice; and

it is for a future time.

Manual proposal for alterative synchronization time – In the event that the registered market participant’s proposed alterative synchronization time does not satisfy the above requirements, the registered market participant may only request an alternative synchronization time by calling the IESO.

Failure to acknowledge start-up notice – If the registered market participant fails to comply with the obligation to duly acknowledge receipt of the start-up notice in accordance with MR Ch.7 s.10.1.4, the IESO will infer that the registered market participant does not intend to comply with the start-up notice.

#### 5.6.2	Procedural Steps for Start-up Notices for GOG-Eligible Resources

Table 5-5 summarizes steps involved for issuing and responding to start-up notices under the automated process. In the event that the IESO issues a start-up notice under the manual process, the IESO and the registered Pmarket participant must satisfy the relevant requirements as soon as practicable, rather than in accordance with the timelines set out in the table:

Table 5-5: Procedural Steps for Start-up notices for GOG-Eligible Resources

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | IESO | The IESO determines that it will issue a start-up notice. |
| 2 | IESO | The IESO issues the start-up notice. |
| 3 | Registered market participant | The registered market participant acknowledges the start-up notice in accordance MR Ch.7 s.10.1.4 and, if appropriate, proposes an alternate synchronization time for the resource. |
| 4 | Registered market participant | Where the registered market participant has not responded to the start-up notice in accordance with MR Ch.7 s.10.1.4, it should contact the IESO by phone to, request that the IESO manually indicate in the IESO’s tools whether it reasonably expects the resource to comply with the start-up notice, on the registered market participant’s behalf; or explain the reason for which it reasonably expects the resource not to comply with the start-up notice. |
| 5 | IESO | The IESO confirms whether the registered market participant intends to comply with the start-up notice. |
| 6 | Registered market participant | If the registered market participant indicates that it does not intend to comply with the start-up notice, or fails to acknowledge the start-up notice, the registered market participant revises the resource’s dispatch data as soon as possible. |
| 7 | Registered market participant | If applicable, the registered market participant informs the IESO that it expects the resource to operate in a manner that differs materially from the IESO’s start-up notice, in accordance with Ch.7 s.10.1.5, after earlier informing the IESO that it intends to comply with the start-up notice. |
| 8 | Registered market participant | After notifying the IESO of circumstances provided by MR Ch.7 s.10.1.5, the registered market participant revises the resource’s dispatch data as soon as possible. |

#### 5.6.3	Issuing Extended Pre-Dispatch Operational Commitments

(MR Ch.7 s.8.2.2)

Issued report – Market participants should consult the “Pre-dispatch Intertie Transactions and GOG Eligible Extensions Report” to determine whether their GOG-eligible resource has received an extended pre-dispatch operational commitment. Refer to Table 6-2 for details concerning the publication of this report.

Extension Notice – The IESO will also issue commitment extension notices in advance of an extended pre-dispatch operational commitment. The IESO will aim to issue these notices to the market participant’s dispatch workstation by 30 minutes past the hour.

#### 5.6.4	Notice of Decommitment

(MR Ch.7 s.10.2)

Purpose – A notice of decommitment informs the market participant that a GOG-eligible resource may be decommitted by the real-time scheduling process.

Form of notice of – The IESO issues notice of decommitment via the market participant’s dispatch workstation in accordance with MR Ch.7 s.10.2.1. Further the IESO may issue notices of decommitment manually via telephone call to maintain reliability under MR Ch.7 s.10.2.2 or due to a failure or planned outage of IESO-administered markets software, hardware or communication systems.

Content of notice of decommitment – Notices of decommitment contain the following elements in respect of a GOG-eligible resource:

resource name; and

decommitment time

Failure to acknowledge notice of decommitment – If the registered market participant fails to comply with the obligation to duly acknowledge receipt of the notice of decommitment in accordance with MR Ch.7 s.10.2.3 [unless the registered market participant indicates otherwise], the IESO will infer that the registered market participant does not intend to comply with the notice.

Table 5-6: Procedural Steps for DeCommitment notices for GOG-Eligible Resources

| Step | Completed by… | Action |
| --- | --- | --- |
| 1 | IESO | The IESO determines that it will issue notices of decommitment. |
| 2 | IESO | The IESO issues decommitment notices. |
| 3 | Registered market participant | The registered market participant acknowledges the notice of decommitment notice in accordance with MR Ch.7 s.10.2.3. |
| 4 | Registered market participant | A registered market participant should contact the IESO by phone: If the registered market participant has not duly acknowledged the notice of decommitment within 45 minutes after the hour, and wishes to request that the IESO manually indicate in the IESO’s tools whether it reasonably expects the resource to comply with the notice of decommitment, on the market participant’s behalf; to explain the reason for which it reasonably expects the resource not to comply with the notice of decommitment. |
| 5 | IESO | The IESO confirms whether the registered market participant intends to comply with the notice of decommitment. |
| 6 | Registered market participant | If applicable, the registered market participant informs the IESO it expects to operate in a manner that differs materially from the IESO’s notice of decommitment, in accordance with Ch.7 s.10.2.4. |
| 7 | Registered market participant | After notifying the IESO of circumstances provided by MR Ch.7 s.10.2.4, the registered market participant revises its dispatch data as soon as possible. |

### 5.7	Compliance with Dispatch Instructions

Variable generation resources (MR Ch.7 ss.7.1.2A and 7.5.1) – Variable generation resources must comply with dispatch instructions (i.e., with a mandatory obligation indicator as discussed in section 5.1) if the resource has sufficient fuel to satisfy the dispatch instructions.

Materiality threshold (MR Ch.7 ss.7.5.1 and 7.5.2) – For the purpose of MR Ch.7 s.7.5.1 and 7.5.2, registered market participants’ determination of whether they expect their resources to operate in a manner that “differs materially from the dispatch instructions” shall be based on the materiality thresholds provided by the interpretation bulletin, “Compliance with Dispatch instructions Issued to Dispatchable Facilities”, IMO_MKRI_0001 v.7.0, as may be amended from time to time, except for resources associated with cogeneration facilities, enhanced combined cycle facilities and hourly demand response resources, as described below:

- For resources associated with a cogeneration facility, a deviation is material if it exceeds the compliance band established by the IESO during the Market Registration process (MR Ch.7 s.2.2.6.10).

- For resources associated with an enhanced combined cycle facility, a deviation is material if it exceeds the compliance band established by the IESO during the market registration process (MR Ch.7 s.2.2.6.10).

For an hourly demand response resource, a deviation is material if it deviates from the activation notice by 5 MW or more (MR Ch.7 s.19.4.5).

Registered market participant actions – When notifying the IESO of an expected material deviation from dispatch instructions pursuant to MR Ch. 7 s.7.5.2, registered market participants must take the following additional steps:

- revise dispatch data to reflect the resource’s expected capability in accordance with MR Ch.7 s.3.3.8; and

- reject subsequent dispatch instructions that the registered market participant does not expect to comply with, within the 60-seconds after receiving the prompt via the dispatch workstation.

If registered market participants do not expect to comply with dispatch instructions as a result of an outage, they must take the following additional steps at the time of submitting the notice under MR Ch.7 s.7.5.2:

- Submit or revise an outage slip in accordance with MR Ch.5 s.6.3, using the outage submission tools to reflect the resource’s capability (refer to MM 7.1 and, MM 7.3 s.2 for more information); and

- Notify the IESO by telephone if the outage is a forced outage.

- Operating reserve – Registered market participants must notify the IESO, pursuant to MR Ch.7 s.7.5.2, when they:

- have been scheduled for ten-minute operating reserve and do not expect to be able to provide the full amount of ten-minute operating reserve scheduled; or

- have been scheduled for thirty-minute operating reserve and do not expect to be able to provide the full amount of thirty-minute operating reserve scheduled;

Operating reserve activations (MR Ch.7 ss.7.5.1 – 7.5.2) – When the IESO issues dispatch instructions for energy for the purpose of activating operating reserve, the dispatch instructions include an “ORA” flag. The IESO will treat a registered market participant’s departure from these dispatch instructions as a material deviation for the purpose of MR Ch.7 s.7.5.2, and therefore, as non-compliant with the market rules, if:

- for a dispatchable generation resource or dispatchable electricity storage resource that proposed to inject energy, the resource fails to inject at levels at or above the dispatch instruction within the applicable timeframe; or

- for a dispatchable load resource or dispatchable electricity storage resource that proposed to withdraw energy, the resource fails to withdraw at levels at or below the dispatch instruction within the applicable timeframe.

Content of notification to the IESO – A registered market participant that expects to materially depart from dispatch instructions must include the following information in its notification to the IESO under MR Ch.7 s.7.5.2:

the reason the resource is will not comply with the dispatch instruction;

the expected duration of the condition that is preventing the resource from complying with the dispatch instruction; and

the minimum or maximum MW levels that the resource can safely operate at for the remainder of the relevant condition.

Further, a market participant may request that the IESO constrain the resource to a viable operating range.

Deemed rejection (MR Ch.7 s.7.1.2A) – Registered market participants are expected to accept or reject dispatch instructions, within 60 seconds after receiving the prompt via the dispatch workstation. If the registered market participant fails to accept or reject a dispatch instruction (i.e. the message timer times-out before the registered market participant responds to the dispatch instruction), the IESO will deem the reject registered market participant as having rejected the dispatch instruction.

Consequence of rejection (MR Ch.7 s.7.1.2A) – If a registered market participant rejects a dispatch instruction (or is deemed to have rejected a dispatch instruction), the resource must comply with the last accepted dispatch instruction.

### 5.8	Compliance Aggregation

Overview – The compliance aggregation program allows registered market participants to share and satisfy dispatch instructions across eligible resources when system conditions permit, for the purpose of complying with dispatch instructions. Compliance aggregation does change the requirements or tools and processes in respect of a resource’s participation in the IESO-administered markets other than for the purpose of complying with dispatch instructions.

Registration – The compliance aggregation program is only available to generation resources that do not qualify for network model aggregation.  For additional eligibility requirements to participate in the compliance aggregation program, refer to the registration process described in MM 1.5 s.3.6.1. In addition, market participants may wish to opt for the meter disaggregation model. The registration process for the meter disaggregation model is described in MM 3.7.

Materiality threshold – For the purpose of MR Ch.7 ss.7.5.1-7.5.2, registered market participants’ determination of whether they expect their resources that are authorized to participate in the compliance aggregation program to operate in a manner that “differs materially from the dispatch instructions” shall be based on the applicable materiality thresholds provided by the interpretation bulletin, Compliance with Dispatch instructions Issued to Dispatchable Facilities ”, IMO_MKRI_0001 v.7.0, as may be amended from time to time.

Suspension to maintain reliability – If the IESO determines that it is necessary to maintain reliability, the IESO may suspend the ability of one or more resources to comply with dispatch instructions in accordance with the compliance aggregation program. Under such circumstances, each resource is required to comply with its dispatch instructions issued by the IESO (i.e., without allowing for other resources to satisfy the dispatch instructions on their behalf).

Example – Instances of circumstances that may trigger the IESO to suspend the compliance aggregation program to maintain system reliability might include but is not limited to:

- load rejection and/or generation rejection arming;

- outages;

- configuration changes; and

- security limit violations.

Notice to suspend compliance aggregation – If the IESO determines that it is necessary to suspend the compliance aggregation program in respect of one or more resources to maintain reliability, the IESO will issue a notice to the market participant, which includes the following information:

that compliance with dispatch instructions is required on individual resource basis by using terminology similar to: “[Compliance Aggregate Name] must abide by resource specific dispatch”; and

if available, a time frame for the expected reinstatement of the compliance aggregation program.

Notice of reinstatement of compliance aggregation –  The IESO will notify market participants when their resources may participate in the Compliance Aggregation program, by using terminology similar to: “[Compliance Aggregate Name] may return to compliance aggregate operation at [specified time].”

Submission of dispatch data – While operating within the compliance aggregation program, registered market participants are required to follow the normal dispatch data process including by submitting offers on individual resources, in accordance with the requirements provided by the market rules.

Operating reserve – For requirements pertaining to the provision of operating reserve from compliance aggregates, refer to the interpretation bulletin, Compliance with Dispatch Instructions Issued to Dispatchable Facilities, IMO_MKRI_0001 v.7.0, ss.2.2-2.3.

Pseudo-units – Unlike other GOG-eligible resources, for combined cycle plants registered as pseudo-units, the generation resources for each of the combustion turbine generation units and steam turbine generation unit may operate as a compliance aggregate when operating below their minimum loading point.

### 5.9	Withdrawal from Commitment

(MR Ch.7 ss.10.3.2 and 10.3.3)

Form of notice – For the purpose of providing notice to the IESO under MR Ch.7 ss.10.3.2 or 10.3.3, a registered market participant must call the IESO prior to removing or revising its real-time market offers.

Revise dispatch data – If a registered market participant for a GOG-eligible resource expects not to satisfy a day-ahead operational commitment or pre-dispatch operational commitment, it must revise the applicable dispatch data in accordance with MR Ch.7 s.3.3.8.

### 5.10	IESO Cancellation of Commitment for Generator Offer Guarantee Eligible Resources

(MR Ch.7 s 10.3.1)

Reasons for IESO cancelling commitment – The IESO will not cancel a day-ahead operational commitment or pre-dispatch operational commitment under section MR Ch.7 s.10.3.1 unless doing so is necessary to maintain reliability, and not for economic reasons.

Form of notice – For the purpose of providing notice to market participants under MR Ch.7 s.10.3.1, the IESO will call the market participant before cancelling the day-ahead operational commitment or pre-dispatch operational commitment.

Revise dispatch data – Where the IESO cancels a day-ahead operational commitment or pre-dispatch operational commitment in accordance with MR Ch.7 s.10.3.1, the registered market participant must revise the applicable dispatch data in accordance with MR Ch.7 s.3.3.8.

### 5.11	Pre-Dispatch Operational Commitment Cancellation Cost Recovery

(MR Ch.9 s.4.11)

Cancellation after the start of a pre-dispatch operational commitment – In the event that the IESO cancels a pre-dispatch operational commitment after the resource has reached its minimum loading point, the total start-up offer will be included in the assessment of the GOG compensation as well as the speed no-load offer incurred for the hours that the resource was operating at or above its minimum loading point.

Cancellation before the start of a pre-dispatch operational commitment – If the IESO cancels a pre-dispatch operational before the resource has reached its minimum loading point, the start-up offer will not be included in the assessment of the GOG compensation. The IESO may compensate market participants for the cost incurred in securing unused fuel. Refer to MM 5.5 s.2.25 for further information regarding the fuel compensation credit.

– End of Section –

## Publishing and Issuing Pre-Dispatch and Real-Time Reports

This section describes the reports the IESO publishes and issues as part of the pre-dispatch process and real-time scheduling processes.

Figure 6-1: Pre-dispatch and Real-time Scheduling Process Reports

### 6.1	Pre-Dispatch Reports

(MR Ch.7 ss.5.7-5.8)

Table 6-1 provides a list and description of each pre-dispatch process report that is published by the IESO in accordance with the applicable section of the market rules. Public reports are available to all market participants and to the broader public.

Table 6-1: Pre-dispatch Process Public Reports

| Report Name | Report Description |
| --- | --- |
| Adequacy Report (MR Ch.7 s.12.1.1.6) | The Adequacy Report: to support the real-time market, is typically published in accordance with MR Ch.7 ss.12.1.1.6.d and 12.1.1.6.e at approximately 15 minutes and 45 minutes past the hour on the dispatch day; and presents information with hourly granularity. |
| Pre-dispatch Totals Report (MR Ch.7 s.5.7.1.5) | The Pre-dispatch Totals Report: contains forecasts and schedules of system-wide information; and presents information with hourly granularity. |
| Variable Generation Tie Breaking Rankings Report (MR Ch.7 s.5.7.3) | The Variable Generation Tie Breaking Rankings Report: contains variable generation tie-breaking rankings for the 90-day period; is typically published on the first calendar day of every month; is typically published if the tie-breaking ranking is updated to account for newly registered variable generation resources coming into service; and presents information with daily granularity. |
| Variable Generation Forecast Summary Report | The Variable Generation Forecast Summary Report: contains regional energy forecast for the next 48 hours, by fuel type, for all variable generation resources subject to centralized forecasting; is typically published approximately five minutes prior to every hour; and presents information with hourly granularity. |
| Pre-dispatch Hourly Energy LMP Report (MR Ch.7 s.5.7.1.1) | - The Pre-dispatch Hourly Energy LMP Report: contains the locational marginal price information in respect of energy for every delivery point, including the Energy Congestion Price and Energy Loss Price; and presents information with hourly granularity. |
| Pre-dispatch Hourly Virtual Zonal Energy Price Report (MR Ch.7 s.5.7.1.2) | The Pre-dispatch Hourly Virtual Zonal Energy Price Report: contains the virtual zonal price for each virtual transaction zone; and presents information with hourly granularity. |
| Pre-dispatch Hourly Ontario Zonal Energy Price Report (MR Ch. 7 s.5.7.1.3) | The Pre-dispatch Hourly Ontario Zonal Energy Price Report: contains the pre-dispatch Ontario zonal price presents information with hourly granularity. |
| Pre-dispatch Hourly Operating Reserve LMP Report (MR Ch.7 s.5.7.1.1) | The Pre-dispatch Hourly Operating Reserve LMP Report: contains the locational marginal pricing-related information in respect of each class of operating reserve for every delivery point, including the Operating Reserve Congestion Price; and presents information with hourly granularity. |
| Pre-dispatch Hourly Intertie Energy LMP Report (MR Ch.7 s.5.7.1.4) | The Pre-dispatch Hourly Intertie Energy LMP Report: contains locational marginal price information for intertie zones in respect of energy, including internal congestion, losses, congestion due to intertie limits and congestion due to NISL constraints; and presents information with hourly granularity. |
| Pre-dispatch Hourly Intertie Operating Reserve LMP Report (MR Ch.7 s.5.7.1.4) | The Pre-dispatch Hourly Intertie Operating Reserve LMP Report: contains locational marginal price information for intertie zones in respect of the 10-minute non-spinning and 30-minute operating reserve, internal congestion, congestion due to intertie limits and congestion due to NISL constraints; and presents information with hourly granularity. |
| Pre-dispatch Area Reserve Constraints Report (MR Ch.7 s.5.7.1.8) | The Pre-dispatch Area Reserve Constraints Report: contains hourly maximum and minimum constraints for the area operating reserve regions used as inputs for the pre-dispatch calculation engine; and presents information with hourly granularity. |
| Pre-dispatch Area Operating Reserve Shortfalls Report (MR Ch.7 s.5.7.1.6) | The Pre-dispatch Area Operating Reserve Shortfalls Report: contains operating reserve requirements, the total quantity of operating reserve in pre-dispatch schedules, and resulting shortfalls in each hour of the dispatch day, by operating reserve area; and presents information with hourly granularity |
| Pre-dispatch Intertie Scheduling Limits Report (MR Ch.7 s.5.7.1.9) | The Pre-dispatch Intertie Scheduling Limits Report: contains intertie scheduling limits for each intertie zone used as inputs to the pre-dispatch calculation engine; and presents information with hourly granularity. |
| Pre-dispatch Security Constraints Report (MR Ch.7 s.5.7.1.7) | The Pre-dispatch Security Constraints Report: contains binding security constraints applicable to the transmission system, as determined by the pre-dispatch calculation engine; and presents information with hourly granularity. |
| Real-Time Global Market Power Conditions for Energy Summary Report (MR Ch.7 s.5.7.4) | The Real-Time Global Market Power Conditions for Energy Report: contains a summary of the hours in the study period when the price and import restriction conditions in respect of energy are met in the real-time market; and Presents information with hourly granularity. |

Confidential reports – Table 6-2 provides a list and description of each pre-dispatch process confidential report issued by the IESO. Confidential reports are available only to the market participant to which the information relates.

Table 6-2: Pre-dispatch Process Confidential Reports

| Report Name | Report Description |
| --- | --- |
| Pre-dispatch Pseudo-Unit Computed Values Report (MR Ch.7 s.5.8.2.10) | The Pre-dispatch Pseudo-Unit Computed Values Report: contains the values used by the pre-dispatch calculation engine for pseudo-units and generation resources associated with the corresponding combustion turbine generation units and steam turbine generation units; is based on market participant submitted registration and dispatch data for generation resources associated with the corresponding combustion turbine generation units and steam turbine generation units, and outages and constraints; and presents information with hourly granularity. |
| Variable Generation Forecast by Resource Report (MR Ch.4 s.7.3.5) | The Variable Generation Forecast by Resource Report: contains an hourly energy forecast for each of the variable generator’s variable generation resources for the next 48 hours; is typically issued approximately five minutes prior to each dispatch hour; and presents information with hourly granularity. |
| Pre-dispatch Intertie Transactions Schedule and GOG Eligible Extensions Reports (MR Ch.7 ss.5.8.2.1 and 5.8.2.2) | The Pre-dispatch Intertie Transactions Schedule and GOG Eligible Resource Extensions Report: contains interchange schedules for energy and operating reserve for the next two dispatch hours; contains extended pre-dispatch operational commitments; is typically issued at approximately 15 minutes after the dispatch hour; and presents information with hourly granularity. |
| Pre-dispatch Schedules Report (MR Ch.7 ss.5.8.2.3 and 5.8.2.11) | The Pre-dispatch Schedules report: - contains pre-dispatch schedules for energy and operating reserve; - notifies market participants that they have failed the conduct and impact test for price impact, if applicable; - is typically issued approximately 30 minutes after each dispatch hour; and - presents information with hourly granularity |
| Pre-dispatch Commitments Report (MR Ch.7 ss5.8.2.2 and 5.8.2.4, 5.8.2.5, and 10.1 Ch.5 ss.1.2 and 3.2) | The Pre-dispatch Commitments Report: contains operational constraints for GOG-eligible resources, including pre-dispatch operational commitments and commitments to maintain reliability; is typically issued approximately 30 minutes after the dispatch hour; and presents information with hourly granularity |
| Pre-dispatch GOG-Eligible Unit Inferred State Report (MR Ch.7 s.5.8.2.6) | The Pre-dispatch GOG-Eligible Unit Inferred State Report: contains the MGBDT values used by the pre-dispatch calculation engine to infer the thermal state; contains the number of consecutive hours that the resource has been below its minimum loading point; and is issued approximately 30 minutes after each dispatch hour. |
| Hourly Demand Response Standby Report (MR Ch.7 s.19.4.2) | The Hourly Demand Response Standby Report: notifies the capacity market participants when their hourly demand response resources are on standby for demand response activations; If applicable, is issued after the day-ahead market calculation engine or pre-dispatch calculation engine produces valid results in respect of a business day; may be issued until 07:00 EST of the relevant dispatch day; and If a capacity market participant will not be placed on standby for the relevant dispatch day, it will receive confirmation of same via this report by approximately 7:00 EST. |
| Demand Response Activation Report (MR Ch.7 s.19.4.4) | The Demand Response Activation Report: notifies capacity market participants for hourly demand response resources to activate to provide demand response; contains the schedule for the resource to provide demand response; is typically issued approximately 2.5 hours prior to the activation period; and presents information with hourly granularity |
| Pre-dispatch Daily Energy Limit Tracking Report (MR Ch.7 s.5.8.2.12) | The Pre-dispatch Daily Energy Limit Tracking Report: contains the cumulative energy schedules for the dispatch day for the purpose of tracking the resource’s operation relative to its submitted minimum daily energy limit and maximum daily energy limit; and presents information with hourly granularity. |
| Pre-dispatch Number of Starts Tracking Report (MR Ch.7 s.5.8.2.13) | The Pre-dispatch Number of Starts Tracking Report: contains the actual and forecast number of starts for the dispatch day relative to the resource’s submitted maximum number of starts per day; and presents information with hourly granularity. |

### 6.2	Real-Time Reports

(MR Ch.7 ss.6.7-6.8)

Table 6-3 provides a list and description of each real-time scheduling process public report that is published by the IESO in accordance with the applicable section of the market rules. Public reports are available to all market participants and to the broader public.

Table 6-3: Real-Time Scheduling Process Public Reports

| Report Name | Report Description |
| --- | --- |
| Adequacy Report (MR Ch.7 s.12.1.1.6) | The Adequacy Report: to support the real-time market, is typically published in accordance with MR Ch.7 s.12.1.1.6(d) and s.12.1.1.6(e) at approximately 15 minutes and 45 minutes past the hour on the dispatch day; and presents information with hourly granularity. Refer to MM 7.2 s.3.1 for more information. |
| Realtime Totals Report (MR Ch.7 s.6.6.1.5) | The Realtime Totals Report: contains forecasts and schedules of system-wide information; and presents information with five-minute granularity. |
| Generator Output and Capability Report (MR Ch.4 s.7.3.4) (MR Ch.4 s.7.3A.3) | The Generator Output and Capability Report: contains output and capability levels for generation resources associated with one or more generation units with a capacity of 20 MW or greater; contains output and capability levels for electricity storage resources associated with one or more electricity storage units with a capacity of 20 MW or greater; is typically published approximately 15 minutes after each dispatch hour; and presents information with hourly granularity. |
| Variable Generation Tie Breaking Rankings Report (MR Ch.7 s.6.6.6) | The Variable Generation Tie Breaking Rankings Report: contains variable generation tie-breaking rankings for the 90-day period; is typically published on the first calendar day of every month; is typically published if the tie-breaking ranking is updated to account for newly registered variable generation resources coming into service; and presents information with daily granularity. |
| Realtime 5-min Energy LMP Report (MR Ch.7 s.6.6.1.1) | - The Realtime 5-min Energy LMP Report: contains the locational marginal price information in respect of energy for every delivery point, including the Energy Congestion Price and Energy Loss Price; and presents information with five-minute granularity. |
| Realtime 5-min Virtual Zonal Energy Price Report (MR Ch.7 s.6.6.1.2) | The Realtime 5-min Virtual Zonal Energy Price Report: contains the virtual zonal price for each virtual transaction zone; and presents information with five-minute granularity |
| Realtime 5-min Ontario Zonal Energy Price Report (MR Ch.7 s.6.6.1.3) | The Realtime 5-min Ontario Zonal Energy Price Report: contains the Ontario zonal price for the real-time market; and presents information with five-minute granularity |
| Realtime 5-min Operating Reserve LMP Report (MR Ch.7 s.6.6.1.1) | The Realtime 5-min Operating Reserve LMP Report: contains locational marginal prices for 10-minute synchronized, 10-minute non-synchronized and 30-minute types of operating reserve; and presents information with five-minute granularity |
| Realtime 5-min Intertie Energy LMP Report (MR Ch.7 s.6.6.1.4) | The Realtime 5-min Intertie Energy LMP Report: contains locational marginal price information for intertie zones in respect of energy, including internal congestion, losses, congestion due to intertie limits and congestion due to NISL constraints; and presents information with five-minute granularity |
| Realtime 5-min Intertie Operating Reserve LMP Report (MR Ch.7 s.6.6.1.4) | The Realtime 5-min Intertie Operating Reserve LMP Report: contains locational marginal price information for intertie zones in respect of the 10-minute non-spinning and 30-minute operating reserve, internal congestion, losses, congestion due to intertie limits and congestion due to NISL constraints; and presents information with five-minute granularity |
| Realtime Constraints Shadow Prices Report (MR Ch.7 s.6.6.4) | The Realtime Constraints Shadow Prices Report: contains shadow prices for the binding security constraints applicable to the transmission system, as determined by the real-time calculation engine. contains information from five days before the date of publication; is typically published at approximately 08:00 EST; and presents information with five-minute granularity. |
| Realtime Area Reserve Constraints Report (MR Ch.7 s.6.6.2.2) | The Realtime Area Reserve Constraints Report: contains maximum and minimum constraints for the area operating reserve regions used as inputs for the real-time calculation engine; and presents information with five-minute granularity |
| Dispatch Area Operating Reserve Shortfalls Report (MR Ch.7 s.6.6.2.1) | The Dispatch Area Operating Reserve Shortfalls Report: contains operating reserve requirements, the total quantity of operating reserve in real-time schedules, and resulting shortfalls for the dispatch intervals in the previous dispatch hour, by operating reserve area; and presents information with five-minute granularity |
| Dispatch Area Operating Reserve: Total Scheduled and Total Energy Called Report (MR Ch.7 s.6.6.2.4) | The Dispatch Area Operating Reserve: Total Scheduled and Total Energy Called Report: indicates the total quantities of operating reserve included in real-time schedules and quantities of operating reserve that have been activated, by operating reserve area; and presents information with five-minute granularity. |
| Realtime Intertie Scheduling Limits Report (MR Ch.7 s.6.6.2.2) | Realtime Intertie Scheduling Limits Report contains intertie scheduling limits for each intertie zone used by the real-time calculation engine; and presents information with five-minute granularity. |
| Intertie Schedule and Flow Report (MR Ch.7 s.6.6.2.3) | The Intertie Schedule and Flow Report: contains the total quantities of energy included in interchange schedules and quantities of energy that have been conveyed to and from each intertie zones; presents quantities conveyed in imports and exports for each five-minute interval using hourly averages. |
| All Transmission Outages Occurring Today Report (MR Ch.7 s.6.6.3.2) | - The All Transmission Outages Occurring Today Report: contains information on any outages in respect of the transmission facilities for the dispatch day; and is typically published hourly. |
| Transmission Facility Outage Limits Report (MR Ch.7 s.6.6.3.1) | The Transmission Facility Outage Limits Report: contains information on transmission capacity between the IESO-controlled grid and each intertie zone; and is typically published twice per hour. |
| Dispatch Security Constraints Report (MR Ch.7 s.6.6.2.2) | The Dispatch Security Constraints Report: contains binding security constraints applicable to the transmission system, as determined by the real-time calculation engine; and presents information with five-minute granularity. |
| Dispatch Deviation Report (MR Ch.7 s.6.6.5) | The Dispatch Deviation Report: is typically published once per calendar month; and presents information with five-minute granularity. |

Confidential reports – Table 6-4 provides a list and description of each real-time scheduling process private report issued by the IESO in accordance with the applicable section of the market rules. Confidential reports are available only to the market participant to which the information relates.

Table 6-4: Real-Time Scheduling Process Confidential Reports

| Report Name | Report Description |
| --- | --- |
| 5-Minute Energy Schedule Report (MR Ch.7 s.6.7.1.1) | The 5-Minute Energy Schedule Report: contains real-time schedules for energy; and presents information with five-minute granularity. |
| Realtime Energy Dispatch Report (MR Ch.7 s.6.7.2.1) | The Realtime Energy Dispatch Report: contains a summary of dispatch instructions for energy for the previous dispatch hour; and presents information with five-minute granularity |
| 5-Minute Operating Reserve Schedule Report (MR Ch.7 s.6.7.1.1) | The 5-Minute Operating Reserve Schedule Report: contains real-time schedules for operating reserve; and presents information with five-minute granularity. |
| Realtime Operating Reserve Dispatch Report (MR Ch.7 s.6.7.2.1) | The Realtime Operating Dispatch Reserve Report: contains a summary of the dispatch instructions for operating reserve for the previous dispatch hour; and presents information with five-minute granularity. |
| 5-Minute Energy and Operating Reserve Schedule Report (MR Ch.7 s.6.7.1.1) | The 5-Minute Energy and Operating Reserve Schedule Report: contains real-time schedules for energy and operating reserve; and presents information with five-minute granularity. |
| Realtime Energy and Operating Reserve Dispatch Report (MR Ch.7 s.6.7.2.1) | The Realtime Energy and Operating Reserve Dispatch Report: contains a summary of the dispatch instructions for energy and operating reserve for the previous dispatch hour; and presents information with five-minute granularity. |
| Dispatch Advisory Report (MR Ch.7 s.7.1.6) | The Dispatch Advisory Report: contains dispatch advisories – consisting of anticipated dispatch instructions – for energy and all classes of operating reserve up to 55 minutes before the relevant dispatch interval; and presents information with five-minute granularity; The IESO will not issue missed Dispatch Advisory Reports that it was unable to issue during the applicable five-minute interval. |
| Dispatch Data Report for the RealTime Scheduling Processes for Resources (MR Ch.7 s.6.7.4) | The Dispatch Data Report for RealTime Scheduling Processes for Resources: contains the dispatch data for energy used by the real-time calculation engine; is typically issued daily for the previous dispatch day at approximately 06:00 EST; and presents information with hourly and daily granularity. |
| Dispatch Data Report for the RealTime Scheduling Processes for Forebays (MR Ch.7 s.6.7.4) | The Dispatch Data Report for RealTime Scheduling Processes for Forebays: contains the dispatch data for Forebays used by the real-time calculation engine; is typically issued daily for the previous dispatch day at approximately 06:00 EST; and presents information with hourly and daily granularity. |
| Realtime Market Operating Reserve Offer Report (MR Ch.7 s.6.7.4) | The Realtime Market Operating Reserve Offer Report: contains the offers for operating reserve used by the real-time calculation engine is typically issued daily for the previous dispatch day at approximately 6:00 EST; and presents information with hourly granularity. |
| Realtime Schedule Bid Offer Report (MR Ch.7 s.6.7.4) | The Realtime Schedule Bid Offer Report: contains the dispatch data used by the real-time calculation engine for self-scheduling generation resources and intermittent generation resources, notably, self-schedules and forecast of intermittent generation; is typically issued daily at approximately 06:00 EST for the previous dispatch day; and presents information with hourly granularity. |
| Realtime Pseudo-Unit Computed Values Report (MR Ch.7 s.6.7.2.2) | The Realtime Pseudo-Unit Computed Values Report: contains the values used by the real-time dispatch calculation engine for pseudo-units and generation resources associated with the corresponding combustion turbine generation units and steam turbine generation units; and is based on market participant submitted registration and dispatch data for generation resources associated with the corresponding combustion turbine generation units and steam turbine generation units, and outages and constraints. presents information with five-minute granularity. |
| Variable Generation 5 Minute Forecast Report (MR Ch.4 s.7.3.6) | The Variable Generation 5 Minute Forecast Report: contains the five-minute energy forecast values used for each of the variable generator’s variable generation resources for the previous hour; is typically issued approximately five to ten minutes after each dispatch hour; and presents information with five-minute granularity. |

### 6.3	Retrieving Pre-Dispatch and Real-Time Reports and Notifications

Website interface - Market participants can receive IESO notifications by accessing “Pre-dispatch and real-time notifications” on the IESO’s website,

by logging onto the Market Operation System – Energy Market Interface ; or

by using the Application Programmers Interface (API).

Pre-dispatch and Real-Time reports are located on the IESO website: http://reports.ieso.ca/index.html.

– End of Section –

## Real-Time Market Remediation

No pre-dispatch process remediation – The IESO will not correct or otherwise remediate invalid pre-dispatch schedules, nor will it establish administrative prices in respect of pre-dispatch prices, including where the pre-dispatch process produces invalid prices under MR Ch.7 s.5.3.

Invalid results – The IESO may determine the results from the pre-dispatch calculation engine or real-time-calculation engine to be invalid, including for the purpose of MR Ch.7 s.5.3, the applicable provisions of 5.5, 5.8, 6.6, 6.7 and 7.2.1A.2, for reasons that include:

the results include resources that are not required, or exclude resources that are required, because of incorrect inputs or calculations;

the pre-dispatch calculation engine or real-time calculation engine, as applicable, is unable to resolve two or more conflicting restrictions; or

an incorrect input causes a material change in pricing or schedules.

Failure of real-time calculation engine – The IESO will determine that there has been a failure of the real-time calculation engine, including for the purpose of the applicable provisions of MR Ch.7 ss.6.6 and 6.7 and for s.8.4A.2.2, where the tools do not generate real-time schedules or real time prices, other than provisional default values pulled from the previous dispatch interval. In such circumstances, the default values applied may be subsequently updated by the IESO.

Notification – The IESO will notify market participants of a planned outage in respect of its tools pursuant to MR Ch.7 s.1.5.2.1 by publishing the relevant information. The IESO may publish, at its discretion, information in respect of a forced outage relating market tools. These notices will indicate that that the IESO will not publish results from the pre-dispatch process for the affected hour(s).

Interchange schedules – If the pre-dispatch process fails to produce a valid interchange schedule, the IESO will use the last valid set of results from the pre-dispatch calculation engine (i.e., from the previous run) to form the basis of the interchange schedule. If the pre-dispatch process fails to produce valid interchange schedules for multiple consecutive runs of the pre-dispatch calculation engine, these results of the pre-dispatch calculation engine will not include quantities above those included in the registered market participant’s boundary entity resource day-ahead schedule for the corresponding dispatch hour pursuant to MR Ch.7 s.5.2.2.

Retroactive administrative pricing – The IESO will retroactively establish real-time administrative prices provided the requirements under MR Ch.7 s.8.4A are satisfied, including, but not limited to, the requirement to be administered within four business days after the affected dispatch day pursuant to MR Ch.7 s.8.4A.2.

Real-time price error – The IESO establishes administrative prices to remedy a pricing or publication error pursuant to MR Ch.7 8.4A.2.3, irrespective of whether the error impacted the real-time schedule. Real-time market prices may be recalculated and/or re-published after-the-fact to ensure that pricing and scheduling in the real-time market align to the extent practicable.

Scope of administrative pricing – In response to an eligible error, the IESO may establish administrative prices for one or more locational marginal prices.

Dispatch Scheduling error – Further to MR Ch.7 s.7.6.1.2, the IESO will declare a dispatch scheduling error in the real-time market where:

the IESO identifies a pricing error in the real-time dispatch process which is identified within four business days after the dispatch day and cannot be corrected by normal administration methods in accordance with MR Ch. 7 ss.8.4A.2 and 8.4A.3; and

the IESO does not identify a pricing error that has occured in the real-time dispatch process within four business days after the dispatch day  (MR Ch. 7 s.8.4A.3).

Administrative pricing notification – The IESO will publish an administrative pricing notification in the following circumstance:

the IESO has established real-time market administrative prices in accordance with MR Ch.7 s.8.4A.

- Dispatch scheduling error notification – The IESO will publish a dispatch scheduling error notification in the following circumstance:

A dispatch scheduling error has occurred in accordance with MR Ch.7 s.7.6.1.

– End of Section –

## Constraint Violation Penalty Curves

(MR Ch.7 s.1.6.1.3)

Constraint violation penalty curves are defined as the penalty functions for the violation of constraints in the day-ahead market calculation engine, pre-dispatch calculation engine, and real-time calculation engine. They are specified from time to time by the IESO.

The form of the constraint violation penalty curves differs between the scheduling algorithm and pricing algorithm of the day-ahead market calculation engine, pre-dispatch calculation engine and real-time calculation engine. This difference is used to establish a reliability based priority between constraint violations when determining scheduling results while also setting appropriate market prices.

The following constraints will have corresponding constraint violation penalty curves applied:

all three classes of operating reserve;

minimum and maximum area operating reserve;

energy balance (over or under generation);

security limits;

net interchange scheduling limit (NISL);

maximum import and export limits;

minimum daily energy limits;

maximum daily energy limits; and

hydroelectric generation resource associated with the downstream linked forebay.

Penalty price curves applied to each of these constraints in the scheduling and pricing algorithms of the day-ahead market calculation engine, pre-dispatch calculation engine and the real-time calculation engine are described in sections A.1 and A.2.

### A.1	Penalty Price Curves in the Scheduling Algorithm

Penalty price curves specific to the scheduling algorithm are used by the calculation engines to ensure they continue to produce schedules when constraint violations occur. The scheduling algorithm uses a single price-quantity pair penalty price curve.

Table A-1 summarizes the penalty price curves and corresponding penalty prices used for each constraint violation in the day-ahead market and real-time market.

Table A-1: Penalty Curves in the Scheduling Algorithm

| Penalty Curve Name | Penalty Price | Calculation Engine(s) | Description |
| --- | --- | --- | --- |
| Operating Reserve – system wide (Total 30-min requirement) & Operating Reserve - flexibility | $6,000/MW | All | The penalty price for total thirty-minute operating reserve is high enough to allow the calculation engine to consider all valid combinations of offers and bids for energy and offers for operating reserve before it allows an operating reserve constraint to be violated. |
| Operating Reserve – system wide (Total 10-min reserve requirement) | $10,000/MW | All | The total ten-minute operating reserve penalty price allows for the thirty-minute operating reserve constraint to be violated before the 10-minute operating reserve constraint is violated. |
| Operating Reserve – system wide (10-min synchronized reserve requirement) | $12,000/MW | All | The penalty price for the synchronized ten-minute operating reserve ensures that 10-minute synchronized reserve is given higher priority than the total 10-minute requirement. |
| Operating Reserve - Area | Maximum $60,000/MW Minimum $4,000/MW | All | The day-ahead market, pre-dispatch and real-time calculation engines use a penalty price of $60,000 for maximum area operating reserve constraints. This penalty price prevents transmission constraint violations that may otherwise occur when operating reserve is activated from facilities within the area. The three calculation engines use a penalty price of $4,000/MW for the minimum area operating reserve constraint. |
| Energy Balance | Under generation: $30,000/MWh Over generation: (-$30,000)/MWh | All | The IESO uses a penalty price of $30,000/MWh for under generation violations and a negative penalty price of $30,000/MWh for over generation violations. |
| Transmission Security | $60,000/MW | All | The penalty price is set at $60,000 and the constraint exceedance percentage shall be for all possible security limit violations ranging from 0% to infinity. |
| NISL | $35,000/MW | DAM, PD | The day-ahead market and pre-dispatch calculation engines use a $35,000/MW penalty price for all magnitudes of NISL violations. |
| Cascade Hydroelectric Constraint | $37,000/MWh | DAM, PD | The penalty price for all magnitudes of the cascade hydroelectric constraints, downstream over or under generation, is $37,000. This penalty price enables the day-ahead market and pre-dispatch calculation engines to resolve when hydroelectric constraints are in conflict. |
| Intertie | $40,000/MWh | DAM, PD | The penalty price for all magnitudes of intertie limit violations is $40,000. |
| Daily Energy Limits | $100,000/MWh | DAM, PD | The penalty price for all magnitudes of daily energy limit violations is $100,000 |

### A.2	Penalty Price Curves in the Pricing Algorithm

Penalty price curves specific to the pricing algorithm are used by the calculation engines to ensure that they continue to produce prices when constraint violations occur. Multiple price-quantity pair penalty curves may be used in the pricing algorithm of the day-ahead market and real-time market to provide the IESO and market participants with price signals for scarcity conditions. The penalty price curves are comprised of up to 20 price-quantity pairs or price-percentage pairs where:

prices are defined in dollars ($ per MW);

breakpoint quantities are defined in megawatts (MW); and

breakpoint percentages (%) are defined in constraint exceedance amounts, which is the measurable amount of units that exceed a transmission limit.

The constraint violation penalty curves are represented as either a demand or a supply curve, depending on the type of constraint. The day-ahead market calculation engine and the pre-dispatch calculation engine uses constraint violation penalty curves that may vary from hour to hour. The real-time calculation engine uses constraint violation penalty curves that may vary from five-minute interval to five-minute interval when crossing the top of the hour.

The penalty prices used may be adjusted from time to time by the IESO where the IESO determines that constraint violation price signals may either overstate or understate the cost of managing the constraint violation given prevailing market conditions. The IESO will advise market participants of such changes.

Table A-2 summarizes the penalty curve inputs and corresponding penalty prices for each of the constraints in relation to the pricing algorithm and provides a description.

Table A-2: Penalty Curves in the Pricing Algorithm

| Penalty Curve Name | Penalty Price | Calculation Engine(s) |  | Description |
| --- | --- | --- | --- | --- |
| Operating Reserve – system wide & Operating Reserve - flexibility | Refer to Table A-3. | All |  | Separate penalty price demand curves are used for the three operating reserve constraints. The MW quantity ranges of the price-quantity pairs used for each operating reserve constraint are based on the operating reserve requirement for each class of operating reserve. When the requirement is changed, the relative proportion of each MW quantity range is scaled to maintain the relative proportions of each MW range. The penalty prices used for the 10-minute synchronized operating reserve constraint are higher than the prices used for the total 10-minute constraint such that the cumulative prices in the operating reserve constraint violation price curve rise in a graduated fashion as the operating reserve shortage progresses from a shortage in total thirty-minute operating reserve to a shortage in total 10-minute operating reserve and then finally to a shortage in 10-minute synchronized operating reserve. |
| Operating Reserve - area | Maximum area operating reserve: $8,000/MWh Minimum area operating reserve: $350/MWh | All |  | Penalty prices for the maximum area operating reserve constraint that is $8,000/MWh. The penalty price for the minimum area operating reserve constraint is $350/MWh. |
| Energy Balance | Under generation: $4,000/MWh Over generation: (-$3,000)/MWh |  | All | Different constraint violation penalty curves are used for the under-generation and over-generation constraints. The penalty prices used for the under-generation constraint is $4,000/MWh. The penalty prices used for over-generation constraints is (-$3000)/MWh. |
| Transmission Security | Minor Violation: $2,300/MWh Major Violation: $8,000/MWh | All |  | Two price ($) / percentage (%) pairs for all transmission security limit constraints will be used. The constraint exceedance percentage for the first price-percentage pair (minor violation) shall be for any constraint exceedance at or below 2% of the applicable transmission security limit. The second price-percentage pair (major violation) shall represent any constraint exceedance above 2%. |
| NISL | $500/MWh | All |  | The day-ahead market, pre-dispatch and real-time calculation engines use a single penalty price for all magnitudes of NISL constraint of $500/MWh. |
| Intertie Limits | $6,000/MWh | DAM. PD |  | The day-ahead market calculation engine and pre-dispatch calculation engine use a single penalty price for all magnitudes of intertie constraint violations of $6,000/MWh. |
| Daily Energy Limits | $100,000/MWh | DAM, PD |  | The day-ahead market calculation engine and pre-dispatch calculation engine use a single penalty price for all magnitudes of daily energy limit violations of $100,000/MWh. |

Table A-3: Operating Reserve Demand Curve Laminations

| OR Class | Requirement (MW) | Individual OR Class Prices ($/MW) | Cumulative Price ($/MW) |
| --- | --- | --- | --- |
| 10S | 0 – 118 | $600 | $1,500 |
|  | 119 – 237 | $400 | $1,300 |
| 10T (10S + 10N) | 0 – 473 | $550 | $900 |
|  | 474 – 709 | $450 | $800 |
|  | 710 – 945 | $350 | $700 |
| 30T (10S + 10N +30R) & OR Flexibility | 0 – 1,102 | $350 | $350 |
|  | 1,103 – 1,260 | $300 | $300 |
|  | 1,261 – 1,418 | $250 | $250 |

– End of Appendix –

## Coding of Commitments and Constraints

The IESO applies constraints to resources when establishing commitment or in order to achieve needed scheduling and dispatch outcomes. These constraints are coded in order to drive the correct settlement outcome. When these constraints are binding on real-time schedules and dispatches they will be included in the associated reports. Below is a table describing the constraints and coding.

Table B-1: Coding of Constraints

| Circumstances | Constraint Description | Constraint Type/Code |
| --- | --- | --- |
| A GOG-eligible resource has received a day-ahead operational commitment | A minimum constraint applied for a day-ahead operational commitment. | DA-CMT |
| A GOG-eligible resource has received a day-ahead reliability commitment | A minimum constraint applied by operators for a day-ahead reliability commitment. | DARCMT |
| A GOG-eligible resource has received a pre-dispatch operational commitment | A minimum constraint applied for a pre-dispatch operational commitment. | PD-CMT |
| A GOG-eligible resource has received a reliability commitment | A minimum constraint applied for a reliability commitment. | PDRCMT |
| A steam turbine generation resource requires a minimum constraint to an n-on-1 MLP | A minimum constraint applied for combined cycle operation consistent with combustion turbine commitment. | COMCYC |
| Operating reserve is activated on a resource | A minimum constraint applied for an operating reserve activation | ORA |
| A hydroelectric generation resource requires a steady output | After some hydroelectric generation resources change their dispatch level, they are “locked out” and cannot change dispatch from that level for a specified period of time. | LKO |
| A resource is required to operate in a certain manner to maintain reliability | A minimum, maximum or fixed constraint applied manually by operators to address reliability concerns. | REL |
| A market participant request to operate in a manner that avoids endangering people, equipment damage or the violation of an applicable law (SEAL) | A minimum, maximum or fixed constraint applied manually by operators at the request of market participants. | SEAL |
| A hydroelectric generation resource specifies an hourly must run value | A minimum constraint applied to ensure that a hydroelectric generation resource is dispatched to at least its hourly must run value. | HMR |
| The current dispatch for a variable generation resource has a “release” obligation indicator and the next dispatch has a “mandatory” obligation indicator | The next dispatch (the one with the mandatory obligation indicator) is less than the current dispatch (the one with the release obligation indicator) and is blocked by the IESO and not released to the market participant. | VGRN |
| The current dispatch for a variable generation resource has a “mandatory” obligation indicator. | The next dispatch is blocked by the IESO and not released to the market participant. | VGMD |

– End of Appendix –

## Settlement Floor Price

(MR Ch.7 s.1.6.1.4)

The settlement floor price is -$100/MWh and means that the IESO will not settle injections or withdrawals from the IESO-administered market at a price less than -$100/MWh. Market participants may continue to submit offers at prices as low the negative maximum market clearing price (-$2000/MWh) but for settlement purposes the minimum price that a market participant may be charged or paid for energy will be limited by the settlement floor price.

The settlement floor price is a settlement bound in the day-ahead market calculation engine, pre-dispatch calculation engine and the real-time calculation engine. It is used to modify the locational marginal price if the price is not within the maximum market clearing price and the settlement floor price.

– End of Appendix –

List of Acronyms

| Acronym | Term |
| --- | --- |
| CMP | capacity market participant |
| CSP | constrained scheduling point |
| CT | combustion turbine |
| DAM | day-ahead market |
| EEA | Energy Emergency Alert |
| FIX | fixed |
| GOG | generator offer guarantee |
| HDR | hourly demand response |
| HE | hour ending |
| HOEP | hourly Ontario energy price |
| HQEM | Hydro Quebec Energy Marketing |
| HQT | Hydro Quebec TransÉnergie |
| ICG | IESO-controlled grid |
| IDC | Interchange Distribution Calculator |
| IOG | intertie offer guarantee |
| LMP | locational marginal prices |
| MAX | maximum |
| MAX DEL | maximum daily energy limit |
| MGBDT | minimum generation block down-time |
| MGBRT | minimum generation block run-time |
| MHEB | Manitoba Hydro-Electric Board |
| MIN | minimum |
| MIN DEL | minimum daily energy limit |
| MISO | Midcontinent Independent System Operator |
| MLP | minimum loading point |
| MMCP | maximum market clearing price |
| MNSPD | maximum number of starts per day |
| MPM | market power mitigation |
| MSP | market scheduling point |
| MW | megawatt |
| MWh | megawatt hour |
| NERC | North American Electric Reliability Corporation |
| NISL | net interchange scheduling limit |
| NPCC | Northeast Power Coordinating Council, Inc. |
| NQS | non-quick start |
| NYISO | New York Independent System Operator |
| PD | pre-dispatch |
| PJM | PJM Interconnection |
| PSU | pseudo-unit |
| RMR | reliability must-run |
| RT | real-time |
| RTC | real-time commitment |
| ST | steam turbine |
| UCM | unit commitment manager |

– End of Section –

References

| Document ID | Document Title |
| --- | --- |
| RUL-6 to RUL-24 | Market Rules for the Ontario Electricity Market |
| MAN-108 | Market Manual 1.5: Market Registration Procedures |
| MAN-136 | Market Manual 2.6: Treatment of Compliance Issues |
| MAN-151 | Market Manual 3.7: Totalization Table Registration |
| MAN-113 | Market Manual 4.5: Market Suspension and Resumption |
| MAN-165 | Market Manual 6: Participant Technical Reference Manual |
| MAN-121 | Market Manual 7.1: IESO-Controlled Grid Operating Procedures |
| MAN-122 | Market Manual 7.2: Near Term Assessments and Reports |
| MAN-123 | Market Manual 7.3: Outage Management |
| MAN-124 | Market Manual 7.4: IESO-Controlled Grid Operating Policies |
| MAN-168 | Market Manual 13.1: Capacity Export Requests |

– End of Document –

In addition to being informed of extensions to commitments at 15 minutes past the current hour via the Pre-dispatch Intertie Transaction Schedule and GOG Eligible Extensions Reports, market participants will receive an electronic extension notice at 30 minutes past the hour.

The NYISO identifies to the IESO those interchange schedules not scheduled and partially scheduled by RTC. Those interchange schedules scheduled in part by RTC will be scheduled accordingly. Those interchange schedules not scheduled will be removed by the IESO prior to the dispatch hour.

This does not apply to called capacity exports.

Economic merit will be evaluated by comparing the bid/offer price of a transaction against the locational marginal price associated with the intertie zone applicable to the transaction.

The reason codes that will be published for important and export transactions will be limited to six characters and will include the adjustment reason and the modification type. MAX, MIN and FIX will be shortened to MX, MN, and FX. For example, TLRe - MAX will be published as TLREMX.

The real-time export make whole payment is not available if an export is scheduled with the intervention of a control area operator adjustment to fix or increase the export interchange schedule.

Make whole payments will apply as appropriate as per the normal scheduling process, provided the "capped" T-100 minutes interchange schedule(s) clears the NYISO RTC @ T-75 minutes.

No make whole payments will apply for transactions that failed the T-30 minutes NYISO RTC (all or in part).

Eligibility is subject to a verification step that confirms that the transaction was scheduled for an amount equal to the IESO manual adjustment.

For any subsequent bids or offers received against that intertie, the transaction will be curtailed to 0 MW and the market participant will be subject to a failure charge.

This is communicated via the e-Tag and not a phone call to the IESO Control Room.

Capacity exports are subject to normal economic scheduling. Therefore, a capacity export can be scheduled to a value less than its bid quantity in the event that an intertie is congested and there are other economic offers (e.g., pro-rata scheduling).

There can be multiple Capacity Resource responding to a called capacity export.

These curtailment reason codes are described in section 4.5: Transaction Coding.

Refer to MM 7.1: IESO-Controlled Grid Operating Policies, App.B for the complete integrated list of emergency operating state control actions.

Interpretation Bulletin. “Compliance with Dispatch Instructions Issued to Dispatchable Facilities”, IMO_MKRI_0001 v.7.0, s.1.3.