## Menu
Annual Planning Outlook
Data Tables
April 2025
Chapter 2: Demand Forecast
Figure 2 ¦ Annual Energy Demand
Figure 3 ¦ Seasonal Peak Demand
Figure 4 ¦ Mid-Summer Business Day: Hourly Profile
Figure 5 ¦ Mid-Winter Business Day: Hourly Profile
Figure 6 ¦ Historical Energy Demand
Chapter 3: Supply Outlook and Transmission Assumptions
Figure 7 ¦ Installed Capacity
Figure 8 ¦ Summer Effective Capacity
Figure 9 ¦ Winter Effective Capacity
Figure 10 ¦ 2025 Installed Capacity by Fuel Type
Figure 11 ¦ Nuclear Refurbishment and Retirement Schedule
Figure 12 ¦ Summer Refurbishment Outages
Figure 13: Existing Resources Post-Contract Expiry by Fuel Type
Figure 14: Summer Effective Post-Contract Expiry by Fuel Type
Figure 15: Winter Effective Post-Contract Expiry by Fuel Type
Chapter 4: Resource Adequacy
Figure 18: Reserve Margin Requirement, 2026-2050
Figure 19: Summer Capacity Surplus/Deficit (MW)
Figure 20: Winter Capacity Surplus/Deficit (MW)
Figure 21: Energy Adequacy Outlook
Figure 22: Potential Unserved Energy (GWh)
Figure 23: Capacity Factor of Need Requirements
Chapter 6: Operability
Figure 24: Forecasted Incremental Regulation Needs, in MW
Chapter 8: Integrated Reliability Needs
Figure 25: Integrated Capacity Needs
Figure 26: Integrated Energy Needs
Chapter 9: Planned Actions
Figure 28: Capacity Auction Forward Guidance
Figure 29: Remaining Capacity Needs and Future Procurements and Programs Required
Figure 30: Remaining Energy Needs and Potential Procurements and Programs Required
Note: Most figures in this file are rounded; accordingly, some totals may not add up precisely.

## Figure 2
Back to main menu
Figure 2 ¦ Annual Energy Demand
Net Annual Energy Demand (TWh), By Sector, By Year
Sector | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Residential Sector | 50.63 | 51.21 | 51.76 | 51.79 | 52.18 | 52.67 | 53.52 | 54.4 | 55.21 | 55.92 | 56.53 | 57.07 | 57.68 | 58.27 | 59.02 | 59.13 | 59.45 | 59.87 | 60.52 | 60.86 | 61.31 | 61.79 | 62.45 | 62.76 | 63.27
Commercial Sector | 49.61 | 51.4 | 52.44 | 54.22 | 55.38 | 56.05 | 57.57 | 58.12 | 57.93 | 59.94 | 62.1 | 64.17 | 66.6 | 66.83 | 66.86 | 67.17 | 67.14 | 67.51 | 67.92 | 68.22 | 68.41 | 68.88 | 69.51 | 69.67 | 70.52
Industrial Sector | 44.48 | 47.9 | 53.36 | 58.21 | 60.55 | 61.33 | 62.44 | 63.16 | 63.59 | 64.07 | 64.32 | 64.31 | 64.68 | 64.91 | 65.77 | 65.69 | 65.56 | 65.79 | 66.43 | 66.94 | 67.52 | 68.05 | 69.4 | 70.56 | 72.78
Agricultural Sector | 3.49 | 3.96 | 4.52 | 4.59 | 4.79 | 4.97 | 4.99 | 5.02 | 5.03 | 5.03 | 5.09 | 5.06 | 5.12 | 5.14 | 5.17 | 5.18 | 5.18 | 5.2 | 5.24 | 5.24 | 5.25 | 5.28 | 5.31 | 5.32 | 5.35
Transportation Sector | 2.98 | 3.94 | 5.54 | 7.55 | 10.33 | 12.66 | 15.43 | 18.11 | 20.89 | 23.97 | 26.76 | 29.14 | 31.38 | 33.35 | 35.2 | 36.79 | 38.15 | 39.37 | 40.48 | 41.27 | 42.22 | 42.8 | 43.49 | 43.75 | 44.09
Other Electricity Demand | 5.48 | 5.52 | 5.6 | 5.62 | 5.68 | 5.72 | 5.77 | 5.79 | 5.83 | 5.85 | 5.9 | 5.93 | 5.97 | 6.01 | 6.07 | 6.08 | 6.12 | 6.16 | 6.22 | 6.25 | 6.28 | 6.32 | 6.38 | 6.41 | 6.46
Total | 156.67 | 163.93 | 173.22 | 182 | 188.91 | 193.39 | 199.73 | 204.6 | 208.48 | 214.78 | 220.7 | 225.68 | 231.44 | 234.5 | 238.09 | 240.04 | 241.61 | 243.89 | 246.81 | 248.78 | 250.99 | 253.13 | 256.54 | 258.48 | 262.48
Back to main menu

## Figure 3
Back to main menu
Figure 3 ¦ Seasonal Peak Demand
Net Annual Peak Demand (GW), By Season, By Year
Season | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Summer | 24.43 | 24.97 | 25.62 | 26.61 | 27.31 | 27.8 | 28.52 | 29.22 | 29.62 | 30.32 | 31.19 | 31.77 | 32.54 | 32.75 | 33.11 | 33.67 | 33.96 | 34.03 | 34.28 | 34.61 | 34.81 | 35.3 | 35.6 | 35.73 | 36.24
Winter | 23.35 | 24.28 | 25.21 | 26.2 | 27 | 27.51 | 28.34 | 28.97 | 29.47 | 30.22 | 30.86 | 31.68 | 32.42 | 32.96 | 33.52 | 33.76 | 33.96 | 34.25 | 34.64 | 34.99 | 35.3 | 35.52 | 35.92 | 36.13 | 36.74
Back to main menu

## Figure 4
Back to main menu
Figure 4 ¦ Mid-Summer Business Day: Hourly Profile
Net Hourly Energy Demand (GW), by Metric, By Hour Ending
Metric | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2026 Hourly Minimum | 14.13 | 13.89 | 13.8 | 13.83 | 14.16 | 15.01 | 16.12 | 17.28 | 18.2 | 18.83 | 19.16 | 19.41 | 19.58 | 19.68 | 19.69 | 19.74 | 19.78 | 19.43 | 18.81 | 18.61 | 17.71 | 17.04 | 15.89 | 14.88
2026 Hourly Median | 15.99 | 15.5 | 15.15 | 15.07 | 15.3 | 16.26 | 17.42 | 18.65 | 19.68 | 20.52 | 21.08 | 21.43 | 21.77 | 21.99 | 22.05 | 22.18 | 22.22 | 21.65 | 21.05 | 20.74 | 20.32 | 19.28 | 18.01 | 16.91
2026 Hourly Maximum | 18.03 | 17.26 | 16.71 | 16.53 | 16.76 | 17.91 | 19.09 | 20.37 | 21.79 | 23.09 | 24.02 | 24.53 | 24.82 | 24.96 | 25.1 | 25.07 | 25.09 | 24.74 | 24.38 | 23.79 | 23.21 | 22.45 | 20.81 | 19.43
2050 Hourly Minimum | 27.46 | 27.17 | 26.77 | 26.46 | 26.42 | 26.59 | 26.75 | 27.03 | 27.36 | 27.69 | 27.92 | 28.53 | 28.89 | 29 | 29.18 | 29.61 | 29.56 | 29.5 | 28.53 | 27.92 | 27.21 | 27.23 | 27.15 | 27
2050 Hourly Median | 28.84 | 28.51 | 28.24 | 28.15 | 28.27 | 28.8 | 29.25 | 29.8 | 30.42 | 30.58 | 30.77 | 31.54 | 31.85 | 32.11 | 32.49 | 33.05 | 33.11 | 33.3 | 32.52 | 31.62 | 30.4 | 30.13 | 29.85 | 29.36
2050 Hourly Maximum | 30.42 | 29.93 | 29.64 | 29.63 | 29.86 | 30.39 | 31.35 | 32.34 | 32.86 | 33.46 | 33.89 | 34.31 | 34.76 | 35 | 35.31 | 35.91 | 36.13 | 36 | 35.3 | 34.74 | 33.05 | 32.58 | 31.86 | 31.39
Back to main menu

## Figure 5
Back to main menu
Figure 5 ¦ Mid-Winter Business Day: Hourly Profile
Net Hourly Energy Demand (GW), by Metric, By Hour Ending
Metric | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2026 Hourly Minimum | 16.23 | 15.74 | 15.34 | 15.27 | 15.41 | 15.74 | 16.36 | 17.28 | 17.93 | 18.33 | 18.58 | 18.75 | 18.82 | 18.77 | 18.67 | 18.68 | 19.11 | 19.75 | 19.36 | 18.91 | 18.59 | 18.07 | 17.58 | 16.84
2026 Hourly Median | 18 | 17.57 | 17.25 | 17.23 | 17.37 | 17.94 | 19.06 | 20.38 | 20.84 | 20.97 | 20.98 | 20.96 | 20.83 | 20.72 | 20.64 | 20.7 | 21.17 | 21.67 | 21.86 | 21.64 | 21.25 | 20.53 | 19.6 | 18.59
2026 Hourly Maximum | 19.65 | 19.25 | 19.05 | 19.01 | 19.09 | 19.57 | 20.73 | 22.23 | 22.41 | 22.28 | 22.15 | 22.13 | 21.96 | 21.79 | 21.63 | 21.69 | 22.22 | 23.22 | 23.35 | 23.19 | 22.84 | 22.22 | 21.31 | 20.29
2050 Hourly Minimum | 31.4 | 31.12 | 30.82 | 30.94 | 31.13 | 31.43 | 31.53 | 31.54 | 31.28 | 31.55 | 31.93 | 32.29 | 32.69 | 32.88 | 32.79 | 32.7 | 32.97 | 33.08 | 32.32 | 31.84 | 31.58 | 31.31 | 31.19 | 31.23
2050 Hourly Median | 33.64 | 33.46 | 33.28 | 33.21 | 33.3 | 33.85 | 34.39 | 34.87 | 34.7 | 34.85 | 34.92 | 34.93 | 35 | 35.03 | 35.01 | 34.93 | 35.09 | 35.45 | 35.05 | 34.98 | 34.94 | 34.79 | 34.53 | 34.2
2050 Hourly Maximum | 35.26 | 35.82 | 35.38 | 35.03 | 34.86 | 35.19 | 35.49 | 36.01 | 35.96 | 36.48 | 36.69 | 36.67 | 36.74 | 36.73 | 36.62 | 36.42 | 36.19 | 36.23 | 36.28 | 35.96 | 35.82 | 35.96 | 35.94 | 35.89
Back to main menu

## Figure 6
Back to main menu
Figure 6 ¦ Historical Energy Demand
Annual Energy (TWh), By Category, By Year
Category | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Gross-Level Demand | 155.98 | 157.84 | 155.51 | 163.54 | 162.48 | 160.93 | 163.81 | 168.47 | 169.97 | 175.33
eDSM Demand Savings | 12.67 | 14.59 | 16.89 | 19.37 | 20.52 | 21.04 | 22.19 | 23.36 | 25.39 | 26.91
Net-Level Demand | 143.31 | 143.25 | 138.62 | 144.17 | 141.96 | 139.89 | 141.62 | 145.11 | 144.58 | 148.42
Embedded Generation | 6.04 | 6.32 | 6.39 | 6.35 | 6.36 | 6.86 | 7.03 | 7.27 | 6.72 | 7.27
Grid-Level Demand | 137.27 | 136.94 | 132.23 | 137.82 | 135.6 | 133.03 | 134.59 | 137.85 | 137.86 | 141.15
Back to main menu

## Figure 7
Back to main menu
Figure 7 ¦ Installed Capacity
Installed Capacity (GW), By Fuel, By Year
Fuel | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 8.45 | 9.27 | 8.45 | 9.58 | 9.31 | 10.13 | 10.68 | 12.05 | 12.91 | 13.22 | 13.53 | 13.53 | 13.53 | 13.53 | 14.73 | 14.73 | 15.93 | 15.93 | 15.48 | 15.48 | 16.68 | 16.68 | 16.68 | 16.68 | 16.68
Gas/Oil | 11.01 | 11.01 | 11.39 | 8.94 | 8.84 | 8.13 | 8.12 | 8.08 | 6.71 | 2.19 | 2.14 | 1.8 | 1.8 | 1.79 | - | - | - | - | - | - | - | - | - | - | -
Hydroelectric | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29 | 9.29
Wind | 5.3 | 5.28 | 4.82 | 4.42 | 4.32 | 3.62 | 3.48 | 3.05 | 2.04 | 1.16 | 0.67 | 0.56 | 0.46 | 0.1 | 0.1 | - | - | - | - | - | - | - | - | - | -
Solar | 2.65 | 2.65 | 2.64 | 2.61 | 2.45 | 2.22 | 1.99 | 1.61 | 1.07 | 0.51 | 0.29 | 0.21 | 0.14 | 0.01 | - | - | - | - | - | - | - | - | - | - | -
Demand Response | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Dispatchable Load | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Bioenergy | 0.4 | 0.35 | 0.3 | 0.08 | 0.07 | 0.06 | 0.06 | 0.05 | 0.03 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | - | - | - | - | - | - | - | -
Imports | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
Storage | 1.19 | 1.19 | 2.96 | 2.96 | 2.96 | 2.96 | 2.96 | 2.96 | 2.96 | 2.96 | 2.96 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.71 | 2.71 | 1.78 | - | - | -
Total | 38.53 | 39.28 | 40.1 | 38.13 | 37.48 | 36.65 | 36.83 | 37.33 | 35.26 | 29.6 | 29.13 | 28.6 | 28.42 | 27.93 | 27.33 | 27.23 | 28.43 | 28.42 | 27.97 | 27.73 | 28.93 | 28 | 26.22 | 26.22 | 26.21
Back to main menu

## Figure 8
Back to main menu
Figure 8 ¦ Summer Effective Capacity
Summer Effective Capacity (GW), By Fuel, By Year
Fuel | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 9.36 | 8.26 | 9.06 | 8.48 | 9.31 | 9.01 | 10.4 | 10.4 | 12.05 | 12.86 | 13.13 | 13.13 | 13.13 | 13.13 | 14.26 | 14.26 | 15.39 | 15.39 | 14.85 | 14.85 | 15.98 | 15.98 | 15.98 | 15.98 | 15.98
Gas/Oil | 9.16 | 9.16 | 9.54 | 7.65 | 7.57 | 7 | 6.94 | 6.94 | 6.29 | 1.91 | 1.84 | 1.55 | 1.55 | 1.54 | - | - | - | - | - | - | - | - | - | - | -
Hydroelectric | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48 | 6.48
Wind | 0.79 | 0.78 | 0.77 | 0.66 | 0.65 | 0.62 | 0.53 | 0.49 | 0.4 | 0.24 | 0.15 | 0.1 | 0.07 | 0.07 | 0.02 | - | - | - | - | - | - | - | - | - | -
Solar | 0.64 | 0.64 | 0.64 | 0.63 | 0.62 | 0.56 | 0.5 | 0.42 | 0.33 | 0.18 | 0.11 | 0.06 | 0.03 | - | - | - | - | - | - | - | - | - | - | - | -
Demand Response | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Dispatchable Load | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Bioenergy | 0.39 | 0.33 | 0.33 | 0.26 | 0.07 | 0.06 | 0.06 | 0.05 | 0.02 | 0.02 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | - | - | - | - | - | - | - | -
Imports | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
Storage | 0.59 | 0.59 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.47 | 1.47 | 1.47 | 1.47 | 1.36 | 1.36 | 0.89 | - | - | -
Total | 27.67 | 26.49 | 28.55 | 25.9 | 26.43 | 25.47 | 26.63 | 26.51 | 27.31 | 23.43 | 23.45 | 23.06 | 22.99 | 22.96 | 22.49 | 22.47 | 23.6 | 23.6 | 23.06 | 22.94 | 24.07 | 23.61 | 22.72 | 22.72 | 22.71
Back to main menu

## Figure 9
Back to main menu
Figure 9 ¦ Winter Effective Capacity
Winter Effective Capacity (GW), By Fuel, By Year
Fuel | 2025 - 2026 | 2026 - 2027 | 2027 - 2028 | 2028 - 2029 | 2029 - 2030 | 2030 - 2031 | 2031 - 2032 | 2032 - 2033 | 2033 - 2034 | 2034 - 2035 | 2035 - 2036 | 2036 - 2037 | 2037 - 2038 | 2038 - 2039 | 2039 - 2040 | 2040 - 2041 | 2041 - 2042 | 2042 - 2043 | 2043 - 2044 | 2044 - 2045 | 2045 - 2046 | 2046 - 2047 | 2047 - 2048 | 2048 - 2049 | 2049 - 2050 | 2050 - 2051
Nuclear | 9.39 | 8.28 | 9.09 | 8.51 | 9.35 | 9.04 | 9.89 | 10.44 | 12.09 | 12.9 | 13.17 | 13.17 | 13.17 | 13.17 | 14.3 | 14.3 | 15.43 | 15.43 | 14.88 | 14.88 | 16.01 | 16.01 | 16.01 | 16.01 | 16.01 | 16.01
Gas/Oil | 9.64 | 9.87 | 9.87 | 10.23 | 8.25 | 8.16 | 7.55 | 7.55 | 7.44 | 6.09 | 1.98 | 1.98 | 1.66 | 1.66 | 1.64 | - | - | - | - | - | - | - | - | - | - | -
Hydroelectric | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2
Wind | 1.53 | 1.46 | 1.46 | 1.33 | 1.22 | 1.19 | 1.01 | 0.98 | 0.87 | 0.58 | 0.32 | 0.18 | 0.16 | 0.13 | 0.03 | 0.03 | - | - | - | - | - | - | - | - | - | -
Solar | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Demand Response | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Dispatchable Load | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Bioenergy | 0.39 | 0.39 | 0.33 | 0.27 | 0.08 | 0.06 | 0.06 | 0.05 | 0.05 | 0.02 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | - | - | - | - | - | - | - | -
Imports | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24
Storage | 0.13 | 0.59 | 0.59 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.47 | 1.47 | 1.47 | 1.47 | 1.47 | 1.36 | 1.36 | 0.89 | - | - | -
Total | 28.52 | 28.04 | 28.79 | 29.27 | 27.82 | 27.39 | 27.44 | 27.94 | 29.36 | 28.52 | 24.39 | 24.26 | 23.91 | 23.89 | 24.89 | 23.25 | 24.35 | 24.35 | 23.8 | 23.8 | 24.81 | 24.81 | 24.35 | 23.45 | 23.45 | 23.45
Back to main menu

## Figure 10
Back to main menu
Figure 10 ¦ 2025 Installed Capacity by Fuel Type
Fuel | 2025 Installed Capacity (GW) | 2025 Installed Capacity Percentages (%)
Nuclear | 9.67 | 24.93
Gas/Oil | 10.73 | 27.66
Hydroelectric | 9.29 | 23.95
Wind | 5.53 | 14.26
Solar | 2.65 | 6.83
Demand Response | - | -
Dispatchable Load | - | -
Bioenergy | 0.41 | 1.06
Imports | 0.25 | 0.64
Storage | 0.26 | 0.67
Total | 38.79 | 100
Back to main menu

## Figure 11
Back to main menu
Figure 11 ¦ Nuclear Refurbishment and Retirement Schedule
Unit | Refurbishment Start | Refurbishment End | Retirement
Bruce G3 | 2023-02-28 | 2026-12-12
Bruce G4 | 2025-01-31 | 2028-01-01
Bruce G5 | 2026-09-30 | 2029-09-30
Bruce G6 | 2020-01-16 | 2023-11-05
Bruce G7 | 2028-09-30 | 2031-10-01
Bruce G8 | 2030-09-30 | 2033-10-01
Darlington G1 | 2022-02-14 | 2024-12-02
Darlington G2 | 2016-10-15 | 2020-06-04
Darlington G3 | 2020-09-01 | 2023-09-05
Darlington G4 | 2023-07-18 | 2026-07-23
Pickering G1 |  |  | 2024-09-30
Pickering G4 |  |  | 2024-12-31
Pickering G5 | 2026-09-30 | 2030-12-01
Pickering G6 | 2026-09-30 | 2032-06-01
Pickering G7 | 2026-09-30 | 2033-07-17
Pickering G8 | 2026-09-30 | 2034-08-31
Back to main menu

## Figure 12
Back to main menu
Figure 12 ¦ Summer Refurbishment Outages
Metric | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Number of Units On Refurbishment | 1 | 1 | 1 | 2 | 3 | 4 | 3 | 3 | 3 | 6 | 5 | 6 | 5 | 5 | 3 | 3 | 1
Back to main menu

## Figure 13
Back to main menu
Figure 13: Existing Resources Post-Contract Expiry by Fuel Type
Installed Capacity (GW), By Fuel, By Year
Fuel | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1.66 | 1.66 | 1.66 | 1.66 | 1.66 | 1.66 | 1.66
Gas/Oil | 0.38 | 0.38 | 0.4 | 2.85 | 2.96 | 3.67 | 3.67 | 3.72 | 5.08 | 9.61 | 9.66 | 10 | 10 | 10 | 11.79 | 11.79 | 11.79 | 11.79 | 11.79 | 11.79 | 11.79 | 11.79 | 11.79 | 11.79 | 11.79
Wind | 0.24 | 0.25 | 0.71 | 1.12 | 1.22 | 1.92 | 2.05 | 2.49 | 3.5 | 4.37 | 4.87 | 4.97 | 5.07 | 5.43 | 5.43 | 5.53 | 5.53 | 5.53 | 5.53 | 5.53 | 5.53 | 5.53 | 5.53 | 5.53 | 5.53
Solar | - | - | 0.01 | 0.04 | 0.19 | 0.43 | 0.66 | 1.04 | 1.58 | 2.14 | 2.36 | 2.44 | 2.51 | 2.64 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65
Hydroelectric | 0.01 | 0.02 | 0.05 | 1.04 | 1.15 | 1.16 | 1.18 | 1.18 | 1.19 | 1.19 | 1.19 | 1.19 | 1.19 | 1.22 | 1.23 | 1.23 | 1.27 | 1.27 | 1.27 | 1.28 | 1.3 | 1.3 | 1.32 | 1.32 | 1.32
Demand Response | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Dispatchable Load | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Bioenergy | - | 0.06 | 0.11 | 0.33 | 0.35 | 0.35 | 0.36 | 0.37 | 0.39 | 0.4 | 0.4 | 0.4 | 0.4 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41
Storage | - | - | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.26 | 0.26 | 1.19 | 2.97 | 2.97 | 2.97
Total | 0.63 | 0.71 | 1.29 | 5.39 | 5.88 | 7.53 | 7.93 | 8.8 | 11.74 | 17.71 | 18.49 | 19.02 | 19.2 | 19.72 | 21.54 | 21.64 | 21.68 | 21.68 | 23.34 | 23.59 | 23.6 | 24.53 | 26.34 | 26.34 | 26.34
Back to main menu

## Figure 14
Back to main menu
Figure 14: Summer Effective Post-Contract Expiry by Fuel Type
Summer Effective Capacity (GW), By Fuel, By Year
Fuel | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1.67 | 1.67 | 1.67 | 1.67 | 1.67 | 1.67 | 1.67
Gas/Oil | 0.27 | 0.27 | 0.28 | 2.17 | 2.25 | 2.82 | 2.88 | 2.88 | 3.53 | 7.91 | 7.97 | 8.27 | 8.27 | 8.27 | 9.82 | 9.82 | 9.82 | 9.82 | 9.82 | 9.82 | 9.82 | 9.82 | 9.82 | 9.82 | 9.82
Wind | 0.02 | 0.03 | 0.04 | 0.15 | 0.16 | 0.2 | 0.28 | 0.32 | 0.41 | 0.57 | 0.66 | 0.71 | 0.74 | 0.74 | 0.8 | 0.81 | 0.81 | 0.81 | 0.81 | 0.81 | 0.81 | 0.81 | 0.81 | 0.81 | 0.81
Solar | - | - | - | - | 0.02 | 0.07 | 0.14 | 0.21 | 0.31 | 0.46 | 0.53 | 0.57 | 0.6 | 0.63 | 0.63 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64
Hydroelectric | - | 0.01 | 0.01 | 0.02 | 0.77 | 0.78 | 0.79 | 0.79 | 0.79 | 0.79 | 0.79 | 0.8 | 0.8 | 0.8 | 0.81 | 0.81 | 0.83 | 0.83 | 0.83 | 0.83 | 0.85 | 0.85 | 0.86 | 0.86 | 0.86
Demand Response | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Dispatchable Load | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Bioenergy | - | 0.06 | 0.07 | 0.13 | 0.32 | 0.34 | 0.34 | 0.35 | 0.37 | 0.37 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.4
Storage | - | - | - | - | - | - | - | - | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.13 | 0.13 | 0.59 | 1.49 | 1.49 | 1.49
Total | 0.3 | 0.37 | 0.4 | 2.48 | 3.53 | 4.21 | 4.44 | 4.56 | 5.42 | 10.11 | 10.35 | 10.75 | 10.81 | 10.85 | 12.46 | 12.48 | 12.5 | 12.5 | 14.17 | 14.29 | 14.31 | 14.77 | 15.68 | 15.68 | 15.68
Back to main menu

## Figure 15
Back to main menu
Figure 15: Winter Effective Post-Contract Expiry by Fuel Type
Winter Effective Capacity (GW), By Fuel, By Year
Fuel | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68
Gas/Oil | 0.33 | 0.33 | 0.35 | 2.33 | 2.42 | 3.04 | 3.04 | 3.15 | 4.49 | 8.61 | 8.61 | 8.93 | 8.93 | 8.95 | 10.59 | 10.59 | 10.59 | 10.59 | 10.59 | 10.59 | 10.59 | 10.59 | 10.59 | 10.59 | 10.59
Wind | 0.06 | 0.07 | 0.19 | 0.31 | 0.33 | 0.51 | 0.55 | 0.66 | 0.95 | 1.21 | 1.34 | 1.37 | 1.39 | 1.5 | 1.5 | 1.53 | 1.53 | 1.53 | 1.53 | 1.53 | 1.53 | 1.53 | 1.53 | 1.53 | 1.53
Solar | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Hydroelectric | 0.01 | 0.01 | 0.03 | 0.92 | 0.97 | 0.98 | 0.98 | 0.99 | 0.99 | 0.99 | 0.99 | 0.99 | 0.99 | 1.01 | 1.02 | 1.02 | 1.04 | 1.04 | 1.04 | 1.04 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05
Demand Response | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Dispatchable Load | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Bioenergy | - | 0.07 | 0.12 | 0.32 | 0.34 | 0.34 | 0.34 | 0.35 | 0.37 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.4
Storage | - | - | - | - | - | - | - | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.13 | 0.13 | 0.59 | 1.49 | 1.49 | 1.49
Total | 0.4 | 0.47 | 0.7 | 3.88 | 4.06 | 4.88 | 4.92 | 5.16 | 6.81 | 11.2 | 11.34 | 11.69 | 11.72 | 11.86 | 13.51 | 13.54 | 13.56 | 15.24 | 15.24 | 15.36 | 15.37 | 15.83 | 16.73 | 16.73 | 16.73
Back to main menu

## Figure 18
Back to main menu
Figure 18: Reserve Margin Requirement, 2026-2050
Category | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Annual Peak Demand (MW) | 24432 | 24973 | 25618 | 26613 | 27315 | 27804 | 28521 | 29222 | 29621 | 30322 | 31185 | 31767 | 32541 | 32963 | 33524 | 33760 | 33964 | 34255 | 34643 | 34986 | 35295 | 35524 | 35919 | 36129 | 36738
Total Resource Requirement (MW) | 28244.2215 | 29164.9961 | 30559.1848 | 29906.748 | 30507.5606 | 31053.7146 | 31854.5171 | 32637.4496 | 33083.0844 | 33866.0169 | 34829.8838 | 35479.9076 | 36344.3723 | 36815.6954 | 37442.2647 | 37705.8482 | 37933.6916 | 38258.7035 | 38692.0527 | 39075.1424 | 39420.2581 | 39676.0235 | 40117.1908 | 40351.7355 | 41031.9151
Reserve Margin Requirement (MW) | 3812.2215 | 4191.9961 | 4941.1848 | 3293.748 | 3192.5606 | 3249.7146 | 3333.5171 | 3415.4496 | 3462.0844 | 3544.0169 | 3644.8838 | 3712.9076 | 3803.3723 | 3852.6954 | 3918.2647 | 3945.8482 | 3969.6916 | 4003.7035 | 4049.0527 | 4089.1424 | 4125.2581 | 4152.0235 | 4198.1908 | 4222.7355 | 4293.9151
Back to main menu

## Figure 19
Back to main menu
Figure 19: Summer Capacity Surplus/Deficit (MW)
Scenario | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
2025 APO | -695.5108 | -2739.3882 | -2007.7312 | -4382.1462 | -5842.7483 | -5998.6005 | -5967.6756 | -5714.928 | -6846.0312 | -11321.3462 | -14244.2575 | -13031.7062 | -13632.9014 | -14080.0387 | -15929.2039 | -16059.3125 | -17659.78 | -16134.5013 | -17814.1419 | -18538.5517 | -18330.0851 | -18586.36 | -19366.1072 | -18544.334 | -19080.5238
Back to main menu

## Figure 20
Back to main menu
Figure 20: Winter Capacity Surplus/Deficit (MW)
Scenario | 2025 - 2026 | 2026 - 2027 | 2027 - 2028 | 2028 - 2029 | 2029 - 2030 | 2030 - 2031 | 2031 - 2032 | 2032 - 2033 | 2033 - 2034 | 2034 - 2035 | 2035 - 2036 | 2036 - 2037 | 2037 - 2038 | 2038 - 2039 | 2039 - 2040 | 2040 - 2041 | 2041 - 2042 | 2042 - 2043 | 2043 - 2044 | 2044 - 2045 | 2045 - 2046 | 2046 - 2047 | 2047 - 2048 | 2048 - 2049 | 2049 - 2050
2025 APO | 750.9375 | -1420.808 | -15.2468 | -857.2149 | -3686.0742 | -3633.9254 | -4870.0695 | -4336.5575 | -4956.5444 | -6923.4407 | -11133.2939 | -12458.0566 | -12975.8634 | -14299.5808 | -14923.5889 | -15692.1399 | -16397.5757 | -16582.3838 | -17847.9101 | -17138.2422 | -17860.0984 | -17504.7625 | -17634.5663 | -18388.3714 | -17995.433
Back to main menu

## Figure 21
Back to main menu
Figure 21: Energy Adequacy Outlook
Energy Adequacy (TWh), By Fuel, By Year
Fuel | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 65.4 | 56.3 | 67 | 70.1 | 72.7 | 74.1 | 82 | 89.8 | 95.9 | 105.1 | 105.2 | 105.2 | 107.7 | 104.1 | 114.3 | 117.9 | 125.2 | 124.6 | 126.8 | 124.3 | 131.7 | 136 | 131.3 | 134.1 | 134.8
Natural Gas | 31.6 | 46.5 | 46.9 | 52.8 | 54.3 | 55.9 | 52.4 | 53.4 | 49.2 | 26.7 | 16 | 13.7 | 13.1 | 13.3 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric | 40 | 40.7 | 40.9 | 40.8 | 40.8 | 40.8 | 40.9 | 40.8 | 40.8 | 40.8 | 40.9 | 40.8 | 40.8 | 40.8 | 40.8 | 40.7 | 40.7 | 40.7 | 40.8 | 40.7 | 40.7 | 40.7 | 40.8 | 40.7 | 40.7
Non-Hydro Renewables | 19.6 | 19.4 | 18.1 | 16.7 | 16 | 13.6 | 12.9 | 10.9 | 7.3 | 4 | 2.1 | 1.7 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Firm Imports | 0.1 | 0.2 | 0.2 | 0.4 | 0.8 | 1.3 | 1.4 | 1.3 | 1.6 | 2.1 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.1 | 2.2 | 2.2 | 2.2 | 2.1 | 2.2 | 2.2 | 2.2 | 2.1 | 2.1
Total Ontario Demand | 157.6 | 165.4 | 175.6 | 184.6 | 191.1 | 195.1 | 201.2 | 206.2 | 209.5 | 214.9 | 220.7 | 225.7 | 231.4 | 234.5 | 238.1 | 240 | 241.6 | 243.9 | 246.8 | 248.8 | 251 | 253.1 | 256.5 | 258.5 | 262.5
Back to main menu

## Figure 22
Back to main menu
Figure 22: Potential Unserved Energy (GWh)
Scenario | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
2025 APO | 137 | 889 | 437 | 1492 | 4544 | 7948 | 10337 | 8550 | 13783 | 36035 | 54291 | 62089 | 66428 | 74203 | 77222 | 79305 | 73495 | 76382 | 77066 | 81618 | 76448 | 74278 | 82329 | 81491 | 84816
Back to main menu

## Figure 23
Back to main menu
Figure 23: Capacity Factor of Need Requirements
Scenario | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
2025 APO | 0.02 | 0.04 | 0.02 | 0.04 | 0.09 | 0.15 | 0.2 | 0.17 | 0.23 | 0.36 | 0.43 | 0.54 | 0.56 | 0.6 | 0.55 | 0.56 | 0.48 | 0.54 | 0.49 | 0.5 | 0.48 | 0.46 | 0.48 | 0.5 | 0.51
Back to main menu

## Figure 24
Back to main menu
Figure 24: Forecasted Incremental Regulation Needs, in MW
| 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Minimum Regulation Requirement (Current) | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Forecasted Incremental Regulation Needs | 30 | 80 | 80 | 100 | 100 | 100 | 100 | 100 | 100 | 110
Forecasted Total Regulation Needs | 130 | 180 | 180 | 200 | 200 | 200 | 200 | 200 | 200 | 210
Back to main menu

## Figure 25
Back to main menu
Figure 25: Integrated Capacity Needs
Summer Capacity UCAP (MW), By Year | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
2025 APO Capacity Need | 696 | 2739 | 2008 | 4382 | 5843 | 5999 | 5968 | 5715 | 6846 | 11321 | 14244 | 13032 | 13633 | 14080 | 15929
Contribution of In-Flight Actions and Uncertainties | 1448 | 2205 | 1407 | 4066 | 3768 | 3905 | 3237 | 3153 | 1300 | 1307 | 1312 | 1317 | 1321 | 1327 | 1331
Future Procurements and Programs Required | 0 | 535 | 601 | 316 | 2075 | 2093 | 2731 | 2562 | 5546 | 10014 | 12932 | 11715 | 12312 | 12753 | 14598
Back to main menu

## Figure 26
Back to main menu
Figure 26: Integrated Energy Needs
Energy (TWh), By Year | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
2025 APO Energy Need | 0.16293 | 0.93681 | 0.58235 | 1.8304 | 4.5361 | 7.7606 | 10.1499 | 7.9739 | 13.1212 | 35.8995 | 54.7796 | 62.5088 | 66.829 | 74.5689 | 77.585
Contribution of In-Flight Actions and Uncertainties | -0.8293 | -1.8722 | 0.66788 | -1.2043 | -0.93256 | 0.31839 | -0.19649 | -1.5893 | -3.8113 | -4.8507 | -4.8636 | -3.7329 | -2.6309 | -5.7053 | -9.0144
Future Procurements and Programs Required | 1.602 | 2.809 | 0.71762 | 3.0347 | 5.4686 | 7.4422 | 10.3464 | 9.5631 | 16.9325 | 40.7502 | 59.6432 | 66.2417 | 69.4599 | 80.2741 | 86.5994
Back to main menu

## Figure 28
Back to main menu
Figure 28: Capacity Auction Forward Guidance
Target Capacity UCAP (MW), By Season and Year | 2026 | 2026 | 2027 | 2027 | 2028 | 2028 | 2029 | 2029 | 2030 | 2030
Season | Summer | Winter | Summer | Winter | Summer | Winter | Summer | Winter | Summer | Winter
Minimum Target | 1800 | 1200 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
Forward Guidance | 0 | 0 | 1800 | 1300 | 1800 | 1400 | 1900 | 1400 | 1900 | 1400
Back to main menu

## Figure 29
Back to main menu
Figure 29: Remaining Capacity Needs and Future Procurements and Programs Required
Summer Capacity UCAP (MW), By Year | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
2025 APO Capacity Need | 696 | 2739 | 2008 | 4382 | 5843 | 5999 | 5968 | 5715 | 6846 | 11321 | 14244 | 13032 | 13633 | 14080 | 15929
Contribution of In-Flight Actions and Uncertainties | 1448 | 2205 | 1407 | 4066 | 3768 | 3905 | 3237 | 3153 | 1300 | 1307 | 1312 | 1317 | 1321 | 1327 | 1331
Capacity Auction Forward Guidance | 0 | 800 | 800 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900
Potential Contribution of Existing Non-Emitting Resources |  |  |  |  | 230 | 332 | 541 | 732 | 964 | 1228 | 1377 | 1460 | 1512 | 1500.8053 | 1542.8353
Potential Contribution of Existing Emitting Resources |  |  |  |  | 122 | 685 | 746 | 756 | 1553 | 5933 | 5999 | 6290 | 6296 | 6298 | 7841
Future Procurements and Programs Required | 0 | 0 | 0 | 0 | 823 | 175 | 543 | 174 | 2128 | 1953 | 4656 | 3064 | 3605 | 4013 | 4272
Back to main menu

## Figure 30
Back to main menu
Figure 30: Remaining Energy Needs and Potential Procurements and Programs Required
Energy (TWh), By Year | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
2025 APO Energy Need | 0.16293 | 0.93681 | 0.58235 | 1.8304 | 4.5361 | 7.7606 | 10.1499 | 7.9739 | 13.1212 | 35.8995 | 54.7796 | 62.5088 | 66.829 | 74.5689 | 77.585
Contribution of In-Flight Actions and Uncertainties | -0.8293 | -1.8722 | 0.66788 | -1.2043 | -0.93256 | 0.31839 | -0.19649 | -1.5893 | -3.8113 | -4.8507 | -4.8636 | -3.7329 | -2.6309 | -5.7053 | -9.0144
Potential Contribution of Existing Non-Emitting Resources |  |  |  |  | 0.5652 | 3.0195 | 3.6715 | 6.0392 | 9.7652 | 11.8355 | 12.3987 | 12.1031 | 11.5388 | 11.6446 | 10.1097
Potential Contribution of Existing Emitting Resources |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 3.0012 | 3.7643 | 3.5617 | 2.5975 | 2.7918 | 12.3834
Future Procurements and Programs Required | 1.602 | 2.809 | 0.71762 | 3.0347 | 4.9035 | 4.4227 | 6.6749 | 3.9073 | 7.1673 | 25.9135 | 43.4802 | 50.577 | 55.3236 | 65.8378 | 64.1063
Back to main menu