## Menu
2026 Annual Planning Outlook
Marginal Energy Costs and Annual Capacity Costs
September 2026
Description and Methodology
Table 1: 2026 APO Marginal Energy Costs and Annual Capacity Costs (2025 Dollars)
Table 2: 2026 APO Cumulative Capacity Expansion Model (CapEx) Installed Capacity (MW)
Discussion of Results

## Description and Methodology
Back to main menu
Marginal Energy Costs
The Marginal Energy Costs in Table 1 are based on the hourly marginal cost of energy production ($/MWh) from production cost model results of the 2026 Annual Planning Outlook (APO) electricity system with capacity expansion (CapEx), averaged over the Time-of-Use periods described in the sections below. The Marginal Energy Costs can be applied to new programs, customer loads, and/or system resources to estimate their impact on system energy production costs. This approach is most relevant when the program/load/resource is sufficiently small as to not result in a change in the marginal system resource. This approach is less reliable for estimating the system energy production cost impacts of larger programs, loads and/or system resources (e.g. >10 MW) since these are more likely to result in a change in the marginal system resource.
Time-of-Use Definitions
Marginal Energy Costs are grouped into eight Time-of-Use (TOU) periods to reflect the diurnal and seasonal fluctuations. Time-of-use periods are Hour Starting to Hour Ending (e.g. 0700 – 1100 is a 4-hour period, starting at 7am and ending at 11am).
Time-of-Use Seasons
Season | Months Included
Winter | December – March
Summer | June – September
Shoulder | April, May, October & November
Time-of-Use Period Definitions
| Winter | Summer | Shoulder
| (December – March) | (June – September) | (April, May, October, November)
On-Peak | 0700 – 1100 | 1100 – 1700 weekdays | None
and
1700 – 2000 weekdays
Mid-Peak | 1100 – 1700 and | 0700 – 1100 and | 0700 – 2300 weekdays
| 2000 – 2300 weekdays | 1700 – 2300 weekdays
Off-Peak | 0000 – 0700 and | 0000 – 0700 and | 0000 – 0700 and
| 2300 – 0000 weekdays; | 2300 – 0000 weekdays; | 2300 – 0000 weekdays;
| All hours weekends and holidays | All hours weekends and holidays | All hours weekends and holidays
Note: Number of hours represent the daily hours for the various periods
Annual Capacity Costs
The Annual Capacity Costs in Table 1 are determined by dividing the total, annual cost of the APO 2026 CapEx resource portfolio build-out (shown in Table 2) by its effective capacity contribution (i.e. the effective contribution of the resources to meeting system capacity needs). They reflect the estimated cost (or value) of a MW of effective, system capacity in years where a system capacity deficit has been identified (i.e. it is the cost or value associated with a 1 MW reduction or increase in the system capacity deficit). The years labeled "Summer Peaking" have been identified as having a capacity deficit in the summer and years labeled "Winter Peaking" have been identified as having a capacity deficit in the winter. The Capacity Costs in a given year can be applied to new programs, loads or resources that either increase or decrease the capacity deficit to determine their net cost or benefit to the system. For Summer Peaking years, the effective MW impact on summer capacity deficit should be used, for Winter Peaking years, the effective MW impact on winter capacity deficit should be used. For additional clarity, in this context, summer and/or winter refers to system peak capacity needs (i.e. in what season is new capacity needed) rather than which season has higher peak demand. In the early study years (2027 and 2028) the Capacity Cost is based on the Capacity Auction Reference Price (average of Summer 2026 and Winter 2026/2027 obligation period), since near-term capacity needs are expected to be addressed through the Capacity Auction. This price is held constant in real terms for the years it is utilized.
Back to main menu

## Table 1
Back to main menu
Table 1: 2026 APO Marginal Energy Costs and Annual Capacity Costs (2025 Dollars) - Reference Scenario
| Marginal Energy Cost by Season and Time-of-Use Period (2025$/MWh) | [8 empty] | Annual Capacity Costs (2025$/kW-yr)
Year
| Winter On Peak | Winter Mid-Peak | Winter Off-Peak | Summer On Peak | Summer Mid-Peak | Summer Off-Peak | Shoulder Mid-Peak | Shoulder Off Peak | Annual | Annual | System Need
2027 | 117.3459 | 112.2523 | 90.6745 | 87.607 | 73.258 | 49.9848 | 45.2799 | 37.4029 | 78.4815 | 162.6005 | Summer
2028 | 119.7173 | 115.0832 | 100.1521 | 54.4225 | 47.1754 | 38.4076 | 40.2405 | 35.4849 | 74.0983 | 172.6893 | N/A*
2029 | 119.0904 | 116.4015 | 104.5915 | 72.0016 | 57.7752 | 46.4774 | 28.9554 | 26.4913 | 78.9241 | 238.4718 | Summer
2030 | 120.1754 | 117.0059 | 100.9411 | 39.1616 | 35.8834 | 32.7669 | 23.7874 | 22.5129 | 69.8352 | 303.9202 | Summer
2031 | 76.1151 | 74.155 | 64.1843 | 35.5147 | 32.1502 | 28.6987 | 18.4213 | 17.1775 | 48.2141 | 391.3381 | Summer
2032 | 48.8308 | 46.9022 | 44.7865 | 18.4497 | 18.2976 | 17.9264 | 15.0539 | 15.1506 | 31.7293 | 442.9283 | Summer
2033 | 43.2973 | 42.1741 | 37.7128 | 16.5911 | 16.5387 | 16.3416 | 15.0496 | 15.0323 | 27.8319 | 438.8384 | Summer
2034 | 34.118 | 33.1416 | 31.8097 | 17.5777 | 17.4876 | 17.0382 | 14.4005 | 14.4354 | 24.569 | 433.4162 | Summer
2035 | 34.6291 | 34.0493 | 32.5259 | 14.5624 | 14.5746 | 14.5493 | 14.5044 | 14.4813 | 23.8126 | 436.4957 | Summer
2036 | 35.4818 | 35.1246 | 34.4354 | 18.1203 | 17.6144 | 17.0751 | 14.729 | 14.7897 | 25.8008 | 438.5154 | Summer
2037 | 42.0377 | 41.4026 | 40.5175 | 18.2823 | 18.0116 | 17.8072 | 14.4 | 14.4 | 29.0671 | 427.5511 | Summer
2038 | 47.9908 | 46.2848 | 46.5948 | 20.1259 | 19.7254 | 18.6598 | 15.528 | 15.2751 | 32.536 | 426.0691 | Summer
2039 | 62.0196 | 59.9463 | 58.656 | 26.4728 | 25.3405 | 23.9032 | 17.7128 | 16.8363 | 41.3118 | 420.3634 | Summer
2040 | 61.2265 | 59.6014 | 54.6255 | 16.5251 | 16.4717 | 15.9959 | 14.4 | 14.5911 | 36.2751 | 445.6283 | Summer
2041 | 61.0946 | 59.4783 | 54.5965 | 15.6984 | 15.6282 | 15.1142 | 14.4 | 14.4 | 35.8156 | 443.0967 | Summer
2042 | 54.4596 | 53.2187 | 51.4896 | 14.4 | 14.4 | 14.4 | 14.6391 | 14.5815 | 33.2676 | 472.1478 | Winter
2043 | 50.2871 | 48.962 | 49.1765 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 31.7416 | 517.3262 | Winter
2044 | 39.4012 | 37.1084 | 37.9775 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 26.1947 | 543.6578 | Winter
2045 | 36.7878 | 34.6488 | 33.8942 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 24.4291 | 512.5137 | Summer
2046 | 26.559 | 25.4648 | 25.3481 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 19.9642 | 571.7158 | Winter
2047 | 20.4188 | 19.0351 | 19.7388 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 17.0554 | 564.7255 | Summer
2048 | 19.4206 | 18.4699 | 18.9067 | 14.4 | 14.4085 | 14.4 | 14.4 | 14.4 | 16.6562 | 578.7289 | Summer
2049 | 18.1811 | 17.2861 | 17.6998 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 16.0496 | 615.0481 | Winter
2050 | 18.422 | 17.6563 | 17.1674 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 15.9449 | 578.7289 | Summer
*No capacity deficit identified in Summer nor Winter, so System Need season in this year is not applicable
Back to main menu

## Table 2
Back to main menu
Table 2: 2026 APO Cumulative CapEx Installed Capacity Additions (MW) - Reference Scenario
Cumulative CapEx Installed Capacity Additions by Resource Type (MW)
Year
| Battery Energy Storage Systems (BESS) (MW) | BESS Energy Reservoir (MWh) | Demand Response (MW) | Hydro (MW) | Nuclear (MW) | Solar (MW) | Wind (MW) | Natural Gas (MW) | Total (MW)
2027 | 0 | 0 | 3122 | 0 | 0 | 0 | 0 | 0 | 3122
2028 | 0 | 0 | 3202 | 0 | 0 | 0 | 0 | 0 | 3202
2029 | 0 | 0 | 3327.01 | 0 | 0 | 1100 | 700 | 250 | 5377.01
2030 | 232.6 | 930.4 | 3327.01 | 0 | 0 | 2200 | 2150 | 900 | 8809.61
2031 | 795.14 | 3180.56 | 3476.01 | 1000 | 0 | 3300 | 3600 | 1550 | 13721.15
2032 | 1164.9 | 4659.6 | 3476.01 | 2000 | 0 | 4399.99 | 5050 | 2200 | 18290.9
2033 | 1805.03 | 7220.12 | 3653.01 | 2128.16 | 0 | 5499.99 | 6500 | 2850 | 22436.19
2034 | 2145.39 | 8581.56 | 3703.01 | 2128.16 | 0 | 6599.99 | 7950 | 3500.01 | 26026.56
2035 | 2338.88 | 9355.52 | 3790.01 | 2128.16 | 0 | 7700 | 9400 | 4150.01 | 29507.06
2036 | 2354.54 | 9418.16 | 3898.01 | 2128.16 | 0 | 9100 | 10850 | 4800.01 | 33130.72
2037 | 3054.54 | 12218.16 | 3898.01 | 2128.16 | 0 | 10500 | 11085.78 | 5450.01 | 36116.5
2038 | 3754.55 | 15018.2 | 4068.01 | 2128.16 | 0 | 11900 | 12535.55 | 6100 | 40486.27
2039 | 4454.52 | 17818.08 | 4068.01 | 2135.97 | 0 | 13299.99 | 13126.96 | 6750 | 43835.45
2040 | 5204.53 | 20818.12 | 4068.01 | 2135.97 | 700 | 14000 | 13126.96 | 6750 | 45985.47
2041 | 5954.54 | 23818.16 | 4068.01 | 2135.97 | 700 | 14700 | 13126.96 | 6750 | 47435.48
2042 | 6704.53 | 26818.12 | 4068.01 | 2135.97 | 982.6 | 15400 | 13126.96 | 6750 | 49168.07
2043 | 7454.53 | 29818.12 | 4068.01 | 2135.97 | 2382.6 | 16100 | 13126.96 | 6750 | 52018.07
2044 | 8204.53 | 32818.12 | 4068.01 | 2135.97 | 3782.59 | 16800 | 13126.96 | 7425.86 | 55543.92
2045 | 8954.53 | 35818.12 | 4068.01 | 2135.97 | 3782.59 | 17500 | 13126.96 | 7425.86 | 56993.92
2046 | 9704.54 | 38818.16 | 4068.01 | 2135.97 | 5063.72 | 18200 | 13126.96 | 7425.86 | 59725.06
2047 | 10454.54 | 41818.16 | 4068.01 | 2135.97 | 6463.72 | 18900 | 13126.96 | 7425.86 | 62575.06
2048 | 11204.53 | 44818.12 | 4068.01 | 2135.97 | 7863.72 | 19600 | 13126.96 | 7997.08 | 65996.27
2049 | 11204.53 | 44818.12 | 4068.01 | 2135.97 | 7863.72 | 19600 | 13126.96 | 7997.08 | 65996.27
2050 | 11204.53 | 44818.12 | 4068.01 | 2135.97 | 7863.72 | 19600 | 13126.96 | 7997.08 | 65996.27
Back to main menu

## Discussion of Results
Back to main menu
Marginal Energy Cost Discussion of Results
Marginal Energy Costs are higher in the near-and-medium-term as the gas fleet is dispatched more frequently to meet a growing demand forecast and support the large-scale nuclear refurbishment schedule. Marginal Energy Costs decline in the long-term, as the system relies more on non-emitting, low to zero marginal cost resources to meet energy needs.
Annual Capacity Cost Discussion of Results
Capacity Costs increase in the long-term due to a significant buildout of resources with higher effective capacity costs (e.g. several MWs of installed capacity are required per MW of effective capacity) and lower fuel costs, required to meet a rapidly growing provincial demand for electricity.
Back to main menu