## Winter
Historic station peak demand data is used as the basis for developing the IRRP planning forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | WINTER: Historical Net Station Peak Demand, ELS Region 2024 (MW)
Non-Coincident
Batchawana TS | 1.8302
DA Watson TS | 8.0506
Echo River TS | 16.8788
Goulais Bay TS | 10.9587
No. 4 Circuit | 18.5235
Andrews TS | 0.23073
MacKay TS | 0.035733
Northern Avenue TS | 2.4511
Chapleau DS | 15.7158
Chapleau MTS | 3.5586
St. Mary's MTS | 68.4603
Tarentorus MTS | 87.277
Tagona West TS | N/A
SSM PUC Coincident Total | 133.3236
Total | 233.9712
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Summer
Historic station peak demand data is used as the basis for developing the IRRP planning forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | SUMMER: Historical Net Station Peak Demand, ELS Region 2024 (MW)
Non-Coincident
Batchawana TS | 1.167
DA Watson TS | 4.795
Echo River TS | 11.7092
Goulais Bay TS | 4.8062
No. 4 Circuit | 15.041
Andrews TS | 0.165
MacKay TS | 0.032
Northern Avenue TS | 5.904
Chapleau DS | 14.161
Chapleau MTS | 1.897
St. Mary's MTS | 62.1443
Tarentorus MTS | 60.7028
Tagona West TS | N/A
SSM PUC Coincident Total | 106.6741
Total | 182.5244
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT