## Summer
Historic station peak demand data is used as the basis for developing the IRRP planning forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | SUMMER: Historical Net Station Peak Demand, GTA West Region 2024 (MW)
| Non-Coincident | Coincident
Bramalea TS | 372.465 | 249.023
Cardiff TS | 114.107 | 91.447
Churchill Meadows TS | 115.931 | 98.838
Cooksville TS | 87.23 | 84.168
Erindale TS | 459.188 | 459.188
Glenorchy MTS | 83.71 | 77.059
Goreway TS | 248.227 | 247.495
Halton TS | 136.907 | 127.367
Halton Hills MTS | 9.844 | 0.096
Jim Yarrow MTS | 132.029 | 132.029
Kleinburg TS | 163.064 | 156.131
Lorne Park TS | 91.93 | 73.187
Meadowvale TS | 114.078 | 109.768
Oakville TS | 133.614 | 113.83
Palermo TS | 117.695 | 117.695
Pleasant TS | 416.849 | 415.57
Tomken TS | 247.863 | 209.531
Trafalgar TS | 83.014 | 82.562
Tremaine TS | 110.349 | 107.678
Total | 3238.094 | 2952.662
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Winter
Historic station peak demand data is used as the basis for developing the IRRP planning forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | WINTER: Historical Net Station Peak Demand, GTA West Region 2024 (MW)
| Non-Coincident | Coincident
Bramalea TS | 334.464 | 284.757
Cardiff TS | 92.115 | 79.645
Churchill Meadows TS | 67.5 | 43.756
Cooksville TS | 80.852 | 78.672
Erindale TS | 276.448 | 272.303
Glenorchy MTS | 64.689 | 46.406
Goreway TS | 174.359 | 157.121
Halton TS | 101.093 | 99.93
Halton Hills MTS | 30.979 | 3.264
Jim Yarrow MTS | 87.816 | 78.287
Kleinburg TS | 120.031 | 118.946
Lorne Park TS | 85.699 | 60.548
Meadowvale TS | 95.517 | 95.517
Oakville TS | 110.827 | 99.481
Palermo TS | 84.91 | 71.251
Pleasant TS | 286.341 | 268.531
Tomken TS | 197.471 | 186.063
Trafalgar TS | 58.565 | 55.438
Tremaine TS | 78.615 | 62.467
Total | 2428.291 | 2162.383
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT