## Menu
York Integrated Regional Resource Plan Data Tables April 2024
Table 2: IRRP CDM (Codes and Standards + Energy Efficiency) Forecast Winter
Table 3: IRRP CDM (Codes and Standards + Energy Efficiency) Forecast Summer
Table 4: Distributed Generation Contribution Factor Assumptions Winter
Table 5: Distributed Generation Contribution Factor Assumptions Summer
Table 6: Installed Distributed Generation Output Assumptions Winter
Table 7: Installed Distributed Generation Output Assumptions Summer
Table 8: Extreme Winter Forecast Net of CDM+DG
Table 9: Extreme Summer Forecast Net of CDM+DG
This document and the information contained herein is provided for informational purposes only. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained in this document are subject to risks, uncertainties and other factors that could cause actual results or circumstances to differ materially from the information, statements and assumptions contained herein. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document, as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 2
Back to main menu
| Transformer Station | Table 2 Winter Weather Station CDM Forecast (MW)
|  | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
| Armitage TS | 1.5841 | 2.7655 | 4.0534 | 6.1239 | 8.3045 | 11.6881 | 14.9064 | 17.636 | 19.9027 | 21.9879 | 24.1731 | 26.5676 | 28.9229 | 30.6307 | 33.9758 | 35.7461 | 37.7019 | 38.6322 | 39.6829 | 40.4916
| Brown Hill TS | 0.45298 | 0.83243 | 1.2629 | 1.9697 | 2.705 | 3.4283 | 4.0322 | 4.3742 | 4.5839 | 4.7443 | 5.0818 | 5.4947 | 5.7803 | 5.9236 | 7.4386 | 7.4789 | 7.5293 | 7.5425 | 7.6027 | 7.6462
| Buttonville TS | 0.96536 | 1.8229 | 2.7363 | 3.6895 | 4.7208 | 6.393 | 8.1466 | 9.5184 | 10.8728 | 12.2634 | 12.9779 | 13.8077 | 14.372 | 14.4473 | 15.182 | 15.1703 | 15.1646 | 14.435 | 14.468 | 14.5069
| Holland TS | 1.0034 | 1.7213 | 2.4726 | 3.6895 | 4.936 | 6.6768 | 8.436 | 9.8201 | 10.9078 | 11.9354 | 13.1805 | 14.641 | 16.0945 | 17.0668 | 19.0378 | 20.0138 | 21.0699 | 21.6401 | 22.269 | 22.8763
| Kleinburg TS | 2.1673 | 3.9076 | 5.5811 | 8.4963 | 11.6727 | 15.3984 | 19.5921 | 20.8308 | 22.1207 | 23.5372 | 24.6309 | 26.225 | 27.4864 | 28.0074 | 28.1256 | 28.2401 | 28.3776 | 28.5049 | 28.6873 | 28.9074
| Markham MTS #1 | 0.28811 | 0.61174 | 0.93316 | 1.1491 | 1.444 | 1.9242 | 2.5179 | 2.8943 | 3.2904 | 3.6889 | 3.8843 | 4.0812 | 4.2345 | 4.2575 | 4.2573 | 4.2556 | 4.2554 | 4.2545 | 4.2586 | 4.2649
| Markham MTS #2 | 0.84345 | 1.538 | 2.1466 | 2.969 | 3.8161 | 5.1963 | 6.5803 | 7.7331 | 8.852 | 10.0092 | 10.6037 | 11.3125 | 11.7784 | 11.8616 | 11.8744 | 11.864 | 11.8583 | 11.8512 | 11.8827 | 11.9182
| Markham MTS #3 | 1.6483 | 3.0719 | 4.4893 | 6.1945 | 7.975 | 10.666 | 13.4142 | 15.7741 | 17.453 | 19.4712 | 20.6803 | 22.1787 | 23.243 | 23.4703 | 23.4789 | 23.4605 | 23.4551 | 23.4437 | 23.4935 | 23.5606
| Markham MTS #4 | 0.79587 | 1.4655 | 2.1439 | 3.959 | 5.0757 | 6.8419 | 8.681 | 10.0856 | 11.4809 | 12.8998 | 13.6675 | 14.5793 | 15.2104 | 15.3044 | 15.7737 | 15.3025 | 15.2975 | 15.2899 | 15.3237 | 15.3656
| Markham MTS #5 | 0 | 0 | 0 | 0 | 2.2006 | 4.9059 | 9.3223 | 10.7662 | 12.2107 | 13.9045 | 14.495 | 15.5051 | 16.2165 | 16.3329 | 16.3406 | 16.328 | 16.3237 | 16.3157 | 16.3506 | 16.3961
| Markham MTS #6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0074 | 10.6712 | 16.2165 | 16.3329 | 17.1576 | 16.8178 | 16.3237 | 16.3157 | 16.3506 | 16.3961
| Markham MTS #7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.328 | 16.4869 | 16.3157 | 16.3506 | 16.3961
| Markham MTS #8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3789 | 16.3506 | 16.3961
| Northern York Station | 0 | 0 | 0 | 0 | 0 | 0.53039 | 1.1462 | 3.2295 | 4.3063 | 5.4788 | 6.9811 | 8.8035 | 10.4521 | 11.9762 | 15.5024 | 16.8849 | 18.4145 | 20.0083 | 21.8218 | 23.7318
| Richmond Hill MTS #1 and #2 | 1.9709 | 3.8228 | 5.3282 | 7.3147 | 9.4027 | 12.6313 | 15.9436 | 18.4414 | 20.9304 | 23.4398 | 24.8683 | 26.6074 | 27.9218 | 28.0403 | 28.0554 | 28.0332 | 28.0251 | 28.0111 | 28.073 | 28.1524
| Richmond Hill MTS #3 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8772 | 6.8656 | 13.1263 | 14.7141 | 15.6121 | 16.7084 | 17.4683 | 17.5904 | 18.4812 | 18.4662 | 17.5813 | 17.5721 | 17.6124 | 17.6633
| Vaughan MTS #1 | 1.8273 | 3.4539 | 4.9313 | 6.4998 | 8.2922 | 11.0544 | 14.1068 | 16.9003 | 18.3218 | 20.4505 | 21.6527 | 23.0497 | 24.0347 | 24.2448 | 25.4604 | 25.4446 | 25.4413 | 24.2208 | 24.26 | 24.3162
| Vaughan MTS #2 | 0.97782 | 1.9014 | 2.7922 | 3.7211 | 4.769 | 6.2342 | 7.8585 | 8.793 | 9.8042 | 10.7545 | 11.4331 | 12.2763 | 12.943 | 13.0803 | 13.7246 | 13.717 | 13.7192 | 13.0626 | 13.0767 | 13.1065
| Vaughan MTS #3 | 1.0176 | 1.9841 | 3.1339 | 4.2991 | 5.5219 | 7.4583 | 9.4383 | 10.9887 | 12.5181 | 14.0777 | 14.9226 | 15.9369 | 16.6299 | 16.7333 | 17.5832 | 17.5689 | 16.7262 | 16.7173 | 16.7567 | 16.8046
| Vaughan MTS #4 | 0.81514 | 1.6465 | 2.2858 | 4.4515 | 6.1696 | 8.2198 | 10.3188 | 11.8127 | 13.3252 | 14.8193 | 15.75 | 16.9145 | 17.721 | 17.9073 | 18.8066 | 18.7921 | 18.7889 | 17.8859 | 17.9219 | 17.9727
| Vaughan MTS #5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0191 | 9.6888 | 14.9226 | 15.9369 | 16.5989 | 16.7333 | 17.5832 | 16.7322 | 17.5625 | 16.7173 | 16.7567 | 16.8046
| Vaughan MTS #7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.55 | 17.5832 | 16.7322 | 16.7262 | 16.7173 | 16.7567 | 16.8046
| Vaughan MTS #8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.7262 | 16.7173 | 16.7567 | 16.8046
| Vaughan MTS #9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7811 | 14.8721
| Woodbridge TS | 0.54801 | 1.0832 | 1.6677 | 2.1811 | 2.7832 | 3.6753 | 4.7008 | 5.2373 | 5.8367 | 6.8246 | 7.1117 | 7.7531 | 8.3547 | 8.468 | 8.4645 | 8.4606 | 8.4613 | 8.4593 | 8.4675 | 8.483
Back to main menu
Peak demand savings from codes and standards, as well as the delivery of conservation programs, were estimated for each sector and totalled for each station in the region. The analyses were conducted under normal weather conditions and can be adjusted to reflect extreme weather conditions. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.

## Table 3
Back to main menu
| Transformer Station | Table 3 Summer Weather Station CDM Forecast (MW)
|  | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
| Armitage TS | 2.6101 | 4.6726 | 6.8829 | 10.0682 | 13.3467 | 17.1651 | 20.7364 | 23.4737 | 25.5191 | 27.5919 | 29.8152 | 32.5619 | 34.7925 | 36.4783 | 37.7033 | 38.9528 | 40.2796 | 40.9615 | 41.7575 | 42.6094
| Brown Hill TS | 1.3174 | 2.5466 | 3.9592 | 6.067 | 8.2375 | 10.2563 | 11.9359 | 12.9094 | 13.4294 | 13.9932 | 14.6865 | 15.8004 | 16.5668 | 16.9407 | 17.0413 | 17.1153 | 17.2062 | 17.2048 | 17.3013 | 17.3612
| Buttonville TS | 1.1939 | 2.2604 | 3.5365 | 4.5841 | 5.6219 | 6.8739 | 8.0914 | 8.9063 | 9.5328 | 10.0564 | 10.5423 | 11.1232 | 11.3893 | 11.5311 | 11.6037 | 11.6439 | 11.698 | 11.7123 | 11.7311 | 11.7753
| Holland TS | 1.5113 | 2.6915 | 3.9043 | 5.6594 | 7.3597 | 9.2659 | 11.0635 | 12.2732 | 13.034 | 13.8212 | 14.848 | 16.2584 | 17.4662 | 18.3094 | 18.8621 | 19.4174 | 19.9975 | 20.2083 | 20.4626 | 20.7277
| Kleinburg TS | 2.8133 | 5.2137 | 7.7155 | 11.7357 | 16.1783 | 20.9579 | 26.4527 | 28.6898 | 30.0178 | 31.0929 | 32.8836 | 35.188 | 36.7066 | 37.5074 | 38.0686 | 38.3399 | 38.6428 | 38.8612 | 39.0773 | 39.3855
| Markham MTS #1 | 0.40308 | 0.8556 | 1.308 | 1.5497 | 1.8474 | 2.2703 | 2.7634 | 3.0147 | 3.2208 | 3.4183 | 3.5441 | 3.7368 | 3.8034 | 3.8359 | 3.8551 | 3.8616 | 3.8698 | 3.872 | 3.8743 | 3.8812
| Markham MTS #2 | 1.0045 | 1.8292 | 2.6928 | 3.5896 | 4.4397 | 5.4236 | 6.3239 | 6.9852 | 7.4883 | 7.8916 | 8.2995 | 8.7554 | 8.9761 | 9.0967 | 9.156 | 9.193 | 9.2429 | 9.2562 | 9.2742 | 9.3148
| Markham MTS #3 | 2.133 | 3.9626 | 5.96 | 7.9291 | 9.7655 | 11.8539 | 13.7863 | 15.4003 | 15.9365 | 16.6375 | 17.4995 | 18.5466 | 19.1275 | 19.4184 | 19.58 | 19.6451 | 19.7314 | 19.7539 | 19.7806 | 19.8535
| Markham MTS #4 | 1.0026 | 1.8463 | 2.8003 | 4.9768 | 6.1107 | 7.4525 | 8.7382 | 9.592 | 10.2239 | 10.7468 | 11.2776 | 11.9177 | 12.2331 | 12.3968 | 12.4835 | 12.5259 | 12.5825 | 12.5974 | 12.6164 | 12.6632
| Markham MTS #5 | 0 | 0 | 0 | 0 | 2.6789 | 5.4152 | 9.5144 | 10.4148 | 11.0534 | 11.7795 | 12.16 | 12.8712 | 13.2456 | 13.4355 | 13.5393 | 13.5842 | 13.644 | 13.6596 | 13.6787 | 13.7287
| Markham MTS #6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3619 | 8.8584 | 13.2456 | 13.4355 | 13.5393 | 13.5842 | 13.644 | 13.6596 | 13.6787 | 13.7287
| Markham MTS #7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4771 | 7.7851 | 12.0526 | 13.6787 | 13.7287
| Markham MTS #8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Northern York Station | 0 | 0 | 0 | 0 | 0 | 1.0331 | 2.1938 | 6.1204 | 8.0815 | 10.3222 | 12.9878 | 16.4038 | 19.4716 | 22.4203 | 25.0389 | 27.2858 | 29.7507 | 32.2609 | 35.1048 | 38.1195
| Richmond Hill MTS #1 and #2 | 2.5086 | 4.8548 | 6.9962 | 9.2547 | 11.3914 | 13.8575 | 16.1637 | 17.7074 | 18.8043 | 19.6945 | 20.6988 | 21.906 | 22.6233 | 23.0308 | 23.29 | 23.4516 | 23.6404 | 23.751 | 23.8683 | 24.0409
| Richmond Hill MTS #3 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8882 | 6.535 | 11.6891 | 12.2442 | 12.8755 | 13.6239 | 14.0205 | 14.2242 | 14.3335 | 14.3842 | 14.4519 | 14.4697 | 14.492 | 14.5483
| Vaughan MTS #1 | 2.45 | 4.6349 | 6.7327 | 8.5388 | 10.3784 | 12.6512 | 14.979 | 17.0611 | 17.3339 | 18.2021 | 19.0333 | 20.1385 | 20.6708 | 20.9334 | 21.0832 | 21.138 | 21.2098 | 21.2285 | 21.2495 | 21.3102
| Vaughan MTS #2 | 1.4013 | 2.7246 | 4.0015 | 5.1463 | 6.2566 | 7.5678 | 8.8849 | 9.592 | 10.0281 | 10.4078 | 10.9036 | 11.5997 | 11.9988 | 12.183 | 12.2976 | 12.3232 | 12.3555 | 12.3637 | 12.3696 | 12.3991
| Vaughan MTS #3 | 1.2644 | 2.4621 | 4.049 | 5.3501 | 6.5907 | 8.0342 | 9.3843 | 10.3138 | 10.9979 | 11.5538 | 12.1402 | 12.8294 | 13.1767 | 13.3586 | 13.4537 | 13.5023 | 13.5674 | 13.5846 | 13.6067 | 13.6604
| Vaughan MTS #4 | 1.0712 | 2.157 | 3.0689 | 5.7631 | 7.6325 | 9.252 | 10.7506 | 11.7212 | 12.3651 | 12.8817 | 13.5511 | 14.3766 | 15.109 | 15.0792 | 15.2107 | 15.2592 | 15.3232 | 15.3399 | 15.3589 | 15.4135
| Vaughan MTS #5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6524 | 7.9517 | 12.1402 | 12.8294 | 13.9518 | 13.3586 | 13.4537 | 13.5023 | 13.5674 | 13.5846 | 13.6067 | 13.6604
| Vaughan MTS #7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8149 | 10.8421 | 13.5023 | 13.5674 | 13.5846 | 13.6067 | 13.6604
| Vaughan MTS #8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vaughan MTS #9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Woodbridge TS | 0.88394 | 1.7605 | 2.6157 | 3.2949 | 4.0676 | 5.0245 | 6.1227 | 6.7963 | 7.3856 | 7.7844 | 8.1097 | 8.5858 | 8.8051 | 8.9065 | 8.9685 | 8.9829 | 9.0015 | 9.0062 | 9.01 | 9.0274
Back to main menu
Peak demand savings from codes and standards, as well as the delivery of conservation programs, were estimated for each sector and totalled for each station in the region. The analyses were conducted under normal weather conditions and can be adjusted to reflect extreme weather conditions. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.

## Table 4
Back to main menu
Table 4: Distributed Generation Contribution Factor Assumptions | Winter Peak Contribution Factor
Resource Type | Toronto zone | Essa zone
Solar | 0% | 0%
Wind | 29% | 29%
Energy Storage | 50% | 50%
Non-Renewable | 94.24% | 94.24%
Back to main menu

## Table 5
Back to main menu
Table 5: Distributed Generation Contribution Factor Assumptions | Summer Peak Contribution Factor
Resource Type | Toronto zone | Essa zone
Solar | 19% | 23%
Wind | 16% | 16%
Energy Storage | 50% | 50%
Non-Renewable | 94.24% | 94.24%
Back to main menu

## Table 6
Back to main menu
| Transformer Station | Table 6 Winter Weather Effective DG Contribution to Peak (MW)
|  | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
| Armitage TS | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894 | 0.99894
| Brown Hill TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Buttonville TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Holland TS | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
| Kleinburg TS | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468 | 3.0468
| Markham MTS #1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Markham MTS #2 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754 | 3.6754
| Markham MTS #3 | 7.4685 | 7.4685 | 7.4685 | 7.4685 | 2.7565 | 2.7565 | 2.7565 | 2.7565 | 2.7565 | 2.7565 | 2.7565 | 2.7565 | 2.7565 | 2.7565 | 2.7565 | 2.7565 | 2.7565 | 2.7565 | 2.7565 | 2.7565
| Markham MTS #4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Markham MTS #5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Markham MTS #6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Markham MTS #7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Markham MTS #8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Northern York Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Richmond Hill MTS #1 and #2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Richmond Hill MTS #3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vaughan MTS #1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vaughan MTS #2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vaughan MTS #3 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413 | 0.19413
| Vaughan MTS #4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vaughan MTS #5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vaughan MTS #7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vaughan MTS #8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vaughan MTS #9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Woodbridge TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Back to main menu
Peak demand contribution from contracted, existing distributed generation was estimated based on technology type and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.

## Table 7
Back to main menu
| Transformer Station | Table 7 Summer Weather Effective DG Contribution to Peak (MW)
|  | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
| Armitage TS | 3.8881 | 3.8881 | 3.8881 | 3.8881 | 3.8881 | 3.8881 | 3.8881 | 3.8284 | 3.7116 | 3.6016 | 3.5384 | 1.8182 | 1.1651 | 1.1269 | 1.1269 | 1.1269 | 1.1269 | 1.1269 | 1.1269 | 1.1269
| Brown Hill TS | 7.543 | 7.543 | 7.543 | 7.543 | 7.543 | 7.543 | 7.543 | 7.5242 | 7.4836 | 7.4207 | 7.3886 | 2.5883 | 0.24059 | 0.1841 | 0.1841 | 0.1841 | 0.1841 | 0.1841 | 0.1841 | 0.1841
| Buttonville TS | 0.62718 | 0.62718 | 0.62718 | 0.62718 | 0.62718 | 0.62718 | 0.62718 | 0.61698 | 0.40128 | 0.15531 | 0.14054 | 0.069408 | 0.035982 | 0.025094 | 0.025094 | 0.025094 | 0.025094 | 0.025094 | 0.025094 | 0.025094
| Holland TS | 3.0884 | 3.0884 | 3.0884 | 3.0884 | 3.0884 | 3.0884 | 3.0884 | 3.0788 | 3.0465 | 2.9642 | 2.7412 | 2.423 | 2.3144 | 2.2485 | 2.2485 | 2.2485 | 2.2485 | 2.2485 | 2.2485 | 2.2485
| Kleinburg TS | 3.7786 | 3.7786 | 3.7786 | 3.7786 | 3.7786 | 3.7777 | 3.7777 | 3.7668 | 3.7327 | 3.5456 | 3.5347 | 3.3976 | 3.2041 | 3.1831 | 3.1831 | 3.1831 | 3.1831 | 3.1831 | 3.1831 | 3.1831
| Markham MTS #1 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092 | 0.0019092
| Markham MTS #2 | 4.0187 | 4.0187 | 4.0187 | 4.0187 | 4.0187 | 4.0187 | 4.0187 | 4.0187 | 3.8936 | 3.8268 | 3.7504 | 3.7418 | 3.7135 | 3.7135 | 3.7135 | 3.7135 | 3.7135 | 3.7135 | 3.7135 | 3.7135
| Markham MTS #3 | 7.8032 | 7.8032 | 7.8032 | 7.8032 | 3.0912 | 3.0912 | 3.0912 | 3.0435 | 2.9862 | 2.948 | 2.9337 | 2.8997 | 2.7947 | 2.7947 | 2.7947 | 2.7947 | 2.7947 | 2.7947 | 2.7947 | 2.7947
| Markham MTS #4 | 0.23809 | 0.23809 | 0.23809 | 0.23809 | 0.23809 | 0.23809 | 0.23809 | 0.23809 | 0.12354 | 0.12247 | 0.10128 | 0.025102 | 0.015555 | 0.0086392 | 0.0086392 | 0.0086392 | 0.0086392 | 0.0086392 | 0.0086392 | 0.0086392
| Markham MTS #5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Markham MTS #6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Markham MTS #7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Markham MTS #8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Northern York Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Richmond Hill MTS #1 and #2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Richmond Hill MTS #3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vaughan MTS #1 | 1.405 | 1.405 | 1.405 | 1.405 | 1.405 | 1.405 | 1.405 | 1.2618 | 1.0709 | 0.91339 | 0.75795 | 0.17516 | 0.043435 | 0.040533 | 0.040533 | 0.040533 | 0.040533 | 0.040533 | 0.040533 | 0.040533
| Vaughan MTS #2 | 0.17119 | 0.17119 | 0.17119 | 0.17119 | 0.17119 | 0.17119 | 0.17119 | 0.17119 | 0.16722 | 0.14357 | 0.13311 | 0.11692 | 0.065026 | 0.037967 | 0.037967 | 0.037967 | 0.037967 | 0.037967 | 0.037967 | 0.037967
| Vaughan MTS #3 | 0.60303 | 0.60303 | 0.60303 | 0.60303 | 0.60303 | 0.60303 | 0.60303 | 0.52327 | 0.52327 | 0.52327 | 0.33998 | 0.21323 | 0.20559 | 0.20559 | 0.20559 | 0.20559 | 0.20559 | 0.20559 | 0.20559 | 0.20559
| Vaughan MTS #4 | 0.034726 | 0.034726 | 0.034726 | 0.034726 | 0.034726 | 0.034726 | 0.034726 | 0.033867 | 0.032759 | 0.032759 | 0.030849 | 0.025332 | 0.012311 | 0.0078049 | 0.0078049 | 0.0078049 | 0.0078049 | 0.0078049 | 0.0078049 | 0.0078049
| Vaughan MTS #5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vaughan MTS #7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vaughan MTS #8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vaughan MTS #9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Woodbridge TS | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455 | 0.11455
Back to main menu
Peak demand contribution from contracted, existing distributed generation was estimated based on technology type and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.

## Table 8
Back to main menu
| Transformer Station |  | Table 8 Net Extreme Winter Weather Station Peak Demand Forecast, Coincident to York Region (MW)
|  |  | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
| Armitage TS | ARMIT | 261.313 | 277.1634 | 295.5567 | 314.5806 | 337.4585 | 358.0175 | 372.9505 | 372.9505 | 372.9505 | 372.9505 | 372.9505 | 372.9505 | 372.9505 | 372.9505 | 372.9505 | 372.9505 | 372.9505 | 372.9505 | 372.9505 | 372.9505
| Brown Hill TS | BROWN | 82.1086 | 95.8339 | 106.7704 | 112.8134 | 119.936 | 120.0564 | 123.4161 | 133.0048 | 143.5193 | 154.5771 | 163.6985 | 172.7524 | 185.7512 | 199.5968 | 211.3925 | 216.476 | 216.476 | 216.476 | 216.476 | 216.476
| Buttonville TS | BUTTO | 113.4459 | 115.7305 | 123.7121 | 127.2684 | 133.9075 | 142.0362 | 150.5592 | 159.0773 | 167.4153 | 174.601 | 177.1298 | 180.3464 | 183.8777 | 183.4322 | 192.5914 | 192.6031 | 192.6089 | 183.4445 | 183.4115 | 183.3725
| Holland TS | HOLLA | 153.2713 | 164.9695 | 170.6688 | 176.7731 | 184.779 | 193.2776 | 198.8285 | 198.8285 | 198.8285 | 198.8285 | 198.8285 | 198.8285 | 198.8285 | 198.8285 | 198.8285 | 198.8285 | 198.8285 | 198.8285 | 198.8285 | 198.8285
| Kleinburg TS | KLEIN | 155.272 | 164.9596 | 178.9263 | 201.6831 | 224.8398 | 239.7197 | 258.8728 | 260.4122 | 260.0193 | 259.4449 | 258.7737 | 257.9048 | 257.3428 | 257.1268 | 257.1465 | 257.1675 | 257.1757 | 257.1912 | 257.1772 | 257.1419
| Markham MTS #1 | MARK1 | 64.0682 | 65.1014 | 66.0101 | 68.1816 | 71.9474 | 76.6559 | 81.5029 | 86.3622 | 91.0974 | 95.2393 | 95.2965 | 95.2965 | 95.2965 | 95.2965 | 95.2965 | 95.2965 | 95.2965 | 95.2965 | 95.2965 | 95.2965
| Markham MTS #2 | MARK2 | 75.5691 | 76.5629 | 77.4853 | 79.6339 | 83.8401 | 88.917 | 94.3035 | 99.6664 | 104.9331 | 109.4262 | 112.4329 | 116.3353 | 118.8265 | 118.8265 | 118.8265 | 118.8265 | 118.8265 | 118.8265 | 118.8265 | 118.8265
| Markham MTS #3 | MARK3 | 133.8972 | 142.7901 | 154.6565 | 158.8934 | 171.9316 | 182.1546 | 192.9476 | 208.5778 | 214.7112 | 223.9937 | 227.0581 | 230.8915 | 237.653 | 237.653 | 237.653 | 237.653 | 237.653 | 237.653 | 237.653 | 237.653
| Markham MTS #4 | MARK4 | 85.0126 | 86.152 | 90.8328 | 126.999 | 133.5526 | 141.5873 | 150.0248 | 158.5101 | 166.8072 | 173.9647 | 176.4402 | 179.5749 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045
| Markham MTS #5 | MARK5 | 0 | 0 | 0 | 0 | 53.2507 | 93.7558 | 149.3836 | 157.8295 | 166.0774 | 176.2576 | 175.6127 | 178.6491 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045
| Markham MTS #6 | MARK6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48.5518 | 130.0756 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045
| Markham MTS #7 | MARK7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 113.3707 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045
| Markham MTS #8 | MARK8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76.4497 | 177.7837 | 180.0045 | 180.0045
| Northern York Station #1 | NORTH | 0 | 0 | 0 | 0 | 0 | 17.2489 | 34.606 | 102.9794 | 145.8903 | 196.2832 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| Northern York Station #2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.4284 | 81.3957 | 132.2748 | 183.3969 | 200 | 200 | 200 | 200 | 200 | 200
| Northern York Station #3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.2405 | 90.3329 | 158.0327 | 200 | 200 | 200
| Northern York Station #4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3707 | 50.4522 | 96.3965
| Northern York Station #5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Richmond Hill MTS #1 and #2 | RICHM | 183.9474 | 200.6179 | 204.4274 | 209.9214 | 220.5572 | 233.5864 | 247.3214 | 261.2291 | 274.8181 | 286.5354 | 290.4869 | 295.4601 | 298.831 | 298.831 | 298.831 | 298.831 | 298.831 | 298.831 | 298.831 | 298.831
| Richmond Hill MTS #3 | RICH3 | 0 | 0 | 0 | 0 | 0 | 0 | 27.9968 | 93.3001 | 165.1618 | 172.1504 | 174.4956 | 177.4458 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045
| Vaughan MTS #1 | VAUG1 | 241.2966 | 244.7955 | 247.9655 | 255.4161 | 268.9644 | 285.8038 | 303.3049 | 335.1673 | 338.2544 | 353.2784 | 358.5628 | 360.009 | 360.009 | 360.009 | 360.009 | 360.009 | 360.009 | 360.009 | 360.009 | 360.009
| Vaughan MTS #2 | VAUG2 | 104.8526 | 114.9219 | 123.6562 | 127.2369 | 133.8593 | 142.1949 | 150.8473 | 159.8027 | 168.4838 | 176.11 | 178.6746 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045
| Vaughan MTS #3 | VAUG3 | 98.8981 | 107.3435 | 123.1204 | 126.4648 | 132.9123 | 140.7767 | 149.0734 | 157.4129 | 165.5758 | 172.5926 | 174.991 | 178.0232 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045
| Vaughan MTS #4 | VAUG4 | 67.8316 | 78.6695 | 81.0213 | 117.2624 | 132.4587 | 140.2093 | 148.387 | 156.783 | 164.9629 | 172.0451 | 174.3577 | 177.2397 | 180.0045 | 179.9722 | 180.0045 | 180.0045 | 180.0045 | 179.9935 | 179.9576 | 179.9067
| Vaughan MTS #5 | VAUG5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39.9798 | 118.9179 | 175.1852 | 178.2173 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045
| Vaughan MTS #7 | VAUG7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.3388 | 160.6766 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045 | 180.0045
| Vaughan MTS #8 | VAUG8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87.881 | 180.0045 | 180.0045 | 180.0045 | 180.0045
| Vaughan MTS #9 | VAUG9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.3761 | 189.3992
| Woodbridge TS | WOODB | 115.5365 | 118.1249 | 124.7352 | 130.2386 | 136.4614 | 143.6864 | 150.3805 | 155.5194 | 161.1928 | 174.9295 | 175.0013 | 181.9462 | 189.8371 | 190.4434 | 190.4469 | 190.4508 | 190.4501 | 190.4521 | 190.4439 | 190.4284
Back to main menu
The IRRP planning forecast accounts for the median weather gross forecast provided by the local distributors, savings from distributed generation and conservation and demand management, as well as extreme weather adjustments. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
This document and the information contained herein is provided for informational purposes only. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 9
Back to main menu
| Transformer Station |  | Table 9 Net Extreme Summer Weather Station Peak Demand Forecast, Coincident to York Region (MW)
|  |  | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
| Armitage TS | ARMIT | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317
| Brown Hill TS | BROWN | 122.0391 | 155.7835 | 177.006 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184
| Buttonville TS | BUTTO | 143.3677 | 143.3773 | 150.3837 | 149.5176 | 148.7104 | 147.3844 | 146.3342 | 145.6172 | 145.3119 | 145.2063 | 144.736 | 144.3086 | 144.1675 | 144.1195 | 144.1012 | 144.1145 | 144.1145 | 144.1178 | 144.1176 | 144.0932
| Holland TS | HOLLA | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169 | 169
| Kleinburg TS | KLEIN | 179.6641 | 194.5871 | 214.2026 | 224.7625 | 249.26 | 259.6013 | 275.8521 | 274.5561 | 273.8691 | 273.4464 | 272.4388 | 271.2025 | 270.4892 | 270.1234 | 269.8962 | 269.8542 | 269.7955 | 269.7888 | 269.7855 | 269.7289
| Markham MTS #1 | MARK1 | 81 | 80.9055 | 80.5092 | 80.3637 | 81 | 81 | 81 | 81 | 81 | 81 | 78.7345 | 78.5855 | 78.5674 | 78.5787 | 78.5883 | 78.6102 | 78.6305 | 78.6376 | 78.6452 | 78.6488
| Markham MTS #2 | MARK2 | 96.8727 | 95.9016 | 95.1079 | 94.3307 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 89.8185 | 89.7526 | 89.729 | 89.7274 | 89.713 | 89.7113 | 89.7056 | 89.678
| Markham MTS #3 | MARK3 | 171.5498 | 179.0145 | 189.8756 | 188.1457 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 183.0942 | 182.9125 | 182.8224 | 182.828 | 182.8129 | 182.8134 | 182.8113 | 182.7644
| Markham MTS #4 | MARK4 | 107.6509 | 106.9329 | 110.5993 | 149.514 | 153 | 153 | 153 | 153 | 153 | 153 | 153 | 153 | 143.3442 | 143.2703 | 143.2378 | 143.249 | 143.2464 | 143.2491 | 143.2488 | 143.2217
| Markham MTS #5 | MARK5 | 0 | 0 | 0 | 0 | 3.5257 | 27.0571 | 63.3464 | 153 | 144.1926 | 146.3812 | 143.2589 | 142.6301 | 142.3472 | 142.2402 | 142.1906 | 142.1993 | 142.1936 | 142.1955 | 142.1951 | 142.1648
| Markham MTS #6 | MARK6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39.6069 | 98.163 | 142.3472 | 142.2402 | 142.1906 | 142.1993 | 142.1936 | 142.1955 | 142.1951 | 142.1648
| Markham MTS #7 | MARK7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.9305 | 81.134 | 125.4666 | 142.1951 | 142.1648
| Markham MTS #8 | MARK8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Northern York Station #1 | NORTH | 1.9186 | 15.8329 | 31.7155 | 64.7369 | 92.3066 | 129.6909 | 161.3919 | 170 | 170 | 170 | 170 | 170 | 170 | 170 | 170 | 170 | 170 | 170 | 170 | 170
| Northern York Station #2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60.267 | 99.2867 | 142.0588 | 170 | 170 | 170 | 170 | 170 | 170 | 170 | 170 | 170 | 170
| Northern York Station #3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.214 | 59.8998 | 105.5788 | 152.268 | 170 | 170 | 170 | 170 | 170 | 170
| Northern York Station #4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.0662 | 74.2581 | 120.5557 | 159.9297 | 170 | 170
| Northern York Station #5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.1105 | 74.5127
| Richmond Hill MTS #1 and #2 | RICHM | 232.5032 | 248.599 | 248.4506 | 246.4932 | 254 | 254 | 254 | 254 | 254 | 254 | 254 | 254 | 236.2819 | 236.9832 | 237.7306 | 238.5753 | 239.394 | 240.23 | 241.0611 | 241.8391
| Richmond Hill MTS #3 | RICH3 | 0 | 0 | 0 | 0 | 0 | 0 | 27.2982 | 5.078 | 49.6615 | 46.3296 | 153 | 153 | 141.5723 | 141.4515 | 141.3964 | 141.3994 | 141.3857 | 141.3854 | 141.3818 | 141.3452
| Vaughan MTS #1 | VAUG1 | 304.6712 | 302.8426 | 300.9569 | 299.5139 | 306 | 306 | 306 | 306 | 306 | 306 | 306 | 290.6888 | 290.4714 | 290.3775 | 290.3362 | 290.3886 | 290.4249 | 290.4412 | 290.4575 | 290.4363
| Vaughan MTS #2 | VAUG2 | 132.7272 | 142.4607 | 150.3747 | 149.4114 | 153 | 153 | 153 | 153 | 153 | 153 | 153 | 143.7846 | 143.529 | 143.4548 | 143.3944 | 143.4224 | 143.4442 | 143.4535 | 143.4662 | 143.4565
| Vaughan MTS #3 | VAUG3 | 125.1727 | 133.2065 | 149.8953 | 148.7757 | 153 | 153 | 153 | 153 | 153 | 153 | 153 | 153 | 142.2105 | 142.1115 | 142.0707 | 142.0757 | 142.0646 | 142.065 | 142.0615 | 142.0276
| Vaughan MTS #4 | VAUG4 | 86.0074 | 97.7408 | 98.7158 | 138.009 | 153 | 153 | 153 | 153 | 153 | 153 | 153 | 153 | 143.2173 | 140.5888 | 140.5114 | 140.5165 | 140.5065 | 140.5074 | 140.5071 | 140.4723
| Vaughan MTS #5 | VAUG5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.7892 | 99.0125 | 33.3865 | 51.8659 | 150.7935 | 142.3171 | 142.2763 | 142.2813 | 142.2702 | 142.2706 | 142.2671 | 142.2331
| Vaughan MTS #7 | VAUG7 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Vaughan MTS #8 | VAUG8 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Vaughan MTS #9 | VAUG9 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Woodbridge TS | WOODB | 154.0306 | 156.235 | 158.3617 | 160.9089 | 163.9175 | 164.7747 | 166.5149 | 169.3125 | 173.0699 | 173.4651 | 173.1401 | 172.693 | 172.506 | 172.4339 | 172.391 | 172.3956 | 172.396 | 172.3975 | 172.4003 | 172.3899
Back to main menu
The IRRP planning forecast accounts for the median weather gross forecast provided by the local distributors, savings from distributed generation and conservation and demand management, as well as extreme weather adjustments. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
This document and the information contained herein is provided for informational purposes only. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.